## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DIELDRIN | 39381GCM35 | 2015-04-30 07:00 | 20151210037 | 0.008 | Recoverable Result | 0.012 | . | 0.0104 | ug/L | 0.86667 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2015-10-22 06:00 | 20152950078 | 0.012 | Recoverable Result | 0.012 | . | 0.008 | ug/L | 0.66667 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2015-06-25 06:00 | 20151760208 | 0.008 | Recoverable Result | 0.012 | . | 0.0112 | ug/L | 0.93333 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2015-07-23 06:00 | 20152040177 | 0.008 | Recoverable Result | 0.012 | . | 0.0104 | ug/L | 0.86667 | Y | rcr | v | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2015-11-10 06:00 | 20153160001 | 0.012 | Recoverable Result | 0.012 | . | 0.0095 | ug/L | 0.79167 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2014-04-17 06:00 | 20141080004 | 0.008 | Recoverable Result | 0.0156 | . | 0.0119 | ug/L | 0.76282 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-05-22 07:00 | 20141420140 | 0.008 | Estimated Values | 0.0156 | E | 0.0153 | ug/L | 0.98077 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-08-07 07:00 | 20142200164 | 0.008 | Recoverable Result | 0.0156 | . | 0.016 | ug/L | 1.0256 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-06-12 06:00 | 20141640076 | 0.008 | Estimated Values | 0.0156 | E | 0.0093 | ug/L | 0.59615 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2015-01-15 06:00 | 20150150115 | 0.008 | Recoverable Result | 0.01596 | . | 0.0143 | ug/L | 0.89599 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-07-10 06:00 | 20141910243 | 0.008 | Recoverable Result | 0.01596 | . | 0.0145 | ug/L | 0.90852 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-07-02 07:00 | 20141840097 | 0.008 | Recoverable Result | 0.01596 | . | 0.0126 | ug/L | 0.78947 | Y | rcr | v | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2014-12-03 06:00 | 20143370094 | 0.008 | Recoverable Result | 0.01596 | . | 0.0133 | ug/L | 0.83333 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | DIELDRIN | 39381GCM35 | 2013-08-15 06:30 | 20132280016 | 0.008 | Recoverable Result | 0.018 | . | 0.015 | ug/L | 0.83333 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-10-31 06:30 | 20133050050 | 0.008 | Recoverable Result | 0.018 | . | 0.014 | ug/L | 0.77778 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-06-13 06:30 | 20131650073 | 0.008 | Recoverable Result | 0.019 | . | 0.0156 | ug/L | 0.82105 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-06-27 06:30 | 20131790009 | 0.008 | Recoverable Result | 0.019 | . | 0.0197 | ug/L | 1.0368 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-12-12 06:30 | 20133470008 | 0.008 | Recoverable Result | 0.019 | . | 0.0176 | ug/L | 0.92632 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-11-26 07:00 | 20133310030 | 0.008 | Recoverable Result | 0.019 | . | 0.0229 | ug/L | 1.2053 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2014-03-13 07:00 | 20140730138 | 0.008 | Recoverable Result | 0.019 | . | 0.0162 | ug/L | 0.85263 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | DIELDRIN | 39381GCM35 | 2015-07-09 07:00 | 20151900132 | 0.008 | Recoverable Result | 0.024 | . | 0.0148 | ug/L | 0.61667 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2015-08-20 06:00 | 20152330039 | 0.008 | Recoverable Result | 0.024 | . | 0.0193 | ug/L | 0.80417 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2015-05-07 07:00 | 20151270112 | 0.008 | Recoverable Result | 0.024 | . | 0.0258 | ug/L | 1.075 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2015-12-09 06:00 | 20153440001 | 0.012 | Recoverable Result | 0.024 | . | 0.0161 | ug/L | 0.67083 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-02-17 08:30 | 20110490035 | 0.008 | Recoverable Result | 0.02475 | . | 0.0235 | ug/L | 0.94949 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DIELDRIN | 39381GCM35 | 2014-08-14 06:00 | 20142270001 | 0.008 | Recoverable Result | 0.0312 | . | 0.0274 | ug/L | 0.87821 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2015-03-12 06:00 | 20150720069 | 0.008 | Recoverable Result | 0.0312 | . | 0.0332 | ug/L | 1.0641 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-10-23 06:00 | 20142960086 | 0.008 | Recoverable Result | 0.0312 | . | 0.027 | ug/L | 0.86538 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-11-06 06:00 | 20143110108 | 0.008 | Recoverable Result | 0.0312 | . | 0.024 | ug/L | 0.76923 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-05-01 06:00 | 20141220025 | 0.008 | Recoverable Result | 0.03192 | . | 0.026 | ug/L | 0.81454 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-09-25 06:00 | 20142720002 | 0.008 | Recoverable Result | 0.03192 | . | 0.027 | ug/L | 0.84586 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-06-05 07:00 | 20141570088 | 0.008 | Estimated Values | 0.03192 | E | 0.0156 | ug/L | 0.48872 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2014-09-10 06:00 | 20142530087 | 0.008 | Recoverable Result | 0.03192 | . | 0.0236 | ug/L | 0.73935 | Y | rcr | v | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | DIELDRIN | 39381GCM35 | 2010-02-11 06:30 | 20100420055 | 0.009 | Recoverable Result | 0.03508 | . | 0.0505 | ug/L | 1.4396 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2010-01-28 06:30 | 20100280077 | 0.009 | Recoverable Result | 0.035353 | . | 0.0237 | ug/L | 0.67039 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2010-06-03 06:30 | 20101550006 | 0.009 | Recoverable Result | 0.036823 | . | 0.0296 | ug/L | 0.80386 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2010-04-29 10:30 | 20101190091 | 0.009 | Recoverable Result | 0.038782 | . | 0.0337 | ug/L | 0.86896 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2010-09-09 06:40 | 20102530008 | 0.008 | Recoverable Result | 0.040428 | . | 0.0344 | ug/L | 0.85088 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2010-06-17 10:30 | 20101720149 | 0.009 | Recoverable Result | 0.040547 | . | 0.0365 | ug/L | 0.90018 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2010-10-28 07:30 | 20103020155 | 0.008 | Recoverable Result | 0.042805 | . | 0.0324 | ug/L | 0.75693 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-01-20 07:30 | 20110210095 | 0.008 | Recoverable Result | 0.043613 | . | 0.0367 | ug/L | 0.84148 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2010-10-07 07:30 | 20102810019 | 0.008 | Recoverable Result | 0.043924 | . | 0.0455 | ug/L | 1.0359 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-02-02 06:30 | 20110340007 | 0.008 | Recoverable Result | 0.044224 | . | 0.0366 | ug/L | 0.8276 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-06-16 08:00 | 20111680035 | 0.008 | Recoverable Result | 0.04424 | . | 0.0415 | ug/L | 0.93806 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-07-07 07:00 | 20111890004 | 0.008 | Recoverable Result | 0.04432 | . | 0.0466 | ug/L | 1.0514 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-10-27 07:30 | 20113010047 | 0.008 | Recoverable Result | 0.04432 | . | 0.0423 | ug/L | 0.95442 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2012-03-15 08:00 | 20120760111 | 0.008 | Recoverable Result | 0.04432 | . | 0.0377 | ug/L | 0.85063 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-04-22 06:20 | 20111170107 | 0.008 | Recoverable Result | 0.044436 | . | 0.0454 | ug/L | 1.0217 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-03-24 06:30 | 20110840108 | 0.008 | Estimated Values | 0.044525 | E | 0.0672 | ug/L | 1.5093 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-07-28 07:00 | 20112100007 | 0.008 | Recoverable Result | 0.04468 | . | 0.0396 | ug/L | 0.8863 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-10-07 06:30 | 20112840031 | 0.008 | Recoverable Result | 0.04468 | . | 0.0495 | ug/L | 1.1079 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2012-01-12 07:00 | 20120120071 | 0.008 | Recoverable Result | 0.04468 | . | 0.0453 | ug/L | 1.0139 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2012-02-23 07:30 | 20120540036 | 0.008 | Recoverable Result | 0.04468 | . | 0.041 | ug/L | 0.91764 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2012-03-29 08:00 | 20120930003 | 0.008 | Recoverable Result | 0.04468 | . | 0.0394 | ug/L | 0.88183 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2014-02-06 06:30 | 20140370077 | 0.008 | Recoverable Result | 0.045 | . | 0.0377 | ug/L | 0.83778 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2013-09-25 08:00 | 20132690010 | 0.008 | Recoverable Result | 0.045 | . | 0.0417 | ug/L | 0.92667 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-05-16 07:00 | 20131370001 | 0.008 | Recoverable Result | 0.0475 | . | 0.0476 | ug/L | 1.0021 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2015-09-03 06:00 | 20152460215 | 0.008 | Recoverable Result | 0.048 | . | 0.031 | ug/L | 0.64583 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2015-10-01 06:00 | 20152750006 | 0.012 | Recoverable Result | 0.048 | . | 0.0265 | ug/L | 0.55208 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2010-05-06 06:30 | 20101270038 | 0.009 | Recoverable Result | 0.069071 | . | 0.0666 | ug/L | 0.96422 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2010-07-13 06:30 | 20101950137 | 0.009 | Recoverable Result | 0.070465 | . | 0.076 | ug/L | 1.0786 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | DIELDRIN | 39381GCM35 | 2011-06-07 10:00 | 20111590005 | 0.008 | Recoverable Result | 0.074096 | . | 0.0542 | ug/L | 0.73148 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DIELDRIN | 39381GCM35 | 2010-11-24 07:00 | 20103330007 | 0.008 | Recoverable Result | 0.085981 | . | 0.104 | ug/L | 1.2096 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2010-12-16 06:30 | 20103510060 | 0.008 | Recoverable Result | 0.088208 | . | 0.0904 | ug/L | 1.0249 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2011-04-28 07:00 | 20111190184 | 0.008 | Recoverable Result | 0.088296 | . | 0.0939 | ug/L | 1.0635 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2011-08-04 08:00 | 20112170174 | 0.008 | Recoverable Result | 0.08864 | . | 0.0812 | ug/L | 0.91606 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2011-11-29 07:00 | 20113340046 | 0.008 | Recoverable Result | 0.08864 | . | 0.0711 | ug/L | 0.80212 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2012-02-09 07:00 | 20120400058 | 0.008 | Recoverable Result | 0.08864 | . | 0.0734 | ug/L | 0.82807 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2011-03-03 07:00 | 20110620082 | 0.008 | Recoverable Result | 0.088721 | . | 0.0832 | ug/L | 0.93777 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2012-01-26 07:00 | 20120260028 | 0.008 | Estimated Values | 0.08936 | E | 0.102 | ug/L | 1.1415 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2012-04-12 07:00 | 20121040012 | 0.008 | Recoverable Result | 0.08936 | . | 0.0704 | ug/L | 0.78782 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2011-05-19 07:30 | 20111390178 | 0.008 | Recoverable Result | 0.089963 | . | 0.0767 | ug/L | 0.85257 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | DIELDRIN | 39381GCM35 | 2013-09-06 06:50 | 20132490342 | 0.008 | Recoverable Result | 0.09 | . | 0.0832 | ug/L | 0.92444 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2014-01-09 06:30 | 20140100085 | 0.008 | Recoverable Result | 0.09 | . | 0.0734 | ug/L | 0.81556 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2011-04-07 09:00 | 20110980030 | 0.008 | Recoverable Result | 0.099483 | . | 0.101 | ug/L | 1.0153 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2013-07-11 06:30 | 20131920149 | 0.008 | Recoverable Result | 0.1 | . | 0.101 | ug/L | 1.01 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2012-09-13 06:00 | 20122570122 | 0.008 | Recoverable Result | 0.1 | . | 0.0783 | ug/L | 0.783 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-03-05 06:00 | 20130650005 | 0.008 | Recoverable Result | 0.1 | . | 0.0692 | ug/L | 0.692 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-05-02 06:00 | 20131230084 | 0.008 | Recoverable Result | 0.1 | . | 0.089 | ug/L | 0.89 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2012-07-03 08:00 | 20121870008 | 0.008 | Recoverable Result | 0.1 | . | 0.0814 | ug/L | 0.814 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2014-03-27 06:30 | 20140860102 | 0.008 | Recoverable Result | 0.1 | . | 0.07 | ug/L | 0.7 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | DIELDRIN | 39381GCM35 | 2013-10-17 06:30 | 20132910008 | 0.008 | Recoverable Result | 0.1 | . | 0.0849 | ug/L | 0.849 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DIELDRIN | 39381GCM35 | 2013-12-05 08:00 | 20133400002 | 0.008 | Recoverable Result | 0.1 | . | 0.1 | ug/L | 1 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DIELDRIN | 39381GCM35 | 2012-08-07 06:00 | 20122210006 | 0.008 | Recoverable Result | 0.1004 | . | 0.078 | ug/L | 0.77689 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2012-08-16 06:30 | 20122300021 | 0.008 | Recoverable Result | 0.1004 | . | 0.103 | ug/L | 1.0259 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2013-02-07 06:30 | 20130390105 | 0.008 | Recoverable Result | 0.1004 | . | 0.0645 | ug/L | 0.64243 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | DIELDRIN | 39381GCM35 | 2010-11-18 09:00 | 20103230114 | 0.008 | Recoverable Result | 0.1007 | . | 0.0868 | ug/L | 0.86192 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2010-08-12 06:30 | 20102250096 | 0.008 | Recoverable Result | 0.18169 | . | 0.18 | ug/L | 0.99071 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2012-06-21 06:00 | 20121730123 | 0.008 | Recoverable Result | 0.25 | . | 0.235 | ug/L | 0.94 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2012-10-30 07:00 | 20123040157 | 0.008 | Recoverable Result | 0.25 | . | 0.219 | ug/L | 0.876 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2013-08-29 06:30 | 20132420001 | 0.008 | Recoverable Result | 0.25 | . | 0.242 | ug/L | 0.968 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | DIELDRIN | 39381GCM35 | 2014-01-23 06:30 | 20140230082 | 0.008 | Recoverable Result | 0.25 | . | 0.234 | ug/L | 0.936 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | DIELDRIN | 39381GCM35 | 2012-12-20 06:30 | 20123560092 | 0.008 | Recoverable Result | 0.251 | . | 0.195 | ug/L | 0.77689 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2013-03-21 06:30 | 20130810108 | 0.008 | Recoverable Result | 0.251 | . | 0.196 | ug/L | 0.78088 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | DIELDRIN | 39381GCM35 | 2013-01-24 06:00 | 20130250061 | 0.008 | Recoverable Result | 0.5 | . | 0.476 | ug/L | 0.952 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2012-12-06 06:30 | 20123420074 | 0.008 | Recoverable Result | 0.502 | . | 0.453 | ug/L | 0.90239 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | DIELDRIN | 39381GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.502 | . | 0.41 | ug/L | 0.81673 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl