## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DIMETHOATE | 82662GCM40 | 2014-03-13 07:00 | 20140730138 | 0.01 | False Negative | 0.03 | < |  | ug/L |  | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-09-17 06:00 | 20152610011 | 0.01 | False Negative | 0.05968 | < |  | ug/L |  |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-07-23 06:00 | 20152040177 | 0.01 | Estimated Values | 0.01492 | E | 0.0057 | ug/L | 0.38204 | Y | rcr | b | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-08-06 06:00 | 20152190003 | 0.01 | Estimated Values | 0.01492 | E | 0.0057 | ug/L | 0.38204 |  | rcr | b | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-10-22 06:00 | 20152950078 | 0.01 | Estimated Values | 0.016 | E | 0.0058 | ug/L | 0.3625 |  | rcr | b | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-06-25 06:00 | 20151760208 | 0.01 | Estimated Values | 0.016 | E | 0.0076 | ug/L | 0.475 | V | rcr | b | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-10-29 06:00 | 20153030068 | 0.01 | Estimated Values | 0.016 | E | 0.0073 | ug/L | 0.45625 |  | rcr | b | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-04-17 06:00 | 20141080004 | 0.01 | Estimated Values | 0.0201 | E | 0.0087 | ug/L | 0.43284 | Y | rcr | m | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-01-15 06:00 | 20150150115 | 0.01 | Estimated Values | 0.0201 | E | 0.0099 | ug/L | 0.49254 | Y | rcr | m | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-05-29 06:00 | 20141490205 | 0.01 | Estimated Values | 0.0201 | E | 0.0108 | ug/L | 0.53731 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-10-09 06:00 | 20142820151 | 0.01 | Estimated Values | 0.0201 | E | 0.0092 | ug/L | 0.45771 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-05-16 06:00 | 20141360094 | 0.01 | Estimated Values | 0.02013 | E | 0.0088 | ug/L | 0.43716 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-09-03 06:00 | 20142470041 | 0.01 | Estimated Values | 0.02013 | E | 0.0096 | ug/L | 0.4769 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-06-12 06:00 | 20141640076 | 0.01 | Estimated Values | 0.02013 | E | 0.0088 | ug/L | 0.43716 | Y | rcr | m | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-07-10 06:00 | 20141910243 | 0.01 | Estimated Values | 0.02013 | E | 0.0075 | ug/L | 0.37258 | Y | rcr | b | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-02-17 08:30 | 20110490035 | 0.006 | Estimated Values | 0.02475 | E | 0.0204 | ug/L | 0.82424 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-10-28 07:30 | 20103020155 | 0.006 | Estimated Values | 0.027236 | E | 0.0199 | ug/L | 0.73066 | W | c3L | m | 2011-01-12 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-10-07 07:30 | 20102810019 | 0.006 | Estimated Values | 0.02733 | E | 0.0157 | ug/L | 0.57446 | W | c3L | m | 2011-01-07 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-02-02 06:30 | 20110340007 | 0.006 | Estimated Values | 0.027517 | E | 0.0162 | ug/L | 0.58874 | V | rcr | m | 2011-02-22 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-04-22 06:20 | 20111170107 | 0.006 | Estimated Values | 0.027648 | E | 0.0199 | ug/L | 0.71977 | X | str | m | 2011-05-03 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-01-20 07:30 | 20110210095 | 0.006 | Estimated Values | 0.02775 | E | 0.0134 | ug/L | 0.48288 | V | rcr | m | 2011-02-14 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-07-28 07:00 | 20112100007 | 0.006 | Estimated Values | 0.0278 | E | 0.0154 | ug/L | 0.55396 | V | rcr | m | 2011-08-22 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-10-07 06:30 | 20112840031 | 0.01 | Estimated Values | 0.0278 | E | 0.015 | ug/L | 0.53957 | X | str | m | 2011-10-20 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-01-12 07:00 | 20120120071 | 0.01 | Estimated Values | 0.0278 | E | 0.0121 | ug/L | 0.43525 | X | str | m | 2012-01-20 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-02-23 07:30 | 20120540036 | 0.01 | Estimated Values | 0.0278 | E | 0.0148 | ug/L | 0.53237 | V | rcr | m | 2012-03-08 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-03-29 08:00 | 20120930003 | 0.01 | Estimated Values | 0.0278 | E | 0.0169 | ug/L | 0.60791 | V | rcr | m | 2012-04-12 | Abs 080610: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-01-14 06:30 | 20100150090 | 0.006 | Estimated Values | 0.02794 | E | 0.0121 | ug/L | 0.43308 | W | fww | m | 2010-03-19 | Restek A069639: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-06-16 08:00 | 20111680035 | 0.006 | Estimated Values | 0.028149 | E | 0.021 | ug/L | 0.74602 | V | rcr | m | 2011-07-02 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-07-07 07:00 | 20111890004 | 0.006 | Estimated Values | 0.0282 | E | 0.0185 | ug/L | 0.65603 | X | str | m | 2011-07-20 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-10-27 07:30 | 20113010047 | 0.01 | Estimated Values | 0.0282 | E | 0.0162 | ug/L | 0.57447 | X | str | m | 2011-11-05 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-03-15 08:00 | 20120760111 | 0.01 | Estimated Values | 0.0282 | E | 0.0141 | ug/L | 0.5 | V | rcr | m | 2012-03-27 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-03-24 06:30 | 20110840108 | 0.006 | Estimated Values | 0.02833 | E | 0.0133 | ug/L | 0.46946 | X | str | m | 2011-04-07 | Accu 210061341: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-07-01 06:30 | 20101830110 | 0.006 | Estimated Values | 0.028937 | E | 0.029 | ug/L | 1.0022 | S | c3L | m | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-12-09 06:00 | 20153440001 | 0.01 | Estimated Values | 0.02984 | E | 0.0096 | ug/L | 0.32172 |  | rcr | m | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-12-17 06:00 | 20153510109 | 0.01 | Estimated Values | 0.02984 | E | 0.0095 | ug/L | 0.31836 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-06-13 06:30 | 20131650073 | 0.01 | Estimated Values | 0.03 | E | 0.0208 | ug/L | 0.69333 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-06-27 06:30 | 20131790009 | 0.01 | Estimated Values | 0.03 | E | 0.0205 | ug/L | 0.68333 | Y | rcr | m | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-08-15 06:30 | 20132280016 | 0.01 | Estimated Values | 0.03 | E | 0.0207 | ug/L | 0.69 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-12-12 06:30 | 20133470008 | 0.01 | Estimated Values | 0.03 | E | 0.0116 | ug/L | 0.38667 | Y | rcr | m | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-10-31 06:30 | 20133050050 | 0.01 | Estimated Values | 0.03 | E | 0.0156 | ug/L | 0.52 | Y | rcr | m | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-11-26 07:00 | 20133310030 | 0.01 | Estimated Values | 0.03 | E | 0.0157 | ug/L | 0.52333 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-06-04 07:00 | 20151550293 | 0.01 | Estimated Values | 0.032 | E | 0.014 | ug/L | 0.4375 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-05-07 07:00 | 20151270112 | 0.01 | Estimated Values | 0.032 | E | 0.0152 | ug/L | 0.475 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-04-29 10:30 | 20101190091 | 0.006 | Estimated Values | 0.038782 | E | 0.0238 | ug/L | 0.61368 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-08-14 06:00 | 20142270001 | 0.01 | Estimated Values | 0.0402 | E | 0.0132 | ug/L | 0.32836 | Y | rcr | m | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-05-01 06:00 | 20141220025 | 0.01 | Estimated Values | 0.0402 | E | 0.0169 | ug/L | 0.4204 | Y | rcr | m | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-11-19 06:00 | 20143240095 | 0.01 | Estimated Values | 0.0402 | E | 0.017 | ug/L | 0.42289 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-11-06 06:00 | 20143110108 | 0.01 | Estimated Values | 0.04026 | E | 0.0131 | ug/L | 0.32538 | Y | rcr | m | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-06-26 06:00 | 20141770149 | 0.01 | Estimated Values | 0.04026 | E | 0.0125 | ug/L | 0.31048 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-02-12 06:00 | 20150430092 | 0.01 | Estimated Values | 0.04026 | E | 0.0039 | ug/L | 0.09687 | Y | rcr | b | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-09-25 06:00 | 20142720002 | 0.01 | Estimated Values | 0.04026 | E | 0.0115 | ug/L | 0.28564 | Y | rcr | m | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-09-09 06:40 | 20102530008 | 0.006 | Estimated Values | 0.040428 | E | 0.0315 | ug/L | 0.77915 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-06-17 10:30 | 20101720149 | 0.006 | Estimated Values | 0.040547 | E | 0.0317 | ug/L | 0.7818 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-08-30 06:30 | 20122430227 | 0.01 | Estimated Values | 0.05 | E | 0.0329 | ug/L | 0.658 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-02-19 06:30 | 20130510051 | 0.01 | Estimated Values | 0.05 | E | 0.0233 | ug/L | 0.466 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-08-16 06:30 | 20122300021 | 0.01 | Estimated Values | 0.05 | E | 0.0357 | ug/L | 0.714 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-07-19 06:30 | 20122020004 | 0.01 | Estimated Values | 0.05008 | E | 0.0244 | ug/L | 0.48722 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-07-03 08:00 | 20121870008 | 0.01 | Estimated Values | 0.05008 | E | 0.0264 | ug/L | 0.52716 | V | rcr | m | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-02-07 06:30 | 20130390105 | 0.01 | Estimated Values | 0.05008 | E | 0.0163 | ug/L | 0.32548 | V | rcr | m | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-11-24 07:00 | 20103330007 | 0.006 | Estimated Values | 0.053498 | E | 0.0324 | ug/L | 0.60564 | S | rcr | m | 2011-01-28 | Abs 080610: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-03-03 07:00 | 20110620082 | 0.006 | Estimated Values | 0.055203 | E | 0.0306 | ug/L | 0.55432 | V | rcr | m | 2011-03-16 | Abs 080610: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-08-05 06:30 | 20102180092 | 0.006 | Estimated Values | 0.055263 | E | 0.0297 | ug/L | 0.53743 | W | fww | m | 2010-10-18 | Restek A069639: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-01-26 07:00 | 20120260028 | 0.01 | Estimated Values | 0.0556 | E | 0.0302 | ug/L | 0.54317 | V | rcr | m | 2012-02-09 | Abs 080610: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-04-12 07:00 | 20121040012 | 0.01 | Estimated Values | 0.0556 | E | 0.0271 | ug/L | 0.48741 | V | rcr | m | 2012-04-24 | Abs 080610: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-05-19 07:30 | 20111390178 | 0.006 | Estimated Values | 0.055975 | E | 0.0262 | ug/L | 0.46807 | V | rcr | m | 2011-05-29 | Abs 080610: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-12-16 06:30 | 20103510060 | 0.006 | Estimated Values | 0.056125 | E | 0.0248 | ug/L | 0.44187 | X | str | m | 2011-02-01 | Accu 210061341: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-04-28 07:00 | 20111190184 | 0.006 | Estimated Values | 0.056181 | E | 0.0296 | ug/L | 0.52687 | X | rcr | m | 2011-05-21 | Accu 210061341: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-08-04 08:00 | 20112170174 | 0.006 | Estimated Values | 0.0564 | E | 0.027 | ug/L | 0.47872 | V | rcr | m | 2011-08-30 | Accu 210061341: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-11-29 07:00 | 20113340046 | 0.01 | Estimated Values | 0.0564 | E | 0.0194 | ug/L | 0.34397 | V | rcr | m | 2011-12-08 | Accu 210061341: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-02-09 07:00 | 20120400058 | 0.01 | Estimated Values | 0.0564 | E | 0.0262 | ug/L | 0.46454 | V | rcr | m | 2012-03-02 | Accu 210061341: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-04-22 06:30 | 20101130055 | 0.006 | Estimated Values | 0.05651 | E | 0.0405 | ug/L | 0.71669 | X | mco | m | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | DIMETHOATE | 82662GCM40 | 2015-09-03 06:00 | 20152460215 | 0.01 | Estimated Values | 0.05968 | E | 0.0163 | ug/L | 0.27312 |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-06-07 10:00 | 20111590005 | 0.006 | Estimated Values | 0.074096 | E | 0.0418 | ug/L | 0.56413 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-02-06 06:30 | 20140370077 | 0.01 | Estimated Values | 0.075 | E | 0.0211 | ug/L | 0.28133 | Y | rcr | m | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-05-16 07:00 | 20131370001 | 0.01 | Estimated Values | 0.075 | E | 0.0374 | ug/L | 0.49867 | V | rcr | m | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-09-25 08:00 | 20132690010 | 0.01 | Estimated Values | 0.075 | E | 0.0351 | ug/L | 0.468 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2011-04-07 09:00 | 20110980030 | 0.006 | Estimated Values | 0.099483 | E | 0.0557 | ug/L | 0.5599 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-11-18 09:00 | 20103230114 | 0.006 | Estimated Values | 0.1007 | E | 0.0584 | ug/L | 0.57991 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-09-27 07:00 | 20122720048 | 0.01 | Estimated Values | 0.125 | E | 0.0496 | ug/L | 0.3968 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-04-04 06:30 | 20130940097 | 0.01 | Estimated Values | 0.125 | E | 0.0406 | ug/L | 0.3248 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-12-20 06:30 | 20123560092 | 0.01 | Estimated Values | 0.125 | E | 0.0449 | ug/L | 0.3592 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-10-10 07:00 | 20122850005 | 0.01 | Estimated Values | 0.1252 | E | 0.0463 | ug/L | 0.36981 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-01-10 06:00 | 20130100066 | 0.01 | Estimated Values | 0.1252 | E | 0.0478 | ug/L | 0.38179 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-03-21 06:30 | 20130810108 | 0.01 | Estimated Values | 0.1252 | E | 0.0435 | ug/L | 0.34744 | V | rcr | m | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | DIMETHOATE | 82662GCM40 | 2010-05-27 06:30 | 20101480005 | 0.006 | Estimated Values | 0.14439 | E | 0.059 | ug/L | 0.40863 | X | mco | m | 2010-07-29 | Restek A069639: 100 µl
2033 | DIMETHOATE | 82662GCM40 | 2013-09-06 06:50 | 20132490342 | 0.01 | Estimated Values | 0.15 | E | 0.0433 | ug/L | 0.28867 | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DIMETHOATE | 82662GCM40 | 2014-01-09 06:30 | 20140100085 | 0.01 | Estimated Values | 0.15 | E | 0.0411 | ug/L | 0.274 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-11-20 06:30 | 20123260037 | 0.01 | Estimated Values | 0.25 | E | 0.083 | ug/L | 0.332 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | DIMETHOATE | 82662GCM40 | 2012-11-08 06:30 | 20123140095 | 0.01 | Estimated Values | 0.2504 | E | 0.0629 | ug/L | 0.2512 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl