## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DISULFOTON | 82677GCM35 | 2015-09-03 06:00 | 20152460215 | 0.04 | Deleted Values |  | R |  | ug/L |  |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2013-05-02 06:00 | 20131230084 | 0.04 | False Negative | 0.0494 | < |  | ug/L |  | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-02-19 06:30 | 20130510051 | 0.04 | False Negative | 0.0494 | < |  | ug/L |  | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2015-08-06 06:00 | 20152190003 | 0.04 | Deleted Values | 0.06 | R |  | ug/L |  |  | rcr | m | 2015-08-20 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-08-15 06:30 | 20132280016 | 0.04 | False Negative | 0.09 | < |  | ug/L |  | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-06-13 06:30 | 20131650073 | 0.04 | False Negative | 0.0904 | < |  | ug/L |  | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-06-27 06:30 | 20131790009 | 0.04 | False Negative | 0.0904 | < |  | ug/L |  | Y | rcr | m | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2015-08-20 06:00 | 20152330039 | 0.04 | Deleted Values | 0.12 | R |  | ug/L |  |  | rcr | m | 2015-09-04 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2015-06-04 07:00 | 20151550293 | 0.04 | False Negative | 0.1204 | < |  | ug/L |  | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2015-07-09 07:00 | 20151900132 | 0.04 | False Negative | 0.1204 | < |  | ug/L |  | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2013-04-04 06:30 | 20130940097 | 0.04 | False Negative | 0.125 | < |  | ug/L |  | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2013-05-16 07:00 | 20131370001 | 0.04 | False Negative | 0.226 | < |  | ug/L |  | V | rcr | m | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2015-09-17 06:00 | 20152610011 | 0.04 | Deleted Values | 0.2408 | R |  | ug/L |  |  | rcr | m | 2015-09-23 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2015-10-01 06:00 | 20152750006 | 0.04 | Deleted Values | 0.2408 | R |  | ug/L |  |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-02-17 08:30 | 20110490035 | 0.04 | Estimated Values | 0.02475 | E | 0.019 | ug/L | 0.76768 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DISULFOTON | 82677GCM35 | 2010-04-29 10:30 | 20101190091 | 0.04 | Estimated Values | 0.038782 | E | 0.023 | ug/L | 0.59306 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2010-09-09 06:40 | 20102530008 | 0.04 | Estimated Values | 0.040428 | E | 0.029 | ug/L | 0.71732 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2010-06-17 10:30 | 20101720149 | 0.04 | Estimated Values | 0.040547 | E | 0.026 | ug/L | 0.64122 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2010-10-21 07:30 | 20102950072 | 0.04 | Estimated Values | 0.048425 | E | 0.039 | ug/L | 0.80537 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2012-08-07 06:00 | 20122210006 | 0.04 | Estimated Values | 0.0494 | E | 0.015 | ug/L | 0.30364 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2012-08-30 06:30 | 20122430227 | 0.04 | Estimated Values | 0.0494 | E | 0.022 | ug/L | 0.44534 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2010-11-10 07:30 | 20103140135 | 0.04 | Estimated Values | 0.049461 | E | 0.028 | ug/L | 0.5661 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-03-17 08:00 | 20110770001 | 0.04 | Estimated Values | 0.04957 | E | 0.037 | ug/L | 0.74641 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-07-07 06:30 | 20111890005 | 0.04 | Estimated Values | 0.0496 | E | 0.033 | ug/L | 0.66532 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-09-01 07:30 | 20112450022 | 0.04 | Estimated Values | 0.0496 | E | 0.033 | ug/L | 0.66532 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-12-15 07:30 | 20113500021 | 0.04 | Estimated Values | 0.0496 | E | 0.028 | ug/L | 0.56452 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2012-03-01 07:30 | 20120620015 | 0.04 | Estimated Values | 0.0496 | E | 0.009 | ug/L | 0.18145 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-07-21 07:30 | 20112030057 | 0.04 | Estimated Values | 0.0498 | E | 0.029 | ug/L | 0.58233 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-11-22 07:30 | 20113260111 | 0.04 | Estimated Values | 0.0498 | E | 0.009 | ug/L | 0.18072 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2012-02-02 12:10 | 20120370001 | 0.04 | Estimated Values | 0.0498 | E | 0.034 | ug/L | 0.68273 | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2012-06-07 06:30 | 20121600156 | 0.04 | Estimated Values | 0.05 | E | 0.016 | ug/L | 0.32 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2012-09-13 06:00 | 20122570122 | 0.04 | Estimated Values | 0.05 | E | 0.031 | ug/L | 0.62 | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-03-05 06:00 | 20130650005 | 0.04 | Estimated Values | 0.05 | E | 0.004 | ug/L | 0.08 | V | rcr | b | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2012-07-19 06:30 | 20122020004 | 0.04 | Estimated Values | 0.05 | E | 0.007 | ug/L | 0.14 | V | rcr | b | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-10-17 06:30 | 20132910008 | 0.04 | Estimated Values | 0.05 | E | 0.029 | ug/L | 0.58 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON | 82677GCM35 | 2013-12-05 08:00 | 20133400002 | 0.04 | Estimated Values | 0.05 | E | 0.024 | ug/L | 0.48 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON | 82677GCM35 | 2011-04-14 07:30 | 20111050150 | 0.04 | Estimated Values | 0.050288 | E | 0.042 | ug/L | 0.83519 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2013-07-11 06:30 | 20131920149 | 0.04 | Estimated Values | 0.0504 | E | 0.006 | ug/L | 0.11905 | Y | rcr | b | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2014-03-27 06:30 | 20140860102 | 0.04 | Estimated Values | 0.0504 | E | 0.015 | ug/L | 0.29762 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON | 82677GCM35 | 2011-05-12 07:00 | 20111330148 | 0.04 | Estimated Values | 0.050458 | E | 0.037 | ug/L | 0.73329 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2011-02-24 08:00 | 20110560005 | 0.04 | Estimated Values | 0.050702 | E | 0.028 | ug/L | 0.55224 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2015-10-29 06:00 | 20153030068 | 0.04 | Estimated Values | 0.06 | E | 0.031 | ug/L | 0.51667 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2015-11-10 06:00 | 20153160001 | 0.04 | Estimated Values | 0.06 | E | 0.012 | ug/L | 0.2 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2015-04-30 07:00 | 20151210037 | 0.04 | Estimated Values | 0.0602 | E | 0.009 | ug/L | 0.1495 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2011-06-07 10:00 | 20111590005 | 0.04 | Estimated Values | 0.074096 | E | 0.052 | ug/L | 0.70179 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DISULFOTON | 82677GCM35 | 2014-04-17 06:00 | 20141080004 | 0.04 | Estimated Values | 0.0804 | E | 0.03 | ug/L | 0.37313 | Y | rcr | m | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2015-01-15 06:00 | 20150150115 | 0.04 | Estimated Values | 0.0804 | E | 0.019 | ug/L | 0.23632 | Y | rcr | m | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-05-29 06:00 | 20141490205 | 0.04 | Estimated Values | 0.0804 | E | 0.049 | ug/L | 0.60945 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-10-09 06:00 | 20142820151 | 0.04 | Estimated Values | 0.0804 | E | 0.005 | ug/L | 0.062189 | Y | rcr | b | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-05-16 06:00 | 20141360094 | 0.04 | Estimated Values | 0.081 | E | 0.024 | ug/L | 0.2963 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-09-03 06:00 | 20142470041 | 0.04 | Estimated Values | 0.081 | E | 0.006 | ug/L | 0.074074 | Y | rcr | b | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-06-12 06:00 | 20141640076 | 0.04 | Estimated Values | 0.081 | E | 0.021 | ug/L | 0.25926 | Y | rcr | m | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2014-07-10 06:00 | 20141910243 | 0.04 | Estimated Values | 0.081 | E | 0.018 | ug/L | 0.22222 | Y | rcr | m | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DISULFOTON | 82677GCM35 | 2013-10-31 06:30 | 20133050050 | 0.04 | Estimated Values | 0.09 | E | 0.045 | ug/L | 0.5 | Y | rcr | m | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-12-12 06:30 | 20133470008 | 0.04 | Estimated Values | 0.0904 | E | 0.006 | ug/L | 0.066372 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-11-26 07:00 | 20133310030 | 0.04 | Estimated Values | 0.0904 | E | 0.057 | ug/L | 0.63053 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2014-03-13 07:00 | 20140730138 | 0.04 | Estimated Values | 0.0904 | E | 0.049 | ug/L | 0.54204 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON | 82677GCM35 | 2011-01-13 06:30 | 20110130056 | 0.04 | Estimated Values | 0.095744 | E | 0.049 | ug/L | 0.51178 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-06-02 07:30 | 20111540007 | 0.04 | Estimated Values | 0.098167 | E | 0.07 | ug/L | 0.71307 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-06-29 07:00 | 20111810004 | 0.04 | Estimated Values | 0.0992 | E | 0.06 | ug/L | 0.60484 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-09-15 07:30 | 20112590005 | 0.04 | Estimated Values | 0.0992 | E | 0.055 | ug/L | 0.55444 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-11-09 07:00 | 20113130085 | 0.04 | Estimated Values | 0.0992 | E | 0.061 | ug/L | 0.61492 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-04-07 09:00 | 20110980030 | 0.04 | Estimated Values | 0.099483 | E | 0.07 | ug/L | 0.70364 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2011-08-10 08:00 | 20112220126 | 0.04 | Estimated Values | 0.0996 | E | 0.056 | ug/L | 0.56225 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-08-18 08:46 | 20112310032 | 0.04 | Estimated Values | 0.0996 | E | 0.012 | ug/L | 0.12048 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2011-10-20 07:00 | 20112930085 | 0.04 | Estimated Values | 0.0996 | E | 0.048 | ug/L | 0.48193 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2012-05-10 06:30 | 20121310027 | 0.04 | Estimated Values | 0.0996 | E | 0.04 | ug/L | 0.40161 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2010-12-09 06:00 | 20103430087 | 0.04 | Estimated Values | 0.10019 | E | 0.057 | ug/L | 0.56891 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | DISULFOTON | 82677GCM35 | 2010-11-18 09:00 | 20103230114 | 0.04 | Estimated Values | 0.1007 | E | 0.089 | ug/L | 0.88377 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2010-08-03 06:30 | 20102160002 | 0.04 | Estimated Values | 0.10437 | E | 0.047 | ug/L | 0.45034 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2010-01-21 07:00 | 20100210100 | 0.04 | Estimated Values | 0.10462 | E | 0.055 | ug/L | 0.52569 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2010-04-01 06:30 | 20100920048 | 0.04 | Estimated Values | 0.10468 | E | 0.025 | ug/L | 0.23882 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2010-02-25 06:30 | 20100570086 | 0.04 | Estimated Values | 0.10966 | E | 0.073 | ug/L | 0.66566 | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2015-12-17 06:00 | 20153510109 | 0.04 | Estimated Values | 0.12 | E | 0.065 | ug/L | 0.54167 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2012-10-30 07:00 | 20123040157 | 0.04 | Estimated Values | 0.1235 | E | 0.014 | ug/L | 0.11336 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2012-10-10 07:00 | 20122850005 | 0.04 | Estimated Values | 0.125 | E | 0.083 | ug/L | 0.664 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2013-01-10 06:00 | 20130100066 | 0.04 | Estimated Values | 0.125 | E | 0.022 | ug/L | 0.176 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2013-08-29 06:30 | 20132420001 | 0.04 | Estimated Values | 0.126 | E | 0.038 | ug/L | 0.30159 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON | 82677GCM35 | 2014-01-23 06:30 | 20140230082 | 0.04 | Estimated Values | 0.126 | E | 0.085 | ug/L | 0.6746 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON | 82677GCM35 | 2014-08-14 06:00 | 20142270001 | 0.04 | Estimated Values | 0.1608 | E | 0.049 | ug/L | 0.30473 | Y | rcr | m | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2014-05-01 06:00 | 20141220025 | 0.04 | Estimated Values | 0.1608 | E | 0.062 | ug/L | 0.38557 | Y | rcr | m | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2014-11-19 06:00 | 20143240095 | 0.04 | Estimated Values | 0.1608 | E | 0.068 | ug/L | 0.42289 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2014-11-06 06:00 | 20143110108 | 0.04 | Estimated Values | 0.162 | E | 0.062 | ug/L | 0.38272 | Y | rcr | m | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2014-06-26 06:00 | 20141770149 | 0.04 | Estimated Values | 0.162 | E | 0.072 | ug/L | 0.44444 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2015-02-12 06:00 | 20150430092 | 0.04 | Estimated Values | 0.162 | E | 0.108 | ug/L | 0.66667 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2014-09-25 06:00 | 20142720002 | 0.04 | Estimated Values | 0.162 | E | 0.066 | ug/L | 0.40741 | Y | rcr | m | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DISULFOTON | 82677GCM35 | 2010-05-20 06:30 | 20101410006 | 0.04 | Estimated Values | 0.20742 | E | 0.086 | ug/L | 0.41462 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2010-09-02 06:30 | 20102500051 | 0.04 | Estimated Values | 0.21262 | E | 0.154 | ug/L | 0.7243 | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2010-06-24 06:30 | 20101760006 | 0.04 | Estimated Values | 0.21385 | E | 0.132 | ug/L | 0.61725 | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | DISULFOTON | 82677GCM35 | 2014-02-06 06:30 | 20140370077 | 0.04 | Estimated Values | 0.225 | E | 0.173 | ug/L | 0.76889 | Y | rcr | m | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DISULFOTON | 82677GCM35 | 2013-09-25 08:00 | 20132690010 | 0.04 | Estimated Values | 0.225 | E | 0.144 | ug/L | 0.64 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DISULFOTON | 82677GCM35 | 2013-01-24 06:00 | 20130250061 | 0.04 | Estimated Values | 0.247 | E | 0.092 | ug/L | 0.37247 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2012-12-06 06:30 | 20123420074 | 0.04 | Estimated Values | 0.247 | E | 0.153 | ug/L | 0.61943 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2012-11-20 06:30 | 20123260037 | 0.04 | Estimated Values | 0.25 | E | 0.1 | ug/L | 0.4 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2013-09-06 06:50 | 20132490342 | 0.04 | Estimated Values | 0.45 | E | 0.194 | ug/L | 0.43111 | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DISULFOTON | 82677GCM35 | 2014-01-09 06:30 | 20140100085 | 0.04 | Estimated Values | 0.45 | E | 0.405 | ug/L | 0.9 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl