## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-08-18 08:47 | 20112310030 | 0.016 | False Negative | 0.08 | < |  | ug/L |  | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-10-29 06:00 | 20153030068 | 0.016 | Recoverable Result | 0.024 | . | 0.0179 | ug/L | 0.74583 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-08-06 06:00 | 20152190003 | 0.016 | Recoverable Result | 0.024 | . | 0.0165 | ug/L | 0.6875 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-11-10 06:00 | 20153160001 | 0.016 | Recoverable Result | 0.024 | . | 0.0159 | ug/L | 0.6625 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-04-30 07:00 | 20151210037 | 0.016 | Recoverable Result | 0.0242 | . | 0.0185 | ug/L | 0.76446 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-02-17 08:30 | 20110490035 | 0.016 | Recoverable Result | 0.02475 | . | 0.0267 | ug/L | 1.0788 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-04-17 06:00 | 20141080004 | 0.016 | Recoverable Result | 0.0324 | . | 0.0196 | ug/L | 0.60494 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-01-15 06:00 | 20150150115 | 0.016 | Recoverable Result | 0.0324 | . | 0.0229 | ug/L | 0.70679 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-05-29 06:00 | 20141490205 | 0.016 | Recoverable Result | 0.0324 | . | 0.0207 | ug/L | 0.63889 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-10-09 06:00 | 20142820151 | 0.016 | Recoverable Result | 0.0324 | . | 0.0238 | ug/L | 0.73457 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-05-16 06:00 | 20141360094 | 0.016 | Recoverable Result | 0.033 | . | 0.0229 | ug/L | 0.69394 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-09-03 06:00 | 20142470041 | 0.016 | Recoverable Result | 0.033 | . | 0.0226 | ug/L | 0.68485 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-06-12 06:00 | 20141640076 | 0.016 | Recoverable Result | 0.033 | . | 0.0167 | ug/L | 0.50606 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-07-10 06:00 | 20141910243 | 0.016 | Recoverable Result | 0.033 | . | 0.0222 | ug/L | 0.67273 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-04-29 10:30 | 20101190091 | 0.014 | Estimated Values | 0.038782 | E | 0.0247 | ug/L | 0.63689 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-05-30 07:30 | 20131510026 | 0.016 | Recoverable Result | 0.04 | . | 0.0394 | ug/L | 0.985 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-06-27 06:30 | 20131790009 | 0.016 | Recoverable Result | 0.04 | . | 0.0249 | ug/L | 0.6225 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-12-12 06:30 | 20133470008 | 0.016 | Recoverable Result | 0.04 | . | 0.036 | ug/L | 0.9 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-10-31 06:30 | 20133050050 | 0.016 | Recoverable Result | 0.04 | . | 0.0344 | ug/L | 0.86 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-12-23 06:30 | 20133580036 | 0.016 | Recoverable Result | 0.04 | . | 0.0293 | ug/L | 0.7325 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-11-14 07:30 | 20133190012 | 0.016 | Recoverable Result | 0.04 | . | 0.0386 | ug/L | 0.965 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-02-20 06:30 | 20140510043 | 0.016 | Recoverable Result | 0.04 | . | 0.0341 | ug/L | 0.8525 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-09-09 06:40 | 20102530008 | 0.016 | Recoverable Result | 0.040428 | . | 0.0382 | ug/L | 0.94488 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-06-17 10:30 | 20101720149 | 0.014 | Recoverable Result | 0.040547 | . | 0.0454 | ug/L | 1.1197 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-08-20 06:00 | 20152330039 | 0.016 | Recoverable Result | 0.048 | . | 0.0388 | ug/L | 0.80833 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-12-17 06:00 | 20153510109 | 0.016 | Recoverable Result | 0.048 | . | 0.0368 | ug/L | 0.76667 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-06-04 07:00 | 20151550293 | 0.016 | Recoverable Result | 0.0484 | . | 0.0401 | ug/L | 0.82851 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-07-09 07:00 | 20151900132 | 0.016 | Recoverable Result | 0.0484 | . | 0.0314 | ug/L | 0.64876 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-04-08 06:30 | 20100990014 | 0.014 | Recoverable Result | 0.060241 | . | 0.0543 | ug/L | 0.90138 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-08-26 06:30 | 20102390088 | 0.016 | Recoverable Result | 0.060612 | . | 0.0442 | ug/L | 0.72923 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-03-11 06:30 | 20100710178 | 0.014 | Recoverable Result | 0.060945 | . | 0.0499 | ug/L | 0.81878 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-07-21 06:30 | 20102030005 | 0.014 | Recoverable Result | 0.061237 | . | 0.0557 | ug/L | 0.90958 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-08-14 06:00 | 20142270001 | 0.016 | Recoverable Result | 0.0648 | . | 0.0464 | ug/L | 0.71605 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-05-01 06:00 | 20141220025 | 0.016 | Recoverable Result | 0.0648 | . | 0.0503 | ug/L | 0.77623 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-11-19 06:00 | 20143240095 | 0.016 | Recoverable Result | 0.0648 | . | 0.0453 | ug/L | 0.69907 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-11-06 06:00 | 20143110108 | 0.016 | Recoverable Result | 0.066 | . | 0.0424 | ug/L | 0.64242 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-06-26 06:00 | 20141770149 | 0.016 | Recoverable Result | 0.066 | . | 0.0474 | ug/L | 0.71818 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-02-12 06:00 | 20150430092 | 0.016 | Recoverable Result | 0.066 | . | 0.052 | ug/L | 0.78788 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-09-25 06:00 | 20142720002 | 0.016 | Recoverable Result | 0.066 | . | 0.0495 | ug/L | 0.75 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-10-21 07:30 | 20102950072 | 0.016 | Recoverable Result | 0.067289 | . | 0.0669 | ug/L | 0.99422 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-11-10 07:30 | 20103140135 | 0.016 | Estimated Values | 0.069007 | E | 0.0441 | ug/L | 0.63907 | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-03-17 08:00 | 20110770001 | 0.016 | Recoverable Result | 0.069158 | . | 0.0546 | ug/L | 0.78949 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-07-21 07:30 | 20112030057 | 0.016 | Recoverable Result | 0.0692 | . | 0.0625 | ug/L | 0.90318 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-11-22 07:30 | 20113260111 | 0.016 | Recoverable Result | 0.0692 | . | 0.0647 | ug/L | 0.93497 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-02-02 12:10 | 20120370001 | 0.016 | Estimated Values | 0.0692 | E | 0.0758 | ug/L | 1.0954 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-07-07 06:30 | 20111890005 | 0.016 | Recoverable Result | 0.0692 | . | 0.0618 | ug/L | 0.89306 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-09-01 07:30 | 20112450022 | 0.016 | Recoverable Result | 0.0692 | . | 0.0596 | ug/L | 0.86127 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-12-15 07:30 | 20113500021 | 0.016 | Recoverable Result | 0.0692 | . | 0.0625 | ug/L | 0.90318 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-03-01 07:30 | 20120620015 | 0.016 | Recoverable Result | 0.0692 | . | 0.0554 | ug/L | 0.80058 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-04-14 07:30 | 20111050150 | 0.016 | Recoverable Result | 0.069878 | . | 0.0503 | ug/L | 0.71983 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-05-12 07:00 | 20111330148 | 0.016 | Recoverable Result | 0.070397 | . | 0.0538 | ug/L | 0.76424 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-02-24 08:00 | 20110560005 | 0.016 | Recoverable Result | 0.070454 | . | 0.0659 | ug/L | 0.93536 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-06-07 10:00 | 20111590005 | 0.016 | Recoverable Result | 0.074096 | . | 0.0498 | ug/L | 0.6721 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-09-17 06:00 | 20152610011 | 0.016 | Recoverable Result | 0.0968 | . | 0.0966 | ug/L | 0.99793 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2015-10-01 06:00 | 20152750006 | 0.016 | Recoverable Result | 0.0968 | . | 0.0596 | ug/L | 0.6157 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-04-07 09:00 | 20110980030 | 0.016 | Recoverable Result | 0.099483 | . | 0.0961 | ug/L | 0.966 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-08-01 07:00 | 20132140002 | 0.016 | Recoverable Result | 0.1 | . | 0.0801 | ug/L | 0.801 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2014-02-06 06:30 | 20140370077 | 0.016 | Recoverable Result | 0.1 | . | 0.0774 | ug/L | 0.774 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-07-19 06:30 | 20122020004 | 0.016 | Recoverable Result | 0.1 | . | 0.0951 | ug/L | 0.951 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-07-03 08:00 | 20121870008 | 0.016 | Recoverable Result | 0.1 | . | 0.0903 | ug/L | 0.903 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-02-07 06:30 | 20130390105 | 0.016 | Recoverable Result | 0.1 | . | 0.0753 | ug/L | 0.753 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-05-16 07:00 | 20131370001 | 0.016 | Recoverable Result | 0.1 | . | 0.125 | ug/L | 1.25 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-09-12 08:30 | 20132560001 | 0.016 | Recoverable Result | 0.1 | . | 0.0793 | ug/L | 0.793 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-11-18 09:00 | 20103230114 | 0.016 | Recoverable Result | 0.1007 | . | 0.0896 | ug/L | 0.88973 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-08-30 06:30 | 20122430227 | 0.016 | Recoverable Result | 0.1014 | . | 0.0777 | ug/L | 0.76627 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-02-19 06:30 | 20130510051 | 0.016 | Recoverable Result | 0.1014 | . | 0.0907 | ug/L | 0.89448 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-08-16 06:30 | 20122300021 | 0.016 | Recoverable Result | 0.1014 | . | 0.0923 | ug/L | 0.91026 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-06-10 06:30 | 20101650033 | 0.014 | Recoverable Result | 0.12267 | . | 0.0827 | ug/L | 0.67414 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-09-16 06:30 | 20102630169 | 0.016 | Recoverable Result | 0.1233 | . | 0.0997 | ug/L | 0.80857 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-01-13 06:30 | 20110130056 | 0.016 | Recoverable Result | 0.13358 | . | 0.0945 | ug/L | 0.70745 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-06-02 07:30 | 20111540007 | 0.016 | Recoverable Result | 0.13641 | . | 0.103 | ug/L | 0.75509 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-08-10 08:00 | 20112220126 | 0.016 | Recoverable Result | 0.1384 | . | 0.105 | ug/L | 0.75867 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-08-18 08:46 | 20112310032 | 0.016 | Recoverable Result | 0.1384 | . | 0.0581 | ug/L | 0.4198 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-10-20 07:00 | 20112930085 | 0.016 | Recoverable Result | 0.1384 | . | 0.114 | ug/L | 0.8237 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-05-10 06:30 | 20121310027 | 0.016 | Recoverable Result | 0.1384 | . | 0.117 | ug/L | 0.84538 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-06-29 07:00 | 20111810004 | 0.016 | Recoverable Result | 0.1384 | . | 0.129 | ug/L | 0.93208 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-09-15 07:30 | 20112590005 | 0.016 | Recoverable Result | 0.1384 | . | 0.119 | ug/L | 0.85983 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2011-11-09 07:00 | 20113130085 | 0.016 | Recoverable Result | 0.1384 | . | 0.12 | ug/L | 0.86705 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-12-09 06:00 | 20103430087 | 0.016 | Recoverable Result | 0.13922 | . | 0.107 | ug/L | 0.76856 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-09-06 06:50 | 20132490342 | 0.016 | Recoverable Result | 0.2 | . | 0.15 | ug/L | 0.75 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-10-10 07:00 | 20122850005 | 0.016 | Recoverable Result | 0.25 | . | 0.206 | ug/L | 0.824 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-01-10 06:00 | 20130100066 | 0.016 | Recoverable Result | 0.25 | . | 0.211 | ug/L | 0.844 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-03-21 06:30 | 20130810108 | 0.016 | Recoverable Result | 0.25 | . | 0.208 | ug/L | 0.832 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-09-27 07:00 | 20122720048 | 0.016 | Recoverable Result | 0.2535 | . | 0.238 | ug/L | 0.93886 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2013-04-04 06:30 | 20130940097 | 0.016 | Estimated Values | 0.2535 | E | 0.187 | ug/L | 0.73767 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-12-20 06:30 | 20123560092 | 0.016 | Recoverable Result | 0.2535 | . | 0.219 | ug/L | 0.86391 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2010-05-13 06:30 | 20101340154 | 0.014 | Recoverable Result | 0.30303 | . | 0.308 | ug/L | 1.0164 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-11-08 06:30 | 20123140095 | 0.016 | Recoverable Result | 0.5 | . | 0.459 | ug/L | 0.918 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ENDOSULFAN SULFATE | 61590GCM39 | 2012-11-20 06:30 | 20123260037 | 0.016 | Recoverable Result | 0.507 | . | 0.426 | ug/L | 0.84024 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl