## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ETHION MONOXON | 61644GCM39 | 2012-09-27 07:00 | 20122720048 | 0.021 | False Positive |  | E |  | ug/L |  | V | rcr | b | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | ETHION MONOXON | 61644GCM39 | 2015-10-01 06:00 | 20152750006 | 0.021 | False Positive |  | E |  | ug/L |  |  | rcr | b | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ETHION MONOXON | 61644GCM39 | 2011-02-17 08:30 | 20110490035 | 0.021 | Estimated Values | 0.02475 | E | 0.0289 | ug/L | 1.1677 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ETHION MONOXON | 61644GCM39 | 2010-04-29 10:30 | 20101190091 | 0.021 | Estimated Values | 0.038782 | E | 0.0312 | ug/L | 0.80449 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ETHION MONOXON | 61644GCM39 | 2010-09-09 06:40 | 20102530008 | 0.021 | Estimated Values | 0.040428 | E | 0.0426 | ug/L | 1.0537 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ETHION MONOXON | 61644GCM39 | 2010-06-17 10:30 | 20101720149 | 0.021 | Estimated Values | 0.040547 | E | 0.0448 | ug/L | 1.1049 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ETHION MONOXON | 61644GCM39 | 2011-06-07 10:00 | 20111590005 | 0.021 | Estimated Values | 0.074096 | E | 0.0607 | ug/L | 0.81921 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ETHION MONOXON | 61644GCM39 | 2011-04-07 09:00 | 20110980030 | 0.021 | Estimated Values | 0.099483 | E | 0.0752 | ug/L | 0.75591 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ETHION MONOXON | 61644GCM39 | 2010-11-18 09:00 | 20103230114 | 0.021 | Estimated Values | 0.1007 | E | 0.0939 | ug/L | 0.93243 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl