## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-10-01 06:00 | 20152750006 | 0.054 | False Positive |  | . |  | ug/L |  |  | rcr | n | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-11-10 06:00 | 20153160001 | 0.054 | Deleted Values |  | R |  | ug/L |  |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-02-17 08:30 | 20110490035 | 0.054 | Estimated Values | 0.02475 | E | 0.0485 | ug/L | 1.9596 | V | rcr | n | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-04-29 10:30 | 20101190091 | 0.053 | Estimated Values | 0.038782 | E | 0.0275 | ug/L | 0.70909 | S | c3L | n | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-09-09 06:40 | 20102530008 | 0.054 | Recoverable Result | 0.040428 | . | 0.0349 | ug/L | 0.86325 | V | rcr | n | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-06-17 10:30 | 20101720149 | 0.053 | Estimated Values | 0.040547 | E | 0.0513 | ug/L | 1.2652 | X | str | n | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-05-02 06:00 | 20131230084 | 0.054 | Recoverable Result | 0.0592 | . | 0.0711 | ug/L | 1.201 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-08-07 06:00 | 20122210006 | 0.054 | Recoverable Result | 0.0592 | . | 0.0482 | ug/L | 0.81419 | Y | rcr | n | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-08-30 06:30 | 20122430227 | 0.054 | Recoverable Result | 0.0592 | . | 0.056 | ug/L | 0.94595 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-02-19 06:30 | 20130510051 | 0.054 | Recoverable Result | 0.0592 | . | 0.0638 | ug/L | 1.0777 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-06-07 06:30 | 20121600156 | 0.054 | Estimated Values | 0.06 | E | 0.0882 | ug/L | 1.47 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-09-13 06:00 | 20122570122 | 0.054 | Recoverable Result | 0.06 | . | 0.0387 | ug/L | 0.645 | Y | rcr | n | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-03-05 06:00 | 20130650005 | 0.054 | Recoverable Result | 0.06 | . | 0.0474 | ug/L | 0.79 | V | rcr | n | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-07-19 06:30 | 20122020004 | 0.054 | Estimated Values | 0.06 | E | 0.0904 | ug/L | 1.5067 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-10-17 06:30 | 20132910008 | 0.054 | Recoverable Result | 0.06 | . | 0.0473 | ug/L | 0.78833 | Y | rcr | n | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-12-05 08:00 | 20133400002 | 0.054 | Recoverable Result | 0.06 | . | 0.053 | ug/L | 0.88333 | Y | rcr | n | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-07-11 06:30 | 20131920149 | 0.054 | Recoverable Result | 0.0602 | . | 0.0582 | ug/L | 0.96678 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-03-27 06:30 | 20140860102 | 0.054 | Recoverable Result | 0.0602 | . | 0.0495 | ug/L | 0.82226 | Y | rcr | n | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-10-21 07:30 | 20102950072 | 0.054 | Recoverable Result | 0.066511 | . | 0.0788 | ug/L | 1.1848 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-11-10 07:30 | 20103140135 | 0.054 | Estimated Values | 0.068249 | E | 0.0398 | ug/L | 0.58316 | V | rcr | n | 2011-01-18 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-03-17 08:00 | 20110770001 | 0.054 | Recoverable Result | 0.068399 | . | 0.06 | ug/L | 0.87721 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-07-21 07:30 | 20112030057 | 0.054 | Recoverable Result | 0.0684 | . | 0.0816 | ug/L | 1.193 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-11-22 07:30 | 20113260111 | 0.054 | Recoverable Result | 0.0684 | . | 0.0531 | ug/L | 0.77632 | V | rcr | n | 2011-12-04 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-02-02 12:10 | 20120370001 | 0.054 | Estimated Values | 0.0684 | E | 0.101 | ug/L | 1.4766 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-07-07 06:30 | 20111890005 | 0.054 | Recoverable Result | 0.06844 | . | 0.0634 | ug/L | 0.92636 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-09-01 07:30 | 20112450022 | 0.054 | Recoverable Result | 0.06844 | . | 0.0807 | ug/L | 1.1791 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-12-15 07:30 | 20113500021 | 0.054 | Recoverable Result | 0.06844 | . | 0.0515 | ug/L | 0.75248 | V | rcr | n | 2011-12-22 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-03-01 07:30 | 20120620015 | 0.054 | Recoverable Result | 0.06844 | . | 0.0765 | ug/L | 1.1178 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-04-14 07:30 | 20111050150 | 0.054 | Recoverable Result | 0.06907 | . | 0.0668 | ug/L | 0.96713 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-05-12 07:00 | 20111330148 | 0.054 | Recoverable Result | 0.069624 | . | 0.0766 | ug/L | 1.1002 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-02-24 08:00 | 20110560005 | 0.054 | Estimated Values | 0.06964 | E | 0.0892 | ug/L | 1.2809 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-06-07 10:00 | 20111590005 | 0.054 | Estimated Values | 0.074096 | E | 0.0513 | ug/L | 0.69235 | V | rcr | n | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-08-03 06:30 | 20102160002 | 0.054 | Estimated Values | 0.078274 | E | 0.089 | ug/L | 1.137 | X | str |  | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-04-01 06:30 | 20100920048 | 0.053 | Recoverable Result | 0.07851 | . | 0.0674 | ug/L | 0.85849 | W | fww |  | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-01-21 07:00 | 20100210100 | 0.053 | Recoverable Result | 0.078615 | . | 0.0782 | ug/L | 0.99472 | X | STR |  | 2010-03-24 | Accu 209081187: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-05-30 07:30 | 20131510026 | 0.054 | Recoverable Result | 0.0788 | . | 0.0952 | ug/L | 1.2081 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-08-15 06:30 | 20132280016 | 0.054 | Recoverable Result | 0.0788 | . | 0.0852 | ug/L | 1.0812 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-11-26 07:00 | 20133310030 | 0.054 | Recoverable Result | 0.0788 | . | 0.126 | ug/L | 1.599 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-03-13 07:00 | 20140730138 | 0.054 | Recoverable Result | 0.0788 | . | 0.0382 | ug/L | 0.48477 | Y | rcr | n | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-02-20 06:30 | 20140510043 | 0.054 | Recoverable Result | 0.0788 | . | 0.0635 | ug/L | 0.80584 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-10-22 06:00 | 20152950078 | 0.054 | Recoverable Result | 0.08 | . | 0.0532 | ug/L | 0.665 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-06-25 06:00 | 20151760208 | 0.054 | Recoverable Result | 0.08 | . | 0.0677 | ug/L | 0.84625 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-10-29 06:00 | 20153030068 | 0.054 | Recoverable Result | 0.08 | . | 0.0674 | ug/L | 0.8425 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-06-13 06:30 | 20131650073 | 0.054 | Recoverable Result | 0.0802 | . | 0.0809 | ug/L | 1.0087 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-12-23 06:30 | 20133580036 | 0.054 | Recoverable Result | 0.0802 | . | 0.0606 | ug/L | 0.75561 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-11-14 07:30 | 20133190012 | 0.054 | Recoverable Result | 0.0802 | . | 0.106 | ug/L | 1.3217 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-07-23 06:00 | 20152040177 | 0.054 | Estimated Values | 0.0806 | E | 0.0422 | ug/L | 0.52357 | Y | rcr | n | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-08-06 06:00 | 20152190003 | 0.054 | Recoverable Result | 0.0806 | . | 0.0779 | ug/L | 0.9665 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-02-25 06:30 | 20100570086 | 0.053 | Recoverable Result | 0.082402 | . | 0.0782 | ug/L | 0.949 | X | STR |  | 2010-05-07 | Accu 209081187: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-04-07 09:00 | 20110980030 | 0.054 | Recoverable Result | 0.099483 | . | 0.074 | ug/L | 0.74385 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-11-18 09:00 | 20103230114 | 0.054 | Recoverable Result | 0.1007 | . | 0.106 | ug/L | 1.0526 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-05-22 07:00 | 20141420140 | 0.054 | Recoverable Result | 0.1074 | . | 0.0952 | ug/L | 0.88641 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-05-29 06:00 | 20141490205 | 0.054 | Recoverable Result | 0.1074 | . | 0.0803 | ug/L | 0.74767 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-05-16 06:00 | 20141360094 | 0.054 | Estimated Values | 0.1074 | E | 0.0474 | ug/L | 0.44134 | Y | rcr | n | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-07-02 07:00 | 20141840097 | 0.054 | Recoverable Result | 0.1074 | . | 0.0585 | ug/L | 0.54469 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-08-07 07:00 | 20142200164 | 0.054 | Recoverable Result | 0.1083 | . | 0.0744 | ug/L | 0.68698 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-10-09 06:00 | 20142820151 | 0.054 | Recoverable Result | 0.1083 | . | 0.103 | ug/L | 0.95106 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-09-03 06:00 | 20142470041 | 0.054 | Recoverable Result | 0.1083 | . | 0.075 | ug/L | 0.69252 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-12-03 06:00 | 20143370094 | 0.054 | Recoverable Result | 0.1083 | . | 0.0763 | ug/L | 0.70452 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-01-13 06:30 | 20110130056 | 0.054 | Recoverable Result | 0.13211 | . | 0.108 | ug/L | 0.8175 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-06-02 07:30 | 20111540007 | 0.054 | Recoverable Result | 0.13483 | . | 0.122 | ug/L | 0.90483 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-08-10 08:00 | 20112220126 | 0.054 | Recoverable Result | 0.1368 | . | 0.0918 | ug/L | 0.67105 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-08-18 08:46 | 20112310032 | 0.054 | Recoverable Result | 0.1368 | . | 0.0784 | ug/L | 0.5731 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-10-20 07:00 | 20112930085 | 0.054 | Recoverable Result | 0.1368 | . | 0.102 | ug/L | 0.74561 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-05-10 06:30 | 20121310027 | 0.054 | Estimated Values | 0.1368 | E | 0.106 | ug/L | 0.77485 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-06-29 07:00 | 20111810004 | 0.054 | Recoverable Result | 0.13688 | . | 0.106 | ug/L | 0.7744 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-09-15 07:30 | 20112590005 | 0.054 | Recoverable Result | 0.13688 | . | 0.102 | ug/L | 0.74518 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2011-11-09 07:00 | 20113130085 | 0.054 | Recoverable Result | 0.13688 | . | 0.102 | ug/L | 0.74518 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-12-09 06:00 | 20103430087 | 0.054 | Recoverable Result | 0.13761 | . | 0.146 | ug/L | 1.061 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-10-30 07:00 | 20123040157 | 0.054 | Estimated Values | 0.148 | E | 0.115 | ug/L | 0.77703 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-10-10 07:00 | 20122850005 | 0.054 | Recoverable Result | 0.15 | . | 0.127 | ug/L | 0.84667 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-01-10 06:00 | 20130100066 | 0.054 | Recoverable Result | 0.15 | . | 0.138 | ug/L | 0.92 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-04-04 06:30 | 20130940097 | 0.054 | Recoverable Result | 0.15 | . | 0.112 | ug/L | 0.74667 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-08-29 06:30 | 20132420001 | 0.054 | Recoverable Result | 0.1505 | . | 0.121 | ug/L | 0.80399 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-01-23 06:30 | 20140230082 | 0.054 | Recoverable Result | 0.1505 | . | 0.115 | ug/L | 0.76412 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-05-20 06:30 | 20101410006 | 0.053 | Estimated Values | 0.15556 | E | 0.106 | ug/L | 0.68139 | W | c3L |  | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-09-02 06:30 | 20102500051 | 0.054 | Recoverable Result | 0.15976 | . | 0.152 | ug/L | 0.95142 | X | str |  | 2010-12-14 | Accu 209081187: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-06-04 07:00 | 20151550293 | 0.054 | Recoverable Result | 0.16 | . | 0.103 | ug/L | 0.64375 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-05-07 07:00 | 20151270112 | 0.054 | Recoverable Result | 0.16 | . | 0.0922 | ug/L | 0.57625 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2010-06-24 06:30 | 20101760006 | 0.053 | Estimated Values | 0.16069 | E | 0.163 | ug/L | 1.0144 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-12-09 06:00 | 20153440001 | 0.054 | Recoverable Result | 0.1612 | . | 0.101 | ug/L | 0.62655 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-12-17 06:00 | 20153510109 | 0.054 | Recoverable Result | 0.1612 | . | 0.0946 | ug/L | 0.58685 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-08-01 07:00 | 20132140002 | 0.054 | Recoverable Result | 0.197 | . | 0.107 | ug/L | 0.54315 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-09-12 08:30 | 20132560001 | 0.054 | Recoverable Result | 0.2005 | . | 0.121 | ug/L | 0.60349 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-09-25 08:00 | 20132690010 | 0.054 | Recoverable Result | 0.2005 | . | 0.141 | ug/L | 0.70324 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-03-12 06:00 | 20150720069 | 0.054 | Recoverable Result | 0.2148 | . | 0.0798 | ug/L | 0.37151 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-06-26 06:00 | 20141770149 | 0.054 | Recoverable Result | 0.2148 | . | 0.146 | ug/L | 0.6797 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-06-05 07:00 | 20141570088 | 0.054 | Recoverable Result | 0.2148 | . | 0.156 | ug/L | 0.72626 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-10-23 06:00 | 20142960086 | 0.054 | Recoverable Result | 0.2166 | . | 0.127 | ug/L | 0.58633 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-11-19 06:00 | 20143240095 | 0.054 | Recoverable Result | 0.2166 | . | 0.127 | ug/L | 0.58633 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-02-12 06:00 | 20150430092 | 0.054 | Recoverable Result | 0.2166 | . | 0.0921 | ug/L | 0.42521 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-09-10 06:00 | 20142530087 | 0.054 | Estimated Values | 0.2166 | E | 0.0872 | ug/L | 0.40259 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2013-01-24 06:00 | 20130250061 | 0.054 | Recoverable Result | 0.296 | . | 0.194 | ug/L | 0.65541 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-12-06 06:30 | 20123420074 | 0.054 | Recoverable Result | 0.296 | . | 0.208 | ug/L | 0.7027 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2012-11-20 06:30 | 20123260037 | 0.054 | Recoverable Result | 0.3 | . | 0.252 | ug/L | 0.84 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-09-17 06:00 | 20152610011 | 0.054 | Estimated Values | 0.3224 | E | 0.224 | ug/L | 0.69479 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2015-09-03 06:00 | 20152460215 | 0.054 | Recoverable Result | 0.3224 | . | 0.262 | ug/L | 0.81266 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | FENAMIPHOS SULFONE | 61645GCM39 | 2014-01-09 06:30 | 20140100085 | 0.054 | Recoverable Result | 0.401 | . | 0.286 | ug/L | 0.71322 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl