## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-07-21 06:30 | 20102030005 | 0.08 | False Positive |  | E |  | ug/L |  | W | fww | m | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-06-10 06:30 | 20101650033 | 0.08 | False Positive |  | E |  | ug/L |  | W | c3L | m | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-06-04 07:00 | 20151550293 | 0.08 | False Positive |  | E |  | ug/L |  | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-08-06 06:00 | 20152190003 | 0.08 | False Positive |  | E |  | ug/L |  |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-02-17 08:30 | 20110490035 | 0.08 | SACRALT | 0.02475 | < | 0.08 | ug/L |  | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-09-13 06:00 | 20122570122 | 0.08 | False Negative | 0.1002 | < |  | ug/L |  | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-10-17 06:30 | 20132910008 | 0.08 | False Negative | 0.1002 | < |  | ug/L |  | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-11-10 06:00 | 20153160001 | 0.08 | Deleted Values | 0.12 | R |  | ug/L |  |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-05-16 06:00 | 20141360094 | 0.08 | False Negative | 0.1605 | < |  | ug/L |  | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-07-02 07:00 | 20141840097 | 0.08 | False Negative | 0.1605 | < |  | ug/L |  | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-04-01 06:30 | 20100920048 | 0.08 | False Negative | 0.18722 | < |  | ug/L |  | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-02-25 06:30 | 20100570086 | 0.08 | False Negative | 0.19371 | < |  | ug/L |  | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-02-02 12:10 | 20120370001 | 0.08 | False Negative | 0.19796 | < |  | ug/L |  | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-09-03 06:00 | 20152460215 | 0.08 | False Negative | 0.48 | < |  | ug/L |  |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-04-29 10:30 | 20101190091 | 0.08 | Estimated Values | 0.038782 | E | 0.016 | ug/L | 0.41256 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-09-09 06:40 | 20102530008 | 0.08 | Estimated Values | 0.040428 | E | 0.009 | ug/L | 0.22262 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-06-17 10:30 | 20101720149 | 0.08 | Estimated Values | 0.040547 | E | 0.037 | ug/L | 0.91251 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-06-07 10:00 | 20111590005 | 0.08 | Estimated Values | 0.074096 | E | 0.008 | ug/L | 0.10797 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-05-02 06:00 | 20131230084 | 0.08 | Estimated Values | 0.0986 | E | 0.122 | ug/L | 1.2373 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-08-07 06:00 | 20122210006 | 0.08 | Estimated Values | 0.0986 | E | 0.031 | ug/L | 0.3144 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-08-30 06:30 | 20122430227 | 0.08 | Estimated Values | 0.0986 | E | 0.035 | ug/L | 0.35497 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-02-19 06:30 | 20130510051 | 0.08 | Estimated Values | 0.0986 | E | 0.072 | ug/L | 0.73022 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-04-07 09:00 | 20110980030 | 0.08 | Estimated Values | 0.099483 | E | 0.056 | ug/L | 0.56291 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-06-07 06:30 | 20121600156 | 0.08 | Estimated Values | 0.1002 | E | 0.073 | ug/L | 0.72854 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-07-11 06:30 | 20131920149 | 0.08 | Estimated Values | 0.1002 | E | 0.064 | ug/L | 0.63872 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-03-05 06:00 | 20130650005 | 0.08 | Estimated Values | 0.1002 | E | 0.048 | ug/L | 0.47904 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-07-19 06:30 | 20122020004 | 0.08 | Estimated Values | 0.1002 | E | 0.097 | ug/L | 0.96806 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-03-27 06:30 | 20140860102 | 0.08 | Estimated Values | 0.1002 | E | 0.024 | ug/L | 0.23952 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-12-05 08:00 | 20133400002 | 0.08 | Estimated Values | 0.1002 | E | 0.035 | ug/L | 0.3493 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-11-18 09:00 | 20103230114 | 0.08 | Estimated Values | 0.1007 | E | 0.046 | ug/L | 0.45678 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-06-25 06:00 | 20151760208 | 0.08 | Estimated Values | 0.12 | E | 0.044 | ug/L | 0.36667 | V | rcr | m | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-04-30 07:00 | 20151210037 | 0.08 | Estimated Values | 0.121 | E | 0.018 | ug/L | 0.14876 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-10-22 06:00 | 20152950078 | 0.08 | Estimated Values | 0.121 | E | 0.018 | ug/L | 0.14876 |  | rcr | m | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-07-23 06:00 | 20152040177 | 0.08 | Estimated Values | 0.121 | E | 0.03 | ug/L | 0.24793 | Y | rcr | m | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-05-30 07:30 | 20131510026 | 0.08 | Estimated Values | 0.1576 | E | 0.123 | ug/L | 0.78046 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-08-15 06:30 | 20132280016 | 0.08 | Estimated Values | 0.1576 | E | 0.094 | ug/L | 0.59645 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-11-26 07:00 | 20133310030 | 0.08 | Estimated Values | 0.1576 | E | 0.036 | ug/L | 0.22843 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-03-13 07:00 | 20140730138 | 0.08 | Estimated Values | 0.1576 | E | 0.05 | ug/L | 0.31726 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-02-20 06:30 | 20140510043 | 0.08 | Estimated Values | 0.1576 | E | 0.153 | ug/L | 0.97081 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-08-07 07:00 | 20142200164 | 0.08 | Estimated Values | 0.1602 | E | 0.033 | ug/L | 0.20599 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-10-09 06:00 | 20142820151 | 0.08 | Estimated Values | 0.1602 | E | 0.071 | ug/L | 0.4432 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-09-03 06:00 | 20142470041 | 0.08 | Estimated Values | 0.1602 | E | 0.04 | ug/L | 0.24969 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-12-03 06:00 | 20143370094 | 0.08 | Estimated Values | 0.1602 | E | 0.021 | ug/L | 0.13109 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-05-22 07:00 | 20141420140 | 0.08 | Estimated Values | 0.1605 | E | 0.04 | ug/L | 0.24922 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-05-29 06:00 | 20141490205 | 0.08 | Estimated Values | 0.1605 | E | 0.024 | ug/L | 0.14953 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-06-13 06:30 | 20131650073 | 0.08 | Estimated Values | 0.1622 | E | 0.096 | ug/L | 0.59186 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-12-23 06:30 | 20133580036 | 0.08 | Estimated Values | 0.1622 | E | 0.035 | ug/L | 0.21578 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-11-14 07:30 | 20133190012 | 0.08 | Estimated Values | 0.1622 | E | 0.042 | ug/L | 0.25894 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-01-21 07:00 | 20100210100 | 0.08 | Estimated Values | 0.1848 | E | 0.032 | ug/L | 0.17316 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-08-03 06:30 | 20102160002 | 0.08 | Estimated Values | 0.18665 | E | 0.068 | ug/L | 0.36431 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-10-21 07:30 | 20102950072 | 0.08 | Estimated Values | 0.19249 | E | 0.066 | ug/L | 0.34287 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-11-10 07:30 | 20103140135 | 0.08 | Estimated Values | 0.19753 | E | 0.032 | ug/L | 0.162 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-07-21 07:30 | 20112030057 | 0.08 | Estimated Values | 0.19796 | E | 0.051 | ug/L | 0.25763 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-11-22 07:30 | 20113260111 | 0.08 | Estimated Values | 0.19796 | E | 0.052 | ug/L | 0.26268 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-03-17 08:00 | 20110770001 | 0.08 | Estimated Values | 0.19796 | E | 0.07 | ug/L | 0.3536 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-07-07 06:30 | 20111890005 | 0.08 | Estimated Values | 0.19808 | E | 0.034 | ug/L | 0.17165 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-09-01 07:30 | 20112450022 | 0.08 | Estimated Values | 0.19808 | E | 0.04 | ug/L | 0.20194 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-12-15 07:30 | 20113500021 | 0.08 | Estimated Values | 0.19808 | E | 0.015 | ug/L | 0.075727 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-03-01 07:30 | 20120620015 | 0.08 | Estimated Values | 0.19808 | E | 0.048 | ug/L | 0.24233 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-04-14 07:30 | 20111050150 | 0.08 | Estimated Values | 0.1999 | E | 0.034 | ug/L | 0.17009 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-05-12 07:00 | 20111330148 | 0.08 | Estimated Values | 0.20151 | E | 0.042 | ug/L | 0.20843 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-02-24 08:00 | 20110560005 | 0.08 | Estimated Values | 0.20155 | E | 0.05 | ug/L | 0.24808 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-12-09 06:00 | 20153440001 | 0.08 | Estimated Values | 0.24 | E | 0.017 | ug/L | 0.070833 |  | rcr | m | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-07-09 07:00 | 20151900132 | 0.08 | Estimated Values | 0.242 | E | 0.039 | ug/L | 0.16116 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-08-20 06:00 | 20152330039 | 0.08 | Estimated Values | 0.242 | E | 0.032 | ug/L | 0.13223 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-05-07 07:00 | 20151270112 | 0.08 | Estimated Values | 0.242 | E | 0.04 | ug/L | 0.16529 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-10-30 07:00 | 20123040157 | 0.08 | Estimated Values | 0.2465 | E | 0.132 | ug/L | 0.5355 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-10-10 07:00 | 20122850005 | 0.08 | Estimated Values | 0.2505 | E | 0.045 | ug/L | 0.17964 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-01-10 06:00 | 20130100066 | 0.08 | Estimated Values | 0.2505 | E | 0.118 | ug/L | 0.47106 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-04-04 06:30 | 20130940097 | 0.08 | Estimated Values | 0.2505 | E | 0.198 | ug/L | 0.79042 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-08-29 06:30 | 20132420001 | 0.08 | Estimated Values | 0.2505 | E | 0.109 | ug/L | 0.43513 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-01-23 06:30 | 20140230082 | 0.08 | Estimated Values | 0.2505 | E | 0.068 | ug/L | 0.27146 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-10-23 06:00 | 20142960086 | 0.08 | Estimated Values | 0.3204 | E | 0.05 | ug/L | 0.15605 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-11-19 06:00 | 20143240095 | 0.08 | Estimated Values | 0.3204 | E | 0.044 | ug/L | 0.13733 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-02-12 06:00 | 20150430092 | 0.08 | Estimated Values | 0.3204 | E | 0.054 | ug/L | 0.16854 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-09-10 06:00 | 20142530087 | 0.08 | Estimated Values | 0.3204 | E | 0.028 | ug/L | 0.087391 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-03-12 06:00 | 20150720069 | 0.08 | Estimated Values | 0.321 | E | 0.079 | ug/L | 0.24611 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-06-26 06:00 | 20141770149 | 0.08 | Estimated Values | 0.321 | E | 0.078 | ug/L | 0.24299 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-06-05 07:00 | 20141570088 | 0.08 | Estimated Values | 0.321 | E | 0.043 | ug/L | 0.13396 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-05-20 06:30 | 20101410006 | 0.08 | Estimated Values | 0.37096 | E | 0.072 | ug/L | 0.19409 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-09-02 06:30 | 20102500051 | 0.08 | Estimated Values | 0.37556 | E | 0.096 | ug/L | 0.25562 | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.37774 | E | 0.118 | ug/L | 0.31239 | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-01-13 06:30 | 20110130056 | 0.08 | Estimated Values | 0.38236 | E | 0.023 | ug/L | 0.060153 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-06-02 07:30 | 20111540007 | 0.08 | Estimated Values | 0.39022 | E | 0.056 | ug/L | 0.14351 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-08-01 07:00 | 20132140002 | 0.08 | Estimated Values | 0.394 | E | 0.118 | ug/L | 0.29949 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-08-10 08:00 | 20112220126 | 0.08 | Estimated Values | 0.39592 | E | 0.093 | ug/L | 0.2349 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-08-18 08:46 | 20112310032 | 0.08 | Estimated Values | 0.39592 | E | 0.046 | ug/L | 0.11619 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-10-20 07:00 | 20112930085 | 0.08 | Estimated Values | 0.39592 | E | 0.048 | ug/L | 0.12124 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-05-10 06:30 | 20121310027 | 0.08 | Estimated Values | 0.39592 | E | 0.052 | ug/L | 0.13134 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-06-29 07:00 | 20111810004 | 0.08 | Estimated Values | 0.39616 | E | 0.067 | ug/L | 0.16912 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-09-15 07:30 | 20112590005 | 0.08 | Estimated Values | 0.39616 | E | 0.055 | ug/L | 0.13883 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2011-11-09 07:00 | 20113130085 | 0.08 | Estimated Values | 0.39616 | E | 0.092 | ug/L | 0.23223 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2010-12-09 06:00 | 20103430087 | 0.08 | Estimated Values | 0.39827 | E | 0.036 | ug/L | 0.090391 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-09-12 08:30 | 20132560001 | 0.08 | Estimated Values | 0.4055 | E | 0.092 | ug/L | 0.22688 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-09-25 08:00 | 20132690010 | 0.08 | Estimated Values | 0.4055 | E | 0.102 | ug/L | 0.25154 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2015-10-01 06:00 | 20152750006 | 0.08 | Estimated Values | 0.48 | E | 0.059 | ug/L | 0.12292 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2013-01-24 06:00 | 20130250061 | 0.08 | Estimated Values | 0.493 | E | 0.171 | ug/L | 0.34686 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-12-06 06:30 | 20123420074 | 0.08 | Estimated Values | 0.493 | E | 0.1 | ug/L | 0.20284 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2012-11-20 06:30 | 20123260037 | 0.08 | Estimated Values | 0.501 | E | 0.156 | ug/L | 0.31138 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | FENAMIPHOS SULFOXIDE | 61646GCM39 | 2014-01-09 06:30 | 20140100085 | 0.08 | Estimated Values | 0.811 | E | 0.134 | ug/L | 0.16523 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl