## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | FENAMIPHOS | 61591GCM39 | 2010-05-20 06:30 | 20101410006 | 0.03 | False Positive |  | E |  | ug/L |  | W | c3L | t | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-08-20 06:00 | 20152330039 | 0.03 | Deleted Values |  | R |  | ug/L |  |  | rcr |  | 2015-09-04 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-10-01 06:00 | 20152750006 | 0.03 | False Positive |  | E |  | ug/L |  |  | rcr | b | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-07-23 06:00 | 20152040177 | 0.03 | False Negative | 0.0454 | < |  | ug/L |  | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-08-06 06:00 | 20152190003 | 0.03 | Deleted Values | 0.0454 | R |  | ug/L |  |  | rcr |  | 2015-08-20 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-06-25 06:00 | 20151760208 | 0.03 | False Negative | 0.046 | < |  | ug/L |  | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-06-04 07:00 | 20151550293 | 0.03 | False Negative | 0.092 | < |  | ug/L |  | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-09-17 06:00 | 20152610011 | 0.03 | Deleted Values | 0.1816 | R |  | ug/L |  |  | rcr |  | 2015-09-23 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-09-03 06:00 | 20152460215 | 0.03 | Deleted Values | 0.1816 | R |  | ug/L |  |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-02-17 08:30 | 20110490035 | 0.03 | Recoverable Result | 0.02475 | . | 0.0283 | ug/L | 1.1434 | V | rcr | n | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-10-21 07:30 | 20102950072 | 0.03 | Recoverable Result | 0.038506 | . | 0.0499 | ug/L | 1.2959 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-04-29 10:30 | 20101190091 | 0.03 | Recoverable Result | 0.038782 | . | 0.0357 | ug/L | 0.92053 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-11-10 07:30 | 20103140135 | 0.03 | Recoverable Result | 0.039489 | . | 0.0334 | ug/L | 0.8458 | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-03-17 08:00 | 20110770001 | 0.03 | Recoverable Result | 0.039576 | . | 0.0345 | ug/L | 0.87173 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-07-21 07:30 | 20112030057 | 0.03 | Recoverable Result | 0.0396 | . | 0.0552 | ug/L | 1.3939 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-11-22 07:30 | 20113260111 | 0.03 | Recoverable Result | 0.0396 | . | 0.031 | ug/L | 0.78283 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-02-02 12:10 | 20120370001 | 0.03 | Estimated Values | 0.0396 | E | 0.0463 | ug/L | 1.1692 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-07-07 06:30 | 20111890005 | 0.03 | Recoverable Result | 0.0396 | . | 0.0412 | ug/L | 1.0404 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-09-01 07:30 | 20112450022 | 0.03 | Recoverable Result | 0.0396 | . | 0.038 | ug/L | 0.9596 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-12-15 07:30 | 20113500021 | 0.03 | Recoverable Result | 0.0396 | . | 0.0413 | ug/L | 1.0429 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-03-01 07:30 | 20120620015 | 0.03 | Recoverable Result | 0.0396 | . | 0.0291 | ug/L | 0.73485 | X | rcr | n | 2012-03-09 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-04-14 07:30 | 20111050150 | 0.03 | Recoverable Result | 0.039988 | . | 0.0351 | ug/L | 0.87777 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-04-08 06:30 | 20100990014 | 0.03 | Recoverable Result | 0.040161 | . | 0.0312 | ug/L | 0.77688 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-05-12 07:00 | 20111330148 | 0.03 | Recoverable Result | 0.040285 | . | 0.0417 | ug/L | 1.0351 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-02-24 08:00 | 20110560005 | 0.03 | Recoverable Result | 0.040318 | . | 0.0439 | ug/L | 1.0889 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-08-26 06:30 | 20102390088 | 0.03 | Recoverable Result | 0.040408 | . | 0.0383 | ug/L | 0.94783 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-09-09 06:40 | 20102530008 | 0.03 | Recoverable Result | 0.040428 | . | 0.0457 | ug/L | 1.1304 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-06-17 10:30 | 20101720149 | 0.03 | Recoverable Result | 0.040547 | . | 0.0412 | ug/L | 1.0161 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-03-11 06:30 | 20100710178 | 0.03 | Estimated Values | 0.04063 | E | 0.0233 | ug/L | 0.57347 | S | c3L | n | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-07-21 06:30 | 20102030005 | 0.03 | Recoverable Result | 0.040825 | . | 0.0373 | ug/L | 0.91366 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-10-22 06:00 | 20152950078 | 0.03 | Recoverable Result | 0.046 | . | 0.0369 | ug/L | 0.80217 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-10-29 06:00 | 20153030068 | 0.03 | Recoverable Result | 0.046 | . | 0.0475 | ug/L | 1.0326 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-08-07 07:00 | 20142200164 | 0.03 | Recoverable Result | 0.0603 | . | 0.0384 | ug/L | 0.63682 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-10-09 06:00 | 20142820151 | 0.03 | Recoverable Result | 0.0603 | . | 0.0377 | ug/L | 0.62521 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-09-03 06:00 | 20142470041 | 0.03 | Recoverable Result | 0.0603 | . | 0.0376 | ug/L | 0.62355 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-12-03 06:00 | 20143370094 | 0.03 | Recoverable Result | 0.0603 | . | 0.0549 | ug/L | 0.91045 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-05-22 07:00 | 20141420140 | 0.03 | Recoverable Result | 0.0606 | . | 0.0372 | ug/L | 0.61386 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-05-29 06:00 | 20141490205 | 0.03 | Recoverable Result | 0.0606 | . | 0.048 | ug/L | 0.79208 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-05-16 06:00 | 20141360094 | 0.03 | Recoverable Result | 0.0606 | . | 0.0453 | ug/L | 0.74752 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-07-02 07:00 | 20141840097 | 0.03 | Recoverable Result | 0.0606 | . | 0.046 | ug/L | 0.75908 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-05-30 07:30 | 20131510026 | 0.03 | Recoverable Result | 0.0638 | . | 0.0073 | ug/L | 0.11442 | Y | rcr | b | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-08-15 06:30 | 20132280016 | 0.03 | Recoverable Result | 0.0638 | . | 0.034 | ug/L | 0.53292 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-11-26 07:00 | 20133310030 | 0.03 | Recoverable Result | 0.0638 | . | 0.0754 | ug/L | 1.1818 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-03-13 07:00 | 20140730138 | 0.03 | Recoverable Result | 0.0638 | . | 0.0529 | ug/L | 0.82915 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-02-20 06:30 | 20140510043 | 0.03 | Recoverable Result | 0.0638 | . | 0.064 | ug/L | 1.0031 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-06-13 06:30 | 20131650073 | 0.03 | Recoverable Result | 0.0652 | . | 0.0162 | ug/L | 0.24847 | V | rcr | n | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-12-23 06:30 | 20133580036 | 0.03 | Recoverable Result | 0.0652 | . | 0.045 | ug/L | 0.69018 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-11-14 07:30 | 20133190012 | 0.03 | Recoverable Result | 0.0652 | . | 0.063 | ug/L | 0.96626 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-06-07 10:00 | 20111590005 | 0.03 | Recoverable Result | 0.074096 | . | 0.0646 | ug/L | 0.87184 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-01-13 06:30 | 20110130056 | 0.03 | Recoverable Result | 0.07644 | . | 0.0722 | ug/L | 0.94453 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-06-02 07:30 | 20111540007 | 0.03 | Recoverable Result | 0.07806 | . | 0.0656 | ug/L | 0.84038 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-08-10 08:00 | 20112220126 | 0.03 | Recoverable Result | 0.0792 | . | 0.0653 | ug/L | 0.82449 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-08-18 08:46 | 20112310032 | 0.03 | Recoverable Result | 0.0792 | . | 0.0365 | ug/L | 0.46086 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-10-20 07:00 | 20112930085 | 0.03 | Recoverable Result | 0.0792 | . | 0.0612 | ug/L | 0.77273 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-05-10 06:30 | 20121310027 | 0.03 | Recoverable Result | 0.0792 | . | 0.0559 | ug/L | 0.70581 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-06-29 07:00 | 20111810004 | 0.03 | Recoverable Result | 0.0792 | . | 0.0775 | ug/L | 0.97854 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-09-15 07:30 | 20112590005 | 0.03 | Recoverable Result | 0.0792 | . | 0.0765 | ug/L | 0.96591 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-11-09 07:00 | 20113130085 | 0.03 | Recoverable Result | 0.0792 | . | 0.0856 | ug/L | 1.0808 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-12-09 06:00 | 20103430087 | 0.03 | Recoverable Result | 0.07967 | . | 0.0996 | ug/L | 1.2502 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-06-10 06:30 | 20101650033 | 0.03 | Recoverable Result | 0.081783 | . | 0.0757 | ug/L | 0.92562 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-09-16 06:30 | 20102630169 | 0.03 | Recoverable Result | 0.082203 | . | 0.0633 | ug/L | 0.77004 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-12-09 06:00 | 20153440001 | 0.03 | Recoverable Result | 0.0908 | . | 0.0641 | ug/L | 0.70595 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-12-17 06:00 | 20153510109 | 0.03 | Recoverable Result | 0.0908 | . | 0.0645 | ug/L | 0.71035 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-05-07 07:00 | 20151270112 | 0.03 | Recoverable Result | 0.092 | . | 0.0594 | ug/L | 0.64565 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-05-02 06:00 | 20131230084 | 0.03 | Recoverable Result | 0.098 | . | 0.0029 | ug/L | 0.029592 | V | rcr | b | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-08-07 06:00 | 20122210006 | 0.03 | Recoverable Result | 0.098 | . | 0.0705 | ug/L | 0.71939 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-08-30 06:30 | 20122430227 | 0.03 | Recoverable Result | 0.098 | . | 0.071 | ug/L | 0.72449 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-02-19 06:30 | 20130510051 | 0.03 | Recoverable Result | 0.098 | . | 0.0559 | ug/L | 0.57041 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2011-04-07 09:00 | 20110980030 | 0.03 | Recoverable Result | 0.099483 | . | 0.0672 | ug/L | 0.67549 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-06-07 06:30 | 20121600156 | 0.03 | Recoverable Result | 0.1002 | . | 0.0778 | ug/L | 0.77645 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-09-13 06:00 | 20122570122 | 0.03 | Recoverable Result | 0.1002 | . | 0.0758 | ug/L | 0.75649 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-03-05 06:00 | 20130650005 | 0.03 | Recoverable Result | 0.1002 | . | 0.0576 | ug/L | 0.57485 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-07-19 06:30 | 20122020004 | 0.03 | Recoverable Result | 0.1002 | . | 0.0681 | ug/L | 0.67964 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-10-17 06:30 | 20132910008 | 0.03 | Recoverable Result | 0.1002 | . | 0.0896 | ug/L | 0.89421 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-12-05 08:00 | 20133400002 | 0.03 | Recoverable Result | 0.1002 | . | 0.068 | ug/L | 0.67864 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-07-11 06:30 | 20131920149 | 0.03 | Recoverable Result | 0.1004 | . | 0.064 | ug/L | 0.63745 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-03-27 06:30 | 20140860102 | 0.03 | Recoverable Result | 0.1004 | . | 0.0767 | ug/L | 0.76394 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-11-18 09:00 | 20103230114 | 0.03 | Recoverable Result | 0.1007 | . | 0.088 | ug/L | 0.87384 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-10-23 06:00 | 20142960086 | 0.03 | Recoverable Result | 0.1206 | . | 0.102 | ug/L | 0.84577 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-11-19 06:00 | 20143240095 | 0.03 | Recoverable Result | 0.1206 | . | 0.0916 | ug/L | 0.75954 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-02-12 06:00 | 20150430092 | 0.03 | Recoverable Result | 0.1206 | . | 0.124 | ug/L | 1.0282 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-09-10 06:00 | 20142530087 | 0.03 | Recoverable Result | 0.1206 | . | 0.087 | ug/L | 0.72139 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2015-03-12 06:00 | 20150720069 | 0.03 | Recoverable Result | 0.1212 | . | 0.102 | ug/L | 0.84158 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-06-26 06:00 | 20141770149 | 0.03 | Recoverable Result | 0.1212 | . | 0.104 | ug/L | 0.85809 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-06-05 07:00 | 20141570088 | 0.03 | Recoverable Result | 0.1212 | . | 0.0888 | ug/L | 0.73267 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-08-01 07:00 | 20132140002 | 0.03 | Recoverable Result | 0.1595 | . | 0.0545 | ug/L | 0.34169 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-09-12 08:30 | 20132560001 | 0.03 | Recoverable Result | 0.163 | . | 0.112 | ug/L | 0.68712 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-09-25 08:00 | 20132690010 | 0.03 | Recoverable Result | 0.163 | . | 0.135 | ug/L | 0.82822 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2010-05-13 06:30 | 20101340154 | 0.03 | Recoverable Result | 0.20202 | . | 0.135 | ug/L | 0.66825 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-10-30 07:00 | 20123040157 | 0.03 | Recoverable Result | 0.245 | . | 0.12 | ug/L | 0.4898 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-10-10 07:00 | 20122850005 | 0.03 | Recoverable Result | 0.2505 | . | 0.19 | ug/L | 0.75848 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-01-10 06:00 | 20130100066 | 0.03 | Recoverable Result | 0.2505 | . | 0.122 | ug/L | 0.48703 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-04-04 06:30 | 20130940097 | 0.03 | Recoverable Result | 0.2505 | . | 0.0672 | ug/L | 0.26826 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-08-29 06:30 | 20132420001 | 0.03 | Recoverable Result | 0.251 | . | 0.153 | ug/L | 0.60956 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-01-23 06:30 | 20140230082 | 0.03 | Recoverable Result | 0.251 | . | 0.144 | ug/L | 0.57371 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | FENAMIPHOS | 61591GCM39 | 2014-01-09 06:30 | 20140100085 | 0.03 | Recoverable Result | 0.326 | . | 0.226 | ug/L | 0.69325 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | FENAMIPHOS | 61591GCM39 | 2013-01-24 06:00 | 20130250061 | 0.03 | Recoverable Result | 0.49 | . | 0.208 | ug/L | 0.42449 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-12-06 06:30 | 20123420074 | 0.03 | Recoverable Result | 0.49 | . | 0.334 | ug/L | 0.68163 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | FENAMIPHOS | 61591GCM39 | 2012-11-20 06:30 | 20123260037 | 0.03 | Recoverable Result | 0.501 | . | 0.293 | ug/L | 0.58483 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl