## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | FONOFOS | 04095GCM35 | 2015-08-06 06:00 | 20152190003 | 0.0048 | False Negative | 0.00738 | < |  | ug/L |  |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FONOFOS | 04095GCM35 | 2015-07-23 06:00 | 20152040177 | 0.0048 | Recoverable Result | 0.00738 | . | 0.0053 | ug/L | 0.71816 | Y | rcr | b | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-06-13 06:30 | 20131650073 | 0.0048 | Recoverable Result | 0.008 | . | 0.0091 | ug/L | 1.1375 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | FONOFOS | 04095GCM35 | 2015-10-22 06:00 | 20152950078 | 0.0048 | Recoverable Result | 0.008 | . | 0.0057 | ug/L | 0.7125 |  | rcr | b | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | FONOFOS | 04095GCM35 | 2015-06-25 06:00 | 20151760208 | 0.0048 | Recoverable Result | 0.008 | . | 0.0026 | ug/L | 0.325 | V | rcr | b | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-06-27 06:30 | 20131790009 | 0.0048 | Recoverable Result | 0.008 | . | 0.0082 | ug/L | 1.025 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | FONOFOS | 04095GCM35 | 2015-10-29 06:00 | 20153030068 | 0.0048 | Recoverable Result | 0.008 | . | 0.0077 | ug/L | 0.9625 |  | rcr | b | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-12-12 06:30 | 20133470008 | 0.0048 | Recoverable Result | 0.008 | . | 0.0076 | ug/L | 0.95 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-11-26 07:00 | 20133310030 | 0.0048 | Recoverable Result | 0.008 | . | 0.0091 | ug/L | 1.1375 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | FONOFOS | 04095GCM35 | 2014-03-13 07:00 | 20140730138 | 0.0048 | Recoverable Result | 0.008 | . | 0.0088 | ug/L | 1.1 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | FONOFOS | 04095GCM35 | 2014-04-17 06:00 | 20141080004 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0076 | ug/L | 0.79167 | Y | rcr | b | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | FONOFOS | 04095GCM35 | 2015-01-15 06:00 | 20150150115 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0081 | ug/L | 0.84375 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-05-22 07:00 | 20141420140 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0083 | ug/L | 0.86458 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-08-07 07:00 | 20142200164 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0075 | ug/L | 0.78125 | Y | rcr | b | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-06-12 06:00 | 20141640076 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0073 | ug/L | 0.76042 | Y | rcr | b | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-07-10 06:00 | 20141910243 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0071 | ug/L | 0.73958 | Y | rcr | b | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-07-02 07:00 | 20141840097 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0083 | ug/L | 0.86458 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | FONOFOS | 04095GCM35 | 2014-12-03 06:00 | 20143370094 | 0.0048 | Recoverable Result | 0.0096 | . | 0.0068 | ug/L | 0.70833 | Y | rcr | b | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | FONOFOS | 04095GCM35 | 2015-12-09 06:00 | 20153440001 | 0.0048 | Recoverable Result | 0.01476 | . | 0.0121 | ug/L | 0.81978 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | FONOFOS | 04095GCM35 | 2015-12-17 06:00 | 20153510109 | 0.0048 | Recoverable Result | 0.01476 | . | 0.0116 | ug/L | 0.78591 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | FONOFOS | 04095GCM35 | 2015-06-04 07:00 | 20151550293 | 0.0048 | Recoverable Result | 0.016 | . | 0.0094 | ug/L | 0.5875 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | FONOFOS | 04095GCM35 | 2015-05-07 07:00 | 20151270112 | 0.0048 | Recoverable Result | 0.016 | . | 0.0125 | ug/L | 0.78125 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | FONOFOS | 04095GCM35 | 2014-08-14 06:00 | 20142270001 | 0.0048 | Recoverable Result | 0.0192 | . | 0.0115 | ug/L | 0.59896 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-05-01 06:00 | 20141220025 | 0.0048 | Recoverable Result | 0.0192 | . | 0.0174 | ug/L | 0.90625 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | FONOFOS | 04095GCM35 | 2015-03-12 06:00 | 20150720069 | 0.0048 | Recoverable Result | 0.0192 | . | 0.015 | ug/L | 0.78125 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-10-23 06:00 | 20142960086 | 0.0048 | Recoverable Result | 0.0192 | . | 0.0143 | ug/L | 0.74479 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-11-06 06:00 | 20143110108 | 0.0048 | Recoverable Result | 0.0192 | . | 0.012 | ug/L | 0.625 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-09-25 06:00 | 20142720002 | 0.0048 | Recoverable Result | 0.0192 | . | 0.0135 | ug/L | 0.70312 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-06-05 07:00 | 20141570088 | 0.0048 | Recoverable Result | 0.0192 | . | 0.018 | ug/L | 0.9375 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | FONOFOS | 04095GCM35 | 2014-09-10 06:00 | 20142530087 | 0.0048 | Recoverable Result | 0.0192 | . | 0.0142 | ug/L | 0.73958 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | FONOFOS | 04095GCM35 | 2010-10-28 07:30 | 20103020155 | 0.0048 | Recoverable Result | 0.019278 | . | 0.0168 | ug/L | 0.87148 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-01-20 07:30 | 20110210095 | 0.0048 | Recoverable Result | 0.019642 | . | 0.0147 | ug/L | 0.7484 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2010-10-07 07:30 | 20102810019 | 0.0048 | Recoverable Result | 0.019819 | . | 0.0141 | ug/L | 0.71143 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-06-16 08:00 | 20111680035 | 0.0048 | Recoverable Result | 0.019924 | . | 0.0212 | ug/L | 1.064 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-02-02 06:30 | 20110340007 | 0.0048 | Recoverable Result | 0.019955 | . | 0.0178 | ug/L | 0.89203 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-07-07 07:00 | 20111890004 | 0.0048 | Recoverable Result | 0.01996 | . | 0.0184 | ug/L | 0.92184 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-10-27 07:30 | 20113010047 | 0.0048 | Recoverable Result | 0.01996 | . | 0.017 | ug/L | 0.8517 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2012-03-15 08:00 | 20120760111 | 0.0048 | Recoverable Result | 0.01996 | . | 0.0175 | ug/L | 0.87675 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2013-05-16 07:00 | 20131370001 | 0.0048 | Recoverable Result | 0.02 | . | 0.0197 | ug/L | 0.985 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | FONOFOS | 04095GCM35 | 2011-04-22 06:20 | 20111170107 | 0.0048 | Recoverable Result | 0.02005 | . | 0.0199 | ug/L | 0.99253 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-03-24 06:30 | 20110840108 | 0.0048 | Recoverable Result | 0.020052 | . | 0.0154 | ug/L | 0.768 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-07-28 07:00 | 20112100007 | 0.0048 | Recoverable Result | 0.02016 | . | 0.0141 | ug/L | 0.6994 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-10-07 06:30 | 20112840031 | 0.0048 | Recoverable Result | 0.02016 | . | 0.0179 | ug/L | 0.8879 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2012-01-12 07:00 | 20120120071 | 0.0048 | Recoverable Result | 0.02016 | . | 0.018 | ug/L | 0.89286 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2012-02-23 07:30 | 20120540036 | 0.0048 | Recoverable Result | 0.02016 | . | 0.0171 | ug/L | 0.84821 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2012-03-29 08:00 | 20120930003 | 0.0048 | Recoverable Result | 0.02016 | . | 0.0174 | ug/L | 0.8631 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-02-17 08:30 | 20110490035 | 0.0048 | Recoverable Result | 0.02475 | . | 0.0218 | ug/L | 0.88081 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | FONOFOS | 04095GCM35 | 2015-09-17 06:00 | 20152610011 | 0.0048 | Recoverable Result | 0.02952 | . | 0.0161 | ug/L | 0.54539 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | FONOFOS | 04095GCM35 | 2015-09-03 06:00 | 20152460215 | 0.0048 | Recoverable Result | 0.02952 | . | 0.0152 | ug/L | 0.51491 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | FONOFOS | 04095GCM35 | 2010-02-11 06:30 | 20100420055 | 0.0044 | Recoverable Result | 0.03311 | . | 0.0185 | ug/L | 0.55874 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | FONOFOS | 04095GCM35 | 2010-01-28 06:30 | 20100280077 | 0.0044 | Recoverable Result | 0.033366 | . | 0.0169 | ug/L | 0.5065 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | FONOFOS | 04095GCM35 | 2010-06-03 06:30 | 20101550006 | 0.0044 | Recoverable Result | 0.034754 | . | 0.026 | ug/L | 0.74812 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | FONOFOS | 04095GCM35 | 2010-04-29 10:30 | 20101190091 | 0.0044 | Recoverable Result | 0.038782 | . | 0.0312 | ug/L | 0.80449 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | FONOFOS | 04095GCM35 | 2010-11-24 07:00 | 20103330007 | 0.0048 | Recoverable Result | 0.038795 | . | 0.0336 | ug/L | 0.86608 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | FONOFOS | 04095GCM35 | 2010-12-16 06:30 | 20103510060 | 0.0048 | Recoverable Result | 0.039725 | . | 0.032 | ug/L | 0.80553 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | FONOFOS | 04095GCM35 | 2011-04-28 07:00 | 20111190184 | 0.0048 | Recoverable Result | 0.039765 | . | 0.0345 | ug/L | 0.8676 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | FONOFOS | 04095GCM35 | 2011-08-04 08:00 | 20112170174 | 0.0048 | Recoverable Result | 0.03992 | . | 0.0335 | ug/L | 0.83918 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | FONOFOS | 04095GCM35 | 2011-11-29 07:00 | 20113340046 | 0.0048 | Recoverable Result | 0.03992 | . | 0.028 | ug/L | 0.7014 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | FONOFOS | 04095GCM35 | 2012-02-09 07:00 | 20120400058 | 0.0048 | Recoverable Result | 0.03992 | . | 0.0317 | ug/L | 0.79409 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | FONOFOS | 04095GCM35 | 2011-03-03 07:00 | 20110620082 | 0.0048 | Recoverable Result | 0.040032 | . | 0.0348 | ug/L | 0.86931 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | FONOFOS | 04095GCM35 | 2012-01-26 07:00 | 20120260028 | 0.0048 | Recoverable Result | 0.04032 | . | 0.0364 | ug/L | 0.90278 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | FONOFOS | 04095GCM35 | 2012-04-12 07:00 | 20121040012 | 0.0048 | Recoverable Result | 0.04032 | . | 0.0338 | ug/L | 0.83829 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | FONOFOS | 04095GCM35 | 2010-09-09 06:40 | 20102530008 | 0.0048 | Recoverable Result | 0.040428 | . | 0.0368 | ug/L | 0.91025 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | FONOFOS | 04095GCM35 | 2010-06-17 10:30 | 20101720149 | 0.0044 | Recoverable Result | 0.040547 | . | 0.04 | ug/L | 0.9865 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-05-19 07:30 | 20111390178 | 0.0048 | Recoverable Result | 0.040592 | . | 0.0351 | ug/L | 0.8647 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | FONOFOS | 04095GCM35 | 2010-05-06 06:30 | 20101270038 | 0.0044 | Recoverable Result | 0.065193 | . | 0.0444 | ug/L | 0.68106 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | FONOFOS | 04095GCM35 | 2010-07-13 06:30 | 20101950137 | 0.0044 | Recoverable Result | 0.066508 | . | 0.0521 | ug/L | 0.78336 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | FONOFOS | 04095GCM35 | 2011-06-07 10:00 | 20111590005 | 0.0048 | Recoverable Result | 0.074096 | . | 0.0572 | ug/L | 0.77197 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | FONOFOS | 04095GCM35 | 2011-04-07 09:00 | 20110980030 | 0.0048 | Recoverable Result | 0.099483 | . | 0.0904 | ug/L | 0.9087 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | FONOFOS | 04095GCM35 | 2012-08-07 06:00 | 20122210006 | 0.0048 | Recoverable Result | 0.0998 | . | 0.126 | ug/L | 1.2625 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | FONOFOS | 04095GCM35 | 2012-08-16 06:30 | 20122300021 | 0.0048 | Recoverable Result | 0.0998 | . | 0.131 | ug/L | 1.3126 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-02-07 06:30 | 20130390105 | 0.0048 | Recoverable Result | 0.0998 | . | 0.0884 | ug/L | 0.88577 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-07-11 06:30 | 20131920149 | 0.0048 | Recoverable Result | 0.1 | . | 0.0901 | ug/L | 0.901 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | FONOFOS | 04095GCM35 | 2012-09-13 06:00 | 20122570122 | 0.0048 | Recoverable Result | 0.1 | . | 0.0759 | ug/L | 0.759 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-03-05 06:00 | 20130650005 | 0.0048 | Recoverable Result | 0.1 | . | 0.0626 | ug/L | 0.626 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | FONOFOS | 04095GCM35 | 2013-05-02 06:00 | 20131230084 | 0.0048 | Recoverable Result | 0.1 | . | 0.0804 | ug/L | 0.804 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | FONOFOS | 04095GCM35 | 2012-07-03 08:00 | 20121870008 | 0.0048 | Recoverable Result | 0.1 | . | 0.0697 | ug/L | 0.697 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | FONOFOS | 04095GCM35 | 2014-03-27 06:30 | 20140860102 | 0.0048 | Recoverable Result | 0.1 | . | 0.0686 | ug/L | 0.686 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | FONOFOS | 04095GCM35 | 2013-10-17 06:30 | 20132910008 | 0.0048 | Recoverable Result | 0.1 | . | 0.0849 | ug/L | 0.849 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FONOFOS | 04095GCM35 | 2013-12-05 08:00 | 20133400002 | 0.0048 | Recoverable Result | 0.1 | . | 0.0933 | ug/L | 0.933 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | FONOFOS | 04095GCM35 | 2010-11-18 09:00 | 20103230114 | 0.0048 | Recoverable Result | 0.1007 | . | 0.0985 | ug/L | 0.97811 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | FONOFOS | 04095GCM35 | 2010-08-12 06:30 | 20102250096 | 0.0048 | Recoverable Result | 0.17148 | . | 0.1 | ug/L | 0.58315 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | FONOFOS | 04095GCM35 | 2012-12-20 06:30 | 20123560092 | 0.0048 | Recoverable Result | 0.2495 | . | 0.311 | ug/L | 1.2465 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | FONOFOS | 04095GCM35 | 2013-03-21 06:30 | 20130810108 | 0.0048 | Recoverable Result | 0.2495 | . | 0.276 | ug/L | 1.1062 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | FONOFOS | 04095GCM35 | 2012-06-21 06:00 | 20121730123 | 0.0048 | Recoverable Result | 0.25 | . | 0.191 | ug/L | 0.764 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | FONOFOS | 04095GCM35 | 2012-10-30 07:00 | 20123040157 | 0.0048 | Recoverable Result | 0.25 | . | 0.218 | ug/L | 0.872 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | FONOFOS | 04095GCM35 | 2013-08-29 06:30 | 20132420001 | 0.0048 | Recoverable Result | 0.25 | . | 0.22 | ug/L | 0.88 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | FONOFOS | 04095GCM35 | 2014-01-23 06:30 | 20140230082 | 0.0048 | Recoverable Result | 0.25 | . | 0.224 | ug/L | 0.896 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | FONOFOS | 04095GCM35 | 2012-12-06 06:30 | 20123420074 | 0.0048 | Recoverable Result | 0.499 | . | 0.731 | ug/L | 1.4649 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | FONOFOS | 04095GCM35 | 2012-11-08 06:30 | 20123140095 | 0.0048 | Recoverable Result | 0.499 | . | 0.661 | ug/L | 1.3246 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | FONOFOS | 04095GCM35 | 2013-01-24 06:00 | 20130250061 | 0.0048 | Recoverable Result | 0.5 | . | 0.463 | ug/L | 0.926 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl