## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | MALATHION | 39532GCM35 | 2015-06-25 06:00 | 20151760208 | 0.016 | Recoverable Result | 0.024 | . | 0.0374 | ug/L | 1.5583 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | MALATHION | 39532GCM35 | 2015-11-10 06:00 | 20153160001 | 0.016 | Recoverable Result | 0.024 | . | 0.0196 | ug/L | 0.81667 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | MALATHION | 39532GCM35 | 2015-04-30 07:00 | 20151210037 | 0.016 | Recoverable Result | 0.0242 | . | 0.0275 | ug/L | 1.1364 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | MALATHION | 39532GCM35 | 2015-10-22 06:00 | 20152950078 | 0.016 | Recoverable Result | 0.0242 | . | 0.0142 | ug/L | 0.58678 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | MALATHION | 39532GCM35 | 2015-07-23 06:00 | 20152040177 | 0.016 | Recoverable Result | 0.0242 | . | 0.0289 | ug/L | 1.1942 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | MALATHION | 39532GCM35 | 2011-02-17 08:30 | 20110490035 | 0.016 | Recoverable Result | 0.02475 | . | 0.0241 | ug/L | 0.97374 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | MALATHION | 39532GCM35 | 2013-05-30 07:30 | 20131510026 | 0.016 | Recoverable Result | 0.03 | . | 0.0227 | ug/L | 0.75667 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-06-27 06:30 | 20131790009 | 0.016 | Recoverable Result | 0.03 | . | 0.0235 | ug/L | 0.78333 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | MALATHION | 39532GCM35 | 2012-07-19 06:30 | 20122020004 | 0.016 | Recoverable Result | 0.03 | . | 0.0306 | ug/L | 1.02 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | MALATHION | 39532GCM35 | 2012-07-03 08:00 | 20121870008 | 0.016 | Recoverable Result | 0.03 | . | 0.0287 | ug/L | 0.95667 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-02-07 06:30 | 20130390105 | 0.016 | Recoverable Result | 0.03 | . | 0.0189 | ug/L | 0.63 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-12-23 06:30 | 20133580036 | 0.016 | Recoverable Result | 0.03 | . | 0.0197 | ug/L | 0.65667 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | MALATHION | 39532GCM35 | 2013-12-12 06:30 | 20133470008 | 0.016 | Recoverable Result | 0.03008 | . | 0.0285 | ug/L | 0.94747 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-10-31 06:30 | 20133050050 | 0.016 | Recoverable Result | 0.03008 | . | 0.0401 | ug/L | 1.3331 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-11-14 07:30 | 20133190012 | 0.016 | Recoverable Result | 0.03008 | . | 0.041 | ug/L | 1.363 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | MALATHION | 39532GCM35 | 2014-02-20 06:30 | 20140510043 | 0.016 | Recoverable Result | 0.03008 | . | 0.0224 | ug/L | 0.74468 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | MALATHION | 39532GCM35 | 2012-08-30 06:30 | 20122430227 | 0.016 | Recoverable Result | 0.0304 | . | 0.0289 | ug/L | 0.95066 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | MALATHION | 39532GCM35 | 2013-02-19 06:30 | 20130510051 | 0.016 | Recoverable Result | 0.0304 | . | 0.0252 | ug/L | 0.82895 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | MALATHION | 39532GCM35 | 2012-08-16 06:30 | 20122300021 | 0.016 | Recoverable Result | 0.0304 | . | 0.0278 | ug/L | 0.91447 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | MALATHION | 39532GCM35 | 2014-04-17 06:00 | 20141080004 | 0.016 | Recoverable Result | 0.0324 | . | 0.0288 | ug/L | 0.88889 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | MALATHION | 39532GCM35 | 2015-01-15 06:00 | 20150150115 | 0.016 | Recoverable Result | 0.0324 | . | 0.0346 | ug/L | 1.0679 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-05-29 06:00 | 20141490205 | 0.016 | Recoverable Result | 0.0324 | . | 0.0336 | ug/L | 1.037 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-10-09 06:00 | 20142820151 | 0.016 | Recoverable Result | 0.0324 | . | 0.0263 | ug/L | 0.81173 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-05-16 06:00 | 20141360094 | 0.016 | Recoverable Result | 0.033 | . | 0.0256 | ug/L | 0.77576 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-09-03 06:00 | 20142470041 | 0.016 | Recoverable Result | 0.033 | . | 0.0307 | ug/L | 0.9303 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-06-12 06:00 | 20141640076 | 0.016 | Recoverable Result | 0.033 | . | 0.0329 | ug/L | 0.99697 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | MALATHION | 39532GCM35 | 2014-07-10 06:00 | 20141910243 | 0.016 | Recoverable Result | 0.033 | . | 0.022 | ug/L | 0.66667 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | MALATHION | 39532GCM35 | 2011-01-06 07:00 | 20110070109 | 0.016 | Recoverable Result | 0.033788 | . | 0.029 | ug/L | 0.8583 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-07-14 08:00 | 20111960039 | 0.016 | Recoverable Result | 0.03444 | . | 0.0364 | ug/L | 1.0569 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-10-13 07:30 | 20112870073 | 0.016 | Recoverable Result | 0.03444 | . | 0.028 | ug/L | 0.81301 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2012-02-16 07:30 | 20120470078 | 0.016 | Recoverable Result | 0.03444 | . | 0.0288 | ug/L | 0.83624 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2012-04-26 07:00 | 20121180062 | 0.016 | Recoverable Result | 0.03444 | . | 0.0432 | ug/L | 1.2544 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-03-31 07:30 | 20110910084 | 0.016 | Recoverable Result | 0.034648 | . | 0.0249 | ug/L | 0.71866 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-05-26 07:30 | 20111470065 | 0.016 | Recoverable Result | 0.034809 | . | 0.0315 | ug/L | 0.90494 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-04-29 10:30 | 20101190091 | 0.016 | Recoverable Result | 0.038782 | . | 0.0314 | ug/L | 0.80965 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-09-09 06:40 | 20102530008 | 0.016 | Recoverable Result | 0.040428 | . | 0.0385 | ug/L | 0.9523 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-06-17 10:30 | 20101720149 | 0.016 | Recoverable Result | 0.040547 | . | 0.0454 | ug/L | 1.1197 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-03-10 06:30 | 20110690078 | 0.016 | Recoverable Result | 0.047022 | . | 0.0503 | ug/L | 1.0697 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-11-30 07:00 | 20103350003 | 0.016 | Recoverable Result | 0.047899 | . | 0.0485 | ug/L | 1.0125 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-08-25 10:00 | 20112380055 | 0.016 | Recoverable Result | 0.048 | . | 0.0366 | ug/L | 0.7625 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-11-03 07:00 | 20113080001 | 0.016 | Recoverable Result | 0.048 | . | 0.043 | ug/L | 0.89583 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2012-03-22 06:30 | 20120830077 | 0.016 | Estimated Values | 0.048 | E | 0.061 | ug/L | 1.2708 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2012-05-24 07:00 | 20121460001 | 0.016 | Recoverable Result | 0.048 | . | 0.0463 | ug/L | 0.96458 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2015-12-09 06:00 | 20153440001 | 0.016 | Recoverable Result | 0.048 | . | 0.0408 | ug/L | 0.85 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-01-27 06:30 | 20110280004 | 0.016 | Recoverable Result | 0.048217 | . | 0.0384 | ug/L | 0.7964 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2015-07-09 07:00 | 20151900132 | 0.016 | Recoverable Result | 0.0484 | . | 0.048 | ug/L | 0.99174 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | MALATHION | 39532GCM35 | 2015-08-20 06:00 | 20152330039 | 0.016 | Recoverable Result | 0.0484 | . | 0.0362 | ug/L | 0.74793 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | MALATHION | 39532GCM35 | 2015-05-07 07:00 | 20151270112 | 0.016 | Recoverable Result | 0.0484 | . | 0.0441 | ug/L | 0.91116 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-05-05 07:30 | 20111260154 | 0.016 | Recoverable Result | 0.048529 | . | 0.0374 | ug/L | 0.77067 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | MALATHION | 39532GCM35 | 2011-08-18 08:47 | 20112310030 | 0.016 | Recoverable Result | 0.06 | . | 0.0533 | ug/L | 0.88833 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-04-08 06:30 | 20100990014 | 0.016 | Recoverable Result | 0.060241 | . | 0.0496 | ug/L | 0.82336 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | MALATHION | 39532GCM35 | 2010-08-26 06:30 | 20102390088 | 0.016 | Recoverable Result | 0.060612 | . | 0.0363 | ug/L | 0.59889 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | MALATHION | 39532GCM35 | 2010-03-11 06:30 | 20100710178 | 0.016 | Recoverable Result | 0.060945 | . | 0.0895 | ug/L | 1.4685 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | MALATHION | 39532GCM35 | 2010-07-21 06:30 | 20102030005 | 0.016 | Recoverable Result | 0.061237 | . | 0.0424 | ug/L | 0.69239 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | MALATHION | 39532GCM35 | 2014-08-14 06:00 | 20142270001 | 0.016 | Recoverable Result | 0.0648 | . | 0.0482 | ug/L | 0.74383 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | MALATHION | 39532GCM35 | 2014-05-01 06:00 | 20141220025 | 0.016 | Recoverable Result | 0.0648 | . | 0.0764 | ug/L | 1.179 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | MALATHION | 39532GCM35 | 2014-11-19 06:00 | 20143240095 | 0.016 | Recoverable Result | 0.0648 | . | 0.0633 | ug/L | 0.97685 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | MALATHION | 39532GCM35 | 2014-11-06 06:00 | 20143110108 | 0.016 | Recoverable Result | 0.066 | . | 0.0581 | ug/L | 0.8803 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | MALATHION | 39532GCM35 | 2014-06-26 06:00 | 20141770149 | 0.016 | Recoverable Result | 0.066 | . | 0.0493 | ug/L | 0.74697 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | MALATHION | 39532GCM35 | 2015-02-12 06:00 | 20150430092 | 0.016 | Recoverable Result | 0.066 | . | 0.0481 | ug/L | 0.72879 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | MALATHION | 39532GCM35 | 2014-09-25 06:00 | 20142720002 | 0.016 | Recoverable Result | 0.066 | . | 0.05 | ug/L | 0.75758 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | MALATHION | 39532GCM35 | 2011-02-10 07:00 | 20110410061 | 0.016 | Recoverable Result | 0.068476 | . | 0.0552 | ug/L | 0.80612 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | MALATHION | 39532GCM35 | 2010-11-04 07:30 | 20103080116 | 0.016 | Recoverable Result | 0.068503 | . | 0.0716 | ug/L | 1.0452 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-11-17 07:00 | 20113220198 | 0.016 | Recoverable Result | 0.06888 | . | 0.0526 | ug/L | 0.76365 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-06-07 10:00 | 20111590005 | 0.016 | Recoverable Result | 0.074096 | . | 0.0541 | ug/L | 0.73013 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | MALATHION | 39532GCM35 | 2012-10-10 07:00 | 20122850005 | 0.016 | Recoverable Result | 0.075 | . | 0.0615 | ug/L | 0.82 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | MALATHION | 39532GCM35 | 2013-01-10 06:00 | 20130100066 | 0.016 | Recoverable Result | 0.075 | . | 0.0654 | ug/L | 0.872 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | MALATHION | 39532GCM35 | 2014-02-06 06:30 | 20140370077 | 0.016 | Recoverable Result | 0.075 | . | 0.0549 | ug/L | 0.732 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | MALATHION | 39532GCM35 | 2013-03-21 06:30 | 20130810108 | 0.016 | Recoverable Result | 0.075 | . | 0.0546 | ug/L | 0.728 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | MALATHION | 39532GCM35 | 2013-09-12 08:30 | 20132560001 | 0.016 | Recoverable Result | 0.075 | . | 0.067 | ug/L | 0.89333 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | MALATHION | 39532GCM35 | 2013-08-01 07:00 | 20132140002 | 0.016 | Recoverable Result | 0.0752 | . | 0.0726 | ug/L | 0.96543 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | MALATHION | 39532GCM35 | 2013-05-16 07:00 | 20131370001 | 0.016 | Recoverable Result | 0.0752 | . | 0.0904 | ug/L | 1.2021 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | MALATHION | 39532GCM35 | 2012-09-27 07:00 | 20122720048 | 0.016 | Recoverable Result | 0.076 | . | 0.0707 | ug/L | 0.93026 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | MALATHION | 39532GCM35 | 2013-04-04 06:30 | 20130940097 | 0.016 | Recoverable Result | 0.076 | . | 0.0548 | ug/L | 0.72105 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | MALATHION | 39532GCM35 | 2012-12-20 06:30 | 20123560092 | 0.016 | Recoverable Result | 0.076 | . | 0.0525 | ug/L | 0.69079 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | MALATHION | 39532GCM35 | 2010-10-14 07:30 | 20102880001 | 0.016 | Recoverable Result | 0.095078 | . | 0.106 | ug/L | 1.1149 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-06-23 07:00 | 20111750006 | 0.016 | Recoverable Result | 0.096 | . | 0.0921 | ug/L | 0.95937 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-09-08 07:30 | 20112520209 | 0.016 | Recoverable Result | 0.096 | . | 0.0882 | ug/L | 0.91875 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-12-13 07:30 | 20113490056 | 0.016 | Recoverable Result | 0.096 | . | 0.0997 | ug/L | 1.0385 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | MALATHION | 39532GCM35 | 2012-01-19 07:00 | 20120200073 | 0.016 | Recoverable Result | 0.096 | . | 0.0942 | ug/L | 0.98125 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | MALATHION | 39532GCM35 | 2015-09-03 06:00 | 20152460215 | 0.016 | Recoverable Result | 0.096 | . | 0.068 | ug/L | 0.70833 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | MALATHION | 39532GCM35 | 2015-10-01 06:00 | 20152750006 | 0.016 | Recoverable Result | 0.096 | . | 0.0744 | ug/L | 0.775 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | MALATHION | 39532GCM35 | 2011-04-07 09:00 | 20110980030 | 0.016 | Recoverable Result | 0.099483 | . | 0.0863 | ug/L | 0.86749 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | MALATHION | 39532GCM35 | 2010-11-18 09:00 | 20103230114 | 0.016 | Recoverable Result | 0.1007 | . | 0.102 | ug/L | 1.0129 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | MALATHION | 39532GCM35 | 2010-06-10 06:30 | 20101650033 | 0.016 | Recoverable Result | 0.12267 | . | 0.114 | ug/L | 0.92929 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | MALATHION | 39532GCM35 | 2010-09-16 06:30 | 20102630169 | 0.016 | Recoverable Result | 0.1233 | . | 0.073 | ug/L | 0.59203 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | MALATHION | 39532GCM35 | 2013-09-06 06:50 | 20132490342 | 0.016 | Recoverable Result | 0.15 | . | 0.126 | ug/L | 0.84 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | MALATHION | 39532GCM35 | 2012-11-08 06:30 | 20123140095 | 0.016 | Recoverable Result | 0.15 | . | 0.109 | ug/L | 0.72667 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | MALATHION | 39532GCM35 | 2012-11-20 06:30 | 20123260037 | 0.016 | Recoverable Result | 0.152 | . | 0.138 | ug/L | 0.90789 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | MALATHION | 39532GCM35 | 2010-05-13 06:30 | 20101340154 | 0.016 | Recoverable Result | 0.30303 | . | 0.29 | ug/L | 0.957 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl