## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | METOLACHLOR | 39415GCM35 | 2015-10-29 06:00 | 20153030068 | 0.012 | Recoverable Result | 0.018 | . | 0.0155 | ug/L | 0.86111 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-08-06 06:00 | 20152190003 | 0.012 | Estimated Values | 0.018 | E | 0.0132 | ug/L | 0.73333 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-11-10 06:00 | 20153160001 | 0.012 | Recoverable Result | 0.018 | . | 0.0152 | ug/L | 0.84444 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-04-30 07:00 | 20151210037 | 0.012 | Estimated Values | 0.0182 | E | 0.0167 | ug/L | 0.91758 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-04-17 06:00 | 20141080004 | 0.012 | Recoverable Result | 0.024 | . | 0.0209 | ug/L | 0.87083 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-01-15 06:00 | 20150150115 | 0.012 | Recoverable Result | 0.024 | . | 0.0184 | ug/L | 0.76667 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-05-29 06:00 | 20141490205 | 0.012 | Recoverable Result | 0.024 | . | 0.0225 | ug/L | 0.9375 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-05-16 06:00 | 20141360094 | 0.012 | Recoverable Result | 0.024 | . | 0.0172 | ug/L | 0.71667 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-10-09 06:00 | 20142820151 | 0.012 | Recoverable Result | 0.024 | . | 0.0194 | ug/L | 0.80833 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-09-03 06:00 | 20142470041 | 0.012 | Recoverable Result | 0.024 | . | 0.0212 | ug/L | 0.88333 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-06-12 06:00 | 20141640076 | 0.012 | Recoverable Result | 0.024 | . | 0.0207 | ug/L | 0.8625 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-07-10 06:00 | 20141910243 | 0.012 | Recoverable Result | 0.024 | . | 0.0174 | ug/L | 0.725 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-02-17 08:30 | 20110490035 | 0.02 | Recoverable Result | 0.02475 | . | 0.0255 | ug/L | 1.0303 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-05-02 06:00 | 20131230084 | 0.012 | Recoverable Result | 0.0298 | . | 0.0333 | ug/L | 1.1174 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-08-07 06:00 | 20122210006 | 0.02 | Recoverable Result | 0.0298 | . | 0.0264 | ug/L | 0.88591 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-08-30 06:30 | 20122430227 | 0.02 | Recoverable Result | 0.0298 | . | 0.0269 | ug/L | 0.90268 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-02-19 06:30 | 20130510051 | 0.012 | Estimated Values | 0.0298 | E | 0.0221 | ug/L | 0.74161 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-07-11 06:30 | 20131920149 | 0.012 | Recoverable Result | 0.0302 | . | 0.0254 | ug/L | 0.84106 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-03-27 06:30 | 20140860102 | 0.012 | Recoverable Result | 0.0302 | . | 0.0206 | ug/L | 0.68212 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-06-07 06:30 | 20121600156 | 0.02 | Recoverable Result | 0.0304 | . | 0.0329 | ug/L | 1.0822 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-09-13 06:00 | 20122570122 | 0.02 | Recoverable Result | 0.0304 | . | 0.0251 | ug/L | 0.82566 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-03-05 06:00 | 20130650005 | 0.012 | Recoverable Result | 0.0304 | . | 0.0204 | ug/L | 0.67105 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-07-19 06:30 | 20122020004 | 0.02 | Recoverable Result | 0.0304 | . | 0.0324 | ug/L | 1.0658 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-10-17 06:30 | 20132910008 | 0.012 | Recoverable Result | 0.0304 | . | 0.0222 | ug/L | 0.73026 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-12-05 08:00 | 20133400002 | 0.012 | Recoverable Result | 0.0304 | . | 0.027 | ug/L | 0.88816 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-08-20 06:00 | 20152330039 | 0.012 | Recoverable Result | 0.036 | . | 0.0251 | ug/L | 0.69722 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-12-17 06:00 | 20153510109 | 0.012 | Recoverable Result | 0.036 | . | 0.0266 | ug/L | 0.73889 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-06-04 07:00 | 20151550293 | 0.012 | Recoverable Result | 0.0364 | . | 0.0298 | ug/L | 0.81868 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-07-09 07:00 | 20151900132 | 0.012 | Recoverable Result | 0.0364 | . | 0.0274 | ug/L | 0.75275 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-04-29 10:30 | 20101190091 | 0.014 | Recoverable Result | 0.038782 | . | 0.0349 | ug/L | 0.8999 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-09-09 06:40 | 20102530008 | 0.02 | Recoverable Result | 0.040428 | . | 0.0404 | ug/L | 0.9993 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-06-17 10:30 | 20101720149 | 0.014 | Recoverable Result | 0.040547 | . | 0.0441 | ug/L | 1.0876 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-03-10 06:30 | 20110690078 | 0.02 | Recoverable Result | 0.047022 | . | 0.0447 | ug/L | 0.95062 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-11-30 07:00 | 20103350003 | 0.02 | Recoverable Result | 0.047899 | . | 0.0535 | ug/L | 1.1169 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-08-25 10:00 | 20112380055 | 0.02 | Recoverable Result | 0.048 | . | 0.0393 | ug/L | 0.81875 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-11-03 07:00 | 20113080001 | 0.02 | Recoverable Result | 0.048 | . | 0.0417 | ug/L | 0.86875 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-03-22 06:30 | 20120830077 | 0.02 | Estimated Values | 0.048 | E | 0.06 | ug/L | 1.25 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-05-24 07:00 | 20121460001 | 0.02 | Recoverable Result | 0.048 | . | 0.0398 | ug/L | 0.82917 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-08-14 06:00 | 20142270001 | 0.012 | Recoverable Result | 0.048 | . | 0.0344 | ug/L | 0.71667 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-05-01 06:00 | 20141220025 | 0.012 | Recoverable Result | 0.048 | . | 0.058 | ug/L | 1.2083 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-11-06 06:00 | 20143110108 | 0.012 | Recoverable Result | 0.048 | . | 0.0342 | ug/L | 0.7125 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-06-26 06:00 | 20141770149 | 0.012 | Recoverable Result | 0.048 | . | 0.0321 | ug/L | 0.66875 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-11-19 06:00 | 20143240095 | 0.012 | Recoverable Result | 0.048 | . | 0.0367 | ug/L | 0.76458 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-02-12 06:00 | 20150430092 | 0.012 | Recoverable Result | 0.048 | . | 0.0333 | ug/L | 0.69375 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-09-25 06:00 | 20142720002 | 0.012 | Recoverable Result | 0.048 | . | 0.0347 | ug/L | 0.72292 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-01-27 06:30 | 20110280004 | 0.02 | Recoverable Result | 0.048217 | . | 0.0332 | ug/L | 0.68855 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-01-06 07:00 | 20110070109 | 0.02 | Recoverable Result | 0.048268 | . | 0.0401 | ug/L | 0.83077 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-05-05 07:30 | 20111260154 | 0.02 | Recoverable Result | 0.048529 | . | 0.0363 | ug/L | 0.74801 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-07-14 08:00 | 20111960039 | 0.02 | Recoverable Result | 0.0492 | . | 0.0538 | ug/L | 1.0935 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-10-13 07:30 | 20112870073 | 0.02 | Recoverable Result | 0.0492 | . | 0.042 | ug/L | 0.85366 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-02-16 07:30 | 20120470078 | 0.02 | Recoverable Result | 0.0492 | . | 0.0425 | ug/L | 0.86382 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-04-26 07:00 | 20121180062 | 0.02 | Recoverable Result | 0.0492 | . | 0.0552 | ug/L | 1.122 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-03-31 07:30 | 20110910084 | 0.02 | Recoverable Result | 0.049497 | . | 0.0329 | ug/L | 0.66469 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-05-26 07:30 | 20111470065 | 0.02 | Recoverable Result | 0.049727 | . | 0.0412 | ug/L | 0.82852 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-12-12 06:30 | 20133470008 | 0.012 | Recoverable Result | 0.05008 | . | 0.0466 | ug/L | 0.93051 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-10-31 06:30 | 20133050050 | 0.012 | Recoverable Result | 0.05008 | . | 0.0429 | ug/L | 0.85663 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-11-14 07:30 | 20133190012 | 0.012 | Recoverable Result | 0.05008 | . | 0.049 | ug/L | 0.97843 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-02-20 06:30 | 20140510043 | 0.012 | Recoverable Result | 0.05008 | . | 0.0335 | ug/L | 0.66893 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-05-30 07:30 | 20131510026 | 0.012 | Recoverable Result | 0.0512 | . | 0.036 | ug/L | 0.70312 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-06-27 06:30 | 20131790009 | 0.012 | Recoverable Result | 0.0512 | . | 0.0338 | ug/L | 0.66016 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-12-23 06:30 | 20133580036 | 0.012 | Recoverable Result | 0.0512 | . | 0.0349 | ug/L | 0.68164 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-09-17 06:00 | 20152610011 | 0.012 | Recoverable Result | 0.0728 | . | 0.0587 | ug/L | 0.80632 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2015-10-01 06:00 | 20152750006 | 0.012 | Recoverable Result | 0.0728 | . | 0.0565 | ug/L | 0.7761 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-06-07 10:00 | 20111590005 | 0.02 | Recoverable Result | 0.074096 | . | 0.0638 | ug/L | 0.86105 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-10-30 07:00 | 20123040157 | 0.012 | Recoverable Result | 0.0745 | . | 0.0673 | ug/L | 0.90336 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-08-29 06:30 | 20132420001 | 0.012 | Recoverable Result | 0.0755 | . | 0.054 | ug/L | 0.71523 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-01-23 06:30 | 20140230082 | 0.012 | Recoverable Result | 0.0755 | . | 0.0562 | ug/L | 0.74437 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-10-10 07:00 | 20122850005 | 0.012 | Recoverable Result | 0.076 | . | 0.0609 | ug/L | 0.80132 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-01-10 06:00 | 20130100066 | 0.012 | Recoverable Result | 0.076 | . | 0.07 | ug/L | 0.92105 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-04-04 06:30 | 20130940097 | 0.012 | Recoverable Result | 0.076 | . | 0.0521 | ug/L | 0.68553 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-02-11 06:30 | 20100420055 | 0.014 | Recoverable Result | 0.090605 | . | 0.0706 | ug/L | 0.77921 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-01-28 06:30 | 20100280077 | 0.014 | Recoverable Result | 0.09136 | . | 0.0981 | ug/L | 1.0738 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-10-14 07:30 | 20102880001 | 0.02 | Recoverable Result | 0.095078 | . | 0.0844 | ug/L | 0.88769 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-06-03 06:30 | 20101550006 | 0.014 | Recoverable Result | 0.095159 | . | 0.187 | ug/L | 1.9651 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-06-23 07:00 | 20111750006 | 0.02 | Recoverable Result | 0.096 | . | 0.093 | ug/L | 0.96875 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-09-08 07:30 | 20112520209 | 0.02 | Recoverable Result | 0.096 | . | 0.0808 | ug/L | 0.84167 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-12-13 07:30 | 20113490056 | 0.02 | Recoverable Result | 0.096 | . | 0.0911 | ug/L | 0.94896 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-01-19 07:00 | 20120200073 | 0.02 | Recoverable Result | 0.096 | . | 0.0824 | ug/L | 0.85833 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-02-10 07:00 | 20110410061 | 0.02 | Recoverable Result | 0.097823 | . | 0.071 | ug/L | 0.7258 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-11-04 07:30 | 20103080116 | 0.02 | Estimated Values | 0.097862 | E | 0.0866 | ug/L | 0.88492 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-11-17 07:00 | 20113220198 | 0.02 | Recoverable Result | 0.0984 | . | 0.074 | ug/L | 0.75203 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-04-07 09:00 | 20110980030 | 0.02 | Recoverable Result | 0.099483 | . | 0.0892 | ug/L | 0.89664 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-11-18 09:00 | 20103230114 | 0.02 | Recoverable Result | 0.1007 | . | 0.109 | ug/L | 1.0824 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2011-08-18 08:47 | 20112310030 | 0.02 | Recoverable Result | 0.1024 | . | 0.0805 | ug/L | 0.78613 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-08-01 07:00 | 20132140002 | 0.012 | Recoverable Result | 0.1252 | . | 0.115 | ug/L | 0.91853 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-05-16 07:00 | 20131370001 | 0.012 | Recoverable Result | 0.1252 | . | 0.145 | ug/L | 1.1581 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2014-02-06 06:30 | 20140370077 | 0.012 | Recoverable Result | 0.128 | . | 0.119 | ug/L | 0.92969 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-09-12 08:30 | 20132560001 | 0.012 | Recoverable Result | 0.128 | . | 0.118 | ug/L | 0.92187 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-01-24 06:00 | 20130250061 | 0.012 | Recoverable Result | 0.149 | . | 0.129 | ug/L | 0.86577 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-12-06 06:30 | 20123420074 | 0.012 | Recoverable Result | 0.149 | . | 0.155 | ug/L | 1.0403 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2012-11-20 06:30 | 20123260037 | 0.012 | Recoverable Result | 0.152 | . | 0.151 | ug/L | 0.99342 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-05-06 06:30 | 20101270038 | 0.014 | Recoverable Result | 0.1784 | . | 0.154 | ug/L | 0.86324 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-07-13 06:30 | 20101950137 | 0.014 | Recoverable Result | 0.182 | . | 0.176 | ug/L | 0.96704 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | METOLACHLOR | 39415GCM35 | 2013-09-06 06:50 | 20132490342 | 0.012 | Recoverable Result | 0.256 | . | 0.257 | ug/L | 1.0039 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METOLACHLOR | 39415GCM35 | 2010-08-12 06:30 | 20102250096 | 0.02 | Recoverable Result | 0.46953 | . | 0.665 | ug/L | 1.4163 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl