## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | METRIBUZIN | 82630GCM35 | 2015-10-22 06:00 | 20152950078 | 0.012 | Recoverable Result | 0.018 | . | 0.0112 | ug/L | 0.62222 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-06-25 06:00 | 20151760208 | 0.012 | Recoverable Result | 0.018 | . | 0.0214 | ug/L | 1.1889 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-10-29 06:00 | 20153030068 | 0.012 | Recoverable Result | 0.018 | . | 0.0149 | ug/L | 0.82778 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-07-23 06:00 | 20152040177 | 0.012 | Recoverable Result | 0.01808 | . | 0.021 | ug/L | 1.1615 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-08-06 06:00 | 20152190003 | 0.012 | Recoverable Result | 0.01808 | . | 0.0132 | ug/L | 0.73009 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-03-10 06:30 | 20110690078 | 0.012 | Recoverable Result | 0.019592 | . | 0.0218 | ug/L | 1.1127 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-11-30 07:00 | 20103350003 | 0.012 | Recoverable Result | 0.019958 | . | 0.0278 | ug/L | 1.3929 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-08-25 10:00 | 20112380055 | 0.012 | Recoverable Result | 0.02 | . | 0.0187 | ug/L | 0.935 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-11-03 07:00 | 20113080001 | 0.012 | Recoverable Result | 0.02 | . | 0.0199 | ug/L | 0.995 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-03-22 06:30 | 20120830077 | 0.012 | Estimated Values | 0.02 | E | 0.0248 | ug/L | 1.24 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-05-24 07:00 | 20121460001 | 0.012 | Estimated Values | 0.02 | E | 0.0213 | ug/L | 1.065 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-01-27 06:30 | 20110280004 | 0.012 | Recoverable Result | 0.02009 | . | 0.0186 | ug/L | 0.92582 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-05-05 07:30 | 20111260154 | 0.012 | Recoverable Result | 0.02022 | . | 0.0181 | ug/L | 0.89514 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-01-06 07:00 | 20110070109 | 0.012 | Recoverable Result | 0.020602 | . | 0.0179 | ug/L | 0.86883 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-07-14 08:00 | 20111960039 | 0.012 | Recoverable Result | 0.021 | . | 0.0228 | ug/L | 1.0857 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-10-13 07:30 | 20112870073 | 0.012 | Recoverable Result | 0.021 | . | 0.0176 | ug/L | 0.8381 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-02-16 07:30 | 20120470078 | 0.012 | Recoverable Result | 0.021 | . | 0.0172 | ug/L | 0.81905 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-04-26 07:00 | 20121180062 | 0.012 | Recoverable Result | 0.021 | . | 0.0233 | ug/L | 1.1095 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-03-31 07:30 | 20110910084 | 0.012 | Recoverable Result | 0.021127 | . | 0.0167 | ug/L | 0.79047 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-05-26 07:30 | 20111470065 | 0.012 | Recoverable Result | 0.021225 | . | 0.0183 | ug/L | 0.86219 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-04-17 06:00 | 20141080004 | 0.012 | Recoverable Result | 0.024 | . | 0.0224 | ug/L | 0.93333 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-01-15 06:00 | 20150150115 | 0.012 | Recoverable Result | 0.024 | . | 0.0249 | ug/L | 1.0375 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-05-29 06:00 | 20141490205 | 0.012 | Recoverable Result | 0.024 | . | 0.0223 | ug/L | 0.92917 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-05-16 06:00 | 20141360094 | 0.012 | Recoverable Result | 0.024 | . | 0.0189 | ug/L | 0.7875 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-10-09 06:00 | 20142820151 | 0.012 | Recoverable Result | 0.024 | . | 0.0187 | ug/L | 0.77917 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-09-03 06:00 | 20142470041 | 0.012 | Recoverable Result | 0.024 | . | 0.0221 | ug/L | 0.92083 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-06-12 06:00 | 20141640076 | 0.012 | Recoverable Result | 0.024 | . | 0.0194 | ug/L | 0.80833 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-07-10 06:00 | 20141910243 | 0.012 | Recoverable Result | 0.024 | . | 0.0171 | ug/L | 0.7125 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-02-17 08:30 | 20110490035 | 0.012 | Recoverable Result | 0.02475 | . | 0.0241 | ug/L | 0.97374 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-07-19 06:30 | 20122020004 | 0.012 | Recoverable Result | 0.03 | . | 0.027 | ug/L | 0.9 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-07-03 08:00 | 20121870008 | 0.012 | Recoverable Result | 0.03 | . | 0.0316 | ug/L | 1.0533 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-02-07 06:30 | 20130390105 | 0.012 | Recoverable Result | 0.03 | . | 0.021 | ug/L | 0.7 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-08-30 06:30 | 20122430227 | 0.012 | Recoverable Result | 0.0304 | . | 0.0304 | ug/L | 1 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-02-19 06:30 | 20130510051 | 0.012 | Recoverable Result | 0.0304 | . | 0.0222 | ug/L | 0.73026 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-08-16 06:30 | 20122300021 | 0.012 | Recoverable Result | 0.0304 | . | 0.0329 | ug/L | 1.0822 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-06-04 07:00 | 20151550293 | 0.012 | Recoverable Result | 0.036 | . | 0.0335 | ug/L | 0.93056 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-05-07 07:00 | 20151270112 | 0.012 | Recoverable Result | 0.036 | . | 0.0297 | ug/L | 0.825 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-12-09 06:00 | 20153440001 | 0.012 | Recoverable Result | 0.03616 | . | 0.0316 | ug/L | 0.87389 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-12-17 06:00 | 20153510109 | 0.012 | Recoverable Result | 0.03616 | . | 0.028 | ug/L | 0.77434 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-04-29 10:30 | 20101190091 | 0.012 | Recoverable Result | 0.038782 | . | 0.0318 | ug/L | 0.81996 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-10-14 07:30 | 20102880001 | 0.012 | Recoverable Result | 0.039616 | . | 0.0434 | ug/L | 1.0955 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-06-23 07:00 | 20111750006 | 0.012 | Recoverable Result | 0.04 | . | 0.0429 | ug/L | 1.0725 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-09-08 07:30 | 20112520209 | 0.012 | Recoverable Result | 0.04 | . | 0.0398 | ug/L | 0.995 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-12-13 07:30 | 20113490056 | 0.012 | Recoverable Result | 0.04 | . | 0.0422 | ug/L | 1.055 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-01-19 07:00 | 20120200073 | 0.012 | Recoverable Result | 0.04 | . | 0.0386 | ug/L | 0.965 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-05-30 07:30 | 20131510026 | 0.012 | Recoverable Result | 0.04 | . | 0.0272 | ug/L | 0.68 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-06-27 06:30 | 20131790009 | 0.012 | Recoverable Result | 0.04 | . | 0.0236 | ug/L | 0.59 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-12-12 06:30 | 20133470008 | 0.012 | Recoverable Result | 0.04 | . | 0.0376 | ug/L | 0.94 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-10-31 06:30 | 20133050050 | 0.012 | Recoverable Result | 0.04 | . | 0.0399 | ug/L | 0.9975 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-12-23 06:30 | 20133580036 | 0.012 | Recoverable Result | 0.04 | . | 0.0211 | ug/L | 0.5275 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-11-14 07:30 | 20133190012 | 0.012 | Recoverable Result | 0.04 | . | 0.0464 | ug/L | 1.16 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-02-20 06:30 | 20140510043 | 0.012 | Recoverable Result | 0.04 | . | 0.0234 | ug/L | 0.585 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-09-09 06:40 | 20102530008 | 0.012 | Recoverable Result | 0.040428 | . | 0.0401 | ug/L | 0.99187 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-06-17 10:30 | 20101720149 | 0.012 | Recoverable Result | 0.040547 | . | 0.0457 | ug/L | 1.1271 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-02-10 07:00 | 20110410061 | 0.012 | Recoverable Result | 0.041754 | . | 0.034 | ug/L | 0.8143 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-11-04 07:30 | 20103080116 | 0.012 | Recoverable Result | 0.04177 | . | 0.0488 | ug/L | 1.1683 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-11-17 07:00 | 20113220198 | 0.012 | Recoverable Result | 0.042 | . | 0.0282 | ug/L | 0.67143 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-08-14 06:00 | 20142270001 | 0.012 | Recoverable Result | 0.048 | . | 0.0305 | ug/L | 0.63542 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-05-01 06:00 | 20141220025 | 0.012 | Recoverable Result | 0.048 | . | 0.0484 | ug/L | 1.0083 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-11-06 06:00 | 20143110108 | 0.012 | Recoverable Result | 0.048 | . | 0.0364 | ug/L | 0.75833 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-06-26 06:00 | 20141770149 | 0.012 | Recoverable Result | 0.048 | . | 0.0319 | ug/L | 0.66458 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-11-19 06:00 | 20143240095 | 0.012 | Recoverable Result | 0.048 | . | 0.0415 | ug/L | 0.86458 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-02-12 06:00 | 20150430092 | 0.012 | Recoverable Result | 0.048 | . | 0.0132 | ug/L | 0.275 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-09-25 06:00 | 20142720002 | 0.012 | Recoverable Result | 0.048 | . | 0.0337 | ug/L | 0.70208 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-09-17 06:00 | 20152610011 | 0.012 | Recoverable Result | 0.07232 | . | 0.02 | ug/L | 0.27655 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2015-09-03 06:00 | 20152460215 | 0.012 | Recoverable Result | 0.07232 | . | 0.0454 | ug/L | 0.62777 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-06-07 10:00 | 20111590005 | 0.012 | Recoverable Result | 0.074096 | . | 0.0595 | ug/L | 0.80301 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-10-10 07:00 | 20122850005 | 0.012 | Recoverable Result | 0.075 | . | 0.0521 | ug/L | 0.69467 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-01-10 06:00 | 20130100066 | 0.012 | Recoverable Result | 0.075 | . | 0.0608 | ug/L | 0.81067 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-03-21 06:30 | 20130810108 | 0.012 | Recoverable Result | 0.075 | . | 0.0658 | ug/L | 0.87733 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-09-27 07:00 | 20122720048 | 0.012 | Recoverable Result | 0.076 | . | 0.0609 | ug/L | 0.80132 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-04-04 06:30 | 20130940097 | 0.012 | Recoverable Result | 0.076 | . | 0.0489 | ug/L | 0.64342 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-12-20 06:30 | 20123560092 | 0.012 | Recoverable Result | 0.076 | . | 0.06 | ug/L | 0.78947 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-08-18 08:47 | 20112310030 | 0.012 | Recoverable Result | 0.08 | . | 0.028 | ug/L | 0.35 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-04-08 06:30 | 20100990014 | 0.012 | Recoverable Result | 0.098394 | . | 0.0723 | ug/L | 0.7348 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-08-26 06:30 | 20102390088 | 0.012 | Recoverable Result | 0.099 | . | 0.0641 | ug/L | 0.64748 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2011-04-07 09:00 | 20110980030 | 0.012 | Recoverable Result | 0.099483 | . | 0.0839 | ug/L | 0.84336 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-03-11 06:30 | 20100710178 | 0.012 | Recoverable Result | 0.099543 | . | 0.134 | ug/L | 1.3462 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-08-01 07:00 | 20132140002 | 0.012 | Recoverable Result | 0.1 | . | 0.0751 | ug/L | 0.751 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2014-02-06 06:30 | 20140370077 | 0.012 | Recoverable Result | 0.1 | . | 0.0581 | ug/L | 0.581 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-05-16 07:00 | 20131370001 | 0.012 | Recoverable Result | 0.1 | . | 0.0963 | ug/L | 0.963 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-09-12 08:30 | 20132560001 | 0.012 | Recoverable Result | 0.1 | . | 0.0648 | ug/L | 0.648 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-07-21 06:30 | 20102030005 | 0.012 | Recoverable Result | 0.10002 | . | 0.0711 | ug/L | 0.71085 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-11-18 09:00 | 20103230114 | 0.012 | Recoverable Result | 0.1007 | . | 0.097 | ug/L | 0.96321 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-11-08 06:30 | 20123140095 | 0.012 | Recoverable Result | 0.15 | . | 0.12 | ug/L | 0.8 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | METRIBUZIN | 82630GCM35 | 2012-11-20 06:30 | 20123260037 | 0.012 | Recoverable Result | 0.152 | . | 0.113 | ug/L | 0.74342 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | METRIBUZIN | 82630GCM35 | 2013-09-06 06:50 | 20132490342 | 0.012 | Recoverable Result | 0.2 | . | 0.124 | ug/L | 0.62 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-06-10 06:30 | 20101650033 | 0.012 | Recoverable Result | 0.20037 | . | 0.201 | ug/L | 1.0032 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-09-16 06:30 | 20102630169 | 0.012 | Recoverable Result | 0.2014 | . | 0.14 | ug/L | 0.69514 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | METRIBUZIN | 82630GCM35 | 2010-05-13 06:30 | 20101340154 | 0.012 | Recoverable Result | 0.49495 | . | 0.489 | ug/L | 0.98798 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl