## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | OXYFLUORFEN | 61600GCM39 | 2015-04-30 07:00 | 20151210037 | 0.01 | Recoverable Result | 0.015 | . | 0.0133 | ug/L | 0.88667 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-10-29 06:00 | 20153030068 | 0.01 | Recoverable Result | 0.015 | . | 0.0159 | ug/L | 1.06 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-08-06 06:00 | 20152190003 | 0.01 | Recoverable Result | 0.015 | . | 0.0136 | ug/L | 0.90667 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-11-10 06:00 | 20153160001 | 0.01 | Estimated Values | 0.015 | E | 0.0157 | ug/L | 1.0467 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-01-14 06:30 | 20100150090 | 0.01 | Recoverable Result | 0.017889 | . | 0.013 | ug/L | 0.72669 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-07-01 06:30 | 20101830110 | 0.01 | Recoverable Result | 0.018528 | . | 0.0182 | ug/L | 0.98229 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-04-17 06:00 | 20141080004 | 0.01 | Recoverable Result | 0.0201 | . | 0.0176 | ug/L | 0.87562 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-01-15 06:00 | 20150150115 | 0.01 | Recoverable Result | 0.0201 | . | 0.0224 | ug/L | 1.1144 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-05-22 07:00 | 20141420140 | 0.01 | Recoverable Result | 0.0201 | . | 0.016 | ug/L | 0.79602 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-08-07 07:00 | 20142200164 | 0.01 | Recoverable Result | 0.0201 | . | 0.0205 | ug/L | 1.0199 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-06-12 06:00 | 20141640076 | 0.01 | Recoverable Result | 0.0201 | . | 0.0144 | ug/L | 0.71642 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-07-10 06:00 | 20141910243 | 0.01 | Recoverable Result | 0.0201 | . | 0.0164 | ug/L | 0.81592 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-07-02 07:00 | 20141840097 | 0.01 | Recoverable Result | 0.0201 | . | 0.0178 | ug/L | 0.88557 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-12-03 06:00 | 20143370094 | 0.01 | Recoverable Result | 0.0201 | . | 0.0244 | ug/L | 1.2139 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-06-13 06:30 | 20131650073 | 0.01 | Recoverable Result | 0.024 | . | 0.0201 | ug/L | 0.8375 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-06-27 06:30 | 20131790009 | 0.01 | Recoverable Result | 0.024 | . | 0.0263 | ug/L | 1.0958 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-08-15 06:30 | 20132280016 | 0.01 | Recoverable Result | 0.024 | . | 0.023 | ug/L | 0.95833 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-12-12 06:30 | 20133470008 | 0.01 | Recoverable Result | 0.024 | . | 0.022 | ug/L | 0.91667 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-10-31 06:30 | 20133050050 | 0.01 | Recoverable Result | 0.024 | . | 0.0201 | ug/L | 0.8375 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-11-26 07:00 | 20133310030 | 0.01 | Recoverable Result | 0.024 | . | 0.0292 | ug/L | 1.2167 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-03-13 07:00 | 20140730138 | 0.01 | Recoverable Result | 0.024 | . | 0.02 | ug/L | 0.83333 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-02-17 08:30 | 20110490035 | 0.006 | Recoverable Result | 0.02475 | . | 0.0229 | ug/L | 0.92525 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-10-28 07:30 | 20103020155 | 0.006 | Recoverable Result | 0.027197 | . | 0.0212 | ug/L | 0.77949 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-10-07 07:30 | 20102810019 | 0.006 | Recoverable Result | 0.027291 | . | 0.0338 | ug/L | 1.2385 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-02-02 06:30 | 20110340007 | 0.006 | Recoverable Result | 0.027477 | . | 0.0287 | ug/L | 1.0445 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-04-22 06:20 | 20111170107 | 0.006 | Recoverable Result | 0.027608 | . | 0.0247 | ug/L | 0.89466 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-01-20 07:30 | 20110210095 | 0.006 | Recoverable Result | 0.027711 | . | 0.0216 | ug/L | 0.77947 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-07-28 07:00 | 20112100007 | 0.006 | Recoverable Result | 0.02776 | . | 0.0398 | ug/L | 1.4337 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-10-07 06:30 | 20112840031 | 0.01 | Recoverable Result | 0.02776 | . | 0.0254 | ug/L | 0.91499 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-01-12 07:00 | 20120120071 | 0.01 | Recoverable Result | 0.02776 | . | 0.0203 | ug/L | 0.73127 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-02-23 07:30 | 20120540036 | 0.01 | Recoverable Result | 0.02776 | . | 0.0254 | ug/L | 0.91499 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-03-29 08:00 | 20120930003 | 0.01 | Recoverable Result | 0.02776 | . | 0.0236 | ug/L | 0.85014 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-06-16 08:00 | 20111680035 | 0.006 | Recoverable Result | 0.028109 | . | 0.0311 | ug/L | 1.1064 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-07-07 07:00 | 20111890004 | 0.006 | Recoverable Result | 0.02816 | . | 0.0225 | ug/L | 0.79901 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-10-27 07:30 | 20113010047 | 0.01 | Recoverable Result | 0.02816 | . | 0.0234 | ug/L | 0.83097 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-03-15 08:00 | 20120760111 | 0.01 | Recoverable Result | 0.02816 | . | 0.0209 | ug/L | 0.74219 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-03-24 06:30 | 20110840108 | 0.006 | Recoverable Result | 0.02829 | . | 0.0252 | ug/L | 0.89077 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-06-04 07:00 | 20151550293 | 0.01 | Recoverable Result | 0.03 | . | 0.0278 | ug/L | 0.92667 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-07-09 07:00 | 20151900132 | 0.01 | Recoverable Result | 0.03 | . | 0.0247 | ug/L | 0.82333 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-08-20 06:00 | 20152330039 | 0.01 | Recoverable Result | 0.03 | . | 0.0244 | ug/L | 0.81333 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-12-17 06:00 | 20153510109 | 0.01 | Recoverable Result | 0.03 | . | 0.0212 | ug/L | 0.70667 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-08-05 06:30 | 20102180092 | 0.006 | Recoverable Result | 0.035384 | . | 0.0134 | ug/L | 0.3787 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-04-22 06:30 | 20101130055 | 0.01 | Recoverable Result | 0.036183 | . | 0.0301 | ug/L | 0.83189 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-04-29 10:30 | 20101190091 | 0.01 | Recoverable Result | 0.038782 | . | 0.0276 | ug/L | 0.71167 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-08-14 06:00 | 20142270001 | 0.01 | Recoverable Result | 0.0402 | . | 0.0352 | ug/L | 0.87562 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-05-01 06:00 | 20141220025 | 0.01 | Recoverable Result | 0.0402 | . | 0.0343 | ug/L | 0.85323 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-03-12 06:00 | 20150720069 | 0.01 | Recoverable Result | 0.0402 | . | 0.0381 | ug/L | 0.94776 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-10-23 06:00 | 20142960086 | 0.01 | Recoverable Result | 0.0402 | . | 0.0348 | ug/L | 0.86567 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-11-06 06:00 | 20143110108 | 0.01 | Recoverable Result | 0.0402 | . | 0.0392 | ug/L | 0.97512 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-09-25 06:00 | 20142720002 | 0.01 | Recoverable Result | 0.0402 | . | 0.0395 | ug/L | 0.98259 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-06-05 07:00 | 20141570088 | 0.01 | Recoverable Result | 0.0402 | . | 0.0262 | ug/L | 0.65174 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-09-10 06:00 | 20142530087 | 0.01 | Recoverable Result | 0.0402 | . | 0.0343 | ug/L | 0.85323 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-09-09 06:40 | 20102530008 | 0.006 | Recoverable Result | 0.040428 | . | 0.0337 | ug/L | 0.83357 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-06-17 10:30 | 20101720149 | 0.01 | Recoverable Result | 0.040547 | . | 0.0337 | ug/L | 0.83113 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-11-24 07:00 | 20103330007 | 0.006 | Recoverable Result | 0.053421 | . | 0.0565 | ug/L | 1.0576 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-03-03 07:00 | 20110620082 | 0.006 | Recoverable Result | 0.055123 | . | 0.0644 | ug/L | 1.1683 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-01-26 07:00 | 20120260028 | 0.01 | Estimated Values | 0.05552 | E | 0.0509 | ug/L | 0.91679 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-04-12 07:00 | 20121040012 | 0.01 | Estimated Values | 0.05552 | E | 0.0544 | ug/L | 0.97983 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-05-19 07:30 | 20111390178 | 0.006 | Recoverable Result | 0.055895 | . | 0.0368 | ug/L | 0.65838 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-12-16 06:30 | 20103510060 | 0.006 | Recoverable Result | 0.056045 | . | 0.0413 | ug/L | 0.7369 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-04-28 07:00 | 20111190184 | 0.006 | Recoverable Result | 0.056101 | . | 0.0362 | ug/L | 0.64526 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-08-04 08:00 | 20112170174 | 0.006 | Recoverable Result | 0.05632 | . | 0.0351 | ug/L | 0.62322 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-11-29 07:00 | 20113340046 | 0.01 | Recoverable Result | 0.05632 | . | 0.0375 | ug/L | 0.66584 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-02-09 07:00 | 20120400058 | 0.01 | Recoverable Result | 0.05632 | . | 0.0437 | ug/L | 0.77592 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-07-11 06:30 | 20131920149 | 0.01 | Recoverable Result | 0.06 | . | 0.0509 | ug/L | 0.84833 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-09-17 06:00 | 20152610011 | 0.01 | Recoverable Result | 0.06 | . | 0.0532 | ug/L | 0.88667 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-09-13 06:00 | 20122570122 | 0.01 | Recoverable Result | 0.06 | . | 0.0404 | ug/L | 0.67333 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-03-05 06:00 | 20130650005 | 0.01 | Recoverable Result | 0.06 | . | 0.0363 | ug/L | 0.605 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-05-02 06:00 | 20131230084 | 0.01 | Recoverable Result | 0.06 | . | 0.0458 | ug/L | 0.76333 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-08-07 06:00 | 20122210006 | 0.01 | Recoverable Result | 0.06 | . | 0.0421 | ug/L | 0.70167 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-02-06 06:30 | 20140370077 | 0.01 | Recoverable Result | 0.06 | . | 0.0427 | ug/L | 0.71167 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-08-16 06:30 | 20122300021 | 0.01 | Recoverable Result | 0.06 | . | 0.0476 | ug/L | 0.79333 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2015-10-01 06:00 | 20152750006 | 0.01 | Recoverable Result | 0.06 | . | 0.0504 | ug/L | 0.84 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-07-03 08:00 | 20121870008 | 0.01 | Recoverable Result | 0.06 | . | 0.0464 | ug/L | 0.77333 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-02-07 06:30 | 20130390105 | 0.01 | Recoverable Result | 0.06 | . | 0.04 | ug/L | 0.66667 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-05-16 07:00 | 20131370001 | 0.01 | Recoverable Result | 0.06 | . | 0.0532 | ug/L | 0.88667 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-03-27 06:30 | 20140860102 | 0.01 | Recoverable Result | 0.06 | . | 0.041 | ug/L | 0.68333 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-10-17 06:30 | 20132910008 | 0.01 | Recoverable Result | 0.06 | . | 0.0529 | ug/L | 0.88167 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-12-05 08:00 | 20133400002 | 0.01 | Recoverable Result | 0.06 | . | 0.0443 | ug/L | 0.73833 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-09-25 08:00 | 20132690010 | 0.01 | Recoverable Result | 0.06 | . | 0.0508 | ug/L | 0.84667 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-06-07 10:00 | 20111590005 | 0.006 | Recoverable Result | 0.074096 | . | 0.0494 | ug/L | 0.6667 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-05-27 06:30 | 20101480005 | 0.01 | Recoverable Result | 0.092448 | . | 0.049 | ug/L | 0.53003 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2011-04-07 09:00 | 20110980030 | 0.006 | Recoverable Result | 0.099483 | . | 0.0772 | ug/L | 0.77601 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2010-11-18 09:00 | 20103230114 | 0.006 | Recoverable Result | 0.1007 | . | 0.0746 | ug/L | 0.74078 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-09-06 06:50 | 20132490342 | 0.01 | Recoverable Result | 0.12 | . | 0.087 | ug/L | 0.725 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-01-09 06:30 | 20140100085 | 0.01 | Recoverable Result | 0.12 | . | 0.079 | ug/L | 0.65833 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-06-21 06:00 | 20121730123 | 0.01 | Recoverable Result | 0.15 | . | 0.09 | ug/L | 0.6 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-10-30 07:00 | 20123040157 | 0.01 | Estimated Values | 0.15 | E | 0.101 | ug/L | 0.67333 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-12-20 06:30 | 20123560092 | 0.01 | Recoverable Result | 0.15 | . | 0.0986 | ug/L | 0.65733 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-03-21 06:30 | 20130810108 | 0.01 | Recoverable Result | 0.15 | . | 0.089 | ug/L | 0.59333 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-08-29 06:30 | 20132420001 | 0.01 | Recoverable Result | 0.15 | . | 0.102 | ug/L | 0.68 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2014-01-23 06:30 | 20140230082 | 0.01 | Recoverable Result | 0.15 | . | 0.084 | ug/L | 0.56 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2013-01-24 06:00 | 20130250061 | 0.01 | Recoverable Result | 0.3 | . | 0.139 | ug/L | 0.46333 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-12-06 06:30 | 20123420074 | 0.01 | Recoverable Result | 0.3 | . | 0.174 | ug/L | 0.58 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | OXYFLUORFEN | 61600GCM39 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.168 | ug/L | 0.56 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl