## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-11-10 06:00 | 20153160001 | 0.014 | False Negative | 0.021 | < |  | ug/L |  |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-05-26 07:30 | 20111470065 | 0.014 | False Negative | 0.031777 | < |  | ug/L |  | X | str | m | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-07-19 06:30 | 20122020004 | 0.014 | Estimated Values | 0.02008 | E | 0.026 | ug/L | 1.2948 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-07-03 08:00 | 20121870008 | 0.014 | Estimated Values | 0.02008 | E | 0.0259 | ug/L | 1.2898 | V | rcr | m | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-02-07 06:30 | 20130390105 | 0.014 | Estimated Values | 0.02008 | E | 0.0184 | ug/L | 0.91633 | V | rcr | m | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-08-30 06:30 | 20122430227 | 0.014 | Estimated Values | 0.0204 | E | 0.0271 | ug/L | 1.3284 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-02-19 06:30 | 20130510051 | 0.014 | Estimated Values | 0.0204 | E | 0.0299 | ug/L | 1.4657 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-08-16 06:30 | 20122300021 | 0.014 | Estimated Values | 0.0204 | E | 0.0216 | ug/L | 1.0588 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-04-30 07:00 | 20151210037 | 0.014 | Estimated Values | 0.021 | E | 0.0206 | ug/L | 0.98095 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-10-29 06:00 | 20153030068 | 0.014 | Estimated Values | 0.021 | E | 0.0178 | ug/L | 0.84762 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-08-06 06:00 | 20152190003 | 0.014 | Estimated Values | 0.021 | E | 0.0191 | ug/L | 0.90952 |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-02-17 08:30 | 20110490035 | 0.014 | Estimated Values | 0.02475 | E | 0.0278 | ug/L | 1.1232 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-04-17 06:00 | 20141080004 | 0.014 | Estimated Values | 0.0279 | E | 0.0229 | ug/L | 0.82079 | Y | rcr | m | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-01-15 06:00 | 20150150115 | 0.014 | Estimated Values | 0.0279 | E | 0.0327 | ug/L | 1.172 | Y | rcr | m | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-05-22 07:00 | 20141420140 | 0.014 | Estimated Values | 0.0279 | E | 0.0164 | ug/L | 0.58781 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-08-07 07:00 | 20142200164 | 0.014 | Estimated Values | 0.0279 | E | 0.019 | ug/L | 0.681 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-06-12 06:00 | 20141640076 | 0.014 | Estimated Values | 0.0279 | E | 0.0202 | ug/L | 0.72401 | Y | rcr | m | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-07-10 06:00 | 20141910243 | 0.014 | Estimated Values | 0.0279 | E | 0.0187 | ug/L | 0.67025 | Y | rcr | m | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-07-02 07:00 | 20141840097 | 0.014 | Estimated Values | 0.0279 | E | 0.0194 | ug/L | 0.69534 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-12-03 06:00 | 20143370094 | 0.014 | Estimated Values | 0.0279 | E | 0.0241 | ug/L | 0.8638 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-02-11 06:30 | 20100420055 | 0.01 | Estimated Values | 0.029328 | E | 0.0306 | ug/L | 1.0434 | S | c3L | m | 2010-04-22 | Supelco LB69639: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-01-28 06:30 | 20100280077 | 0.01 | Estimated Values | 0.029593 | E | 0.0181 | ug/L | 0.61163 | W | fww | m | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-06-03 06:30 | 20101550006 | 0.01 | Estimated Values | 0.030823 | E | 0.0306 | ug/L | 0.99276 | X | mco | m | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-01-06 07:00 | 20110070109 | 0.014 | Estimated Values | 0.030845 | E | 0.032 | ug/L | 1.0375 | S | rcr | m | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-03-10 06:30 | 20110690078 | 0.014 | Estimated Values | 0.031348 | E | 0.0398 | ug/L | 1.2696 | V | rcr | m | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-07-14 08:00 | 20111960039 | 0.014 | Estimated Values | 0.03144 | E | 0.0462 | ug/L | 1.4695 | V | rcr | m | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-10-13 07:30 | 20112870073 | 0.014 | Estimated Values | 0.03144 | E | 0.0309 | ug/L | 0.98282 | V | rcr | m | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-02-16 07:30 | 20120470078 | 0.014 | Estimated Values | 0.03144 | E | 0.0301 | ug/L | 0.95738 | V | rcr | m | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-04-26 07:00 | 20121180062 | 0.014 | Estimated Values | 0.03144 | E | 0.0395 | ug/L | 1.2564 | Y | rcr | m | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-03-31 07:30 | 20110910084 | 0.014 | Estimated Values | 0.03163 | E | 0.0229 | ug/L | 0.724 | X | str | m | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-11-30 07:00 | 20103350003 | 0.014 | Estimated Values | 0.031933 | E | 0.0347 | ug/L | 1.0867 | W | c3L | m | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-08-25 10:00 | 20112380055 | 0.014 | Estimated Values | 0.032 | E | 0.0275 | ug/L | 0.85938 | V | rcr | m | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-11-03 07:00 | 20113080001 | 0.014 | Estimated Values | 0.032 | E | 0.0335 | ug/L | 1.0469 | V | rcr | m | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-03-22 06:30 | 20120830077 | 0.014 | Estimated Values | 0.032 | E | 0.0449 | ug/L | 1.4031 | V | rcr | m | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-05-24 07:00 | 20121460001 | 0.014 | Estimated Values | 0.032 | E | 0.0337 | ug/L | 1.0531 | Y | rcr | m | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-01-27 06:30 | 20110280004 | 0.014 | Estimated Values | 0.032145 | E | 0.0406 | ug/L | 1.263 | V | rcr | m | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-05-05 07:30 | 20111260154 | 0.014 | Estimated Values | 0.032353 | E | 0.0347 | ug/L | 1.0726 | V | rcr | m | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-05-30 07:30 | 20131510026 | 0.014 | Estimated Values | 0.035 | E | 0.037 | ug/L | 1.0571 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-06-27 06:30 | 20131790009 | 0.014 | Estimated Values | 0.035 | E | 0.0339 | ug/L | 0.96857 | Y | rcr | m | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-12-23 06:30 | 20133580036 | 0.014 | Estimated Values | 0.035 | E | 0.0292 | ug/L | 0.83429 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-12-12 06:30 | 20133470008 | 0.014 | Estimated Values | 0.0352 | E | 0.0367 | ug/L | 1.0426 | Y | rcr | m | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-10-31 06:30 | 20133050050 | 0.014 | Estimated Values | 0.0352 | E | 0.0383 | ug/L | 1.0881 | Y | rcr | m | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-11-14 07:30 | 20133190012 | 0.014 | Estimated Values | 0.0352 | E | 0.0471 | ug/L | 1.3381 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-02-20 06:30 | 20140510043 | 0.014 | Estimated Values | 0.0352 | E | 0.0241 | ug/L | 0.68466 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-04-29 10:30 | 20101190091 | 0.01 | Estimated Values | 0.038782 | E | 0.0336 | ug/L | 0.86638 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-09-09 06:40 | 20102530008 | 0.014 | Estimated Values | 0.040428 | E | 0.0484 | ug/L | 1.1972 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-06-17 10:30 | 20101720149 | 0.01 | Estimated Values | 0.040547 | E | 0.0436 | ug/L | 1.0753 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-06-04 07:00 | 20151550293 | 0.014 | Estimated Values | 0.042 | E | 0.0408 | ug/L | 0.97143 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-07-09 07:00 | 20151900132 | 0.014 | Estimated Values | 0.042 | E | 0.049 | ug/L | 1.1667 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-08-20 06:00 | 20152330039 | 0.014 | Estimated Values | 0.042 | E | 0.0301 | ug/L | 0.71667 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-12-17 06:00 | 20153510109 | 0.014 | Estimated Values | 0.042 | E | 0.0263 | ug/L | 0.62619 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-10-10 07:00 | 20122850005 | 0.014 | Estimated Values | 0.0502 | E | 0.0427 | ug/L | 0.8506 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-01-10 06:00 | 20130100066 | 0.014 | Estimated Values | 0.0502 | E | 0.0508 | ug/L | 1.012 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-03-21 06:30 | 20130810108 | 0.014 | Estimated Values | 0.0502 | E | 0.0462 | ug/L | 0.92032 | V | rcr | m | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-09-27 07:00 | 20122720048 | 0.014 | Estimated Values | 0.051 | E | 0.0471 | ug/L | 0.92353 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-04-04 06:30 | 20130940097 | 0.014 | Estimated Values | 0.051 | E | 0.0479 | ug/L | 0.93922 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-12-20 06:30 | 20123560092 | 0.014 | Estimated Values | 0.051 | E | 0.0511 | ug/L | 1.002 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-08-14 06:00 | 20142270001 | 0.014 | Estimated Values | 0.0558 | E | 0.0381 | ug/L | 0.6828 | Y | rcr | m | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-05-01 06:00 | 20141220025 | 0.014 | Estimated Values | 0.0558 | E | 0.0623 | ug/L | 1.1165 | Y | rcr | m | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-03-12 06:00 | 20150720069 | 0.014 | Estimated Values | 0.0558 | E | 0.0189 | ug/L | 0.33871 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-10-23 06:00 | 20142960086 | 0.014 | Estimated Values | 0.0558 | E | 0.0368 | ug/L | 0.6595 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-11-06 06:00 | 20143110108 | 0.014 | Estimated Values | 0.0558 | E | 0.0479 | ug/L | 0.85842 | Y | rcr | m | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-09-25 06:00 | 20142720002 | 0.014 | Estimated Values | 0.0558 | E | 0.0473 | ug/L | 0.84767 | Y | rcr | m | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-06-05 07:00 | 20141570088 | 0.014 | Estimated Values | 0.0558 | E | 0.0549 | ug/L | 0.98387 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-09-10 06:00 | 20142530087 | 0.014 | Estimated Values | 0.0558 | E | 0.0394 | ug/L | 0.70609 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-05-06 06:30 | 20101270038 | 0.01 | Estimated Values | 0.057747 | E | 0.0418 | ug/L | 0.72385 | S | cgr | m | 2010-07-07 | Supelco LB69639: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-07-13 06:30 | 20101950137 | 0.01 | Estimated Values | 0.058912 | E | 0.0602 | ug/L | 1.0219 | X | str | m | 2010-09-23 | Supelco LB69639: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-02-10 07:00 | 20110410061 | 0.014 | Estimated Values | 0.062511 | E | 0.051 | ug/L | 0.81585 | V | rcr | m | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-11-04 07:30 | 20103080116 | 0.014 | Estimated Values | 0.062536 | E | 0.0664 | ug/L | 1.0618 | X | str | m | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-11-17 07:00 | 20113220198 | 0.014 | Estimated Values | 0.06288 | E | 0.0495 | ug/L | 0.78721 | V | rcr | m | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-10-14 07:30 | 20102880001 | 0.014 | Estimated Values | 0.063385 | E | 0.103 | ug/L | 1.625 | V | rcr | m | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-06-23 07:00 | 20111750006 | 0.014 | Estimated Values | 0.064 | E | 0.0658 | ug/L | 1.0281 | X | str | m | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-09-08 07:30 | 20112520209 | 0.014 | Estimated Values | 0.064 | E | 0.0569 | ug/L | 0.88906 | Y | rcr | m | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-12-13 07:30 | 20113490056 | 0.014 | Estimated Values | 0.064 | E | 0.0893 | ug/L | 1.3953 | V | rcr | m | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-01-19 07:00 | 20120200073 | 0.014 | Estimated Values | 0.064 | E | 0.0614 | ug/L | 0.95937 | X | str | m | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-08-18 08:47 | 20112310030 | 0.014 | Estimated Values | 0.07 | E | 0.0534 | ug/L | 0.76286 | Y | rcr | m | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-06-07 10:00 | 20111590005 | 0.014 | Estimated Values | 0.074096 | E | 0.061 | ug/L | 0.82326 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-09-17 06:00 | 20152610011 | 0.014 | Estimated Values | 0.084 | E | 0.0368 | ug/L | 0.4381 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2015-10-01 06:00 | 20152750006 | 0.014 | Estimated Values | 0.084 | E | 0.0777 | ug/L | 0.925 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2014-02-06 06:30 | 20140370077 | 0.014 | Estimated Values | 0.0875 | E | 0.0674 | ug/L | 0.77029 | Y | rcr | m | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-09-12 08:30 | 20132560001 | 0.014 | Estimated Values | 0.0875 | E | 0.0701 | ug/L | 0.80114 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-08-01 07:00 | 20132140002 | 0.014 | Estimated Values | 0.088 | E | 0.0658 | ug/L | 0.74773 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-05-16 07:00 | 20131370001 | 0.014 | Estimated Values | 0.088 | E | 0.0808 | ug/L | 0.91818 | V | rcr | m | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2011-04-07 09:00 | 20110980030 | 0.014 | Estimated Values | 0.099483 | E | 0.0744 | ug/L | 0.74787 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.1004 | E | 0.0781 | ug/L | 0.77789 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-11-18 09:00 | 20103230114 | 0.014 | Estimated Values | 0.1007 | E | 0.093 | ug/L | 0.92349 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2012-11-20 06:30 | 20123260037 | 0.014 | Estimated Values | 0.102 | E | 0.0945 | ug/L | 0.92647 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2010-08-12 06:30 | 20102250096 | 0.014 | Estimated Values | 0.15209 | E | 0.0804 | ug/L | 0.52864 | X | str | m | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PARAOXON-METHYL | 61664GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Estimated Values | 0.175 | E | 0.122 | ug/L | 0.69714 | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl