## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PARATHION-METHYL | 82667GCM35 | 2015-05-07 07:00 | 20151270112 | 0.008 | False Negative | 0.024 | < |  | ug/L |  | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-04-30 07:00 | 20151210037 | 0.008 | Recoverable Result | 0.012 | . | 0.0131 | ug/L | 1.0917 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-10-22 06:00 | 20152950078 | 0.008 | Recoverable Result | 0.012 | . | 0.0093 | ug/L | 0.775 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-06-25 06:00 | 20151760208 | 0.008 | Recoverable Result | 0.012 | . | 0.019 | ug/L | 1.5833 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-07-23 06:00 | 20152040177 | 0.008 | Estimated Values | 0.012 | E | 0.0211 | ug/L | 1.7583 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-11-10 06:00 | 20153160001 | 0.008 | Estimated Values | 0.012 | E | 0.0127 | ug/L | 1.0583 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-04-17 06:00 | 20141080004 | 0.008 | Recoverable Result | 0.0159 | . | 0.0181 | ug/L | 1.1384 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-05-22 07:00 | 20141420140 | 0.008 | Recoverable Result | 0.0159 | . | 0.0162 | ug/L | 1.0189 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-06-12 06:00 | 20141640076 | 0.008 | Recoverable Result | 0.0159 | . | 0.0184 | ug/L | 1.1572 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-01-15 06:00 | 20150150115 | 0.008 | Recoverable Result | 0.01596 | . | 0.0207 | ug/L | 1.297 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-07-10 06:00 | 20141910243 | 0.008 | Recoverable Result | 0.01596 | . | 0.0145 | ug/L | 0.90852 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-07-02 07:00 | 20141840097 | 0.008 | Recoverable Result | 0.01596 | . | 0.0165 | ug/L | 1.0338 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-02-11 06:30 | 20100420055 | 0.008 | Recoverable Result | 0.0195 | . | 0.0274 | ug/L | 1.4051 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-01-28 06:30 | 20100280077 | 0.008 | Recoverable Result | 0.019662 | . | 0.0136 | ug/L | 0.69168 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-07-11 06:30 | 20131920149 | 0.008 | Recoverable Result | 0.02 | . | 0.0206 | ug/L | 1.03 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-09-13 06:00 | 20122570122 | 0.008 | Recoverable Result | 0.02 | . | 0.019 | ug/L | 0.95 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-03-05 06:00 | 20130650005 | 0.008 | Recoverable Result | 0.02 | . | 0.0184 | ug/L | 0.92 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-05-02 06:00 | 20131230084 | 0.008 | Recoverable Result | 0.02 | . | 0.027 | ug/L | 1.35 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-08-07 06:00 | 20122210006 | 0.008 | Recoverable Result | 0.02 | . | 0.0212 | ug/L | 1.06 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-08-16 06:30 | 20122300021 | 0.008 | Recoverable Result | 0.02 | . | 0.0235 | ug/L | 1.175 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-07-03 08:00 | 20121870008 | 0.008 | Recoverable Result | 0.02 | . | 0.0233 | ug/L | 1.165 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-02-07 06:30 | 20130390105 | 0.008 | Recoverable Result | 0.02 | . | 0.0183 | ug/L | 0.915 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-03-27 06:30 | 20140860102 | 0.008 | Recoverable Result | 0.02 | . | 0.0197 | ug/L | 0.985 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-10-17 06:30 | 20132910008 | 0.008 | Recoverable Result | 0.02 | . | 0.0213 | ug/L | 1.065 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-12-05 08:00 | 20133400002 | 0.008 | Recoverable Result | 0.02 | . | 0.0199 | ug/L | 0.995 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-06-03 06:30 | 20101550006 | 0.008 | Recoverable Result | 0.02048 | . | 0.0206 | ug/L | 1.0059 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-08-15 06:30 | 20132280016 | 0.008 | Recoverable Result | 0.022 | . | 0.0239 | ug/L | 1.0864 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-10-31 06:30 | 20133050050 | 0.008 | Recoverable Result | 0.022 | . | 0.0236 | ug/L | 1.0727 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-06-13 06:30 | 20131650073 | 0.008 | Recoverable Result | 0.0222 | . | 0.0281 | ug/L | 1.2658 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-06-27 06:30 | 20131790009 | 0.008 | Recoverable Result | 0.0222 | . | 0.032 | ug/L | 1.4414 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-12-12 06:30 | 20133470008 | 0.008 | Recoverable Result | 0.0222 | . | 0.0257 | ug/L | 1.1577 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-11-26 07:00 | 20133310030 | 0.008 | Recoverable Result | 0.0222 | . | 0.0336 | ug/L | 1.5135 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-03-13 07:00 | 20140730138 | 0.008 | Recoverable Result | 0.0222 | . | 0.0237 | ug/L | 1.0676 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-07-09 07:00 | 20151900132 | 0.008 | Recoverable Result | 0.024 | . | 0.0355 | ug/L | 1.4792 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-08-20 06:00 | 20152330039 | 0.008 | Recoverable Result | 0.024 | . | 0.0202 | ug/L | 0.84167 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-12-09 06:00 | 20153440001 | 0.008 | Recoverable Result | 0.024 | . | 0.0192 | ug/L | 0.8 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-02-17 08:30 | 20110490035 | 0.008 | Recoverable Result | 0.02475 | . | 0.0297 | ug/L | 1.2 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-10-28 07:30 | 20103020155 | 0.008 | Recoverable Result | 0.031061 | . | 0.0396 | ug/L | 1.2749 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-01-20 07:30 | 20110210095 | 0.008 | Recoverable Result | 0.031647 | . | 0.0321 | ug/L | 1.0143 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-08-14 06:00 | 20142270001 | 0.008 | Recoverable Result | 0.0318 | . | 0.0275 | ug/L | 0.86478 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-03-12 06:00 | 20150720069 | 0.008 | Recoverable Result | 0.0318 | . | 0.0341 | ug/L | 1.0723 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-11-06 06:00 | 20143110108 | 0.008 | Recoverable Result | 0.0318 | . | 0.0342 | ug/L | 1.0755 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-05-01 06:00 | 20141220025 | 0.008 | Recoverable Result | 0.03192 | . | 0.0373 | ug/L | 1.1685 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-09-25 06:00 | 20142720002 | 0.008 | Recoverable Result | 0.03192 | . | 0.0298 | ug/L | 0.93358 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-06-05 07:00 | 20141570088 | 0.008 | Recoverable Result | 0.03192 | . | 0.0346 | ug/L | 1.084 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-06-16 08:00 | 20111680035 | 0.008 | Recoverable Result | 0.032102 | . | 0.0438 | ug/L | 1.3644 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-07-07 07:00 | 20111890004 | 0.008 | Recoverable Result | 0.03216 | . | 0.0373 | ug/L | 1.1598 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-10-27 07:30 | 20113010047 | 0.008 | Recoverable Result | 0.03216 | . | 0.0322 | ug/L | 1.0012 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-03-15 08:00 | 20120760111 | 0.008 | Recoverable Result | 0.03216 | . | 0.0266 | ug/L | 0.82711 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-03-24 06:30 | 20110840108 | 0.008 | Recoverable Result | 0.032309 | . | 0.0297 | ug/L | 0.91926 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-10-07 07:30 | 20102810019 | 0.008 | Recoverable Result | 0.032363 | . | 0.0359 | ug/L | 1.1093 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-02-02 06:30 | 20110340007 | 0.008 | Estimated Values | 0.032584 | E | 0.046 | ug/L | 1.4117 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-04-22 06:20 | 20111170107 | 0.008 | Recoverable Result | 0.03274 | . | 0.034 | ug/L | 1.0385 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-07-28 07:00 | 20112100007 | 0.008 | Estimated Values | 0.03292 | E | 0.0464 | ug/L | 1.4095 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-10-07 06:30 | 20112840031 | 0.008 | Recoverable Result | 0.03292 | . | 0.034 | ug/L | 1.0328 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-01-12 07:00 | 20120120071 | 0.008 | Recoverable Result | 0.03292 | . | 0.0283 | ug/L | 0.85966 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-02-23 07:30 | 20120540036 | 0.008 | Recoverable Result | 0.03292 | . | 0.0336 | ug/L | 1.0207 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-03-29 08:00 | 20120930003 | 0.008 | Recoverable Result | 0.03292 | . | 0.0316 | ug/L | 0.9599 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-05-06 06:30 | 20101270038 | 0.008 | Recoverable Result | 0.038394 | . | 0.0333 | ug/L | 0.86731 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-04-29 10:30 | 20101190091 | 0.008 | Recoverable Result | 0.038782 | . | 0.0341 | ug/L | 0.87927 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-07-13 06:30 | 20101950137 | 0.008 | Recoverable Result | 0.039169 | . | 0.0448 | ug/L | 1.1438 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-09-09 06:40 | 20102530008 | 0.008 | Recoverable Result | 0.040428 | . | 0.05 | ug/L | 1.2368 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-06-17 10:30 | 20101720149 | 0.008 | Recoverable Result | 0.040547 | . | 0.0454 | ug/L | 1.1197 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-09-03 06:00 | 20152460215 | 0.008 | Recoverable Result | 0.048 | . | 0.038 | ug/L | 0.79167 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2015-10-01 06:00 | 20152750006 | 0.008 | Recoverable Result | 0.048 | . | 0.05 | ug/L | 1.0417 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-06-21 06:00 | 20121730123 | 0.008 | Recoverable Result | 0.05 | . | 0.0492 | ug/L | 0.984 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-10-30 07:00 | 20123040157 | 0.008 | Estimated Values | 0.05 | E | 0.0556 | ug/L | 1.112 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-12-20 06:30 | 20123560092 | 0.008 | Recoverable Result | 0.05 | . | 0.0512 | ug/L | 1.024 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-03-21 06:30 | 20130810108 | 0.008 | Recoverable Result | 0.05 | . | 0.0475 | ug/L | 0.95 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-08-29 06:30 | 20132420001 | 0.008 | Recoverable Result | 0.05 | . | 0.0449 | ug/L | 0.898 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-01-23 06:30 | 20140230082 | 0.008 | Recoverable Result | 0.05 | . | 0.0454 | ug/L | 0.908 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-02-06 06:30 | 20140370077 | 0.008 | Recoverable Result | 0.055 | . | 0.0415 | ug/L | 0.75455 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-09-25 08:00 | 20132690010 | 0.008 | Recoverable Result | 0.055 | . | 0.0532 | ug/L | 0.96727 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-05-16 07:00 | 20131370001 | 0.008 | Recoverable Result | 0.0555 | . | 0.0651 | ug/L | 1.173 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-11-24 07:00 | 20103330007 | 0.008 | Recoverable Result | 0.06335 | . | 0.062 | ug/L | 0.97869 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-12-16 06:30 | 20103510060 | 0.008 | Recoverable Result | 0.064006 | . | 0.0529 | ug/L | 0.82648 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-04-28 07:00 | 20111190184 | 0.008 | Recoverable Result | 0.06407 | . | 0.0594 | ug/L | 0.92711 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-08-04 08:00 | 20112170174 | 0.008 | Recoverable Result | 0.06432 | . | 0.0639 | ug/L | 0.99347 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-11-29 07:00 | 20113340046 | 0.008 | Recoverable Result | 0.06432 | . | 0.0563 | ug/L | 0.87531 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-02-09 07:00 | 20120400058 | 0.008 | Recoverable Result | 0.06432 | . | 0.0646 | ug/L | 1.0044 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-03-03 07:00 | 20110620082 | 0.008 | Estimated Values | 0.065369 | E | 0.0929 | ug/L | 1.4212 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-01-26 07:00 | 20120260028 | 0.008 | Estimated Values | 0.06584 | E | 0.0778 | ug/L | 1.1817 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-04-12 07:00 | 20121040012 | 0.008 | Estimated Values | 0.06584 | E | 0.0847 | ug/L | 1.2865 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-05-19 07:30 | 20111390178 | 0.008 | Recoverable Result | 0.066284 | . | 0.0639 | ug/L | 0.96403 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-06-07 10:00 | 20111590005 | 0.008 | Recoverable Result | 0.074096 | . | 0.067 | ug/L | 0.90423 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2011-04-07 09:00 | 20110980030 | 0.008 | Estimated Values | 0.099483 | E | 0.0887 | ug/L | 0.89161 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-01-24 06:00 | 20130250061 | 0.008 | Recoverable Result | 0.1 | . | 0.0786 | ug/L | 0.786 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-12-06 06:30 | 20123420074 | 0.008 | Recoverable Result | 0.1 | . | 0.0949 | ug/L | 0.949 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.1 | . | 0.0922 | ug/L | 0.922 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-11-18 09:00 | 20103230114 | 0.008 | Recoverable Result | 0.1007 | . | 0.0951 | ug/L | 0.94434 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2010-08-12 06:30 | 20102250096 | 0.008 | Recoverable Result | 0.10105 | . | 0.0662 | ug/L | 0.65511 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2013-09-06 06:50 | 20132490342 | 0.008 | Recoverable Result | 0.11 | . | 0.0828 | ug/L | 0.75273 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | PARATHION-METHYL | 82667GCM35 | 2014-01-09 06:30 | 20140100085 | 0.008 | Recoverable Result | 0.11 | . | 0.0898 | ug/L | 0.81636 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl