## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-02-17 08:30 | 20110490035 | 0.14 | SACRALT | 0.02475 | < | 0.014 | ug/L |  | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-06-07 10:00 | 20111590005 | 0.14 | SACRALT | 0.074096 | < | 0.014 | ug/L |  | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-04-07 09:00 | 20110980030 | 0.14 | SACRALT | 0.099483 | < | 0.014 | ug/L |  | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-09-02 06:30 | 20102500051 | 0.14 | False Negative | 0.49081 | < |  | ug/L |  | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-06-24 06:30 | 20101760006 | 0.034 | False Negative | 0.49365 | < |  | ug/L |  | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-09-09 06:40 | 20102530008 | 0.14 | Estimated Values | 0.040428 | E | 0.0186 | ug/L | 0.46007 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-05-02 06:00 | 20131230084 | 0.14 | Estimated Values | 0.098 | E | 0.088 | ug/L | 0.89796 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-02-19 06:30 | 20130510051 | 0.14 | Estimated Values | 0.098 | E | 0.088 | ug/L | 0.89796 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-07-11 06:30 | 20131920149 | 0.14 | Estimated Values | 0.1002 | E | 0.068 | ug/L | 0.67864 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-03-27 06:30 | 20140860102 | 0.14 | Estimated Values | 0.1002 | E | 0.044 | ug/L | 0.43912 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-03-05 06:00 | 20130650005 | 0.14 | Estimated Values | 0.1004 | E | 0.057 | ug/L | 0.56773 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-10-17 06:30 | 20132910008 | 0.14 | Estimated Values | 0.1004 | E | 0.057 | ug/L | 0.56773 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-12-05 08:00 | 20133400002 | 0.14 | Estimated Values | 0.1004 | E | 0.074 | ug/L | 0.73705 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-11-18 09:00 | 20103230114 | 0.14 | Estimated Values | 0.1007 | E | 0.0467 | ug/L | 0.46373 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-04-29 10:30 | 20101190091 | 0.034 | Estimated Values | 0.038782 | E | 0.0126 | ug/L | 0.32489 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-06-17 10:30 | 20101720149 | 0.034 | Estimated Values | 0.040547 | E | 0.0222 | ug/L | 0.54751 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-08-07 06:00 | 20122210006 | 0.08 | Estimated Values | 0.098 | E | 0.0826 | ug/L | 0.84286 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-08-30 06:30 | 20122430227 | 0.08 | Estimated Values | 0.098 | E | 0.0811 | ug/L | 0.82755 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-06-07 06:30 | 20121600156 | 0.08 | Estimated Values | 0.1004 | E | 0.112 | ug/L | 1.1155 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-09-13 06:00 | 20122570122 | 0.08 | Estimated Values | 0.1004 | E | 0.0508 | ug/L | 0.50598 | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-07-19 06:30 | 20122020004 | 0.08 | Estimated Values | 0.1004 | E | 0.0977 | ug/L | 0.97311 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-10-29 06:00 | 20153030068 | 0.14 | Estimated Values | 0.21 | E | 0.115 | ug/L | 0.54762 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-08-06 06:00 | 20152190003 | 0.14 | Estimated Values | 0.21 | E | 0.098 | ug/L | 0.46667 |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-11-10 06:00 | 20153160001 | 0.14 | Estimated Values | 0.21 | E | 0.102 | ug/L | 0.48571 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-04-30 07:00 | 20151210037 | 0.14 | Estimated Values | 0.2102 | E | 0.108 | ug/L | 0.5138 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-01-21 07:00 | 20100210100 | 0.034 | Estimated Values | 0.24152 | E | 0.0228 | ug/L | 0.094403 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-08-03 06:30 | 20102160002 | 0.14 | Estimated Values | 0.24486 | E | 0.0807 | ug/L | 0.32958 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-10-30 07:00 | 20123040157 | 0.14 | Estimated Values | 0.245 | E | 0.215 | ug/L | 0.87755 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-04-01 06:30 | 20100920048 | 0.034 | Estimated Values | 0.2456 | E | 0.0435 | ug/L | 0.17712 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-08-29 06:30 | 20132420001 | 0.14 | Estimated Values | 0.2505 | E | 0.17 | ug/L | 0.67864 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-01-23 06:30 | 20140230082 | 0.14 | Estimated Values | 0.2505 | E | 0.138 | ug/L | 0.5509 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-10-10 07:00 | 20122850005 | 0.14 | Estimated Values | 0.251 | E | 0.179 | ug/L | 0.71315 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-01-10 06:00 | 20130100066 | 0.14 | Estimated Values | 0.251 | E | 0.222 | ug/L | 0.88446 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-04-04 06:30 | 20130940097 | 0.14 | Estimated Values | 0.251 | E | 0.133 | ug/L | 0.52988 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-02-25 06:30 | 20100570086 | 0.034 | Estimated Values | 0.25315 | E | 0.0226 | ug/L | 0.089275 | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-05-22 07:00 | 20141420140 | 0.14 | Estimated Values | 0.276 | E | 0.203 | ug/L | 0.73551 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-05-29 06:00 | 20141490205 | 0.14 | Estimated Values | 0.276 | E | 0.168 | ug/L | 0.6087 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-05-16 06:00 | 20141360094 | 0.14 | Estimated Values | 0.276 | E | 0.133 | ug/L | 0.48188 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-07-02 07:00 | 20141840097 | 0.14 | Estimated Values | 0.276 | E | 0.109 | ug/L | 0.39493 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-08-07 07:00 | 20142200164 | 0.14 | Estimated Values | 0.2793 | E | 0.129 | ug/L | 0.46187 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-10-09 06:00 | 20142820151 | 0.14 | Estimated Values | 0.2793 | E | 0.166 | ug/L | 0.59434 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-09-03 06:00 | 20142470041 | 0.14 | Estimated Values | 0.2793 | E | 0.147 | ug/L | 0.52632 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-12-03 06:00 | 20143370094 | 0.14 | Estimated Values | 0.2793 | E | 0.128 | ug/L | 0.45829 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-05-30 07:30 | 20131510026 | 0.14 | Estimated Values | 0.2956 | E | 0.156 | ug/L | 0.52774 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-08-15 06:30 | 20132280016 | 0.14 | Estimated Values | 0.2956 | E | 0.223 | ug/L | 0.7544 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-11-26 07:00 | 20133310030 | 0.14 | Estimated Values | 0.2956 | E | 0.235 | ug/L | 0.79499 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-03-13 07:00 | 20140730138 | 0.14 | Estimated Values | 0.2956 | E | 0.163 | ug/L | 0.55142 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-02-20 06:30 | 20140510043 | 0.14 | Estimated Values | 0.2956 | E | 0.13 | ug/L | 0.43978 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-06-13 06:30 | 20131650073 | 0.14 | Estimated Values | 0.3016 | E | 0.248 | ug/L | 0.82228 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-12-23 06:30 | 20133580036 | 0.14 | Estimated Values | 0.3016 | E | 0.171 | ug/L | 0.56698 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-11-14 07:30 | 20133190012 | 0.14 | Estimated Values | 0.3016 | E | 0.222 | ug/L | 0.73607 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-10-21 07:30 | 20102950072 | 0.14 | Estimated Values | 0.35434 | E | 0.211 | ug/L | 0.59548 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-11-10 07:30 | 20103140135 | 0.14 | Estimated Values | 0.36346 | E | 0.156 | ug/L | 0.42921 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-03-17 08:00 | 20110770001 | 0.14 | Estimated Values | 0.36426 | E | 0.227 | ug/L | 0.62318 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-07-21 07:30 | 20112030057 | 0.14 | Estimated Values | 0.3644 | E | 0.165 | ug/L | 0.4528 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-11-22 07:30 | 20113260111 | 0.08 | Estimated Values | 0.3644 | E | 0.263 | ug/L | 0.72173 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-02-02 12:10 | 20120370001 | 0.08 | Estimated Values | 0.3644 | E | 0.197 | ug/L | 0.54061 | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-07-07 06:30 | 20111890005 | 0.14 | Estimated Values | 0.36448 | E | 0.185 | ug/L | 0.50757 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-09-01 07:30 | 20112450022 | 0.14 | Estimated Values | 0.36448 | E | 0.267 | ug/L | 0.73255 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-12-15 07:30 | 20113500021 | 0.08 | Estimated Values | 0.36448 | E | 0.239 | ug/L | 0.65573 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-03-01 07:30 | 20120620015 | 0.08 | Estimated Values | 0.36448 | E | 0.208 | ug/L | 0.57068 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-04-14 07:30 | 20111050150 | 0.14 | Estimated Values | 0.36797 | E | 0.248 | ug/L | 0.67397 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-05-12 07:00 | 20111330148 | 0.14 | Estimated Values | 0.37078 | E | 0.27 | ug/L | 0.72819 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-02-24 08:00 | 20110560005 | 0.14 | Estimated Values | 0.371 | E | 0.206 | ug/L | 0.55525 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-08-20 06:00 | 20152330039 | 0.14 | Estimated Values | 0.42 | E | 0.215 | ug/L | 0.5119 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-12-17 06:00 | 20153510109 | 0.14 | Estimated Values | 0.42 | E | 0.223 | ug/L | 0.53095 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-06-04 07:00 | 20151550293 | 0.14 | Estimated Values | 0.4204 | E | 0.2 | ug/L | 0.47574 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-07-09 07:00 | 20151900132 | 0.14 | Estimated Values | 0.4204 | E | 0.212 | ug/L | 0.50428 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-05-20 06:30 | 20101410006 | 0.034 | Estimated Values | 0.48664 | E | 0.109 | ug/L | 0.22399 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-01-24 06:00 | 20130250061 | 0.14 | Estimated Values | 0.49 | E | 0.393 | ug/L | 0.80204 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-12-06 06:30 | 20123420074 | 0.14 | Estimated Values | 0.49 | E | 0.414 | ug/L | 0.8449 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-11-20 06:30 | 20123260037 | 0.14 | Estimated Values | 0.502 | E | 0.431 | ug/L | 0.85857 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-03-12 06:00 | 20150720069 | 0.14 | Estimated Values | 0.552 | E | 0.338 | ug/L | 0.61232 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-06-26 06:00 | 20141770149 | 0.14 | Estimated Values | 0.552 | E | 0.31 | ug/L | 0.56159 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-06-05 07:00 | 20141570088 | 0.14 | Estimated Values | 0.552 | E | 0.357 | ug/L | 0.64674 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-10-23 06:00 | 20142960086 | 0.14 | Estimated Values | 0.5586 | E | 0.288 | ug/L | 0.51557 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-11-19 06:00 | 20143240095 | 0.14 | Estimated Values | 0.5586 | E | 0.391 | ug/L | 0.69996 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-02-12 06:00 | 20150430092 | 0.14 | Estimated Values | 0.5586 | E | 0.268 | ug/L | 0.47977 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-09-10 06:00 | 20142530087 | 0.14 | Estimated Values | 0.5586 | E | 0.205 | ug/L | 0.36699 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-01-13 06:30 | 20110130056 | 0.14 | Estimated Values | 0.70356 | E | 0.398 | ug/L | 0.56569 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-06-02 07:30 | 20111540007 | 0.14 | Estimated Values | 0.71831 | E | 0.568 | ug/L | 0.79074 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-08-10 08:00 | 20112220126 | 0.14 | Estimated Values | 0.7288 | E | 0.424 | ug/L | 0.58178 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-08-18 08:46 | 20112310032 | 0.14 | Estimated Values | 0.7288 | E | 0.21 | ug/L | 0.28814 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-10-20 07:00 | 20112930085 | 0.08 | Estimated Values | 0.7288 | E | 0.56 | ug/L | 0.76839 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2012-05-10 06:30 | 20121310027 | 0.08 | Estimated Values | 0.7288 | E | 0.653 | ug/L | 0.89599 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-06-29 07:00 | 20111810004 | 0.14 | Estimated Values | 0.72896 | E | 0.297 | ug/L | 0.40743 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-09-15 07:30 | 20112590005 | 0.08 | Estimated Values | 0.72896 | E | 0.376 | ug/L | 0.5158 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2011-11-09 07:00 | 20113130085 | 0.08 | Estimated Values | 0.72896 | E | 0.514 | ug/L | 0.70511 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2010-12-09 06:00 | 20103430087 | 0.14 | Estimated Values | 0.73313 | E | 0.407 | ug/L | 0.55516 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-08-01 07:00 | 20132140002 | 0.14 | Estimated Values | 0.739 | E | 0.448 | ug/L | 0.60622 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-09-12 08:30 | 20132560001 | 0.14 | Estimated Values | 0.754 | E | 0.435 | ug/L | 0.57692 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2013-09-25 08:00 | 20132690010 | 0.14 | Estimated Values | 0.754 | E | 0.601 | ug/L | 0.79708 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-09-17 06:00 | 20152610011 | 0.14 | Estimated Values | 0.8408 | E | 0.348 | ug/L | 0.41389 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2015-10-01 06:00 | 20152750006 | 0.14 | Estimated Values | 0.8408 | E | 0.389 | ug/L | 0.46265 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PHOSMET (IMIDAN) | 61601GCM39 | 2014-01-09 06:30 | 20140100085 | 0.14 | Estimated Values | 1.508 | E | 1.19 | ug/L | 0.78912 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl