## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PHOSMET OXON | 61668GCM39 | 2015-07-09 07:00 | 20151900132 | 0.0511 | False Positive |  | E |  | ug/L |  | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-08-20 06:00 | 20152330039 | 0.0511 | False Positive |  | E |  | ug/L |  |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-09-06 06:50 | 20132490342 | 0.0511 | Deleted Values |  | R |  | ug/L |  | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-10-01 06:00 | 20152750006 | 0.0511 | False Positive |  | E |  | ug/L |  |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-11-10 06:00 | 20153160001 | 0.0511 | Deleted Values |  | R |  | ug/L |  |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2011-02-17 08:30 | 20110490035 | 0.0511 | SACRALT | 0.02475 | < | 0.0511 | ug/L |  | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PHOSMET OXON | 61668GCM39 | 2011-06-07 10:00 | 20111590005 | 0.0511 | False Negative | 0.074096 | < |  | ug/L |  | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-10-22 06:00 | 20152950078 | 0.0511 | Deleted Values | 0.076 | R |  | ug/L |  |  | rcr | m | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2011-04-07 09:00 | 20110980030 | 0.0511 | False Negative | 0.099483 | < |  | ug/L |  | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-01-21 07:00 | 20100210100 | 0.0511 | Deleted Values | 0.10267 | U |  | ug/L |  | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-02-25 06:30 | 20100570086 | 0.0511 | False Negative | 0.10761 | < |  | ug/L |  | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-10-10 07:00 | 20122850005 | 0.0511 | False Negative | 0.188 | < |  | ug/L |  | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-09-02 06:30 | 20102500051 | 0.0511 | False Negative | 0.20864 | < |  | ug/L |  | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-06-24 06:30 | 20101760006 | 0.0511 | False Negative | 0.20985 | < |  | ug/L |  | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-04-29 10:30 | 20101190091 | 0.0511 | Estimated Values | 0.038782 | E | 0.009 | ug/L | 0.23207 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-09-09 06:40 | 20102530008 | 0.0511 | Estimated Values | 0.040428 | E | 0.0139 | ug/L | 0.34382 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-06-17 10:30 | 20101720149 | 0.0511 | Estimated Values | 0.040547 | E | 0.0198 | ug/L | 0.48832 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-05-02 06:00 | 20131230084 | 0.0511 | Estimated Values | 0.0742 | E | 0.0666 | ug/L | 0.89757 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-08-07 06:00 | 20122210006 | 0.0511 | Estimated Values | 0.0742 | E | 0.105 | ug/L | 1.4151 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-08-30 06:30 | 20122430227 | 0.0511 | Estimated Values | 0.0742 | E | 0.0899 | ug/L | 1.2116 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-02-19 06:30 | 20130510051 | 0.0511 | Estimated Values | 0.0742 | E | 0.0578 | ug/L | 0.77898 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-06-07 06:30 | 20121600156 | 0.0511 | Estimated Values | 0.0752 | E | 0.201 | ug/L | 2.6729 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-07-11 06:30 | 20131920149 | 0.0511 | Estimated Values | 0.0752 | E | 0.0602 | ug/L | 0.80053 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-09-13 06:00 | 20122570122 | 0.0511 | Estimated Values | 0.0752 | E | 0.0392 | ug/L | 0.52128 | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-03-05 06:00 | 20130650005 | 0.0511 | Estimated Values | 0.0752 | E | 0.0497 | ug/L | 0.6609 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-07-19 06:30 | 20122020004 | 0.0511 | Estimated Values | 0.0752 | E | 0.293 | ug/L | 3.8963 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-03-27 06:30 | 20140860102 | 0.0511 | Estimated Values | 0.0752 | E | 0.0528 | ug/L | 0.70213 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-10-17 06:30 | 20132910008 | 0.0511 | Estimated Values | 0.0752 | E | 0.0344 | ug/L | 0.45745 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-12-05 08:00 | 20133400002 | 0.0511 | Estimated Values | 0.0752 | E | 0.0655 | ug/L | 0.87101 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-06-25 06:00 | 20151760208 | 0.0511 | Estimated Values | 0.076 | E | 0.0628 | ug/L | 0.82632 | V | rcr | m | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-10-29 06:00 | 20153030068 | 0.0511 | Estimated Values | 0.076 | E | 0.0495 | ug/L | 0.65132 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-07-23 06:00 | 20152040177 | 0.0511 | Estimated Values | 0.0766 | E | 0.0386 | ug/L | 0.50392 | Y | rcr | m | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-08-06 06:00 | 20152190003 | 0.0511 | Estimated Values | 0.0766 | E | 0.0716 | ug/L | 0.93473 |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-05-30 07:30 | 20131510026 | 0.0511 | Estimated Values | 0.0994 | E | 0.093 | ug/L | 0.93561 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-08-15 06:30 | 20132280016 | 0.0511 | Estimated Values | 0.0994 | E | 0.0942 | ug/L | 0.94769 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-11-26 07:00 | 20133310030 | 0.0511 | Estimated Values | 0.0994 | E | 0.105 | ug/L | 1.0563 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-03-13 07:00 | 20140730138 | 0.0511 | Estimated Values | 0.0994 | E | 0.0348 | ug/L | 0.3501 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-02-20 06:30 | 20140510043 | 0.0511 | Estimated Values | 0.0994 | E | 0.0417 | ug/L | 0.41952 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-06-13 06:30 | 20131650073 | 0.0511 | Estimated Values | 0.1 | E | 0.092 | ug/L | 0.92 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-12-23 06:30 | 20133580036 | 0.0511 | Estimated Values | 0.1 | E | 0.0789 | ug/L | 0.789 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-11-14 07:30 | 20133190012 | 0.0511 | Estimated Values | 0.1 | E | 0.0869 | ug/L | 0.869 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-11-18 09:00 | 20103230114 | 0.0511 | Estimated Values | 0.1007 | E | 0.0371 | ug/L | 0.3684 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-05-22 07:00 | 20141420140 | 0.0511 | Estimated Values | 0.1014 | E | 0.0676 | ug/L | 0.66667 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-05-29 06:00 | 20141490205 | 0.0511 | Estimated Values | 0.1014 | E | 0.0719 | ug/L | 0.70907 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-05-16 06:00 | 20141360094 | 0.0511 | Estimated Values | 0.1014 | E | 0.0295 | ug/L | 0.29093 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-07-02 07:00 | 20141840097 | 0.0511 | Estimated Values | 0.1014 | E | 0.0371 | ug/L | 0.36588 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-08-03 06:30 | 20102160002 | 0.0511 | Estimated Values | 0.10437 | E | 0.0312 | ug/L | 0.29895 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-04-01 06:30 | 20100920048 | 0.0511 | Estimated Values | 0.10468 | E | 0.0455 | ug/L | 0.43466 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-06-04 07:00 | 20151550293 | 0.0511 | Estimated Values | 0.152 | E | 0.0965 | ug/L | 0.63487 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-05-07 07:00 | 20151270112 | 0.0511 | Estimated Values | 0.152 | E | 0.0848 | ug/L | 0.55789 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-12-09 06:00 | 20153440001 | 0.0511 | Estimated Values | 0.1532 | E | 0.0967 | ug/L | 0.6312 |  | rcr | m | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-12-17 06:00 | 20153510109 | 0.0511 | Estimated Values | 0.1532 | E | 0.0932 | ug/L | 0.60836 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-10-30 07:00 | 20123040157 | 0.0511 | Estimated Values | 0.1855 | E | 0.308 | ug/L | 1.6604 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-01-10 06:00 | 20130100066 | 0.0511 | Estimated Values | 0.188 | E | 0.19 | ug/L | 1.0106 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-04-04 06:30 | 20130940097 | 0.0511 | Estimated Values | 0.188 | E | 0.0977 | ug/L | 0.51968 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-08-29 06:30 | 20132420001 | 0.0511 | Estimated Values | 0.188 | E | 0.127 | ug/L | 0.67553 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-01-23 06:30 | 20140230082 | 0.0511 | Estimated Values | 0.188 | E | 0.132 | ug/L | 0.70213 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-03-12 06:00 | 20150720069 | 0.0511 | Estimated Values | 0.2028 | E | 0.0589 | ug/L | 0.29043 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-06-26 06:00 | 20141770149 | 0.0511 | Estimated Values | 0.2028 | E | 0.114 | ug/L | 0.56213 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-06-05 07:00 | 20141570088 | 0.0511 | Estimated Values | 0.2028 | E | 0.113 | ug/L | 0.5572 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PHOSMET OXON | 61668GCM39 | 2010-05-20 06:30 | 20101410006 | 0.0511 | Estimated Values | 0.20742 | E | 0.0542 | ug/L | 0.26131 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-08-01 07:00 | 20132140002 | 0.0511 | Estimated Values | 0.2485 | E | 0.0761 | ug/L | 0.30624 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-09-12 08:30 | 20132560001 | 0.0511 | Estimated Values | 0.25 | E | 0.0774 | ug/L | 0.3096 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-09-25 08:00 | 20132690010 | 0.0511 | Estimated Values | 0.25 | E | 0.173 | ug/L | 0.692 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-09-17 06:00 | 20152610011 | 0.0511 | Estimated Values | 0.3064 | E | 0.107 | ug/L | 0.34922 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PHOSMET OXON | 61668GCM39 | 2015-09-03 06:00 | 20152460215 | 0.0511 | Estimated Values | 0.3064 | E | 0.2 | ug/L | 0.65274 |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PHOSMET OXON | 61668GCM39 | 2013-01-24 06:00 | 20130250061 | 0.0511 | Estimated Values | 0.371 | E | 0.273 | ug/L | 0.73585 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-12-06 06:30 | 20123420074 | 0.0511 | Estimated Values | 0.371 | E | 0.324 | ug/L | 0.87332 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2012-11-20 06:30 | 20123260037 | 0.0511 | Estimated Values | 0.376 | E | 0.363 | ug/L | 0.96543 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHOSMET OXON | 61668GCM39 | 2014-01-09 06:30 | 20140100085 | 0.0511 | Estimated Values | 0.5 | E | 0.309 | ug/L | 0.618 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl