## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PROMETRYN | 04036GCM39 | 2013-11-26 07:00 | 20133310030 | 0.01 | False Positive |  | . |  | ug/L |  | Y | rcr | b | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2010-01-14 06:30 | 20100150090 | 0.006 | Recoverable Result | 0.0080402 | . | 0.0092 | ug/L | 1.1443 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2010-07-01 06:30 | 20101830110 | 0.006 | Estimated Values | 0.0083273 | E | 0.0144 | ug/L | 1.7293 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2015-04-30 07:00 | 20151210037 | 0.01 | Recoverable Result | 0.015 | . | 0.0137 | ug/L | 0.91333 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2015-10-29 06:00 | 20153030068 | 0.01 | Recoverable Result | 0.015 | . | 0.0128 | ug/L | 0.85333 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2015-08-06 06:00 | 20152190003 | 0.01 | Recoverable Result | 0.015 | . | 0.0029 | ug/L | 0.19333 |  | rcr | b | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2015-11-10 06:00 | 20153160001 | 0.01 | Recoverable Result | 0.015 | . | 0.0128 | ug/L | 0.85333 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2010-08-05 06:30 | 20102180092 | 0.006 | Recoverable Result | 0.015903 | . | 0.0193 | ug/L | 1.2136 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2010-04-22 06:30 | 20101130055 | 0.006 | Recoverable Result | 0.016262 | . | 0.0209 | ug/L | 1.2852 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2012-08-07 06:00 | 20122210006 | 0.01 | Recoverable Result | 0.01998 | . | 0.017 | ug/L | 0.85085 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2012-08-16 06:30 | 20122300021 | 0.01 | Recoverable Result | 0.01998 | . | 0.0201 | ug/L | 1.006 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-02-07 06:30 | 20130390105 | 0.01 | Recoverable Result | 0.01998 | . | 0.0127 | ug/L | 0.63564 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-07-11 06:30 | 20131920149 | 0.01 | Recoverable Result | 0.02 | . | 0.0152 | ug/L | 0.76 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2012-09-13 06:00 | 20122570122 | 0.01 | Recoverable Result | 0.02 | . | 0.0151 | ug/L | 0.755 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-03-05 06:00 | 20130650005 | 0.01 | Recoverable Result | 0.02 | . | 0.0129 | ug/L | 0.645 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-05-02 06:00 | 20131230084 | 0.01 | Recoverable Result | 0.02 | . | 0.0203 | ug/L | 1.015 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2012-07-03 08:00 | 20121870008 | 0.01 | Recoverable Result | 0.02 | . | 0.0187 | ug/L | 0.935 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2014-03-27 06:30 | 20140860102 | 0.01 | Recoverable Result | 0.02 | . | 0.0142 | ug/L | 0.71 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETRYN | 04036GCM39 | 2013-10-17 06:30 | 20132910008 | 0.01 | Recoverable Result | 0.02 | . | 0.0133 | ug/L | 0.665 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PROMETRYN | 04036GCM39 | 2013-12-05 08:00 | 20133400002 | 0.01 | Recoverable Result | 0.02 | . | 0.0174 | ug/L | 0.87 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PROMETRYN | 04036GCM39 | 2014-04-17 06:00 | 20141080004 | 0.01 | Recoverable Result | 0.0201 | . | 0.016 | ug/L | 0.79602 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2015-01-15 06:00 | 20150150115 | 0.01 | Recoverable Result | 0.0201 | . | 0.0147 | ug/L | 0.73134 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-05-22 07:00 | 20141420140 | 0.01 | Recoverable Result | 0.0201 | . | 0.0218 | ug/L | 1.0846 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-08-07 07:00 | 20142200164 | 0.01 | Recoverable Result | 0.0201 | . | 0.0161 | ug/L | 0.801 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-06-12 06:00 | 20141640076 | 0.01 | Recoverable Result | 0.0201 | . | 0.0171 | ug/L | 0.85075 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-07-10 06:00 | 20141910243 | 0.01 | Recoverable Result | 0.0201 | . | 0.0138 | ug/L | 0.68657 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-07-02 07:00 | 20141840097 | 0.01 | Recoverable Result | 0.0201 | . | 0.0152 | ug/L | 0.75622 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2014-12-03 06:00 | 20143370094 | 0.01 | Recoverable Result | 0.0201 | . | 0.0126 | ug/L | 0.62687 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | PROMETRYN | 04036GCM39 | 2011-02-17 08:30 | 20110490035 | 0.006 | Recoverable Result | 0.02475 | . | 0.0261 | ug/L | 1.0545 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PROMETRYN | 04036GCM39 | 2015-06-04 07:00 | 20151550293 | 0.01 | Recoverable Result | 0.03 | . | 0.0196 | ug/L | 0.65333 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2015-07-09 07:00 | 20151900132 | 0.01 | Recoverable Result | 0.03 | . | 0.0084 | ug/L | 0.28 | Y | rcr | n | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2015-08-20 06:00 | 20152330039 | 0.01 | Recoverable Result | 0.03 | . | 0.0092 | ug/L | 0.30667 |  | rcr | n | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2015-12-17 06:00 | 20153510109 | 0.01 | Recoverable Result | 0.03 | . | 0.02 | ug/L | 0.66667 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2013-12-12 06:30 | 20133470008 | 0.01 | Recoverable Result | 0.03704 | . | 0.0332 | ug/L | 0.89633 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-10-31 06:30 | 20133050050 | 0.01 | Recoverable Result | 0.03704 | . | 0.0313 | ug/L | 0.84503 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | PROMETRYN | 04036GCM39 | 2013-11-14 07:30 | 20133190012 | 0.01 | Recoverable Result | 0.03704 | . | 0.0358 | ug/L | 0.96652 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETRYN | 04036GCM39 | 2014-02-20 06:30 | 20140510043 | 0.01 | Recoverable Result | 0.03704 | . | 0.0249 | ug/L | 0.67225 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETRYN | 04036GCM39 | 2010-10-28 07:30 | 20103020155 | 0.006 | Recoverable Result | 0.038323 | . | 0.0404 | ug/L | 1.0542 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2010-04-29 10:30 | 20101190091 | 0.006 | Recoverable Result | 0.038782 | . | 0.0344 | ug/L | 0.887 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-01-20 07:30 | 20110210095 | 0.006 | Recoverable Result | 0.039047 | . | 0.0306 | ug/L | 0.78366 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2010-10-07 07:30 | 20102810019 | 0.006 | Recoverable Result | 0.039127 | . | 0.031 | ug/L | 0.79229 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-02-02 06:30 | 20110340007 | 0.006 | Recoverable Result | 0.039394 | . | 0.0336 | ug/L | 0.85292 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-04-22 06:20 | 20111170107 | 0.006 | Recoverable Result | 0.039582 | . | 0.0462 | ug/L | 1.1672 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-06-16 08:00 | 20111680035 | 0.006 | Recoverable Result | 0.039609 | . | 0.0324 | ug/L | 0.818 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-07-07 07:00 | 20111890004 | 0.006 | Recoverable Result | 0.03968 | . | 0.0455 | ug/L | 1.1467 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-10-27 07:30 | 20113010047 | 0.01 | Recoverable Result | 0.03968 | . | 0.0382 | ug/L | 0.9627 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2012-03-15 08:00 | 20120760111 | 0.01 | Recoverable Result | 0.03968 | . | 0.0283 | ug/L | 0.71321 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-07-28 07:00 | 20112100007 | 0.006 | Estimated Values | 0.0398 | E | 0.0375 | ug/L | 0.94221 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-10-07 06:30 | 20112840031 | 0.01 | Recoverable Result | 0.0398 | . | 0.0388 | ug/L | 0.97487 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2012-01-12 07:00 | 20120120071 | 0.01 | Recoverable Result | 0.0398 | . | 0.0378 | ug/L | 0.94975 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2012-02-23 07:30 | 20120540036 | 0.01 | Recoverable Result | 0.0398 | . | 0.0321 | ug/L | 0.80653 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2012-03-29 08:00 | 20120930003 | 0.01 | Recoverable Result | 0.0398 | . | 0.0315 | ug/L | 0.79146 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2011-03-24 06:30 | 20110840108 | 0.006 | Recoverable Result | 0.039863 | . | 0.0324 | ug/L | 0.81278 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2014-08-14 06:00 | 20142270001 | 0.01 | Recoverable Result | 0.0402 | . | 0.0283 | ug/L | 0.70398 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-05-01 06:00 | 20141220025 | 0.01 | Recoverable Result | 0.0402 | . | 0.041 | ug/L | 1.0199 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2015-03-12 06:00 | 20150720069 | 0.01 | Recoverable Result | 0.0402 | . | 0.0336 | ug/L | 0.83582 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-10-23 06:00 | 20142960086 | 0.01 | Recoverable Result | 0.0402 | . | 0.0301 | ug/L | 0.74876 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-11-06 06:00 | 20143110108 | 0.01 | Recoverable Result | 0.0402 | . | 0.0278 | ug/L | 0.69154 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-09-25 06:00 | 20142720002 | 0.01 | Recoverable Result | 0.0402 | . | 0.0291 | ug/L | 0.72388 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-06-05 07:00 | 20141570088 | 0.01 | Recoverable Result | 0.0402 | . | 0.0372 | ug/L | 0.92537 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2014-09-10 06:00 | 20142530087 | 0.01 | Recoverable Result | 0.0402 | . | 0.0262 | ug/L | 0.65174 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | PROMETRYN | 04036GCM39 | 2010-09-09 06:40 | 20102530008 | 0.006 | Recoverable Result | 0.040428 | . | 0.042 | ug/L | 1.0389 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2010-06-17 10:30 | 20101720149 | 0.006 | Recoverable Result | 0.040547 | . | 0.05 | ug/L | 1.2331 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PROMETRYN | 04036GCM39 | 2010-05-27 06:30 | 20101480005 | 0.006 | Recoverable Result | 0.04155 | . | 0.0412 | ug/L | 0.99158 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | PROMETRYN | 04036GCM39 | 2012-12-20 06:30 | 20123560092 | 0.01 | Recoverable Result | 0.04995 | . | 0.0371 | ug/L | 0.74274 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2013-03-21 06:30 | 20130810108 | 0.01 | Recoverable Result | 0.04995 | . | 0.04 | ug/L | 0.8008 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2012-06-21 06:00 | 20121730123 | 0.01 | Recoverable Result | 0.05 | . | 0.0425 | ug/L | 0.85 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2012-10-30 07:00 | 20123040157 | 0.01 | Recoverable Result | 0.05 | . | 0.0407 | ug/L | 0.814 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2013-08-29 06:30 | 20132420001 | 0.01 | Recoverable Result | 0.05 | . | 0.0361 | ug/L | 0.722 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | PROMETRYN | 04036GCM39 | 2014-01-23 06:30 | 20140230082 | 0.01 | Recoverable Result | 0.05 | . | 0.0345 | ug/L | 0.69 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | PROMETRYN | 04036GCM39 | 2015-09-17 06:00 | 20152610011 | 0.01 | Recoverable Result | 0.06 | . | 0.0323 | ug/L | 0.53833 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2015-10-01 06:00 | 20152750006 | 0.01 | Recoverable Result | 0.06 | . | 0.0092 | ug/L | 0.15333 |  | rcr | n | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-06-07 10:00 | 20111590005 | 0.006 | Recoverable Result | 0.074096 | . | 0.0659 | ug/L | 0.88939 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PROMETRYN | 04036GCM39 | 2010-11-24 07:00 | 20103330007 | 0.006 | Recoverable Result | 0.07659 | . | 0.0752 | ug/L | 0.98185 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2010-12-16 06:30 | 20103510060 | 0.006 | Recoverable Result | 0.078973 | . | 0.0707 | ug/L | 0.89524 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-03-03 07:00 | 20110620082 | 0.006 | Recoverable Result | 0.079031 | . | 0.0711 | ug/L | 0.89965 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-04-28 07:00 | 20111190184 | 0.006 | Recoverable Result | 0.079052 | . | 0.0873 | ug/L | 1.1043 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-08-04 08:00 | 20112170174 | 0.006 | Recoverable Result | 0.07936 | . | 0.0721 | ug/L | 0.90852 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-11-29 07:00 | 20113340046 | 0.01 | Recoverable Result | 0.07936 | . | 0.0552 | ug/L | 0.69556 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2012-02-09 07:00 | 20120400058 | 0.01 | Recoverable Result | 0.07936 | . | 0.0688 | ug/L | 0.86694 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2012-01-26 07:00 | 20120260028 | 0.01 | Recoverable Result | 0.0796 | . | 0.0716 | ug/L | 0.8995 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2012-04-12 07:00 | 20121040012 | 0.01 | Recoverable Result | 0.0796 | . | 0.0667 | ug/L | 0.83794 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2011-05-19 07:30 | 20111390178 | 0.006 | Recoverable Result | 0.080137 | . | 0.0786 | ug/L | 0.98082 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | PROMETRYN | 04036GCM39 | 2013-08-01 07:00 | 20132140002 | 0.01 | Recoverable Result | 0.0926 | . | 0.0775 | ug/L | 0.83693 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2013-05-16 07:00 | 20131370001 | 0.01 | Recoverable Result | 0.0926 | . | 0.0913 | ug/L | 0.98596 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | PROMETRYN | 04036GCM39 | 2011-04-07 09:00 | 20110980030 | 0.006 | Recoverable Result | 0.099483 | . | 0.0898 | ug/L | 0.90267 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PROMETRYN | 04036GCM39 | 2012-12-06 06:30 | 20123420074 | 0.01 | Recoverable Result | 0.0999 | . | 0.101 | ug/L | 1.011 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | PROMETRYN | 04036GCM39 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.0999 | . | 0.0866 | ug/L | 0.86687 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | PROMETRYN | 04036GCM39 | 2013-01-24 06:00 | 20130250061 | 0.01 | Recoverable Result | 0.1 | . | 0.0765 | ug/L | 0.765 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | PROMETRYN | 04036GCM39 | 2010-11-18 09:00 | 20103230114 | 0.006 | Recoverable Result | 0.1007 | . | 0.107 | ug/L | 1.0625 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl