## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | SIMAZINE | 04035GCM35 | 2010-05-27 06:30 | 20101480005 | 0.006 | False Positive |  | E |  | ug/L |  | X | mco | n | 2010-07-29 | Restek A069639: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2015-04-30 07:00 | 20151210037 | 0.006 | Recoverable Result | 0.009 | . | 0.0102 | ug/L | 1.1333 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2015-10-22 06:00 | 20152950078 | 0.006 | Recoverable Result | 0.009 | . | 0.0068 | ug/L | 0.75556 |  | rcr | b | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2015-06-25 06:00 | 20151760208 | 0.006 | Recoverable Result | 0.009 | . | 0.0083 | ug/L | 0.92222 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2015-07-23 06:00 | 20152040177 | 0.006 | Recoverable Result | 0.009 | . | 0.0084 | ug/L | 0.93333 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2015-11-10 06:00 | 20153160001 | 0.006 | Recoverable Result | 0.009 | . | 0.0091 | ug/L | 1.0111 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2014-04-17 06:00 | 20141080004 | 0.006 | Recoverable Result | 0.012 | . | 0.0112 | ug/L | 0.93333 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-05-22 07:00 | 20141420140 | 0.006 | Estimated Values | 0.012 | E | 0.0115 | ug/L | 0.95833 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-08-07 07:00 | 20142200164 | 0.006 | Recoverable Result | 0.012 | . | 0.013 | ug/L | 1.0833 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-06-12 06:00 | 20141640076 | 0.006 | Recoverable Result | 0.012 | . | 0.0114 | ug/L | 0.95 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2015-01-15 06:00 | 20150150115 | 0.006 | Recoverable Result | 0.01206 | . | 0.0102 | ug/L | 0.84577 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-07-10 06:00 | 20141910243 | 0.006 | Recoverable Result | 0.01206 | . | 0.0098 | ug/L | 0.8126 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-07-02 07:00 | 20141840097 | 0.006 | Recoverable Result | 0.01206 | . | 0.011 | ug/L | 0.91211 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2014-12-03 06:00 | 20143370094 | 0.006 | Recoverable Result | 0.01206 | . | 0.0102 | ug/L | 0.84577 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | SIMAZINE | 04035GCM35 | 2015-07-09 07:00 | 20151900132 | 0.006 | Recoverable Result | 0.018 | . | 0.0187 | ug/L | 1.0389 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2015-08-20 06:00 | 20152330039 | 0.006 | Recoverable Result | 0.018 | . | 0.017 | ug/L | 0.94444 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2015-05-07 07:00 | 20151270112 | 0.006 | Recoverable Result | 0.018 | . | 0.0156 | ug/L | 0.86667 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2015-12-09 06:00 | 20153440001 | 0.006 | Recoverable Result | 0.018 | . | 0.0134 | ug/L | 0.74444 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2012-08-07 06:00 | 20122210006 | 0.006 | Recoverable Result | 0.01998 | . | 0.0164 | ug/L | 0.82082 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2012-08-16 06:30 | 20122300021 | 0.006 | Recoverable Result | 0.01998 | . | 0.0177 | ug/L | 0.88589 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-02-07 06:30 | 20130390105 | 0.006 | Recoverable Result | 0.01998 | . | 0.013 | ug/L | 0.65065 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-07-11 06:30 | 20131920149 | 0.006 | Recoverable Result | 0.02 | . | 0.0194 | ug/L | 0.97 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2012-09-13 06:00 | 20122570122 | 0.006 | Recoverable Result | 0.02 | . | 0.0179 | ug/L | 0.895 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-03-05 06:00 | 20130650005 | 0.006 | Recoverable Result | 0.02 | . | 0.0151 | ug/L | 0.755 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-06-13 06:30 | 20131650073 | 0.006 | Recoverable Result | 0.02 | . | 0.0242 | ug/L | 1.21 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-05-02 06:00 | 20131230084 | 0.006 | Recoverable Result | 0.02 | . | 0.0238 | ug/L | 1.19 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-06-27 06:30 | 20131790009 | 0.006 | Recoverable Result | 0.02 | . | 0.0211 | ug/L | 1.055 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-08-15 06:30 | 20132280016 | 0.006 | Recoverable Result | 0.02 | . | 0.0206 | ug/L | 1.03 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2012-07-03 08:00 | 20121870008 | 0.006 | Recoverable Result | 0.02 | . | 0.0202 | ug/L | 1.01 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-12-12 06:30 | 20133470008 | 0.006 | Recoverable Result | 0.02 | . | 0.0188 | ug/L | 0.94 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2013-10-31 06:30 | 20133050050 | 0.006 | Recoverable Result | 0.02 | . | 0.019 | ug/L | 0.95 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2014-03-27 06:30 | 20140860102 | 0.006 | Recoverable Result | 0.02 | . | 0.016 | ug/L | 0.8 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | SIMAZINE | 04035GCM35 | 2013-10-17 06:30 | 20132910008 | 0.006 | Recoverable Result | 0.02 | . | 0.0172 | ug/L | 0.86 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | SIMAZINE | 04035GCM35 | 2013-12-05 08:00 | 20133400002 | 0.006 | Recoverable Result | 0.02 | . | 0.0199 | ug/L | 0.995 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | SIMAZINE | 04035GCM35 | 2013-11-26 07:00 | 20133310030 | 0.006 | Recoverable Result | 0.02 | . | 0.02 | ug/L | 1 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2014-03-13 07:00 | 20140730138 | 0.006 | Recoverable Result | 0.02 | . | 0.0129 | ug/L | 0.645 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | SIMAZINE | 04035GCM35 | 2014-08-14 06:00 | 20142270001 | 0.006 | Recoverable Result | 0.024 | . | 0.0173 | ug/L | 0.72083 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2015-03-12 06:00 | 20150720069 | 0.006 | Recoverable Result | 0.024 | . | 0.0164 | ug/L | 0.68333 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-10-23 06:00 | 20142960086 | 0.006 | Recoverable Result | 0.024 | . | 0.0236 | ug/L | 0.98333 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-11-06 06:00 | 20143110108 | 0.006 | Recoverable Result | 0.024 | . | 0.0187 | ug/L | 0.77917 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-05-01 06:00 | 20141220025 | 0.006 | Recoverable Result | 0.02412 | . | 0.0218 | ug/L | 0.90381 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-09-25 06:00 | 20142720002 | 0.006 | Recoverable Result | 0.02412 | . | 0.017 | ug/L | 0.70481 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-06-05 07:00 | 20141570088 | 0.006 | Recoverable Result | 0.02412 | . | 0.0281 | ug/L | 1.165 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2014-09-10 06:00 | 20142530087 | 0.006 | Recoverable Result | 0.02412 | . | 0.0205 | ug/L | 0.84992 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | SIMAZINE | 04035GCM35 | 2011-02-17 08:30 | 20110490035 | 0.006 | Recoverable Result | 0.02475 | . | 0.0196 | ug/L | 0.79192 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | SIMAZINE | 04035GCM35 | 2015-09-03 06:00 | 20152460215 | 0.006 | Recoverable Result | 0.036 | . | 0.0302 | ug/L | 0.83889 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2015-10-01 06:00 | 20152750006 | 0.006 | Recoverable Result | 0.036 | . | 0.0344 | ug/L | 0.95556 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2010-04-29 10:30 | 20101190091 | 0.006 | Recoverable Result | 0.038782 | . | 0.0347 | ug/L | 0.89474 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-02-11 06:30 | 20100420055 | 0.006 | Estimated Values | 0.039078 | E | 0.0381 | ug/L | 0.97497 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2010-01-28 06:30 | 20100280077 | 0.006 | Recoverable Result | 0.039325 | . | 0.0245 | ug/L | 0.62302 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2010-09-09 06:40 | 20102530008 | 0.006 | Recoverable Result | 0.040428 | . | 0.0438 | ug/L | 1.0834 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-06-17 10:30 | 20101720149 | 0.006 | Recoverable Result | 0.040547 | . | 0.0442 | ug/L | 1.0901 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-06-03 06:30 | 20101550006 | 0.006 | Recoverable Result | 0.04096 | . | 0.0408 | ug/L | 0.9961 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2012-12-20 06:30 | 20123560092 | 0.006 | Recoverable Result | 0.04995 | . | 0.0334 | ug/L | 0.66867 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2013-03-21 06:30 | 20130810108 | 0.006 | Recoverable Result | 0.04995 | . | 0.0353 | ug/L | 0.70671 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2012-06-21 06:00 | 20121730123 | 0.006 | Recoverable Result | 0.05 | . | 0.0433 | ug/L | 0.866 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2012-10-30 07:00 | 20123040157 | 0.006 | Recoverable Result | 0.05 | . | 0.0445 | ug/L | 0.89 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2014-02-06 06:30 | 20140370077 | 0.006 | Recoverable Result | 0.05 | . | 0.0318 | ug/L | 0.636 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2013-05-16 07:00 | 20131370001 | 0.006 | Recoverable Result | 0.05 | . | 0.0473 | ug/L | 0.946 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | SIMAZINE | 04035GCM35 | 2013-08-29 06:30 | 20132420001 | 0.006 | Recoverable Result | 0.05 | . | 0.0461 | ug/L | 0.922 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | SIMAZINE | 04035GCM35 | 2014-01-23 06:30 | 20140230082 | 0.006 | Recoverable Result | 0.05 | . | 0.0442 | ug/L | 0.884 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | SIMAZINE | 04035GCM35 | 2013-09-25 08:00 | 20132690010 | 0.006 | Recoverable Result | 0.05 | . | 0.0565 | ug/L | 1.13 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2011-06-07 10:00 | 20111590005 | 0.006 | Recoverable Result | 0.074096 | . | 0.0647 | ug/L | 0.87319 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | SIMAZINE | 04035GCM35 | 2010-05-06 06:30 | 20101270038 | 0.006 | Recoverable Result | 0.076944 | . | 0.0647 | ug/L | 0.84087 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-07-13 06:30 | 20101950137 | 0.006 | Recoverable Result | 0.078496 | . | 0.0846 | ug/L | 1.0778 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-10-28 07:30 | 20103020155 | 0.006 | Recoverable Result | 0.085262 | . | 0.082 | ug/L | 0.96174 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-01-20 07:30 | 20110210095 | 0.006 | Recoverable Result | 0.086873 | . | 0.0714 | ug/L | 0.82189 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-06-16 08:00 | 20111680035 | 0.006 | Recoverable Result | 0.088121 | . | 0.08 | ug/L | 0.90784 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-07-07 07:00 | 20111890004 | 0.006 | Recoverable Result | 0.08828 | . | 0.0866 | ug/L | 0.98097 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-10-27 07:30 | 20113010047 | 0.006 | Recoverable Result | 0.08828 | . | 0.0822 | ug/L | 0.93113 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2012-03-15 08:00 | 20120760111 | 0.006 | Recoverable Result | 0.08828 | . | 0.0719 | ug/L | 0.81445 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2010-10-07 07:30 | 20102810019 | 0.006 | Recoverable Result | 0.088439 | . | 0.0588 | ug/L | 0.66487 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-03-24 06:30 | 20110840108 | 0.006 | Recoverable Result | 0.088688 | . | 0.0671 | ug/L | 0.75658 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-02-02 06:30 | 20110340007 | 0.006 | Recoverable Result | 0.089043 | . | 0.0836 | ug/L | 0.93887 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-04-22 06:20 | 20111170107 | 0.006 | Recoverable Result | 0.089468 | . | 0.0949 | ug/L | 1.0607 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-07-28 07:00 | 20112100007 | 0.006 | Recoverable Result | 0.08996 | . | 0.0636 | ug/L | 0.70698 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-10-07 06:30 | 20112840031 | 0.006 | Recoverable Result | 0.08996 | . | 0.07 | ug/L | 0.77812 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2012-01-12 07:00 | 20120120071 | 0.006 | Recoverable Result | 0.08996 | . | 0.0778 | ug/L | 0.86483 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2012-02-23 07:30 | 20120540036 | 0.006 | Recoverable Result | 0.08996 | . | 0.0757 | ug/L | 0.84149 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2012-03-29 08:00 | 20120930003 | 0.006 | Recoverable Result | 0.08996 | . | 0.0739 | ug/L | 0.82148 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | SIMAZINE | 04035GCM35 | 2011-04-07 09:00 | 20110980030 | 0.006 | Recoverable Result | 0.099483 | . | 0.103 | ug/L | 1.0354 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2012-12-06 06:30 | 20123420074 | 0.006 | Recoverable Result | 0.0999 | . | 0.1 | ug/L | 1.001 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2012-11-08 06:30 | 20123140095 | 0.006 | Recoverable Result | 0.0999 | . | 0.0744 | ug/L | 0.74474 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2013-01-24 06:00 | 20130250061 | 0.006 | Recoverable Result | 0.1 | . | 0.0899 | ug/L | 0.899 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2013-09-06 06:50 | 20132490342 | 0.006 | Recoverable Result | 0.1 | . | 0.0926 | ug/L | 0.926 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2014-01-09 06:30 | 20140100085 | 0.006 | Recoverable Result | 0.1 | . | 0.105 | ug/L | 1.05 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | SIMAZINE | 04035GCM35 | 2010-11-18 09:00 | 20103230114 | 0.006 | Recoverable Result | 0.1007 | . | 0.107 | ug/L | 1.0625 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | SIMAZINE | 04035GCM35 | 2010-11-24 07:00 | 20103330007 | 0.006 | Recoverable Result | 0.17312 | . | 0.166 | ug/L | 0.95889 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2010-12-16 06:30 | 20103510060 | 0.006 | Recoverable Result | 0.1757 | . | 0.156 | ug/L | 0.88788 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2011-04-28 07:00 | 20111190184 | 0.006 | Recoverable Result | 0.17587 | . | 0.19 | ug/L | 1.0803 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2011-08-04 08:00 | 20112170174 | 0.006 | Recoverable Result | 0.17656 | . | 0.182 | ug/L | 1.0308 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2011-11-29 07:00 | 20113340046 | 0.006 | Recoverable Result | 0.17656 | . | 0.149 | ug/L | 0.84391 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2012-02-09 07:00 | 20120400058 | 0.006 | Recoverable Result | 0.17656 | . | 0.182 | ug/L | 1.0308 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2011-03-03 07:00 | 20110620082 | 0.006 | Recoverable Result | 0.17863 | . | 0.168 | ug/L | 0.94047 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2012-01-26 07:00 | 20120260028 | 0.006 | Recoverable Result | 0.17992 | . | 0.168 | ug/L | 0.93375 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2012-04-12 07:00 | 20121040012 | 0.006 | Recoverable Result | 0.17992 | . | 0.173 | ug/L | 0.96154 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2011-05-19 07:30 | 20111390178 | 0.006 | Recoverable Result | 0.18113 | . | 0.178 | ug/L | 0.9827 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | SIMAZINE | 04035GCM35 | 2010-08-12 06:30 | 20102250096 | 0.006 | Recoverable Result | 0.2021 | . | 0.139 | ug/L | 0.68777 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl