## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TEBUCONAZOLE | 62852GCM14 | 2011-02-17 08:30 | 20110490035 | 0.02 | Recoverable Result | 0.02475 | . | 0.0176 | ug/L | 0.71111 | V | rcr | n | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-06-25 06:00 | 20151760208 | 0.02 | Recoverable Result | 0.03 | . | 0.0312 | ug/L | 1.04 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-11-10 06:00 | 20153160001 | 0.02 | Recoverable Result | 0.03 | . | 0.0191 | ug/L | 0.63667 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-04-30 07:00 | 20151210037 | 0.02 | Recoverable Result | 0.0302 | . | 0.0238 | ug/L | 0.78808 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-10-22 06:00 | 20152950078 | 0.02 | Recoverable Result | 0.0302 | . | 0.0134 | ug/L | 0.44371 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-07-23 06:00 | 20152040177 | 0.02 | Recoverable Result | 0.0302 | . | 0.0324 | ug/L | 1.0728 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-04-29 10:30 | 20101190091 | 0.02 | Recoverable Result | 0.038782 | . | 0.0212 | ug/L | 0.54664 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-05-22 07:00 | 20141420140 | 0.02 | Recoverable Result | 0.0393 | . | 0.0205 | ug/L | 0.52163 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-05-29 06:00 | 20141490205 | 0.02 | Recoverable Result | 0.0393 | . | 0.0188 | ug/L | 0.47837 | Y | rcr | n | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-05-16 06:00 | 20141360094 | 0.02 | Recoverable Result | 0.0393 | . | 0.021 | ug/L | 0.53435 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-07-02 07:00 | 20141840097 | 0.02 | Recoverable Result | 0.0393 | . | 0.0226 | ug/L | 0.57506 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-05-30 07:30 | 20131510026 | 0.02 | Recoverable Result | 0.0398 | . | 0.0337 | ug/L | 0.84673 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-08-15 06:30 | 20132280016 | 0.02 | Recoverable Result | 0.0398 | . | 0.031 | ug/L | 0.77889 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-11-26 07:00 | 20133310030 | 0.02 | Recoverable Result | 0.0398 | . | 0.0278 | ug/L | 0.69849 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-03-13 07:00 | 20140730138 | 0.02 | Recoverable Result | 0.0398 | . | 0.0269 | ug/L | 0.67588 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-02-20 06:30 | 20140510043 | 0.02 | Recoverable Result | 0.0398 | . | 0.0384 | ug/L | 0.96482 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-08-07 07:00 | 20142200164 | 0.02 | Recoverable Result | 0.0399 | . | 0.0262 | ug/L | 0.65664 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-10-09 06:00 | 20142820151 | 0.02 | Recoverable Result | 0.0399 | . | 0.0274 | ug/L | 0.68672 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-09-03 06:00 | 20142470041 | 0.02 | Recoverable Result | 0.0399 | . | 0.0238 | ug/L | 0.59649 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-12-03 06:00 | 20143370094 | 0.02 | Recoverable Result | 0.0399 | . | 0.0214 | ug/L | 0.53634 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-06-13 06:30 | 20131650073 | 0.02 | Recoverable Result | 0.0404 | . | 0.0363 | ug/L | 0.89851 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-12-23 06:30 | 20133580036 | 0.02 | Recoverable Result | 0.0404 | . | 0.0194 | ug/L | 0.4802 | Y | rcr | n | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-11-14 07:30 | 20133190012 | 0.02 | Recoverable Result | 0.0404 | . | 0.0266 | ug/L | 0.65842 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-09-09 06:40 | 20102530008 | 0.02 | Recoverable Result | 0.040428 | . | 0.0247 | ug/L | 0.61096 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-06-17 10:30 | 20101720149 | 0.02 | Recoverable Result | 0.040547 | . | 0.0348 | ug/L | 0.85825 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-05-02 06:00 | 20131230084 | 0.02 | Recoverable Result | 0.0596 | . | 0.044 | ug/L | 0.73826 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-08-07 06:00 | 20122210006 | 0.02 | Recoverable Result | 0.0596 | . | 0.0387 | ug/L | 0.64933 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-08-30 06:30 | 20122430227 | 0.02 | Recoverable Result | 0.0596 | . | 0.0392 | ug/L | 0.65772 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-02-19 06:30 | 20130510051 | 0.02 | Recoverable Result | 0.0596 | . | 0.038 | ug/L | 0.63758 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-06-07 06:30 | 20121600156 | 0.02 | Estimated Values | 0.06 | E | 0.0557 | ug/L | 0.92833 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-09-13 06:00 | 20122570122 | 0.02 | Recoverable Result | 0.06 | . | 0.0299 | ug/L | 0.49833 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-03-05 06:00 | 20130650005 | 0.02 | Recoverable Result | 0.06 | . | 0.0314 | ug/L | 0.52333 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-12-09 06:00 | 20153440001 | 0.02 | Recoverable Result | 0.06 | . | 0.0335 | ug/L | 0.55833 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-07-19 06:30 | 20122020004 | 0.02 | Recoverable Result | 0.06 | . | 0.0466 | ug/L | 0.77667 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-10-17 06:30 | 20132910008 | 0.02 | Recoverable Result | 0.06 | . | 0.0344 | ug/L | 0.57333 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-12-05 08:00 | 20133400002 | 0.02 | Recoverable Result | 0.06 | . | 0.0308 | ug/L | 0.51333 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-07-11 06:30 | 20131920149 | 0.02 | Recoverable Result | 0.0602 | . | 0.0328 | ug/L | 0.54485 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-03-27 06:30 | 20140860102 | 0.02 | Recoverable Result | 0.0602 | . | 0.0265 | ug/L | 0.4402 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-07-09 07:00 | 20151900132 | 0.02 | Recoverable Result | 0.0604 | . | 0.0651 | ug/L | 1.0778 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-08-20 06:00 | 20152330039 | 0.02 | Recoverable Result | 0.0604 | . | 0.0456 | ug/L | 0.75497 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-05-07 07:00 | 20151270112 | 0.02 | Recoverable Result | 0.0604 | . | 0.047 | ug/L | 0.77815 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2011-06-07 10:00 | 20111590005 | 0.02 | Recoverable Result | 0.074096 | . | 0.0426 | ug/L | 0.57493 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-04-08 06:30 | 20100990014 | 0.02 | Recoverable Result | 0.076305 | . | 0.0423 | ug/L | 0.55435 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-08-26 06:30 | 20102390088 | 0.02 | Recoverable Result | 0.076775 | . | 0.0306 | ug/L | 0.39857 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-03-11 06:30 | 20100710178 | 0.02 | Recoverable Result | 0.077197 | . | 0.0317 | ug/L | 0.41064 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-07-21 06:30 | 20102030005 | 0.02 | Recoverable Result | 0.077567 | . | 0.0445 | ug/L | 0.5737 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-03-12 06:00 | 20150720069 | 0.02 | Recoverable Result | 0.0786 | . | 0.0656 | ug/L | 0.83461 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-06-26 06:00 | 20141770149 | 0.02 | Recoverable Result | 0.0786 | . | 0.0459 | ug/L | 0.58397 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-06-05 07:00 | 20141570088 | 0.02 | Recoverable Result | 0.0786 | . | 0.0399 | ug/L | 0.50763 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-10-23 06:00 | 20142960086 | 0.02 | Recoverable Result | 0.0798 | . | 0.0473 | ug/L | 0.59273 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-11-19 06:00 | 20143240095 | 0.02 | Recoverable Result | 0.0798 | . | 0.043 | ug/L | 0.53885 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-02-12 06:00 | 20150430092 | 0.02 | Recoverable Result | 0.0798 | . | 0.0643 | ug/L | 0.80576 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-09-10 06:00 | 20142530087 | 0.02 | Recoverable Result | 0.0798 | . | 0.0375 | ug/L | 0.46992 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2011-04-07 09:00 | 20110980030 | 0.02 | Recoverable Result | 0.099483 | . | 0.0646 | ug/L | 0.64936 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-08-01 07:00 | 20132140002 | 0.02 | Recoverable Result | 0.0995 | . | 0.054 | ug/L | 0.54271 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-11-18 09:00 | 20103230114 | 0.02 | Recoverable Result | 0.1007 | . | 0.108 | ug/L | 1.0724 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-09-12 08:30 | 20132560001 | 0.02 | Recoverable Result | 0.101 | . | 0.0603 | ug/L | 0.59703 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-09-25 08:00 | 20132690010 | 0.02 | Recoverable Result | 0.101 | . | 0.0727 | ug/L | 0.7198 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-09-03 06:00 | 20152460215 | 0.02 | Recoverable Result | 0.12 | . | 0.0799 | ug/L | 0.66583 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2015-10-01 06:00 | 20152750006 | 0.02 | Recoverable Result | 0.12 | . | 0.105 | ug/L | 0.875 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-10-30 07:00 | 20123040157 | 0.02 | Recoverable Result | 0.149 | . | 0.093 | ug/L | 0.62416 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-10-10 07:00 | 20122850005 | 0.02 | Recoverable Result | 0.15 | . | 0.0812 | ug/L | 0.54133 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-01-10 06:00 | 20130100066 | 0.02 | Recoverable Result | 0.15 | . | 0.152 | ug/L | 1.0133 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-04-04 06:30 | 20130940097 | 0.02 | Recoverable Result | 0.15 | . | 0.0842 | ug/L | 0.56133 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-08-29 06:30 | 20132420001 | 0.02 | Recoverable Result | 0.1505 | . | 0.0739 | ug/L | 0.49103 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-01-23 06:30 | 20140230082 | 0.02 | Recoverable Result | 0.1505 | . | 0.0809 | ug/L | 0.53754 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-06-10 06:30 | 20101650033 | 0.02 | Recoverable Result | 0.15539 | . | 0.12 | ug/L | 0.77226 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-09-16 06:30 | 20102630169 | 0.02 | Estimated Values | 0.15619 | E | 0.0837 | ug/L | 0.5359 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2014-01-09 06:30 | 20140100085 | 0.02 | Recoverable Result | 0.202 | . | 0.13 | ug/L | 0.64356 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2013-01-24 06:00 | 20130250061 | 0.02 | Recoverable Result | 0.298 | . | 0.158 | ug/L | 0.5302 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-12-06 06:30 | 20123420074 | 0.02 | Recoverable Result | 0.298 | . | 0.182 | ug/L | 0.61074 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.3 | . | 0.178 | ug/L | 0.59333 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TEBUCONAZOLE | 62852GCM14 | 2010-05-13 06:30 | 20101340154 | 0.02 | Recoverable Result | 0.38384 | . | 0.2 | ug/L | 0.52105 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl