## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TEBUTHIURON | 82670GCM35 | 2011-02-17 08:30 | 20110490035 | 0.028 | Estimated Values | 0.02475 | E | 0.0522 | ug/L | 2.1091 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-04-29 10:30 | 20101190091 | 0.028 | Recoverable Result | 0.038782 | . | 0.0852 | ug/L | 2.1969 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-09-09 06:40 | 20102530008 | 0.028 | Recoverable Result | 0.040428 | . | 0.0745 | ug/L | 1.8428 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-06-17 10:30 | 20101720149 | 0.028 | Recoverable Result | 0.040547 | . | 0.0683 | ug/L | 1.6844 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-07-23 06:00 | 20152040177 | 0.028 | Recoverable Result | 0.0416 | . | 0.0527 | ug/L | 1.2668 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-08-06 06:00 | 20152190003 | 0.028 | Recoverable Result | 0.0416 | . | 0.0445 | ug/L | 1.0697 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-10-22 06:00 | 20152950078 | 0.028 | Recoverable Result | 0.042 | . | 0.0237 | ug/L | 0.56429 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-06-25 06:00 | 20151760208 | 0.028 | Recoverable Result | 0.042 | . | 0.06 | ug/L | 1.4286 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-10-29 06:00 | 20153030068 | 0.028 | Recoverable Result | 0.042 | . | 0.0443 | ug/L | 1.0548 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-08-07 07:00 | 20142200164 | 0.028 | Recoverable Result | 0.0558 | . | 0.0791 | ug/L | 1.4176 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-10-09 06:00 | 20142820151 | 0.028 | Recoverable Result | 0.0558 | . | 0.0674 | ug/L | 1.2079 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-09-03 06:00 | 20142470041 | 0.028 | Recoverable Result | 0.0558 | . | 0.0677 | ug/L | 1.2133 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-12-03 06:00 | 20143370094 | 0.028 | Recoverable Result | 0.0558 | . | 0.0638 | ug/L | 1.1434 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-05-22 07:00 | 20141420140 | 0.028 | Recoverable Result | 0.0561 | . | 0.0362 | ug/L | 0.64528 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-05-29 06:00 | 20141490205 | 0.028 | Recoverable Result | 0.0561 | . | 0.0851 | ug/L | 1.5169 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-05-16 06:00 | 20141360094 | 0.028 | Recoverable Result | 0.0561 | . | 0.054 | ug/L | 0.96257 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-07-02 07:00 | 20141840097 | 0.028 | Recoverable Result | 0.0561 | . | 0.0597 | ug/L | 1.0642 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-05-02 06:00 | 20131230084 | 0.028 | Recoverable Result | 0.0598 | . | 0.104 | ug/L | 1.7391 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-08-07 06:00 | 20122210006 | 0.028 | Estimated Values | 0.0598 | E | 0.0715 | ug/L | 1.1957 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-08-30 06:30 | 20122430227 | 0.028 | Recoverable Result | 0.0598 | . | 0.0898 | ug/L | 1.5017 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-02-19 06:30 | 20130510051 | 0.028 | Recoverable Result | 0.0598 | . | 0.0635 | ug/L | 1.0619 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-06-07 06:30 | 20121600156 | 0.028 | Recoverable Result | 0.0606 | . | 0.0928 | ug/L | 1.5314 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-07-11 06:30 | 20131920149 | 0.028 | Estimated Values | 0.0606 | E | 0.124 | ug/L | 2.0462 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-09-13 06:00 | 20122570122 | 0.028 | Recoverable Result | 0.0606 | . | 0.0614 | ug/L | 1.0132 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-03-05 06:00 | 20130650005 | 0.028 | Recoverable Result | 0.0606 | . | 0.069 | ug/L | 1.1386 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-07-19 06:30 | 20122020004 | 0.028 | Estimated Values | 0.0606 | E | 0.139 | ug/L | 2.2937 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-03-27 06:30 | 20140860102 | 0.028 | Recoverable Result | 0.0606 | . | 0.077 | ug/L | 1.2706 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-10-17 06:30 | 20132910008 | 0.028 | Recoverable Result | 0.0606 | . | 0.0912 | ug/L | 1.505 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-12-05 08:00 | 20133400002 | 0.028 | Recoverable Result | 0.0606 | . | 0.0649 | ug/L | 1.071 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-10-21 07:30 | 20102950072 | 0.028 | Recoverable Result | 0.065344 | . | 0.11 | ug/L | 1.6834 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-11-10 07:30 | 20103140135 | 0.028 | Recoverable Result | 0.067012 | . | 0.103 | ug/L | 1.537 | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-03-17 08:00 | 20110770001 | 0.028 | Recoverable Result | 0.06716 | . | 0.0864 | ug/L | 1.2865 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-07-21 07:30 | 20112030057 | 0.028 | Estimated Values | 0.0672 | E | 0.0949 | ug/L | 1.4122 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-11-22 07:30 | 20113260111 | 0.028 | Recoverable Result | 0.0672 | . | 0.103 | ug/L | 1.5327 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-02-02 12:10 | 20120370001 | 0.028 | Estimated Values | 0.0672 | E | 0.11 | ug/L | 1.6369 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-07-07 06:30 | 20111890005 | 0.028 | Estimated Values | 0.0672 | E | 0.112 | ug/L | 1.6667 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-09-01 07:30 | 20112450022 | 0.028 | Recoverable Result | 0.0672 | . | 0.0859 | ug/L | 1.2783 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-12-15 07:30 | 20113500021 | 0.028 | Estimated Values | 0.0672 | E | 0.113 | ug/L | 1.6815 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-03-01 07:30 | 20120620015 | 0.028 | Recoverable Result | 0.0672 | . | 0.126 | ug/L | 1.875 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-04-14 07:30 | 20111050150 | 0.028 | Estimated Values | 0.067858 | E | 0.116 | ug/L | 1.7094 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-05-12 07:00 | 20111330148 | 0.028 | Recoverable Result | 0.068362 | . | 0.121 | ug/L | 1.77 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-02-24 08:00 | 20110560005 | 0.028 | Estimated Values | 0.068418 | E | 0.105 | ug/L | 1.5347 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-06-07 10:00 | 20111590005 | 0.028 | Estimated Values | 0.074096 | E | 0.137 | ug/L | 1.849 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-05-30 07:30 | 20131510026 | 0.028 | Recoverable Result | 0.0796 | . | 0.105 | ug/L | 1.3191 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-08-15 06:30 | 20132280016 | 0.028 | Recoverable Result | 0.0796 | . | 0.13 | ug/L | 1.6332 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-11-26 07:00 | 20133310030 | 0.028 | Recoverable Result | 0.0796 | . | 0.0957 | ug/L | 1.2023 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-03-13 07:00 | 20140730138 | 0.028 | Recoverable Result | 0.0796 | . | 0.0573 | ug/L | 0.71985 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-02-20 06:30 | 20140510043 | 0.028 | Recoverable Result | 0.0796 | . | 0.064 | ug/L | 0.80402 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-06-13 06:30 | 20131650073 | 0.028 | Recoverable Result | 0.0802 | . | 0.157 | ug/L | 1.9576 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-12-23 06:30 | 20133580036 | 0.028 | Recoverable Result | 0.0802 | . | 0.0579 | ug/L | 0.72195 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-11-14 07:30 | 20133190012 | 0.028 | Recoverable Result | 0.0802 | . | 0.0964 | ug/L | 1.202 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-12-09 06:00 | 20153440001 | 0.028 | Estimated Values | 0.0832 | E | 0.0554 | ug/L | 0.66587 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-12-17 06:00 | 20153510109 | 0.028 | Estimated Values | 0.0832 | E | 0.0533 | ug/L | 0.64062 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-06-04 07:00 | 20151550293 | 0.028 | Recoverable Result | 0.084 | . | 0.135 | ug/L | 1.6071 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-05-07 07:00 | 20151270112 | 0.028 | Recoverable Result | 0.084 | . | 0.0879 | ug/L | 1.0464 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-04-07 09:00 | 20110980030 | 0.028 | Recoverable Result | 0.099483 | . | 0.168 | ug/L | 1.6887 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-11-18 09:00 | 20103230114 | 0.028 | Estimated Values | 0.1007 | E | 0.169 | ug/L | 1.6782 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-04-08 06:30 | 20100990014 | 0.028 | Recoverable Result | 0.11044 | . | 0.172 | ug/L | 1.5574 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-08-26 06:30 | 20102390088 | 0.028 | Estimated Values | 0.11112 | E | 0.121 | ug/L | 1.0889 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-10-23 06:00 | 20142960086 | 0.028 | Recoverable Result | 0.1116 | . | 0.106 | ug/L | 0.94982 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-11-19 06:00 | 20143240095 | 0.028 | Recoverable Result | 0.1116 | . | 0.14 | ug/L | 1.2545 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-02-12 06:00 | 20150430092 | 0.028 | Recoverable Result | 0.1116 | . | 0.067 | ug/L | 0.60036 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-09-10 06:00 | 20142530087 | 0.028 | Recoverable Result | 0.1116 | . | 0.0872 | ug/L | 0.78136 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-03-11 06:30 | 20100710178 | 0.028 | Recoverable Result | 0.11173 | . | 0.323 | ug/L | 2.8909 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-03-12 06:00 | 20150720069 | 0.028 | Recoverable Result | 0.1122 | . | 0.0782 | ug/L | 0.69697 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-06-26 06:00 | 20141770149 | 0.028 | Estimated Values | 0.1122 | E | 0.113 | ug/L | 1.0071 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-06-05 07:00 | 20141570088 | 0.028 | Estimated Values | 0.1122 | E | 0.194 | ug/L | 1.7291 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-07-21 06:30 | 20102030005 | 0.028 | Recoverable Result | 0.11227 | . | 0.159 | ug/L | 1.4163 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-01-13 06:30 | 20110130056 | 0.028 | Estimated Values | 0.12972 | E | 0.146 | ug/L | 1.1255 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-06-02 07:30 | 20111540007 | 0.028 | Estimated Values | 0.13247 | E | 0.228 | ug/L | 1.7212 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-08-10 08:00 | 20112220126 | 0.028 | Estimated Values | 0.1344 | E | 0.165 | ug/L | 1.2277 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-08-18 08:46 | 20112310032 | 0.028 | Estimated Values | 0.1344 | E | 0.0973 | ug/L | 0.72396 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-10-20 07:00 | 20112930085 | 0.028 | Recoverable Result | 0.1344 | . | 0.194 | ug/L | 1.4435 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-05-10 06:30 | 20121310027 | 0.028 | Recoverable Result | 0.1344 | . | 0.183 | ug/L | 1.3616 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-06-29 07:00 | 20111810004 | 0.028 | Estimated Values | 0.1344 | E | 0.169 | ug/L | 1.2574 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-09-15 07:30 | 20112590005 | 0.028 | Recoverable Result | 0.1344 | . | 0.14 | ug/L | 1.0417 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2011-11-09 07:00 | 20113130085 | 0.028 | Estimated Values | 0.1344 | E | 0.188 | ug/L | 1.3988 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-12-09 06:00 | 20103430087 | 0.028 | Recoverable Result | 0.1352 | . | 0.167 | ug/L | 1.2352 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-10-30 07:00 | 20123040157 | 0.028 | Recoverable Result | 0.1495 | . | 0.174 | ug/L | 1.1639 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-10-10 07:00 | 20122850005 | 0.028 | Estimated Values | 0.1515 | E | 0.166 | ug/L | 1.0957 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-01-10 06:00 | 20130100066 | 0.028 | Recoverable Result | 0.1515 | . | 0.17 | ug/L | 1.1221 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-04-04 06:30 | 20130940097 | 0.028 | Recoverable Result | 0.1515 | . | 0.143 | ug/L | 0.94389 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-08-29 06:30 | 20132420001 | 0.028 | Recoverable Result | 0.1515 | . | 0.183 | ug/L | 1.2079 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-01-23 06:30 | 20140230082 | 0.028 | Recoverable Result | 0.1515 | . | 0.126 | ug/L | 0.83168 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-09-17 06:00 | 20152610011 | 0.028 | Recoverable Result | 0.1664 | . | 0.118 | ug/L | 0.70913 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2015-09-03 06:00 | 20152460215 | 0.028 | Recoverable Result | 0.1664 | . | 0.204 | ug/L | 1.226 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-08-01 07:00 | 20132140002 | 0.028 | Estimated Values | 0.199 | E | 0.314 | ug/L | 1.5779 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-09-12 08:30 | 20132560001 | 0.028 | Recoverable Result | 0.2005 | . | 0.282 | ug/L | 1.4065 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-09-25 08:00 | 20132690010 | 0.028 | Recoverable Result | 0.2005 | . | 0.302 | ug/L | 1.5062 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-06-10 06:30 | 20101650033 | 0.028 | Recoverable Result | 0.2249 | . | 0.31 | ug/L | 1.3784 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-09-16 06:30 | 20102630169 | 0.028 | Recoverable Result | 0.22606 | . | 0.217 | ug/L | 0.95993 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | TEBUTHIURON | 82670GCM35 | 2013-01-24 06:00 | 20130250061 | 0.028 | Recoverable Result | 0.299 | . | 0.27 | ug/L | 0.90301 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-12-06 06:30 | 20123420074 | 0.028 | Recoverable Result | 0.299 | . | 0.325 | ug/L | 1.087 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | TEBUTHIURON | 82670GCM35 | 2012-11-20 06:30 | 20123260037 | 0.028 | Recoverable Result | 0.303 | . | 0.333 | ug/L | 1.099 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TEBUTHIURON | 82670GCM35 | 2014-01-09 06:30 | 20140100085 | 0.028 | Recoverable Result | 0.401 | . | 0.51 | ug/L | 1.2718 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TEBUTHIURON | 82670GCM35 | 2010-05-13 06:30 | 20101340154 | 0.028 | Recoverable Result | 0.55556 | . | 0.714 | ug/L | 1.2852 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl