## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-04-30 07:00 | 20151210037 | 0.008 | SACRALT | 0.012 | < | 0.0123 | ug/L |  | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-10-29 06:00 | 20153030068 | 0.008 | Recoverable Result | 0.012 | . | 0.0116 | ug/L | 0.96667 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-08-06 06:00 | 20152190003 | 0.008 | Recoverable Result | 0.012 | . | 0.0097 | ug/L | 0.80833 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-11-10 06:00 | 20153160001 | 0.008 | Recoverable Result | 0.012 | . | 0.0112 | ug/L | 0.93333 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-04-17 06:00 | 20141080004 | 0.008 | Recoverable Result | 0.0156 | . | 0.0135 | ug/L | 0.86538 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-05-22 07:00 | 20141420140 | 0.008 | Recoverable Result | 0.0156 | . | 0.0134 | ug/L | 0.85897 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-08-07 07:00 | 20142200164 | 0.008 | Recoverable Result | 0.0156 | . | 0.0144 | ug/L | 0.92308 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-06-12 06:00 | 20141640076 | 0.008 | Recoverable Result | 0.0156 | . | 0.0131 | ug/L | 0.83974 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-01-15 06:00 | 20150150115 | 0.008 | Recoverable Result | 0.0159 | . | 0.0119 | ug/L | 0.74843 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-07-10 06:00 | 20141910243 | 0.008 | Recoverable Result | 0.0159 | . | 0.0121 | ug/L | 0.76101 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-07-02 07:00 | 20141840097 | 0.008 | Recoverable Result | 0.0159 | . | 0.0136 | ug/L | 0.85535 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-12-03 06:00 | 20143370094 | 0.008 | Recoverable Result | 0.0159 | . | 0.0113 | ug/L | 0.71069 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-06-04 07:00 | 20151550293 | 0.008 | Recoverable Result | 0.024 | . | 0.0262 | ug/L | 1.0917 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-07-09 07:00 | 20151900132 | 0.008 | Recoverable Result | 0.024 | . | 0.0218 | ug/L | 0.90833 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-08-20 06:00 | 20152330039 | 0.008 | Recoverable Result | 0.024 | . | 0.0197 | ug/L | 0.82083 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-12-17 06:00 | 20153510109 | 0.008 | Recoverable Result | 0.024 | . | 0.018 | ug/L | 0.75 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-02-17 08:30 | 20110490035 | 0.006 | Recoverable Result | 0.02475 | . | 0.0254 | ug/L | 1.0263 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-08-15 06:30 | 20132280016 | 0.008 | Recoverable Result | 0.026 | . | 0.0301 | ug/L | 1.1577 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-10-31 06:30 | 20133050050 | 0.008 | Recoverable Result | 0.026 | . | 0.0302 | ug/L | 1.1615 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-06-13 06:30 | 20131650073 | 0.008 | Recoverable Result | 0.0268 | . | 0.0345 | ug/L | 1.2873 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-06-27 06:30 | 20131790009 | 0.008 | Recoverable Result | 0.0268 | . | 0.0328 | ug/L | 1.2239 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-12-12 06:30 | 20133470008 | 0.008 | Recoverable Result | 0.0268 | . | 0.0285 | ug/L | 1.0634 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-11-26 07:00 | 20133310030 | 0.008 | Recoverable Result | 0.0268 | . | 0.027 | ug/L | 1.0075 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-03-13 07:00 | 20140730138 | 0.008 | Recoverable Result | 0.0268 | . | 0.0267 | ug/L | 0.99627 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-07-11 06:30 | 20131920149 | 0.008 | Recoverable Result | 0.03 | . | 0.0328 | ug/L | 1.0933 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-09-13 06:00 | 20122570122 | 0.008 | Recoverable Result | 0.03 | . | 0.0271 | ug/L | 0.90333 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-03-05 06:00 | 20130650005 | 0.008 | Recoverable Result | 0.03 | . | 0.0233 | ug/L | 0.77667 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-05-02 06:00 | 20131230084 | 0.008 | Recoverable Result | 0.03 | . | 0.0382 | ug/L | 1.2733 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-08-07 06:00 | 20122210006 | 0.008 | Recoverable Result | 0.03 | . | 0.0317 | ug/L | 1.0567 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-08-16 06:30 | 20122300021 | 0.008 | Recoverable Result | 0.03 | . | 0.0375 | ug/L | 1.25 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-07-03 08:00 | 20121870008 | 0.008 | Recoverable Result | 0.03 | . | 0.0307 | ug/L | 1.0233 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-02-07 06:30 | 20130390105 | 0.008 | Recoverable Result | 0.03 | . | 0.0242 | ug/L | 0.80667 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-03-27 06:30 | 20140860102 | 0.008 | Recoverable Result | 0.03 | . | 0.0264 | ug/L | 0.88 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-10-17 06:30 | 20132910008 | 0.008 | Recoverable Result | 0.03 | . | 0.0314 | ug/L | 1.0467 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-12-05 08:00 | 20133400002 | 0.008 | Recoverable Result | 0.03 | . | 0.0341 | ug/L | 1.1367 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-01-14 06:30 | 20100150090 | 0.006 | Recoverable Result | 0.030754 | . | 0.0237 | ug/L | 0.77064 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-08-14 06:00 | 20142270001 | 0.008 | Recoverable Result | 0.0312 | . | 0.0241 | ug/L | 0.77244 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-03-12 06:00 | 20150720069 | 0.008 | Recoverable Result | 0.0312 | . | 0.0306 | ug/L | 0.98077 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-10-23 06:00 | 20142960086 | 0.008 | Recoverable Result | 0.0312 | . | 0.027 | ug/L | 0.86538 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-11-06 06:00 | 20143110108 | 0.008 | Recoverable Result | 0.0312 | . | 0.0226 | ug/L | 0.72436 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-05-01 06:00 | 20141220025 | 0.008 | Recoverable Result | 0.0318 | . | 0.035 | ug/L | 1.1006 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-09-25 06:00 | 20142720002 | 0.008 | Recoverable Result | 0.0318 | . | 0.0256 | ug/L | 0.80503 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-06-05 07:00 | 20141570088 | 0.008 | Recoverable Result | 0.0318 | . | 0.0341 | ug/L | 1.0723 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-09-10 06:00 | 20142530087 | 0.008 | Recoverable Result | 0.0318 | . | 0.0263 | ug/L | 0.82704 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-07-01 06:30 | 20101830110 | 0.006 | Recoverable Result | 0.031852 | . | 0.0316 | ug/L | 0.99209 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-04-29 10:30 | 20101190091 | 0.006 | Recoverable Result | 0.038782 | . | 0.0364 | ug/L | 0.93857 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-09-09 06:40 | 20102530008 | 0.006 | Recoverable Result | 0.040428 | . | 0.0411 | ug/L | 1.0166 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-06-17 10:30 | 20101720149 | 0.006 | Recoverable Result | 0.040547 | . | 0.0471 | ug/L | 1.1616 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-10-28 07:30 | 20103020155 | 0.006 | Recoverable Result | 0.046436 | . | 0.0442 | ug/L | 0.95184 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-01-20 07:30 | 20110210095 | 0.006 | Recoverable Result | 0.047314 | . | 0.0391 | ug/L | 0.8264 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-06-16 08:00 | 20111680035 | 0.006 | Recoverable Result | 0.047994 | . | 0.0411 | ug/L | 0.85636 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-09-17 06:00 | 20152610011 | 0.008 | Recoverable Result | 0.048 | . | 0.0421 | ug/L | 0.87708 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2015-10-01 06:00 | 20152750006 | 0.008 | Recoverable Result | 0.048 | . | 0.0387 | ug/L | 0.80625 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-07-07 07:00 | 20111890004 | 0.006 | Recoverable Result | 0.04808 | . | 0.0523 | ug/L | 1.0878 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-10-27 07:30 | 20113010047 | 0.008 | Recoverable Result | 0.04808 | . | 0.0456 | ug/L | 0.94842 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-03-15 08:00 | 20120760111 | 0.008 | Recoverable Result | 0.04808 | . | 0.0383 | ug/L | 0.79659 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-03-24 06:30 | 20110840108 | 0.006 | Recoverable Result | 0.048302 | . | 0.0445 | ug/L | 0.92128 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-10-07 07:30 | 20102810019 | 0.006 | Recoverable Result | 0.048958 | . | 0.0346 | ug/L | 0.70673 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-02-02 06:30 | 20110340007 | 0.006 | Recoverable Result | 0.049292 | . | 0.0474 | ug/L | 0.96161 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-04-22 06:20 | 20111170107 | 0.006 | Recoverable Result | 0.049528 | . | 0.0545 | ug/L | 1.1004 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-07-28 07:00 | 20112100007 | 0.006 | Recoverable Result | 0.0498 | . | 0.0391 | ug/L | 0.78514 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-10-07 06:30 | 20112840031 | 0.008 | Recoverable Result | 0.0498 | . | 0.0445 | ug/L | 0.89357 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-01-12 07:00 | 20120120071 | 0.008 | Recoverable Result | 0.0498 | . | 0.0482 | ug/L | 0.96787 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-02-23 07:30 | 20120540036 | 0.008 | Recoverable Result | 0.0498 | . | 0.0422 | ug/L | 0.84739 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-03-29 08:00 | 20120930003 | 0.008 | Recoverable Result | 0.0498 | . | 0.0419 | ug/L | 0.84137 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-08-05 06:30 | 20102180092 | 0.006 | Recoverable Result | 0.060829 | . | 0.0505 | ug/L | 0.8302 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-04-22 06:30 | 20101130055 | 0.006 | Recoverable Result | 0.062201 | . | 0.0654 | ug/L | 1.0514 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-02-06 06:30 | 20140370077 | 0.008 | Recoverable Result | 0.065 | . | 0.057 | ug/L | 0.87692 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-09-25 08:00 | 20132690010 | 0.008 | Recoverable Result | 0.065 | . | 0.0832 | ug/L | 1.28 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-05-16 07:00 | 20131370001 | 0.008 | Recoverable Result | 0.067 | . | 0.0798 | ug/L | 1.191 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-06-07 10:00 | 20111590005 | 0.006 | Recoverable Result | 0.074096 | . | 0.0666 | ug/L | 0.89883 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-06-21 06:00 | 20121730123 | 0.008 | Recoverable Result | 0.075 | . | 0.0781 | ug/L | 1.0413 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-10-30 07:00 | 20123040157 | 0.008 | Recoverable Result | 0.075 | . | 0.0699 | ug/L | 0.932 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-12-20 06:30 | 20123560092 | 0.008 | Recoverable Result | 0.075 | . | 0.0784 | ug/L | 1.0453 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-03-21 06:30 | 20130810108 | 0.008 | Recoverable Result | 0.075 | . | 0.079 | ug/L | 1.0533 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-08-29 06:30 | 20132420001 | 0.008 | Recoverable Result | 0.075 | . | 0.0815 | ug/L | 1.0867 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-01-23 06:30 | 20140230082 | 0.008 | Recoverable Result | 0.075 | . | 0.0777 | ug/L | 1.036 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-12-16 06:30 | 20103510060 | 0.006 | Recoverable Result | 0.095691 | . | 0.0902 | ug/L | 0.94262 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-04-28 07:00 | 20111190184 | 0.006 | Recoverable Result | 0.095786 | . | 0.106 | ug/L | 1.1066 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-11-24 07:00 | 20103330007 | 0.006 | Recoverable Result | 0.095834 | . | 0.0938 | ug/L | 0.97878 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-08-04 08:00 | 20112170174 | 0.006 | Recoverable Result | 0.09616 | . | 0.0939 | ug/L | 0.9765 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-11-29 07:00 | 20113340046 | 0.008 | Recoverable Result | 0.09616 | . | 0.076 | ug/L | 0.79035 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-02-09 07:00 | 20120400058 | 0.008 | Recoverable Result | 0.09616 | . | 0.0931 | ug/L | 0.96818 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-03-03 07:00 | 20110620082 | 0.006 | Recoverable Result | 0.098888 | . | 0.0969 | ug/L | 0.9799 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-04-07 09:00 | 20110980030 | 0.006 | Recoverable Result | 0.099483 | . | 0.102 | ug/L | 1.0253 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-01-26 07:00 | 20120260028 | 0.008 | Recoverable Result | 0.0996 | . | 0.0996 | ug/L | 1 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-04-12 07:00 | 20121040012 | 0.008 | Recoverable Result | 0.0996 | . | 0.0951 | ug/L | 0.95482 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2011-05-19 07:30 | 20111390178 | 0.006 | Recoverable Result | 0.10027 | . | 0.0984 | ug/L | 0.98133 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-11-18 09:00 | 20103230114 | 0.006 | Recoverable Result | 0.1007 | . | 0.111 | ug/L | 1.1022 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-09-06 06:50 | 20132490342 | 0.008 | Recoverable Result | 0.13 | . | 0.14 | ug/L | 1.0769 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2014-01-09 06:30 | 20140100085 | 0.008 | Recoverable Result | 0.13 | . | 0.141 | ug/L | 1.0846 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2013-01-24 06:00 | 20130250061 | 0.008 | Recoverable Result | 0.15 | . | 0.147 | ug/L | 0.98 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-12-06 06:30 | 20123420074 | 0.008 | Recoverable Result | 0.15 | . | 0.17 | ug/L | 1.1333 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.146 | ug/L | 0.97333 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TERBUTHYLAZINE | 04022GCM39 | 2010-05-27 06:30 | 20101480005 | 0.006 | Recoverable Result | 0.15893 | . | 0.17 | ug/L | 1.0697 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl