## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
EQUILENIN | 4434 | 64538GM005 | 2010-06-30 | ng/L |  | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 32 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-07-01 | ng/L |  | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-07-12 | ng/L |  | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-10-25 | ng/L |  | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-11-01 | ng/L |  | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-02-07 | ng/L |  | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-03-10 | ng/L |  | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-05-09 | ng/L |  | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-06-23 | ng/L |  | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-07-25 | ng/L |  | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-10-12 | ng/L |  | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-11-17 | ng/L |  | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-03-27 | ng/L |  | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-04-06 | ng/L |  | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-05-25 | ng/L |  | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-06-30 | ng/L |  | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-07-01 | ng/L |  | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-08-19 | ng/L |  | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-10-19 | ng/L |  | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2010-11-15 | ng/L |  | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-08-29 | ng/L |  | 2012-07-03 07:00 | 20121870005 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-03-04 | ng/L |  | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-03-31 | ng/L |  | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-05-19 | ng/L |  | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-06-07 | ng/L |  | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-09-29 | ng/L |  | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-10-13 | ng/L |  | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-01-27 | ng/L |  | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-04-04 | ng/L |  | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-04-17 | ng/L |  | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-07-27 | ng/L |  | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2016-01-07 | ng/L |  | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl |  | EQUILENIN | . | 2 | 4.17 | NANOGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-08-22 | ng/L |  | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-11-05 | ng/L |  | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-12-16 | ng/L |  | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-02-12 | ng/L |  | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-07-28 | ng/L |  | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-04-01 | ng/L |  | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-09-23 | ng/L |  | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-01-21 | ng/L |  | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-12-18 | ng/L |  | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2013-04-22 | ng/L |  | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2013-04-03 | ng/L |  | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl |  | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-12-11 | ng/L |  | 2015-09-03 08:30 | 20152460213 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl |  | EQUILENIN | . | 2 | 2.69 | NANOGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2016-01-08 | ng/L |  | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl |  | EQUILENIN | E | 2 | 3.88 | NANOGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-06-29 | ng/L |  | 2015-05-14 06:00 | 20151380010 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 3.0316 | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | Y | False Negatives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-09-17 | ng/L |  | 2015-05-28 06:30 | 20151480171 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 3.0316 | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | Y | False Negatives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-11-02 | ng/L |  | 2015-08-20 07:30 | 20152330045 | Supelco, Crescent | LC13547, 04EE007 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl | 3.0316 | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | Y | False Negatives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-09-17 | ng/L |  | 2015-05-21 07:00 | 20151410211 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl | 3.0316 | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | Y | False Negatives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-07-21 | ng/L |  | 2015-06-11 06:30 | 20151620181 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl | 5.0526 | EQUILENIN | < | 2 | 2 | NANOGRAMS PER LITER |  |  |  |  | Y | False Negatives | N | [5 empty] | 0 | [5 empty] | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2016-01-08 | ng/L | 1.3033 | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl | 3 | EQUILENIN | E | 2 | 3.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3033 | Y | Estimated Values | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2013-07-19 | ng/L | 0.41943 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41943 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2013-09-16 | ng/L | 0.60817 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 2.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60817 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-04-14 | ng/L | 0.28836 | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28836 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-01-23 | ng/L | 0.5138 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.8147 | EQUILENIN | . | 2 | 1.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5138 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-12-22 | ng/L | 1.2516 | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2516 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-07-14 | ng/L | 1.1586 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1586 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-05-14 | ng/L | 1.1511 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1511 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-06-03 | ng/L | 0.81429 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 3.9789 | EQUILENIN | . | 2 | 3.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81429 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-01-29 | ng/L | 1.1737 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 3.9789 | EQUILENIN | . | 2 | 4.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-03-30 | ng/L | 0.72918 | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl | 4.1416 | EQUILENIN | . | 2 | 3.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72918 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-06-13 | ng/L | 0.67508 | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl | 4.1477 | EQUILENIN | . | 2 | 2.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67508 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-02-23 | ng/L | 0.92189 | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl | 4.2088 | EQUILENIN | . | 2 | 3.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92189 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-10-12 | ng/L | 0.88587 | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 3.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88588 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-01-27 | ng/L | 0.98325 | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 4.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98325 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-03-27 | ng/L | 0.798 | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl | 4.2105 | EQUILENIN | . | 2 | 3.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.798 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2013-02-22 | ng/L | 0.73022 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 4.2316 | EQUILENIN | . | 2 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73022 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-08-10 | ng/L | 1.582 | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl | 5 | EQUILENIN | . | 2 | 7.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.582 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2015-12-10 | ng/L | 0.394 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 5 | EQUILENIN | . | 2 | 1.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.394 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2016-01-08 | ng/L | 0.585 | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 6 | EQUILENIN | E | 2 | 3.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.585 | Y | Estimated Values | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-08-26 | ng/L | 1.2466 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 7.9579 | EQUILENIN | . | 2 | 9.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2466 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-05-06 | ng/L | 1.5205 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 7.9579 | EQUILENIN | . | 2 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5205 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-08-11 | ng/L | 1.7467 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 7.9579 | EQUILENIN | . | 2 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7467 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-12-09 | ng/L | 1.2327 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 7.9579 | EQUILENIN | . | 2 | 9.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2327 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-11-07 | ng/L | 0.55771 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 8.4632 | EQUILENIN | . | 2 | 4.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55771 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-04-14 | ng/L | 0.53145 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 5.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53145 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-03-05 | ng/L | 0.57032 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 5.43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57032 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2014-03-14 | ng/L | 0.39912 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 9.5211 | EQUILENIN | . | 2 | 3.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39912 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-10-03 | ng/L | 0.79563 | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79563 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-04-17 | ng/L | 1.0212 | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0213 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2012-07-02 | ng/L | 1.0866 | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl | 16.8421 | EQUILENIN | . | 2 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0866 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008
EQUILENIN | 4434 | 64538GM005 | 2011-05-09 | ng/L | 0.90327 | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl | 16.9384 | EQUILENIN | . | 2 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90327 | Y | Recoverable Result | Y | [5 empty] | 32 | 0.89308 | 0.37196 | 0.85008 | 0.58848 | 0.43623 | 0.85008