## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-11-10 08:00 | 20103140137 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2010-11-16 | Abs 090910Pharm: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-02-24 08:30 | 20110560004 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-03-15 | Abs 090910Pharm: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-04-22 06:30 | 20111170109 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-05-11 | Abs 090910Pharm: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-05-19 08:00 | 20111390177 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-05-25 | Abs 090910Pharm: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-07-07 07:30 | 20111890006 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-07-13 | Abs 090910Pharm: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-08-25 11:00 | 20112380054 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-09-15 | Abs 090910Pharm: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-10-15 06:00 | 20092890009 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2009-10-22 | Accu 209081146: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-12-10 06:00 | 20093450032 | 0.1 |  | < | 0.1 | ug/L |  | G | mno |  | 2010-01-07 | Accu 209081146: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-04-08 07:30 | 20100990017 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-04-28 | Accu 209081146: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-05-27 07:30 | 20101480007 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-06-14 | Accu 209081146: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-07-21 07:30 | 20102030003 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-08-05 | Accu 209081146: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-10-28 08:30 | 20103020150 | 0.1 | 238.379 | E | 0.236 | ug/L | 0.99002 | G | ljc | m | 2010-11-15 | Accu 210061380: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-12-16 07:30 | 20103510062 | 0.1 | 241.7893 | E | 0.263 | ug/L | 1.0877 | G | ljc | m | 2011-01-04 | Accu 210061380: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-04-14 08:00 | 20111050153 | 0.1 | 238.1661 | E | 0.286 | ug/L | 1.2008 | G | ljc | m | 2011-04-26 | Accu 210061380: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-06-02 08:30 | 20111540004 | 0.1 | 386.707 | E | 0.379 | ug/L | 0.98007 | G | ljc | m | 2011-06-15 | Accu 210061380: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-08-10 08:30 | 20112220127 | 0.1 | 384 | E | 0.339 | ug/L | 0.88281 | G | ljc | m | 2011-08-26 | Accu 210061380: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-09-08 08:30 | 20112520207 | 0.1 | 240 | E | 0.259 | ug/L | 1.0792 | G | ljc | m | 2011-09-16 | Accu 210061380: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-03-25 01:28 | 20080860019 | 0.1 | 226.9567 | < | 0.1 | ug/L |  | V | ljc |  | 2008-04-07 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-04-24 07:40 | 20081150083 | 0.1 | 226.0586 | . | 0.263 | ug/L | 1.1634 | V | ljc |  | 2008-05-14 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-05-13 06:40 | 20081340101 | 0.1 | 223.4938 | . | 0.189 | ug/L | 0.84566 | V | ljc |  | 2008-05-28 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-06-26 08:10 | 20081780168 | 0.1 | 225.7682 | . | 0.335 | ug/L | 1.4838 | G | ljc |  | 2008-07-15 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-07-22 07:15 | 20082040247 | 0.1 | 223.2972 | . | 0.234 | ug/L | 1.0479 | G | ljc |  | 2008-08-06 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-08-27 10:00 | 20082410004 | 0.1 | 227.8847 | . | 0.176 | ug/L | 0.77232 | G | ljc |  | 2008-09-19 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-09-11 08:40 | 20082560007 | 0.12 | 224.0636 | . | 0.301 | ug/L | 1.3434 | G | ljc |  | 2008-10-02 | Accu B7070261: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-12-11 06:00 | 20083460144 | 0.12 | 312.3871 | R |  | ug/L |  |  |  |  | 2008-12-11 06:00 | Accu B8080253: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-10-30 05:10 | 20083040063 | 0.12 | 191.6823 | E | 0.115 | ug/L | 0.59995 | V | ljc | n | 2008-11-13 | Accu B8080253: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-04-09 07:00 | 20090990154 | 0.12 | 312.4498 | . | 0.263 | ug/L | 0.84174 | V | ljc |  | 2009-04-13 | Accu B8080253: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-03-26 06:00 | 20090860073 | 0.12 | 196.8026 | . | 0.172 | ug/L | 0.87397 | V | ljc |  | 2009-04-13 | Accu B8080253: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-08-20 06:00 | 20092330004 | 0.12 | 191.4936 | . | 0.135 | ug/L | 0.70498 | G | ljc |  | 2009-08-28 | Accu B8080253: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-04-16 06:00 | 20081080093 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-04-23 | ChemService 385-69B: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-05-28 08:35 | 20081500008 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-06-04 | ChemService 385-69B: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-07-01 09:10 | 20081840004 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-07-16 | ChemService 385-69B: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-08-07 09:10 | 20082210027 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-08-25 | ChemService 385-69B: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-02-26 07:45 | 20080580076 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-03-03 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-04-02 07:30 | 20080940061 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-04-16 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-05-01 08:35 | 20081220193 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-05-14 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-06-03 09:25 | 20081560007 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-06-18 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-07-10 08:20 | 20081930027 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-07-23 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-07-30 08:15 | 20082130004 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-08-14 | ERA 0710-07-02Rx: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-05-28 05:00 | 20091490006 | 0.12 | 198.4619 | < | 0.12 | ug/L |  | V | ljc |  | 2009-06-09 | NWQL LCL11SP078A: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-05-14 07:00 | 20091340061 | 0.12 | 200.783 | . | 0.218 | ug/L | 1.0857 | V | ljc |  | 2009-05-28 | NWQL LCL11SP078A: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-06-18 06:00 | 20091700143 | 0.12 | 198.275 | . | 0.264 | ug/L | 1.3315 | V | ljc |  | 2009-06-25 | NWQL LCL11SP078A: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-07-16 06:00 | 20091970073 | 0.12 | 196.7536 | . | 0.271 | ug/L | 1.3774 | G | ljc |  | 2009-07-27 | NWQL LCL11SP078A: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-08-06 06:00 | 20092180177 | 0.12 | 249.7502 | E | 0.507 | ug/L | 2.03 | G | ljc |  | 2009-08-19 | NWQL LCL11SP078A: 100 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-04-01 09:00 | 20100920051 | 0.1 | 127.525 | E | 0.152 | ug/L | 1.1919 | V | ljc | m | 2010-04-08 | NWQL LCL11SP081A: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-05-20 10:30 | 20101410005 | 0.1 | 125.6787 | E | 0.109 | ug/L | 0.86729 | V | ljc | m | 2010-06-02 | NWQL LCL11SP081A: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-06-10 09:30 | 20101650034 | 0.1 | 127.9296 | E | 0.23 | ug/L | 1.7979 | V | ljc | m | 2010-06-23 | NWQL LCL11SP081A: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-07-08 11:00 | 20101900004 | 0.1 | 124.1804 | E | 0.123 | ug/L | 0.99049 | V | ljc | m | 2010-07-21 | NWQL LCL11SP081A: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-08-26 10:30 | 20102390087 | 0.1 | 127.6813 | E | 0.245 | ug/L | 1.9188 | V | ljc | m | 2010-09-10 | NWQL LCL11SP081A: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-05-07 05:35 | 20081290005 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc |  | 2008-05-20 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-06-10 05:40 | 20081630012 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-06-18 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-06-20 07:10 | 20081750157 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-06-30 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-07-17 06:20 | 20082000007 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-08-05 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-08-13 06:10 | 20082260233 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-08-26 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-09-04 07:10 | 20082480187 | 0.12 |  | < | 0.1 | ug/L |  | G | ljc |  | 2008-10-01 | Protocol M1070727011: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-10-15 08:15 | 20082890057 | 0.12 |  | < | 0.12 | ug/L |  | V | ljc |  | 2008-11-04 | Protocol T1080910002: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-11-12 07:20 | 20083180006 | 0.12 |  | < | 0.12 | ug/L |  | V | ljc |  | 2008-11-20 | Protocol T1080910002: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-03-12 06:00 | 20090710013 | 0.12 |  | < | 0.12 | ug/L |  | V | ljc |  | 2009-03-25 | Protocol T1080910002: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-06-11 06:00 | 20091620171 | 0.12 |  | < | 0.12 | ug/L |  | G | ljc |  | 2009-06-22 | Protocol T1080910002: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-12-09 06:30 | 20083440102 | 0.12 |  | < | 0.12 | ug/L |  | G | ljc |  | 2008-12-16 | Restek A063896: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-02-05 07:00 | 20090370007 | 0.12 |  | < | 0.12 | ug/L |  | V | ljc |  | 2009-02-23 | Restek A063896: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-02-26 06:30 | 20090580004 | 0.12 |  | < | 0.12 | ug/L |  | V | ljc |  | 2009-03-10 | Restek A063896: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-06-25 06:00 | 20091770122 | 0.12 |  | < | 0.12 | ug/L |  | G | ljc |  | 2009-07-01 | Restek A063896: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-09-10 06:00 | 20092530078 | 0.12 |  | < | 0.12 | ug/L |  | G | ljc |  | 2009-09-17 | Restek A063896: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-11-02 06:00 | 20093060177 | 0.1 | 272.6956 | . | 0.233 | ug/L | 0.85443 | G | ljc |  | 2009-11-12 | Restek A069729: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-01-28 07:00 | 20100280078 | 0.1 | 272.0464 | E | 0.3 | ug/L | 1.1028 | G | ljc | m | 2010-02-08 | Restek A069729: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-04-29 07:00 | 20101190089 | 0.1 | 280.735 | E | 0.325 | ug/L | 1.1577 | V | ljc | m | 2010-05-06 | Restek A069729: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-06-03 07:30 | 20101550004 | 0.1 | 560.2084 | E | 0.81 | ug/L | 1.4459 | V | ljc | m | 2010-06-15 | Restek A069729: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-08-03 07:30 | 20102160001 | 0.1 | 558.8955 | E | 0.445 | ug/L | 0.79621 | G | ljc | m | 2010-08-17 | Restek A069729: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-09-02 07:00 | 20102500048 | 0.1 | 283.7558 | E | 0.261 | ug/L | 0.9198 | V | ljc | m | 2010-09-24 | Restek A069729: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-11-25 06:00 | 20093340132 | 0.1 | 276.6878 | . | 0.283 | ug/L | 1.0228 | G | ljc |  | 2009-12-14 | Spex Organics T1090819006: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-03-19 07:00 | 20100810067 | 0.1 | 273.0884 | E | 0.326 | ug/L | 1.1938 | V | ljc | m | 2010-04-08 | Spex Organics T1090819006: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-05-13 07:30 | 20101340152 | 0.1 | 276.8828 | E | 0.435 | ug/L | 1.5711 | V | ljc | m | 2010-05-25 | Spex Organics T1090819006: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-07-01 07:30 | 20101830107 | 0.1 | 553.3756 | E | 0.646 | ug/L | 1.1674 | V | ljc | m | 2010-07-20 | Spex Organics T1090819006: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-08-19 07:30 | 20102320017 | 0.1 | 545.7973 | E | 0.669 | ug/L | 1.2257 | V | ljc | m | 2010-09-08 | Spex Organics T1090819006: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-09-16 07:00 | 20102630166 | 0.1 | 281.5604 | E | 0.222 | ug/L | 0.78846 | V | ljc | m | 2010-09-24 | Spex Organics T1090819006: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-10-14 08:00 | 20102880005 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2010-10-25 | Spex Organics T1100628001: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-11-30 07:30 | 20103350001 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2010-12-14 | Spex Organics T1100628001: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-03-24 07:00 | 20110840107 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-04-07 | Spex Organics T1100628001: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-06-16 08:30 | 20111680037 | 0.1 |  | E | 0.014 | ug/L |  | G | ljc | m | 2011-06-23 | Spex Organics T1100628001: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-07-28 07:30 | 20112100003 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-08-03 | Spex Organics T1100628001: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-09-15 08:00 | 20112590001 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2011-09-21 | Spex Organics T1100628001: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-02-06 06:15 | 20080370107 | 0.1 | 231.1208 | . | 0.23 | ug/L | 0.99515 | V | ljc |  | 2008-02-19 | Supelco LB50305: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-03-12 05:40 | 20080740015 | 0.1 | 230.1148 | . | 0.216 | ug/L | 0.93866 | V | ljc |  | 2008-03-20 | Supelco LB50305: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2008-11-20 06:00 | 20083260001 | 0.12 | 204.3784 | . | 0.17 | ug/L | 0.83179 | G | ljc |  | 2008-12-05 | Supelco LB60728: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-02-19 06:00 | 20090500154 | 0.12 | 208.4345 | . | 0.153 | ug/L | 0.73404 | V | ljc |  | 2009-03-02 | Supelco LB60728: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-04-23 10:00 | 20091130131 | 0.12 | 195.7082 | . | 0.152 | ug/L | 0.77667 | V | ljc |  | 2009-04-29 | Supelco LB60728: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-07-07 06:00 | 20091880133 | 0.12 | 201.1717 | E | 0.247 | ug/L | 1.2278 | G | ljc |  | 2009-07-15 | Supelco LB60728: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-09-17 06:00 | 20092610021 | 0.12 | 312.978 | . | 0.233 | ug/L | 0.74446 | G | ljc |  | 2009-09-25 | Supelco LB60728: 40 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2009-11-12 06:00 | 20093170004 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc |  | 2009-11-30 | Supelco LB69638: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-02-25 07:00 | 20100570087 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2010-03-09 | Supelco LB69638: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-05-06 07:30 | 20101270036 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-05-13 | Supelco LB69638: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-06-24 07:30 | 20101760007 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-07-14 | Supelco LB69638: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-08-05 08:00 | 20102180089 | 0.1 |  | < | 0.1 | ug/L |  | G | ljc | m | 2010-08-17 | Supelco LB69638: 25 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-09-09 05:46 | 20102530003 | 0.1 |  | < | 0.1 | ug/L |  | V | ljc | m | 2010-09-24 | Supelco LB69638: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2010-11-24 07:30 | 20103330008 | 0.1 | 392.6263 | E | 0.449 | ug/L | 1.1436 | G | ljc | m | 2010-12-14 | Supelco LB77166: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-03-10 07:00 | 20110690079 | 0.1 | 246.7856 | E | 0.227 | ug/L | 0.91983 | G | ljc | m | 2011-03-23 | Supelco LB77166: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-04-07 07:30 | 20110980033 | 0.1 | 249.7982 | E | 0.317 | ug/L | 1.269 | G | ljc | m | 2011-04-13 | Supelco LB77166: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-05-05 08:00 | 20111260152 | 0.1 | 394.4638 | E | 0.49 | ug/L | 1.2422 | G | ljc | m | 2011-05-12 | Supelco LB77166: 80 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-06-23 08:00 | 20111750003 | 0.1 | 247.6 | E | 0.223 | ug/L | 0.90065 | G | ljc | m | 2011-07-05 | Supelco LB77166: 50 µl
2080 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 6203000021 | 2011-07-21 08:30 | 20112030055 | 0.1 | 396.16 | E | 0.442 | ug/L | 1.1157 | G | ljc | m | 2011-08-03 | Supelco LB77166: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-06-12 09:00 | 20141640080 | 87.7 | 175.035 | < | 87.7 | ng/L |  | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-05-01 08:00 | 20141220012 | 87.7 | 175.035 | . | 158 | ng/L | 0.90268 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-05-22 08:30 | 20141420139 | 87.7 | 350.07 | E | 352 | ng/L | 1.0055 | U | MNO | c | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-09-03 07:30 | 20142470036 | 87.7 | 175.035 | . | 188 | ng/L | 1.0741 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-10-16 08:30 | 20142890076 | 87.7 | 350.07 | . | 415 | ng/L | 1.1855 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-01-29 06:30 | 20150290075 | 87.7 | 186.704 | . | 217 | ng/L | 1.1623 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-04-09 07:00 | 20150990082 | 87.7 | 186.704 | . | 213 | ng/L | 1.1408 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-05-08 08:30 | 20141290006 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-06-19 08:30 | 20141710105 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-09-10 08:00 | 20142530091 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-10-23 07:30 | 20142960084 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-11-13 08:00 | 20143180049 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-12-31 07:00 | 20143650002 | 87.7 |  | < | 87.7 | ng/L |  | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-04-23 06:30 | 20151140150 | 87.7 |  | < | 87.7 | ng/L |  | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-05-16 08:30 | 20141360091 | 87.7 | 175.035 | . | 162 | ng/L | 0.92553 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-06-05 09:00 | 20141570089 | 87.7 | 350.07 | E | 355 | ng/L | 1.0141 | U | LJC | v | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-06-26 08:30 | 20141770145 | 87.7 | 175.035 | . | 169 | ng/L | 0.96552 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-09-18 08:00 | 20142620042 | 87.7 | 176.25 | . | 177 | ng/L | 1.0043 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-10-30 08:30 | 20143030095 | 87.7 | 188 | . | 254 | ng/L | 1.3511 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-01-22 07:30 | 20150230027 | 87.7 | 352.5 | . | 427 | ng/L | 1.2113 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-07-01 07:30 | 20151820109 | 87.7 | 265.56 | . | 230 | ng/L | 0.86609 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-07-30 08:30 | 20152110203 | 87.7 | 132.78 | E | 94.6 | ng/L | 0.71246 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-04-21 08:00 | 20161130022 | 87.7 | 265.56 | . | 182 | ng/L | 0.68534 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-04-21 06:00 | 20161130023 | 87.7 | 265.56 | . | 212 | ng/L | 0.79831 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-06-18 07:00 | 20151690193 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-11-05 08:30 | 20153090116 | 87.7 | 131.8 | . | 110 | ng/L | 0.8346 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-02-11 08:30 | 20160430109 | 87.7 | 527.2 | . | 448 | ng/L | 0.84977 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-01-21 06:30 | 20160210081 | 87.7 | 263.6 | . | 216 | ng/L | 0.81942 | U | MNO | @ | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-05-21 07:30 | 20151410214 | 87.7 | 132.78 | . | 165 | ng/L | 1.2427 | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-06-04 06:00 | 20151550290 | 87.7 | 132.78 | . | 110 | ng/L | 0.82844 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-07-23 07:00 | 20152040179 | 87.7 | 265.56 | . | 217 | ng/L | 0.81714 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-01-28 07:30 | 20160280057 | 87.7 | 132.78 | . | 98.7 | ng/L | 0.74333 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-03-17 07:00 | 20160770097 | 87.7 | 66.39 | < | 200 | ng/L |  | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-09-24 07:30 | 20152670140 | 87.7 | 531.12 | . | 359 | ng/L | 0.67593 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-11-10 08:00 | 20153160007 | 87.7 | 531.12 | . | 471 | ng/L | 0.88681 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-03-31 08:00 | 20160910144 | 87.7 | 66.39 | . | 52.2 | ng/L | 0.78626 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-08-06 08:00 | 20152190007 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-10-01 08:00 | 20152750004 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC | @ | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-02-04 08:30 | 20160350045 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-08-20 07:00 | 20152330041 | 87.7 |  | < | 87.7 | ng/L |  | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-11-19 08:30 | 20153230140 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-05-05 06:30 | 20161260154 | 87.7 |  | < | 140 | ng/L |  | U | LJC | c | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-05-05 06:00 | 20161260153 | 87.7 |  | < | 140 | ng/L |  | U | LJC | c | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-06-22 08:00 | 20161740257 | 87.7 | 442.64 | E | 749 | ng/L | 1.6921 | K | LJC | c | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-06-22 07:45 | 20161740283 | 87.7 | 442.64 | E | 766 | ng/L | 1.7305 | K | LJC | c | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-27 07:45 | 20162100013 | 87.7 | 221.32 | E | 260 | ng/L | 1.1748 | K | MNO | c | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-27 07:30 | 20162100012 | 87.7 | 221.32 | E | 250 | ng/L | 1.1296 | K | MNO | c | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-17 10:00 | 20162300274 | 87.7 | 219.2 | E | 337 | ng/L | 1.5374 | K | SBH | v | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-17 09:30 | 20162300275 | 87.7 | 219.2 | E | 311 | ng/L | 1.4188 | K | SBH | v | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-06 08:30 | 20161880102 | 87.7 | 442.64 | E | 719 | ng/L | 1.6243 | K | LJC | c | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-06 08:00 | 20161880107 | 87.7 | 442.64 | E | 699 | ng/L | 1.5792 | K | LJC | c | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-02 09:00 | 20162150208 | 87.7 | 221.32 | E | 245 | ng/L | 1.107 | K | MNO | c | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-02 08:30 | 20162150209 | 87.7 | 221.32 | E | 225 | ng/L | 1.0166 | K | MNO | c | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-09-14 07:30 | 20162580143 | 87.7 | 442.64 | E | 618 | ng/L | 1.3962 | K | LJC | c | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-24 07:45 | 20162380011 | 87.7 | 221.32 | E | 296 | ng/L | 1.3374 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-24 07:30 | 20162380010 | 87.7 | 221.32 | E | 288 | ng/L | 1.3013 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-20 08:30 | 20162020116 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-07-20 08:15 | 20162020117 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-10 07:30 | 20162230166 | 87.7 |  | < | 87.7 | ng/L |  | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-10 07:15 | 20162230165 | 87.7 |  | < | 87.7 | ng/L |  | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-31 08:00 | 20162440106 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-08-31 07:45 | 20162440107 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-09-14 07:15 | 20162580144 | 87.7 | 442.64 | E | 663 | ng/L | 1.4978 | K | LJC | c | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-10-19 07:45 | 20162930165 | 88 | 548 | E | 809 | ng/L | 1.4763 | K | LJC | m | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-10-19 07:30 | 20162930164 | 88 | 548 | E | 849 | ng/L | 1.5493 | K | LJC | m | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-07-10 08:00 | 20141910244 | 87.7 | 176.25 | . | 125 | ng/L | 0.70922 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-08-07 09:30 | 20142200171 | 87.7 | 352.5 | . | 253 | ng/L | 0.71773 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-03-05 07:30 | 20150650042 | 87.7 | 352.5 | . | 496 | ng/L | 1.4071 | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-09-25 08:00 | 20142720025 | 87.7 | 352.5 | . | 374 | ng/L | 1.061 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-11-06 08:00 | 20143110110 | 87.7 | 352.5 | . | 423 | ng/L | 1.2 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-12-03 07:00 | 20143370092 | 87.7 | 188 | . | 253 | ng/L | 1.3457 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-08-18 07:30 | 20142340169 | 87.7 | 176.25 | . | 213 | ng/L | 1.2085 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-10-02 08:00 | 20142760028 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-02-12 07:00 | 20150430093 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-03-19 07:30 | 20150790013 | 87.7 |  | < | 96.3 | ng/L |  | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-07-02 08:30 | 20141840099 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-07-31 07:30 | 20142130133 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-08-14 08:30 | 20142270003 | 87.7 |  | < | 87.7 | ng/L |  | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-10-09 07:30 | 20142820152 | 87.7 | 186.704 | . | 232 | ng/L | 1.2426 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-11-26 08:00 | 20143300051 | 87.7 | 350.07 | . | 449 | ng/L | 1.2826 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-02-26 07:00 | 20150570011 | 87.7 | 350.07 | . | 468 | ng/L | 1.3369 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-03-26 07:00 | 20150850164 | 87.7 | 352.5 | . | 507 | ng/L | 1.4383 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-09-17 07:00 | 20152610009 | 87.7 | 531.12 | . | 359 | ng/L | 0.67593 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-11-24 07:30 | 20153280157 | 87.7 | 265.56 | . | 219 | ng/L | 0.82467 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-08-27 08:30 | 20152390226 | 87.7 | 131.8 | . | 99.1 | ng/L | 0.7519 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-10-08 07:30 | 20152810122 | 87.7 | 263.6 | . | 197 | ng/L | 0.74734 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-03-10 09:00 | 20160710221 | 87.7 | 131.8 | . | 101 | ng/L | 0.76631 | U | LJC |  | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-04-07 06:00 | 20160980151 | 87.7 | 131.8 | . | 149 | ng/L | 1.1305 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-09-10 08:30 | 20152530083 | 87.7 |  | < | 87.7 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-08-13 08:30 | 20152250278 | 87.7 | 131.8 | . | 133 | ng/L | 1.0091 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-10-22 08:00 | 20152950084 | 87.7 | 527.2 | . | 430 | ng/L | 0.81563 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-02-25 08:00 | 20160560046 | 87.7 | 263.6 | . | 229 | ng/L | 0.86874 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-09-03 08:00 | 20152460209 | 87.7 | 263.6 | . | 214 | ng/L | 0.81184 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-12-09 07:00 | 20153440005 | 87.7 | 131.8 | . | 114 | ng/L | 0.86495 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-07-16 07:30 | 20151970156 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2015-10-29 08:00 | 20153030062 | 87.7 |  | < | 87.7 | ng/L |  | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-01-07 08:00 | 20160070055 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-03-03 08:00 | 20160630051 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-03-24 07:30 | 20160840084 | 87.7 |  | < | 200 | ng/L |  | U | LJC | c | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-10-05 09:00 | 20162800005 | 88 |  | < | 88 | ng/L |  | K | MNI | m | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-10-05 08:30 | 20162800004 | 88 |  | < | 88 | ng/L |  | K | MNI | m | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-12-28 08:00 | 20163630039 | 88 |  | < | 140 | ng/L |  | U | MNI | m | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-12-28 07:30 | 20163630038 | 88 |  | < | 140 | ng/L |  | U | MNI | m | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-09-21 09:30 | 20162660012 | 88 | 219.2 | E | 372 | ng/L | 1.6971 | K | MNI | m | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2016-09-21 09:00 | 20162660011 | 88 | 219.2 | E | 373 | ng/L | 1.7016 | K | MNI | m | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-04-03 08:30 | 20140930049 | 87.7 | 175 | . | 144 | ng/L | 0.82286 | K | LJC | o | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-03-14 08:00 | 20130740022 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-03-27 | Abs 053112: 20 µl & Abs 060112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-09-27 07:30 | 20122720046 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2012-10-25 | Abs 053112: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-12-20 07:30 | 20123560094 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-01-24 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-08-09 07:30 | 20122230019 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2012-08-15 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-10-18 08:30 | 20122930153 | 87.7 | 87.5 | . | 91 | ng/L | 1.04 | U | LJC |  | 2012-10-25 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-11-26 08:00 | 20133310033 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2013-12-05 | Abs 071112: 20 µl & Abs 053112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-03-27 07:30 | 20140860101 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2014-04-10 | Abs 071112: 20 µl & Abs 060112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-11-08 08:00 | 20123140091 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2012-11-20 | Abs 071112: 40 µl & ERA 0507-12-06.1: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-12-06 08:30 | 20123420072 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2012-12-14 | Abs 071112: 10 µl & ERA 0507-12-06.2: 10 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-18 07:00 | 20131090003 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-04-26 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-01-02 06:45 | 20140030015 | 87.7 |  | < | 87.7 | ng/L |  | K | MNO |  | 2014-01-16 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 11:00 | 20131210060 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-03 | Abs 053112: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 11:30 | 20131210056 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-02 | Abs 060112: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 10:45 | 20131210057 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-03 | Abs 071112: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-08-08 08:30 | 20132210043 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2013-08-18 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-02-28 08:00 | 20130590062 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-03-27 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-02-20 07:30 | 20140510045 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-03-21 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-01-16 08:30 | 20140160086 | 87.7 | 133.5 | . | 73.4 | ng/L | 0.54981 | U | MNO | n | 2014-02-19 | ERA 0823-11-05.1: 15 µl & Abs 053112: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-01-10 08:30 | 20130100071 | 87.7 | 356 | . | 350 | ng/L | 0.98315 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-12-12 07:30 | 20133470009 | 87.7 | 133.5 | . | 97.9 | ng/L | 0.73333 | K | MNO | v | 2014-01-16 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-11-07 08:00 | 20133110111 | 87.7 | 133.5 | . | 87.2 | ng/L | 0.65318 | U | LJC | n | 2013-11-20 | ERA 0823-11-05.1: 15 µl & Abs 071112: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-03-19 08:00 | 20140780046 | 87.7 | 178 | E | 111 | ng/L | 0.6236 | U | MNO | c | 2014-03-21 | ERA 0823-11-05.1: 20 µl & ERA 0507-12-06.1: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-01-31 08:00 | 20130320040 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-02-28 | ERA 0823-11-05.2: 10 µl & Abs 053112: 10 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-02-06 08:00 | 20140370080 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO |  | 2014-02-20 | ERA 0823-11-05.2: 20 µl & Abs 053112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-09-19 07:30 | 20132630004 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-10-29 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-07-25 08:00 | 20132070033 | 87.7 |  | < | 87.7 | ng/L |  | U | LJC |  | 2013-08-02 | ERA 0823-11-05.2: 15 µl & ERA 0507-12-06.1: 15 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 11:15 | 20131210054 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-02 | ERA 0507-12-06.1: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 11:45 | 20131210055 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-02 | ERA 0507-12-06.2: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-04-05 07:00 | 20120960120 | 87.7 | 178 | < | 152 | ng/L |  | U | MNO | c | 2012-04-10 | ERA 0823-11-05.1: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-04-26 06:00 | 20121180065 | 87.7 | 356 | . | 754 | ng/L | 2.118 | U | LCO |  | 2012-05-01 | ERA 0823-11-05.1: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-05-24 06:00 | 20121460094 | 87.7 | 89 | . | 93.6 | ng/L | 1.0517 | U | LCO |  | 2012-06-15 | ERA 0823-11-05.1: 10 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-06-28 08:00 | 20121810009 | 87.7 | 178 | . | 357 | ng/L | 2.0056 | U | LCO |  | 2012-07-26 | ERA 0823-11-05.1: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 10:00 | 20131210053 | 87.7 | 356 | . | 285 | ng/L | 0.80056 | U | MNO | c | 2013-05-02 | ERA 0823-11-05.1: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-04-12 06:00 | 20121040015 | 87.7 |  | < | 200 | ng/L |  | U | LCO | c | 2012-05-01 | ERA 0823-11-05.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-06-07 06:00 | 20121600153 | 87.7 |  | < | 87.7 | ng/L |  | U | LCO |  | 2012-06-15 | ERA 0823-11-05.2: 10 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-05-17 06:00 | 20121390010 | 87.7 |  | < | 87.7 | ng/L |  | U | LCO |  | 2012-06-15 | ERA 0823-11-05.2: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-07-19 06:00 | 20122020003 | 87.7 |  | < | 87.7 | ng/L |  | U | LCO |  | 2012-07-26 | ERA 0823-11-05.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 10:30 | 20131210059 | 87.7 |  | < | 87.7 | ng/L |  | U | MNO | c | 2013-05-03 | ERA 0823-11-05.2: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-09-06 07:30 | 20122500212 | 87.7 | 175 | . | 193 | ng/L | 1.1029 | U | LJC |  | 2012-09-27 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-02-07 08:30 | 20130390106 | 87.7 | 175 | . | 168 | ng/L | 0.96 | U | LJC |  | 2013-02-28 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2014-01-30 08:30 | 20140300038 | 87.7 | 175 | . | 119 | ng/L | 0.68 | U | MNO |  | 2014-02-20 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2012-11-29 07:30 | 20123350006 | 87.7 | 350 | . | 354 | ng/L | 1.0114 | U | LJC |  | 2012-12-14 | Spex Organics T1120802015: 40 µl & ERA 0507-12-06.1: 40 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-08-21 08:30 | 20132340083 | 87.7 | 175 | . | 135 | ng/L | 0.77143 | U | MNO |  | 2013-08-29 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.1: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-07-11 07:30 | 20131920151 | 87.7 | 175 | R |  | ng/L |  |  |  |  | 2013-07-11 07:30 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl
LC9017 | 1,7-DIMETHYLXANTHINE (P-XANTHINE) | 67446LCM56 | 2013-04-30 10:15 | 20131210058 | 87.7 | 350 | . | 324 | ng/L | 0.92571 | U | MNO | c | 2013-05-03 | Spex Organics T1120802015: 40 µl