## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20112310030 | 2011-08-18 08:47 | ACETOCHLOR | 49260GCM33 | 0.01 |  | . | ug/L |  | 0.0834 | False Positive | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20151210037 | 2015-04-30 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | E | ug/L | 0.98667 | 0.0148 | Estimated Values | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 1.3533 | 0.0203 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 1.0467 | 0.0157 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 0.67333 | 0.0101 | Recoverable Result | 2033 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 1 | 0.015 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 0.85333 | 0.0128 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 0.77333 | 0.0116 | Recoverable Result | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 0.82667 | 0.0124 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.015 | . | ug/L | 0.98 | 0.0147 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0198 | . | ug/L | 0.80808 | 0.016 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0198 | . | ug/L | 0.94444 | 0.0187 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0198 | . | ug/L | 0.85354 | 0.0169 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0198 | . | ug/L | 0.78788 | 0.0156 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20141840097 | 2014-07-02 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0201 | . | ug/L | 0.77114 | 0.0155 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0201 | . | ug/L | 0.77612 | 0.0156 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0201 | . | ug/L | 0.67164 | 0.0135 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0201 | E | ug/L | 0.77114 | 0.0155 | Estimated Values | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20162150213 | 2016-08-02 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.02464 | E | ug/L | 0.97808 | 0.0241 | Estimated Values | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.02464 | . | ug/L | 0.98214 | 0.0242 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20110490035 | 2011-02-17 08:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.02475 | . | ug/L | 1.0909 | 0.027 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20161190075 | 2016-04-28 08:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0252 | E | ug/L | 0.84921 | 0.0214 | Estimated Values | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0252 | . | ug/L | 0.86508 | 0.0218 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0252 | . | ug/L | 1.0119 | 0.0255 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0252 | . | ug/L | 0.82937 | 0.0209 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151270112 | 2015-05-07 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.03 | E | ug/L | 0.88333 | 0.0265 | Estimated Values | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.03 | . | ug/L | 1 | 0.03 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.03 | . | ug/L | 0.74333 | 0.0223 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.03 | . | ug/L | 0.76 | 0.0228 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.03 | . | ug/L | 0.75 | 0.0225 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20142270001 | 2014-08-14 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0396 | . | ug/L | 0.63384 | 0.0251 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0396 | . | ug/L | 0.67424 | 0.0267 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0396 | . | ug/L | 0.63131 | 0.025 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0396 | . | ug/L | 0.83333 | 0.033 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0402 | . | ug/L | 1.0149 | 0.0408 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0402 | . | ug/L | 0.88806 | 0.0357 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0402 | . | ug/L | 0.62935 | 0.0253 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0402 | . | ug/L | 0.73881 | 0.0297 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20110070109 | 2011-01-06 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.046699 | . | ug/L | 0.84371 | 0.0394 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110690078 | 2011-03-10 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.047022 | . | ug/L | 1.1101 | 0.0522 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20111960039 | 2011-07-14 08:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0476 | . | ug/L | 1.0399 | 0.0495 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0476 | . | ug/L | 0.93067 | 0.0443 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0476 | . | ug/L | 0.94538 | 0.045 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0476 | . | ug/L | 1.2101 | 0.0576 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.047887 | . | ug/L | 0.70165 | 0.0336 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20112380055 | 2011-08-25 10:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048 | . | ug/L | 0.925 | 0.0444 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048 | . | ug/L | 0.98542 | 0.0473 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048 | E | ug/L | 1.2667 | 0.0608 | Estimated Values | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048 | . | ug/L | 0.95625 | 0.0459 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20111470065 | 2011-05-26 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.04811 | . | ug/L | 0.87716 | 0.0422 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20110280004 | 2011-01-27 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048217 | . | ug/L | 0.79433 | 0.0383 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111260154 | 2011-05-05 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.048529 | . | ug/L | 0.85516 | 0.0415 | Recoverable Result | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20161470001 | 2016-05-25 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.04928 | . | ug/L | 1.0998 | 0.0542 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20132280016 | 2013-08-15 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.05 | . | ug/L | 0.992 | 0.0496 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.05 | . | ug/L | 1.064 | 0.0532 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0502 | . | ug/L | 1.1235 | 0.0564 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0502 | . | ug/L | 1.1753 | 0.059 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0502 | . | ug/L | 1.01 | 0.0507 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0502 | . | ug/L | 0.94622 | 0.0475 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0502 | . | ug/L | 0.83466 | 0.0419 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20121870008 | 2012-07-03 08:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.90167 | 0.0541 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.79 | 0.0474 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.98833 | 0.0593 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.73833 | 0.0443 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.57667 | 0.0346 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.575 | 0.0345 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 1.095 | 0.0657 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.85833 | 0.0515 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.80333 | 0.0482 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.82167 | 0.0493 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.595 | 0.0357 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20152460215 | 2015-09-03 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.84 | 0.0504 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.06 | . | ug/L | 0.77667 | 0.0466 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.063 | . | ug/L | 1.0873 | 0.0685 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.074096 | . | ug/L | 0.90423 | 0.067 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110410061 | 2011-02-10 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.094642 | . | ug/L | 0.82944 | 0.0785 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.0952 | . | ug/L | 0.82668 | 0.0787 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20111750006 | 2011-06-23 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.096 | . | ug/L | 0.99271 | 0.0953 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.096 | . | ug/L | 1 | 0.096 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.096 | . | ug/L | 1.0938 | 0.105 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.096 | . | ug/L | 1.0521 | 0.101 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20110980030 | 2011-04-07 09:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.099483 | . | ug/L | 0.91373 | 0.0909 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20132690010 | 2013-09-25 08:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.125 | . | ug/L | 1.136 | 0.142 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.125 | . | ug/L | 0.7152 | 0.0894 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.1255 | . | ug/L | 1.0837 | 0.136 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20121730123 | 2012-06-21 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.92667 | 0.139 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.90667 | 0.136 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.76 | 0.114 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.83333 | 0.125 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.78 | 0.117 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.15 | . | ug/L | 0.634 | 0.0951 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20132490342 | 2013-09-06 06:50 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.25 | . | ug/L | 0.956 | 0.239 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.25 | . | ug/L | 0.884 | 0.221 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20123140095 | 2012-11-08 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.3 | . | ug/L | 0.82 | 0.246 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.3 | . | ug/L | 0.92 | 0.276 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | ACETOCHLOR | 49260GCM33 | 0.01 | 0.3 | . | ug/L | 0.77 | 0.231 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl