## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210037 | 2015-04-30 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 1.05 | 0.0126 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 1.2417 | 0.0149 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 1.0417 | 0.0125 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 0.69167 | 0.0083 | Recoverable Result | 2033 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 0.93333 | 0.0112 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 0.95 | 0.0114 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 0.9 | 0.0108 | Recoverable Result | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 0.9 | 0.0108 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.012 | . | ug/L | 1.0583 | 0.0127 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20131650073 | 2013-06-13 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.3 | 0.0182 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.2571 | 0.0176 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132280016 | 2013-08-15 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.1929 | 0.0167 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.2 | 0.0168 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133310030 | 2013-11-26 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.1286 | 0.0158 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 0.98571 | 0.0138 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.014 | . | ug/L | 1.0071 | 0.0141 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20141080004 | 2014-04-17 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0159 | . | ug/L | 0.8805 | 0.014 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0159 | . | ug/L | 1.0189 | 0.0162 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0159 | . | ug/L | 0.89308 | 0.0142 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0159 | . | ug/L | 0.89937 | 0.0143 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20141840097 | 2014-07-02 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.01596 | . | ug/L | 0.8208 | 0.0131 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.01596 | . | ug/L | 0.81454 | 0.013 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.01596 | . | ug/L | 0.75815 | 0.0121 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.01596 | . | ug/L | 0.83333 | 0.0133 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20161190075 | 2016-04-28 08:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.02 | E | ug/L | 0.815 | 0.0163 | Estimated Values | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.02 | . | ug/L | 0.84 | 0.0168 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.02 | . | ug/L | 0.96 | 0.0192 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162020124 | 2016-07-20 06:15 | ALACHLOR | 46342GCM35 | 0.008 | 0.02 | . | ug/L | 0.85 | 0.017 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162380004 | 2016-08-24 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.02 | . | ug/L | 1.005 | 0.0201 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20151270112 | 2015-05-07 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.024 | . | ug/L | 1 | 0.024 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.024 | . | ug/L | 1.0083 | 0.0242 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.024 | . | ug/L | 0.87083 | 0.0209 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.024 | . | ug/L | 0.75833 | 0.0182 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.024 | . | ug/L | 0.75417 | 0.0181 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20110490035 | 2011-02-17 08:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.02475 | . | ug/L | 1.0586 | 0.0262 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20121870008 | 2012-07-03 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 1.0233 | 0.0307 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.89 | 0.0267 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 1.1033 | 0.0331 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.82 | 0.0246 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.68667 | 0.0206 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.69 | 0.0207 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 1.1133 | 0.0334 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.92667 | 0.0278 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.89333 | 0.0268 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.91333 | 0.0274 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.03 | . | ug/L | 0.72 | 0.0216 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20142270001 | 2014-08-14 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0318 | . | ug/L | 0.7327 | 0.0233 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0318 | . | ug/L | 0.83333 | 0.0265 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0318 | . | ug/L | 0.80503 | 0.0256 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0318 | . | ug/L | 0.98742 | 0.0314 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03192 | . | ug/L | 1.0652 | 0.034 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03192 | . | ug/L | 0.96805 | 0.0309 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03192 | . | ug/L | 0.76128 | 0.0243 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.03192 | . | ug/L | 0.80201 | 0.0256 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20131370001 | 2013-05-16 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.035 | . | ug/L | 1.0886 | 0.0381 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132690010 | 2013-09-25 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.035 | . | ug/L | 1.3114 | 0.0459 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.035 | . | ug/L | 0.84286 | 0.0295 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20161740258 | 2016-06-22 06:15 | ALACHLOR | 46342GCM35 | 0.008 | 0.04 | . | ug/L | 0.63 | 0.0252 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20110210095 | 2011-01-20 07:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.043495 | . | ug/L | 0.81618 | 0.0355 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20111680035 | 2011-06-16 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.044121 | . | ug/L | 0.85901 | 0.0379 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.044145 | . | ug/L | 0.89251 | 0.0394 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111890004 | 2011-07-07 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0442 | . | ug/L | 1.1018 | 0.0487 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.0442 | . | ug/L | 0.88235 | 0.039 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0442 | . | ug/L | 0.72851 | 0.0322 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20111170107 | 2011-04-22 06:20 | ALACHLOR | 46342GCM35 | 0.008 | 0.044356 | . | ug/L | 1.0686 | 0.0474 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20110840108 | 2011-03-24 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.044404 | . | ug/L | 0.86253 | 0.0383 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20112100007 | 2011-07-28 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0446 | E | ug/L | 0.99327 | 0.0443 | Estimated Values | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.0446 | . | ug/L | 0.92601 | 0.0413 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0446 | . | ug/L | 0.87892 | 0.0392 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.0446 | . | ug/L | 0.80269 | 0.0358 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0446 | . | ug/L | 0.77578 | 0.0346 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20152460215 | 2015-09-03 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.048 | . | ug/L | 0.93125 | 0.0447 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.048 | . | ug/L | 0.76875 | 0.0369 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20132490342 | 2013-09-06 06:50 | ALACHLOR | 46342GCM35 | 0.008 | 0.07 | . | ug/L | 1.1343 | 0.0794 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.07 | . | ug/L | 1.0229 | 0.0716 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20111590005 | 2011-06-07 10:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.074096 | . | ug/L | 0.83945 | 0.0622 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20121730123 | 2012-06-21 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.984 | 0.0738 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.92667 | 0.0695 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.84533 | 0.0634 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.892 | 0.0669 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.86133 | 0.0646 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.075 | . | ug/L | 0.76267 | 0.0572 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20111190184 | 2011-04-28 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.088057 | . | ug/L | 1.1583 | 0.102 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0884 | . | ug/L | 0.92534 | 0.0818 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0884 | . | ug/L | 0.68778 | 0.0608 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0884 | . | ug/L | 0.89253 | 0.0789 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.088562 | . | ug/L | 0.95187 | 0.0843 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0892 | . | ug/L | 0.92489 | 0.0825 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.0892 | . | ug/L | 0.89126 | 0.0795 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.089802 | . | ug/L | 0.95432 | 0.0857 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20110980030 | 2011-04-07 09:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.099483 | . | ug/L | 0.92579 | 0.0921 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.15 | . | ug/L | 0.86 | 0.129 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | ALACHLOR | 46342GCM35 | 0.008 | 0.15 | . | ug/L | 0.98 | 0.147 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | ALACHLOR | 46342GCM35 | 0.008 | 0.15 | . | ug/L | 0.84 | 0.126 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl