## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20153160001 | 2015-11-10 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 |  | R | ug/L |  |  | Deleted Values | 2033 |  | rcr | mc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20161600087 | 2016-06-08 07:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 |  | E | ug/L |  | 0.207 | False Positive | 2033 | W | sst | mc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20110490035 | 2011-02-17 08:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.02475 | < | ug/L |  | 0.042 | SACRALT | 2033 | V | rcr | mc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20152040177 | 2015-07-23 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20140510043 | 2014-02-20 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0698 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20140730138 | 2014-03-13 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0698 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20111590005 | 2011-06-07 10:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.074096 | < | ug/L |  |  | False Negative | 2033 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20141360094 | 2014-05-16 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0849 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0849 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20122020004 | 2012-07-19 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | < | ug/L |  |  | False Negative | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20162150213 | 2016-08-02 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.108 | < | ug/L |  |  | False Negative | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20132140002 | 2013-08-01 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1745 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.176 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20161880109 | 2016-07-06 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.27 | < | ug/L |  |  | False Negative | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20151210037 | 2015-04-30 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | E | ug/L | 0.54127 | 0.0341 | Estimated Values | 2033 | V | rcr | mnc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152950078 | 2015-10-22 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | E | ug/L | 0.62063 | 0.0391 | Estimated Values | 2033 |  | rcr | mnc | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | E | ug/L | 0.64603 | 0.0407 | Estimated Values | 2033 |  | tpe | mnc | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | E | ug/L | 1.1333 | 0.0714 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.063 | E | ug/L | 1.0159 | 0.064 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20131510026 | 2013-05-30 07:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0698 | E | ug/L | 0.98854 | 0.069 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0698 | E | ug/L | 0.91547 | 0.0639 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0698 | E | ug/L | 1.1275 | 0.0787 | Estimated Values | 2033 | Y | rcr | mc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20131650073 | 2013-06-13 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0704 | E | ug/L | 0.90625 | 0.0638 | Estimated Values | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0704 | E | ug/L | 0.78409 | 0.0552 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0704 | E | ug/L | 0.80256 | 0.0565 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20141420140 | 2014-05-22 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0849 | E | ug/L | 0.38987 | 0.0331 | Estimated Values | 2033 | Y | rcr | mnc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.0849 | E | ug/L | 0.70436 | 0.0598 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20122210006 | 2012-08-07 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.099 | E | ug/L | 1.0606 | 0.105 | Estimated Values | 2033 | Y | rcr | mc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20131230084 | 2013-05-02 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.099 | E | ug/L | 0.79293 | 0.0785 | Estimated Values | 2033 | V | rcr | mc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20110980030 | 2011-04-07 09:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.099483 | E | ug/L | 0.74184 | 0.0738 | Estimated Values | 2033 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20121600156 | 2012-06-07 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 1.72 | 0.172 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-16 | Abs 052412: 20 µl
20122300021 | 2012-08-16 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.284 | 0.0284 | Estimated Values | 2033 | V | rcr | mnc | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20130650005 | 2013-03-05 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.543 | 0.0543 | Estimated Values | 2033 | V | rcr | mc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131920149 | 2013-07-11 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.651 | 0.0651 | Estimated Values | 2033 | Y | rcr | mc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.403 | 0.0403 | Estimated Values | 2033 | Y | rcr | mnc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.741 | 0.0741 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1 | E | ug/L | 0.716 | 0.0716 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20151270112 | 2015-05-07 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.126 | E | ug/L | 0.60556 | 0.0763 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.126 | E | ug/L | 0.80159 | 0.101 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.126 | E | ug/L | 0.75952 | 0.0957 | Estimated Values | 2033 |  | rcr | mc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20141570088 | 2014-06-05 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1698 | E | ug/L | 0.50412 | 0.0856 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1698 | E | ug/L | 0.54417 | 0.0924 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.1698 | E | ug/L | 0.26502 | 0.045 | Estimated Values | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20132690010 | 2013-09-25 08:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.176 | E | ug/L | 0.63636 | 0.112 | Estimated Values | 2033 | Y | rcr | @mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20122430227 | 2012-08-30 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.199 | E | ug/L | 0.64824 | 0.129 | Estimated Values | 2033 | V | rcr | mc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.199 | E | ug/L | 0.65829 | 0.131 | Estimated Values | 2033 | Y | rcr | mc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20161740258 | 2016-06-22 06:15 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.216 | E | ug/L | 0.63889 | 0.138 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20123040157 | 2012-10-30 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.2475 | E | ug/L | 0.86869 | 0.215 | Estimated Values | 2033 | V | rcr | mc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20122720048 | 2012-09-27 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.524 | 0.131 | Estimated Values | 2033 | V | rcr | mc | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20122850005 | 2012-10-10 07:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.64 | 0.16 | Estimated Values | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20123560092 | 2012-12-20 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.628 | 0.157 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130100066 | 2013-01-10 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.876 | 0.219 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20132420001 | 2013-08-29 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.56 | 0.14 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.25 | E | ug/L | 0.644 | 0.161 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20140100085 | 2014-01-09 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.352 | E | ug/L | 0.66761 | 0.235 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20123420074 | 2012-12-06 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.495 | E | ug/L | 0.58384 | 0.289 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.495 | E | ug/L | 0.64242 | 0.318 | Estimated Values | 2033 | Y | rcr | mc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20130940097 | 2013-04-04 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 0.5 | E | ug/L | 0.29 | 0.145 | Estimated Values | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20123260037 | 2012-11-20 06:30 | AZINPHOS-METHYL-OXON | 61635GCM39 | 0.042 | 1 | E | ug/L | 0.722 | 0.722 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl