## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20110490035 | 2011-02-17 08:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.02475 | E | ug/L | 1.2525 | 0.031 | Estimated Values | 2033 | V | rcr | mtc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20111590005 | 2011-06-07 10:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.074096 | E | ug/L | 0.62082 | 0.046 | Estimated Values | 2033 | V | rcr | mtc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.099483 | E | ug/L | 0.84437 | 0.084 | Estimated Values | 2033 | X | str | mnc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20122210006 | 2012-08-07 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1194 | E | ug/L | 0.89615 | 0.107 | Estimated Values | 2033 | Y | rcr | mnc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1194 | E | ug/L | 0.9129 | 0.109 | Estimated Values | 2033 | V | rcr | mnc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1194 | E | ug/L | 0.93802 | 0.112 | Estimated Values | 2033 | Y | rcr | mnc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1194 | E | ug/L | 0.98827 | 0.118 | Estimated Values | 2033 | V | rcr | mnc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1204 | E | ug/L | 0.7392 | 0.089 | Estimated Values | 2033 | Y | rcr | mnc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20140860102 | 2014-03-27 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1204 | E | ug/L | 0.68106 | 0.082 | Estimated Values | 2033 | Y | rcr | mnc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20121600156 | 2012-06-07 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 1.2355 | 0.149 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 1.0282 | 0.124 | Estimated Values | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 0.47264 | 0.057 | Estimated Values | 2033 | Y | rcr | mtc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 0.63847 | 0.077 | Estimated Values | 2033 | V | rcr | mnc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20132910008 | 2013-10-17 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 0.49751 | 0.06 | Estimated Values | 2033 | Y | rcr | mtc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1206 | E | ug/L | 0.75456 | 0.091 | Estimated Values | 2033 | Y | rcr | mnc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20110770001 | 2011-03-17 08:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1603 | E | ug/L | 0.76729 | 0.123 | Estimated Values | 2033 | X | str | mc | 2011-03-30 | Supelco LB77168: 40 µl
20112030057 | 2011-07-21 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16036 | E | ug/L | 0.74832 | 0.12 | Estimated Values | 2033 | V | rcr | mc | 2011-08-17 | Restek A075606: 40 µl
20113260111 | 2011-11-22 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16036 | E | ug/L | 0.92292 | 0.148 | Estimated Values | 2033 | V | rcr | mc | 2011-12-04 | Restek A075606: 40 µl
20120370001 | 2012-02-02 12:10 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16036 | E | ug/L | 0.9354 | 0.15 | Estimated Values | 2033 | V | rcr | mc | 2012-02-14 | Restek A075606: 40 µl
20111890005 | 2011-07-07 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1604 | E | ug/L | 0.64214 | 0.103 | Estimated Values | 2033 | X | str | mnc | 2011-07-20 | Supelco LB77168: 40 µl
20112450022 | 2011-09-01 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1604 | E | ug/L | 0.9414 | 0.151 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-24 | Supelco LB77168: 40 µl
20113500021 | 2011-12-15 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1604 | E | ug/L | 0.81671 | 0.131 | Estimated Values | 2033 | V | rcr | mc | 2011-12-22 | Supelco LB77168: 40 µl
20120620015 | 2012-03-01 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1604 | E | ug/L | 0.90399 | 0.145 | Estimated Values | 2033 | X | rcr | mc | 2012-03-09 | Supelco LB77168: 40 µl
20111050150 | 2011-04-14 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16193 | E | ug/L | 0.97573 | 0.158 | Estimated Values | 2033 | V | rcr | mc | 2011-04-23 | Restek A075606: 40 µl
20111330148 | 2011-05-12 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16317 | E | ug/L | 1.0786 | 0.176 | Estimated Values | 2033 | V | rcr | mc | 2011-05-25 | Supelco LB77168: 40 µl
20110560005 | 2011-02-24 08:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.16327 | E | ug/L | 0.75337 | 0.123 | Estimated Values | 2033 | V | rcr | mc | 2011-03-08 | Restek A075606: 40 µl
20151760208 | 2015-06-25 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.18 | E | ug/L | 0.53333 | 0.096 | Estimated Values | 2033 | V | rcr | mnc | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.18 | E | ug/L | 0.62778 | 0.113 | Estimated Values | 2033 |  | rcr | mnc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.18 | E | ug/L | 0.63333 | 0.114 | Estimated Values | 2033 |  | rcr | mnc | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20151210037 | 2015-04-30 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.59801 | 0.108 | Estimated Values | 2033 | V | rcr | mnc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152040177 | 2015-07-23 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.60354 | 0.109 | Estimated Values | 2033 | Y | rcr | mnc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.59247 | 0.107 | Estimated Values | 2033 |  | rcr | mnc | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.45404 | 0.082 | Estimated Values | 2033 |  | tpe | mnc | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.61462 | 0.111 | Estimated Values | 2033 | Y | tpe | mnc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1806 | E | ug/L | 0.76966 | 0.139 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20131510026 | 2013-05-30 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1978 | E | ug/L | 0.73306 | 0.145 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1978 | E | ug/L | 0.93529 | 0.185 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1978 | E | ug/L | 1.1274 | 0.223 | Estimated Values | 2033 | Y | rcr | mc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140510043 | 2014-02-20 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1978 | E | ug/L | 0.51567 | 0.102 | Estimated Values | 2033 | Y | rcr | mnc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20140730138 | 2014-03-13 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.1978 | E | ug/L | 0.63701 | 0.126 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20131650073 | 2013-06-13 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2012 | E | ug/L | 1.0835 | 0.218 | Estimated Values | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2012 | E | ug/L | 0.9841 | 0.198 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2012 | E | ug/L | 0.62624 | 0.126 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20142200164 | 2014-08-07 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2397 | E | ug/L | 0.534 | 0.128 | Estimated Values | 2033 | Y | rcr | mc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142470041 | 2014-09-03 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2397 | E | ug/L | 0.60909 | 0.146 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2397 | E | ug/L | 0.64247 | 0.154 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143370094 | 2014-12-03 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2397 | E | ug/L | 0.55486 | 0.133 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20141360094 | 2014-05-16 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2439 | E | ug/L | 0.4592 | 0.112 | Estimated Values | 2033 | Y | rcr | mnc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2439 | E | ug/L | 0.79541 | 0.194 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2439 | E | ug/L | 0.71341 | 0.174 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2439 | E | ug/L | 0.4141 | 0.101 | Estimated Values | 2033 | Y | rcr | mnc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20123040157 | 2012-10-30 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.2985 | E | ug/L | 0.85427 | 0.255 | Estimated Values | 2033 | V | rcr | mc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20162020124 | 2016-07-20 06:15 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3 | E | ug/L | 0.55667 | 0.167 | Estimated Values | 2033 | Y | tbu | mc | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162150213 | 2016-08-02 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3 | E | ug/L | 0.81 | 0.243 | Estimated Values | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162660005 | 2016-09-21 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3 | E | ug/L | 0.65 | 0.195 | Estimated Values | 2033 | Y | SSt | mc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20132420001 | 2013-08-29 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.301 | E | ug/L | 0.70764 | 0.213 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.301 | E | ug/L | 0.62791 | 0.189 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20122850005 | 2012-10-10 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3015 | E | ug/L | 0.71642 | 0.216 | Estimated Values | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3015 | E | ug/L | 0.86567 | 0.261 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3015 | E | ug/L | 0.50083 | 0.151 | Estimated Values | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20110130056 | 2011-01-13 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.30962 | E | ug/L | 0.6621 | 0.205 | Estimated Values | 2033 | V | rcr | mc | 2011-02-09 | Supelco LB77168: 80 µl
20111540007 | 2011-06-02 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3161 | E | ug/L | 0.94589 | 0.299 | Estimated Values | 2033 | V | rcr | mc | 2011-06-20 | Restek A075606: 80 µl
20112220126 | 2011-08-10 08:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.32072 | E | ug/L | 0.555 | 0.178 | Estimated Values | 2033 | V | rcr | mc | 2011-09-01 | Restek A075606: 80 µl
20112310032 | 2011-08-18 08:46 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.32072 | E | ug/L | 0.38351 | 0.123 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-13 | Restek A075606: 80 µl
20112930085 | 2011-10-20 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.32072 | E | ug/L | 0.7795 | 0.25 | Estimated Values | 2033 | X | str | mc | 2011-11-01 | Restek A075606: 80 µl
20121310027 | 2012-05-10 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.32072 | E | ug/L | 1.0321 | 0.331 | Estimated Values | 2033 | Y | rcr | mc | 2012-05-15 | Restek A075606: 80 µl
20111810004 | 2011-06-29 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3208 | E | ug/L | 0.61097 | 0.196 | Estimated Values | 2033 | X | str | mc | 2011-07-14 | Supelco LB77168: 80 µl
20112590005 | 2011-09-15 07:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3208 | E | ug/L | 0.54551 | 0.175 | Estimated Values | 2033 | V | rcr | mc | 2011-10-02 | Supelco LB77168: 80 µl
20113130085 | 2011-11-09 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3208 | E | ug/L | 0.74501 | 0.239 | Estimated Values | 2033 | X | str | mc | 2011-11-17 | Supelco LB77168: 80 µl
20153440001 | 2015-12-09 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.36 | E | ug/L | 0.61667 | 0.222 | Estimated Values | 2033 |  | rcr | mc | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.36 | E | ug/L | 0.51111 | 0.184 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20151270112 | 2015-05-07 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3612 | E | ug/L | 0.60631 | 0.219 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3612 | E | ug/L | 0.59524 | 0.215 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.3612 | E | ug/L | 0.63123 | 0.228 | Estimated Values | 2033 |  | rcr | mc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20142530087 | 2014-09-10 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4794 | E | ug/L | 0.42553 | 0.204 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4794 | E | ug/L | 0.53191 | 0.255 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4794 | E | ug/L | 0.79474 | 0.381 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4794 | E | ug/L | 0.6383 | 0.306 | Estimated Values | 2033 | Y | rcr | mc | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20141570088 | 2014-06-05 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4878 | E | ug/L | 0.74211 | 0.362 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4878 | E | ug/L | 0.56581 | 0.276 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4878 | E | ug/L | 0.75851 | 0.37 | Estimated Values | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20132140002 | 2013-08-01 07:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.4945 | E | ug/L | 0.56825 | 0.281 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.503 | E | ug/L | 0.5507 | 0.277 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20132690010 | 2013-09-25 08:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.503 | E | ug/L | 0.77734 | 0.391 | Estimated Values | 2033 | Y | rcr | @mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20123420074 | 2012-12-06 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.597 | E | ug/L | 0.8057 | 0.481 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.597 | E | ug/L | 0.8258 | 0.493 | Estimated Values | 2033 | Y | rcr | mc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20161470001 | 2016-05-25 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.6 | E | ug/L | 0.86333 | 0.518 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161740258 | 2016-06-22 06:15 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.6 | E | ug/L | 0.61167 | 0.367 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20123260037 | 2012-11-20 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.603 | E | ug/L | 0.89055 | 0.537 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20152460215 | 2015-09-03 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.72 | E | ug/L | 0.59722 | 0.43 | Estimated Values | 2033 |  | rcr | mc | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.72 | E | ug/L | 0.56667 | 0.408 | Estimated Values | 2033 |  | rcr | mc | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 0.75 | E | ug/L | 0.924 | 0.693 | Estimated Values | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20140100085 | 2014-01-09 06:30 | AZINPHOS-METHYL | 82686GCM35 | 0.12 | 1.006 | E | ug/L | 0.96024 | 0.966 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl