## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20143110108 | 2014-11-06 06:00 | CARBARYL | 82680GCM35 | 0.06 |  | E | ug/L |  | 0.004 | False Positive | 2033 | Y | rcr | bmt | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20161260151 | 2016-05-05 07:00 | CARBARYL | 82680GCM35 | 0.06 |  | E | ug/L |  | 0.007 | False Positive | 2033 | Y | tpe | bmt | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20161740258 | 2016-06-22 06:15 | CARBARYL | 82680GCM35 | 0.06 |  | E | ug/L |  | 0.004 | False Positive | 2033 | Y | tpe | bmt | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20110490035 | 2011-02-17 08:30 | CARBARYL | 82680GCM35 | 0.06 | 0.02475 | E | ug/L | 1.1717 | 0.029 | Estimated Values | 2033 | V | rcr | mtc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20111590005 | 2011-06-07 10:00 | CARBARYL | 82680GCM35 | 0.06 | 0.074096 | E | ug/L | 0.95822 | 0.071 | Estimated Values | 2033 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20122210006 | 2012-08-07 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.0746 | E | ug/L | 0.93834 | 0.07 | Estimated Values | 2033 | Y | rcr | mc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0746 | E | ug/L | 1.1662 | 0.087 | Estimated Values | 2033 | V | rcr | mc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0746 | E | ug/L | 0.85791 | 0.064 | Estimated Values | 2033 | Y | rcr | mc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.0746 | E | ug/L | 1.1528 | 0.086 | Estimated Values | 2033 | V | rcr | mc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0752 | E | ug/L | 0.86436 | 0.065 | Estimated Values | 2033 | Y | rcr | mc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20140860102 | 2014-03-27 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0752 | E | ug/L | 0.79787 | 0.06 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20121600156 | 2012-06-07 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 1.1376 | 0.086 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 1.2302 | 0.093 | Estimated Values | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 0.72751 | 0.055 | Estimated Values | 2033 | Y | rcr | mnc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 0.70106 | 0.053 | Estimated Values | 2033 | V | rcr | mnc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20132910008 | 2013-10-17 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 0.79365 | 0.06 | Estimated Values | 2033 | Y | rcr | mnc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | CARBARYL | 82680GCM35 | 0.06 | 0.0756 | E | ug/L | 1.1243 | 0.085 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20151210037 | 2015-04-30 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.82222 | 0.074 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.81111 | 0.073 | Estimated Values | 2033 | V | rcr | mc | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.83333 | 0.075 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.43333 | 0.039 | Estimated Values | 2033 |  | rcr | mnc | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.5 | 0.045 | Estimated Values | 2033 |  | rcr | mnc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.74444 | 0.067 | Estimated Values | 2033 |  | rcr | mc | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.44444 | 0.04 | Estimated Values | 2033 |  | tpe | mnc | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.53333 | 0.048 | Estimated Values | 2033 | Y | tpe | mnc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.09 | E | ug/L | 0.64444 | 0.058 | Estimated Values | 2033 | Y | tpe | mnc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20110980030 | 2011-04-07 09:00 | CARBARYL | 82680GCM35 | 0.06 | 0.099483 | E | ug/L | 0.97504 | 0.097 | Estimated Values | 2033 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20142200164 | 2014-08-07 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.12 | E | ug/L | 0.69167 | 0.083 | Estimated Values | 2033 | Y | rcr | mc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142470041 | 2014-09-03 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.12 | E | ug/L | 0.95 | 0.114 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.12 | E | ug/L | 0.78333 | 0.094 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143370094 | 2014-12-03 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.12 | E | ug/L | 0.575 | 0.069 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20141360094 | 2014-05-16 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1215 | E | ug/L | 0.74897 | 0.091 | Estimated Values | 2033 | Y | rcr | mc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1215 | E | ug/L | 0.69959 | 0.085 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1215 | E | ug/L | 0.88889 | 0.108 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1215 | E | ug/L | 0.68313 | 0.083 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20131510026 | 2013-05-30 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1394 | E | ug/L | 0.71736 | 0.1 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1394 | E | ug/L | 0.90387 | 0.126 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1394 | E | ug/L | 0.81062 | 0.113 | Estimated Values | 2033 | Y | rcr | mc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140510043 | 2014-02-20 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1394 | E | ug/L | 0.54519 | 0.076 | Estimated Values | 2033 | Y | rcr | mc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20140730138 | 2014-03-13 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1394 | E | ug/L | 0.6528 | 0.091 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20131650073 | 2013-06-13 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1402 | E | ug/L | 1.0556 | 0.148 | Estimated Values | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1402 | E | ug/L | 0.91298 | 0.128 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1402 | E | ug/L | 0.84879 | 0.119 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20161190075 | 2016-04-28 08:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.5429 | 0.081 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.63673 | 0.095 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.68365 | 0.102 | Estimated Values | 2033 | W | sst | mc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162150213 | 2016-08-02 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.52949 | 0.079 | Estimated Values | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.8244 | 0.123 | Estimated Values | 2033 | Y | SSt | mc | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20162660005 | 2016-09-21 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1492 | E | ug/L | 0.59651 | 0.089 | Estimated Values | 2033 | Y | SSt | mc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151270112 | 2015-05-07 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.18 | E | ug/L | 0.68889 | 0.124 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.18 | E | ug/L | 0.77778 | 0.14 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.18 | E | ug/L | 0.66111 | 0.119 | Estimated Values | 2033 |  | rcr | mc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.18 | E | ug/L | 0.56667 | 0.102 | Estimated Values | 2033 |  | rcr | mc | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.18 | E | ug/L | 0.5 | 0.09 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20123040157 | 2012-10-30 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.1865 | E | ug/L | 0.94906 | 0.177 | Estimated Values | 2033 | V | rcr | mc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.188 | E | ug/L | 0.82447 | 0.155 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.188 | E | ug/L | 0.7234 | 0.136 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20122850005 | 2012-10-10 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.189 | E | ug/L | 0.80952 | 0.153 | Estimated Values | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.189 | E | ug/L | 0.93122 | 0.176 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.189 | E | ug/L | 0.67196 | 0.127 | Estimated Values | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20142530087 | 2014-09-10 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.24 | E | ug/L | 0.61667 | 0.148 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.24 | E | ug/L | 0.6 | 0.144 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.24 | E | ug/L | 0.95 | 0.228 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.24 | E | ug/L | 0.52917 | 0.127 | Estimated Values | 2033 | Y | rcr | mc | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20141570088 | 2014-06-05 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.243 | E | ug/L | 0.86008 | 0.209 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.243 | E | ug/L | 0.58848 | 0.143 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.243 | E | ug/L | 0.58436 | 0.142 | Estimated Values | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110770001 | 2011-03-17 08:00 | CARBARYL | 82680GCM35 | 0.06 | 0.29678 | E | ug/L | 0.74129 | 0.22 | Estimated Values | 2033 | X | str | mc | 2011-03-30 | Supelco LB77168: 40 µl
20111890005 | 2011-07-07 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.29696 | E | ug/L | 0.68696 | 0.204 | Estimated Values | 2033 | X | str | mc | 2011-07-20 | Supelco LB77168: 40 µl
20112450022 | 2011-09-01 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.29696 | E | ug/L | 0.88227 | 0.262 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-24 | Supelco LB77168: 40 µl
20113500021 | 2011-12-15 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.29696 | E | ug/L | 0.95973 | 0.285 | Estimated Values | 2033 | V | rcr | mc | 2011-12-22 | Supelco LB77168: 40 µl
20120620015 | 2012-03-01 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.29696 | E | ug/L | 0.73411 | 0.218 | Estimated Values | 2033 | X | rcr | mc | 2012-03-09 | Supelco LB77168: 40 µl
20112030057 | 2011-07-21 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.2972 | E | ug/L | 0.67295 | 0.2 | Estimated Values | 2033 | V | rcr | mc | 2011-08-17 | Restek A075606: 40 µl
20113260111 | 2011-11-22 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.2972 | E | ug/L | 0.96904 | 0.288 | Estimated Values | 2033 | V | rcr | mc | 2011-12-04 | Restek A075606: 40 µl
20120370001 | 2012-02-02 12:10 | CARBARYL | 82680GCM35 | 0.06 | 0.2972 | E | ug/L | 0.69987 | 0.208 | Estimated Values | 2033 | V | rcr | mc | 2012-02-14 | Restek A075606: 40 µl
20161470001 | 2016-05-25 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.2984 | E | ug/L | 0.80429 | 0.24 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20111050150 | 2011-04-14 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.30011 | E | ug/L | 0.88967 | 0.267 | Estimated Values | 2033 | V | rcr | mc | 2011-04-23 | Restek A075606: 40 µl
20111330148 | 2011-05-12 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.3021 | E | ug/L | 0.96327 | 0.291 | Estimated Values | 2033 | V | rcr | mc | 2011-05-25 | Supelco LB77168: 40 µl
20110560005 | 2011-02-24 08:00 | CARBARYL | 82680GCM35 | 0.06 | 0.30259 | E | ug/L | 0.8163 | 0.247 | Estimated Values | 2033 | V | rcr | mc | 2011-03-08 | Restek A075606: 40 µl
20132140002 | 2013-08-01 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.3485 | E | ug/L | 0.80918 | 0.282 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | CARBARYL | 82680GCM35 | 0.06 | 0.3505 | E | ug/L | 0.73894 | 0.259 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20132690010 | 2013-09-25 08:00 | CARBARYL | 82680GCM35 | 0.06 | 0.3505 | E | ug/L | 0.94151 | 0.33 | Estimated Values | 2033 | Y | rcr | @mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20152460215 | 2015-09-03 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.36 | E | ug/L | 0.72778 | 0.262 | Estimated Values | 2033 |  | rcr | mc | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.36 | E | ug/L | 0.53056 | 0.191 | Estimated Values | 2033 |  | rcr | mc | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20123420074 | 2012-12-06 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.373 | E | ug/L | 0.97587 | 0.364 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.373 | E | ug/L | 0.75603 | 0.282 | Estimated Values | 2033 | Y | rcr | mc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20161880109 | 2016-07-06 06:00 | CARBARYL | 82680GCM35 | 0.06 | 0.373 | E | ug/L | 0.9437 | 0.352 | Estimated Values | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20123260037 | 2012-11-20 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.378 | E | ug/L | 1.0344 | 0.391 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20110130056 | 2011-01-13 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.57323 | E | ug/L | 0.72223 | 0.414 | Estimated Values | 2033 | V | rcr | mc | 2011-02-09 | Supelco LB77168: 80 µl
20111540007 | 2011-06-02 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.58585 | E | ug/L | 1.1488 | 0.673 | Estimated Values | 2033 | V | rcr | mc | 2011-06-20 | Restek A075606: 80 µl
20111810004 | 2011-06-29 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.59392 | E | ug/L | 0.50849 | 0.302 | Estimated Values | 2033 | X | str | mc | 2011-07-14 | Supelco LB77168: 80 µl
20112590005 | 2011-09-15 07:30 | CARBARYL | 82680GCM35 | 0.06 | 0.59392 | E | ug/L | 0.7038 | 0.418 | Estimated Values | 2033 | V | rcr | mc | 2011-10-02 | Supelco LB77168: 80 µl
20113130085 | 2011-11-09 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.59392 | E | ug/L | 0.82166 | 0.488 | Estimated Values | 2033 | X | str | mc | 2011-11-17 | Supelco LB77168: 80 µl
20112220126 | 2011-08-10 08:00 | CARBARYL | 82680GCM35 | 0.06 | 0.5944 | E | ug/L | 0.88997 | 0.529 | Estimated Values | 2033 | V | rcr | mc | 2011-09-01 | Restek A075606: 80 µl
20112310032 | 2011-08-18 08:46 | CARBARYL | 82680GCM35 | 0.06 | 0.5944 | E | ug/L | 0.36003 | 0.214 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-13 | Restek A075606: 80 µl
20112930085 | 2011-10-20 07:00 | CARBARYL | 82680GCM35 | 0.06 | 0.5944 | E | ug/L | 0.99092 | 0.589 | Estimated Values | 2033 | X | str | mc | 2011-11-01 | Restek A075606: 80 µl
20121310027 | 2012-05-10 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.5944 | E | ug/L | 0.98923 | 0.588 | Estimated Values | 2033 | Y | rcr | mc | 2012-05-15 | Restek A075606: 80 µl
20140100085 | 2014-01-09 06:30 | CARBARYL | 82680GCM35 | 0.06 | 0.701 | E | ug/L | 1.0157 | 0.712 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl