## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151760208 | 2015-06-25 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.014 | . | ug/L | 1.0214 | 0.0143 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20153030068 | 2015-10-29 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.014 | . | ug/L | 0.86429 | 0.0121 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20152950078 | 2015-10-22 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.014 | . | ug/L | 0.6 | 0.0084 | Recoverable Result | 2033 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.014 | . | ug/L | 0.65 | 0.0091 | Recoverable Result | 2033 |  | tpe | n | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160430111 | 2016-02-11 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.014 | . | ug/L | 0.83571 | 0.0117 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20152040177 | 2015-07-23 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.01502 | . | ug/L | 0.77896 | 0.0117 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152190003 | 2015-08-06 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.01502 | . | ug/L | 0.60586 | 0.0091 | Recoverable Result | 2033 |  | rcr | n | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20141080004 | 2014-04-17 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.83582 | 0.0168 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 1.1244 | 0.0226 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.88557 | 0.0178 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.70647 | 0.0142 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.67662 | 0.0136 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.74129 | 0.0149 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20143370094 | 2014-12-03 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.47761 | 0.0096 | Recoverable Result | 2033 | Y | rcr | n | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0201 | . | ug/L | 0.75622 | 0.0152 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20162150213 | 2016-08-02 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.024 | . | ug/L | 0.79167 | 0.019 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20110490035 | 2011-02-17 08:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.02475 | . | ug/L | 0.92929 | 0.023 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20162020124 | 2016-07-20 06:15 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.025 | . | ug/L | 0.636 | 0.0159 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.025 | . | ug/L | 0.792 | 0.0198 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151270112 | 2015-05-07 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.028 | . | ug/L | 0.86786 | 0.0243 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151550293 | 2015-06-04 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.028 | . | ug/L | 0.95714 | 0.0268 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20161260151 | 2016-05-05 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.028 | . | ug/L | 0.75 | 0.021 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20153440001 | 2015-12-09 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.03004 | . | ug/L | 0.64913 | 0.0195 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20153510109 | 2015-12-17 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.03004 | . | ug/L | 0.66911 | 0.0201 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160630046 | 2016-03-03 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.03004 | . | ug/L | 0.53262 | 0.016 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160770090 | 2016-03-17 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.03004 | . | ug/L | 0.63582 | 0.0191 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20131650073 | 2013-06-13 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 0.95 | 0.0361 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 0.95 | 0.0361 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132280016 | 2013-08-15 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 1.0158 | 0.0386 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 1.0842 | 0.0412 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133310030 | 2013-11-26 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 0.85789 | 0.0326 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 0.95526 | 0.0363 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.038 | . | ug/L | 0.86053 | 0.0327 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20141220025 | 2014-05-01 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 1.0224 | 0.0411 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.88806 | 0.0357 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142270001 | 2014-08-14 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.64179 | 0.0258 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142530087 | 2014-09-10 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.60199 | 0.0242 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.72388 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142960086 | 2014-10-23 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.70896 | 0.0285 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.77861 | 0.0313 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0402 | . | ug/L | 0.86567 | 0.0348 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110210095 | 2011-01-20 07:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.047432 | . | ug/L | 0.7105 | 0.0337 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20161740258 | 2016-06-22 06:15 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.048 | . | ug/L | 0.65417 | 0.0314 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20111680035 | 2011-06-16 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.048113 | . | ug/L | 0.64639 | 0.0311 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0482 | . | ug/L | 0.87552 | 0.0422 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0482 | . | ug/L | 0.78216 | 0.0377 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0482 | . | ug/L | 0.6805 | 0.0328 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.048423 | . | ug/L | 0.80334 | 0.0389 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.049332 | . | ug/L | 0.78448 | 0.0387 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.049567 | . | ug/L | 0.9018 | 0.0447 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.04984 | E | ug/L | 0.80658 | 0.0402 | Estimated Values | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.04984 | . | ug/L | 0.76645 | 0.0382 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.04984 | . | ug/L | 0.84872 | 0.0423 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.04984 | . | ug/L | 0.77849 | 0.0388 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.04984 | . | ug/L | 0.70425 | 0.0351 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20161470001 | 2016-05-25 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.05 | . | ug/L | 1.014 | 0.0507 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161880109 | 2016-07-06 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.06 | . | ug/L | 1.3283 | 0.0797 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20152460215 | 2015-09-03 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.06008 | . | ug/L | 0.68908 | 0.0414 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152610011 | 2015-09-17 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.06008 | . | ug/L | 0.749 | 0.045 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20111590005 | 2011-06-07 10:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.074096 | . | ug/L | 0.79087 | 0.0586 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20131370001 | 2013-05-16 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.095 | . | ug/L | 1.0347 | 0.0983 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132690010 | 2013-09-25 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.095 | . | ug/L | 1.2316 | 0.117 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.095 | . | ug/L | 0.88737 | 0.0843 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20111190184 | 2011-04-28 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.096025 | . | ug/L | 0.93413 | 0.0897 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0964 | . | ug/L | 0.82676 | 0.0797 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0964 | . | ug/L | 0.71162 | 0.0686 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0964 | . | ug/L | 0.83817 | 0.0808 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.098967 | . | ug/L | 0.82755 | 0.0819 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20110980030 | 2011-04-07 09:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.099483 | . | ug/L | 0.93484 | 0.093 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20122210006 | 2012-08-07 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0996 | . | ug/L | 0.75402 | 0.0751 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.0996 | . | ug/L | 0.8755 | 0.0872 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0996 | . | ug/L | 0.61245 | 0.061 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.0996 | . | ug/L | 0.93474 | 0.0931 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20120260028 | 2012-01-26 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.09968 | . | ug/L | 0.76846 | 0.0766 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.09968 | . | ug/L | 0.72632 | 0.0724 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20121600156 | 2012-06-07 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.1002 | . | ug/L | 0.90419 | 0.0906 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.1002 | . | ug/L | 0.90319 | 0.0905 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.1002 | . | ug/L | 0.71058 | 0.0712 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.1002 | . | ug/L | 0.66766 | 0.0669 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131920149 | 2013-07-11 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.1002 | . | ug/L | 0.78543 | 0.0787 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.1002 | . | ug/L | 0.72156 | 0.0723 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.1002 | . | ug/L | 0.86627 | 0.0868 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.1002 | . | ug/L | 0.68463 | 0.0686 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20111390178 | 2011-05-19 07:30 | CHLORPYRIFOS | 38933GCM35 | 0.0036 | 0.10035 | . | ug/L | 0.83506 | 0.0838 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20132490342 | 2013-09-06 06:50 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.19 | . | ug/L | 1.1211 | 0.213 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.19 | . | ug/L | 0.91579 | 0.174 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20123040157 | 2012-10-30 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.249 | . | ug/L | 0.80723 | 0.201 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20122850005 | 2012-10-10 07:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.2505 | . | ug/L | 0.8503 | 0.213 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.2505 | . | ug/L | 0.97804 | 0.245 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.2505 | . | ug/L | 0.77445 | 0.194 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20132420001 | 2013-08-29 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.2505 | . | ug/L | 0.91018 | 0.228 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.2505 | . | ug/L | 0.79441 | 0.199 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20123420074 | 2012-12-06 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.498 | . | ug/L | 0.9257 | 0.461 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.498 | . | ug/L | 0.8755 | 0.436 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20123260037 | 2012-11-20 06:30 | CHLORPYRIFOS | 38933GCM35 | 0.01 | 0.501 | . | ug/L | 0.95409 | 0.478 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl