## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152040177 | 2015-07-23 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01494 | . | ug/L | 0.89692 | 0.0134 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152190003 | 2015-08-06 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01494 | . | ug/L | 0.6158 | 0.0092 | Recoverable Result | 2033 |  | rcr | n | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20151760208 | 2015-06-25 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.016 | . | ug/L | 1.3938 | 0.0223 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20153030068 | 2015-10-29 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.016 | . | ug/L | 0.66875 | 0.0107 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20152950078 | 2015-10-22 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.016 | . | ug/L | 0.5375 | 0.0086 | Recoverable Result | 2033 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.016 | E | ug/L | 0.6625 | 0.0106 | Estimated Values | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160430111 | 2016-02-11 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.016 | . | ug/L | 0.80625 | 0.0129 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20110070109 | 2011-01-06 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.019464 | . | ug/L | 0.75523 | 0.0147 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110690078 | 2011-03-10 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.019592 | . | ug/L | 1.0463 | 0.0205 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20111960039 | 2011-07-14 08:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01984 | . | ug/L | 0.80141 | 0.0159 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01984 | . | ug/L | 0.72077 | 0.0143 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01984 | . | ug/L | 0.75605 | 0.015 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01984 | . | ug/L | 0.73589 | 0.0146 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.01996 | . | ug/L | 0.66133 | 0.0132 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20112380055 | 2011-08-25 10:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.76 | 0.0152 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.785 | 0.0157 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.335 | 0.0067 | Recoverable Result | 2033 | V | rcr | bn | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.74 | 0.0148 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20121870008 | 2012-07-03 08:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.85 | 0.017 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122020004 | 2012-07-19 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.77 | 0.0154 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20130390105 | 2013-02-07 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.495 | 0.0099 | Recoverable Result | 2033 | V | rcr | n | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20131510026 | 2013-05-30 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.85 | 0.017 | Recoverable Result | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.485 | 0.0097 | Recoverable Result | 2033 | Y | rcr | n | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133050050 | 2013-10-31 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.86 | 0.0172 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.93 | 0.0186 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.535 | 0.0107 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20133580036 | 2013-12-23 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.405 | 0.0081 | Recoverable Result | 2033 | Y | rcr | n | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20140510043 | 2014-02-20 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02 | . | ug/L | 0.68 | 0.0136 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20111470065 | 2011-05-26 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.020053 | . | ug/L | 0.57848 | 0.0116 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20141360094 | 2014-05-16 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02007 | . | ug/L | 0.48829 | 0.0098 | Recoverable Result | 2033 | Y | rcr | n | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141640076 | 2014-06-12 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02007 | . | ug/L | 0.6278 | 0.0126 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02007 | . | ug/L | 0.5132 | 0.0103 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142470041 | 2014-09-03 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02007 | . | ug/L | 0.60787 | 0.0122 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20110280004 | 2011-01-27 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02009 | . | ug/L | 0.69685 | 0.014 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20141080004 | 2014-04-17 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0201 | . | ug/L | 0.55721 | 0.0112 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141490205 | 2014-05-29 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0201 | . | ug/L | 0.70149 | 0.0141 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20142820151 | 2014-10-09 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0201 | . | ug/L | 0.89552 | 0.018 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20150150115 | 2015-01-15 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0201 | . | ug/L | 0.79104 | 0.0159 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20111260154 | 2011-05-05 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02022 | E | ug/L | 0.78139 | 0.0158 | Estimated Values | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20122300021 | 2012-08-16 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0204 | . | ug/L | 0.91667 | 0.0187 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122430227 | 2012-08-30 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0204 | . | ug/L | 0.65686 | 0.0134 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0204 | . | ug/L | 0.53922 | 0.011 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20110490035 | 2011-02-17 08:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02475 | . | ug/L | 0.89293 | 0.0221 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20161190075 | 2016-04-28 08:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0248 | . | ug/L | 0.77823 | 0.0193 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0248 | . | ug/L | 0.80645 | 0.02 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0248 | . | ug/L | 0.83871 | 0.0208 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0248 | . | ug/L | 0.89516 | 0.0222 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20162150213 | 2016-08-02 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02512 | . | ug/L | 0.38217 | 0.0096 | Recoverable Result | 2033 | W | tpe | n | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02512 | . | ug/L | 0.42197 | 0.0106 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20153440001 | 2015-12-09 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02988 | . | ug/L | 0.53548 | 0.016 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20153510109 | 2015-12-17 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02988 | . | ug/L | 0.48862 | 0.0146 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160630046 | 2016-03-03 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02988 | . | ug/L | 0.65596 | 0.0196 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160770090 | 2016-03-17 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.02988 | . | ug/L | 0.7095 | 0.0212 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20151270112 | 2015-05-07 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.032 | . | ug/L | 0.73438 | 0.0235 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151550293 | 2015-06-04 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.032 | . | ug/L | 0.7625 | 0.0244 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20161260151 | 2016-05-05 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.032 | . | ug/L | 0.68125 | 0.0218 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20110410061 | 2011-02-10 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.039447 | . | ug/L | 0.51968 | 0.0205 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.03968 | . | ug/L | 0.41331 | 0.0164 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20111750006 | 2011-06-23 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04 | . | ug/L | 0.9525 | 0.0381 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112310030 | 2011-08-18 08:47 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04 | . | ug/L | 0.4625 | 0.0185 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20112520209 | 2011-09-08 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04 | . | ug/L | 0.4925 | 0.0197 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04 | . | ug/L | 0.775 | 0.031 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04 | . | ug/L | 0.7125 | 0.0285 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20141770149 | 2014-06-26 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04014 | . | ug/L | 0.47583 | 0.0191 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142720002 | 2014-09-25 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04014 | . | ug/L | 0.52815 | 0.0212 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20143110108 | 2014-11-06 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04014 | . | ug/L | 0.55805 | 0.0224 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150430092 | 2015-02-12 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.04014 | . | ug/L | 0.7424 | 0.0298 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20141220025 | 2014-05-01 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0402 | . | ug/L | 0.67413 | 0.0271 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20142270001 | 2014-08-14 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0402 | . | ug/L | 0.48259 | 0.0194 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20143240095 | 2014-11-19 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.0402 | . | ug/L | 0.73383 | 0.0295 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20122850005 | 2012-10-10 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.564 | 0.0282 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.694 | 0.0347 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130810108 | 2013-03-21 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.722 | 0.0361 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20131370001 | 2013-05-16 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.95 | 0.0475 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.546 | 0.0273 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.536 | 0.0268 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05 | . | ug/L | 0.458 | 0.0229 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20161470001 | 2016-05-25 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05024 | E | ug/L | 0.50557 | 0.0254 | Estimated Values | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20122720048 | 2012-09-27 07:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.051 | . | ug/L | 0.90588 | 0.0462 | Recoverable Result | 2033 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123560092 | 2012-12-20 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.051 | . | ug/L | 0.36667 | 0.0187 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130940097 | 2013-04-04 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.051 | . | ug/L | 0.6 | 0.0306 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20152460215 | 2015-09-03 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05976 | . | ug/L | 0.55556 | 0.0332 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152610011 | 2015-09-17 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.05976 | . | ug/L | 0.63253 | 0.0378 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20161880109 | 2016-07-06 06:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.062 | E | ug/L | 1.1452 | 0.071 | Estimated Values | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.074096 | . | ug/L | 0.664 | 0.0492 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.099483 | . | ug/L | 0.63127 | 0.0628 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.1 | . | ug/L | 0.552 | 0.0552 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20132490342 | 2013-09-06 06:50 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.1 | . | ug/L | 0.58 | 0.058 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20123260037 | 2012-11-20 06:30 | CIS-PERMETHRIN | 82687GCM35 | 0.01 | 0.102 | . | ug/L | 0.50392 | 0.0514 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl