## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-07-09 07:00 | 20151900132 | 0.012 | 0.036 | . | 0.0558 | ug/L | 1.55 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-01-07 06:00 | 20160070059 | 0.012 | 0.018 | . | 0.0171 | ug/L | 0.95 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-04-30 07:00 | 20151210037 | 0.012 | 0.018 | . | 0.0281 | ug/L | 1.5611 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-04-14 06:00 | 20161050143 | 0.012 | 0.018 | . | 0.0237 | ug/L | 1.3167 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-05-07 07:00 | 20151270112 | 0.012 | 0.036 | . | 0.0517 | ug/L | 1.4361 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-10-22 06:00 | 20152950078 | 0.012 | 0.018 | . | 0.0117 | ug/L | 0.65 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-01-21 06:00 | 20160210080 | 0.012 | 0.018 | . | 0.016 | ug/L | 0.88889 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-07-23 06:00 | 20152040177 | 0.012 | 0.018 | . | 0.0353 | ug/L | 1.9611 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-06-13 06:30 | 20131650073 | 0.012 | 0.0284 | . | 0.0421 | ug/L | 1.4824 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-09-25 08:00 | 20132690010 | 0.012 | 0.07 | . | 0.0885 | ug/L | 1.2643 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-01-09 06:30 | 20140100085 | 0.012 | 0.14 | . | 0.155 | ug/L | 1.1071 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-08-24 06:00 | 20162380004 | 0.012 | 0.03 | . | 0.0433 | ug/L | 1.4433 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-02-02 06:30 | 20110340007 | 0.01 | 0.049371 | . | 0.0375 | ug/L | 0.75955 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-03-03 07:00 | 20110620082 | 0.01 | 0.099047 | . | 0.0805 | ug/L | 0.81275 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-04-22 06:20 | 20111170107 | 0.01 | 0.049607 | . | 0.0556 | ug/L | 1.1208 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-05-19 07:30 | 20111390178 | 0.01 | 0.10043 | . | 0.0795 | ug/L | 0.79157 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-07-28 07:00 | 20112100007 | 0.01 | 0.04988 | . | 0.0441 | ug/L | 0.88412 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-10-07 06:30 | 20112840031 | 0.012 | 0.04988 | E | 0.0371 | ug/L | 0.74379 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-01-12 07:00 | 20120120071 | 0.012 | 0.04988 | E | 0.0411 | ug/L | 0.82398 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-01-26 07:00 | 20120260028 | 0.012 | 0.09976 | . | 0.0917 | ug/L | 0.91921 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-02-23 07:30 | 20120540036 | 0.012 | 0.04988 | . | 0.0407 | ug/L | 0.81596 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-03-29 08:00 | 20120930003 | 0.012 | 0.04988 | E | 0.0413 | ug/L | 0.82799 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-04-12 07:00 | 20121040012 | 0.012 | 0.09976 | . | 0.0834 | ug/L | 0.83601 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-01-20 07:30 | 20110210095 | 0.01 | 0.04692 | . | 0.0345 | ug/L | 0.7353 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-03-24 06:30 | 20110840108 | 0.01 | 0.0479 | . | 0.0315 | ug/L | 0.65762 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-04-28 07:00 | 20111190184 | 0.01 | 0.09499 | . | 0.0799 | ug/L | 0.84115 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-06-16 08:00 | 20111680035 | 0.01 | 0.047594 | . | 0.0502 | ug/L | 1.0547 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-07-07 07:00 | 20111890004 | 0.01 | 0.04768 | E | 0.0527 | ug/L | 1.1053 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-08-04 08:00 | 20112170174 | 0.01 | 0.09536 | . | 0.074 | ug/L | 0.77601 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-10-27 07:30 | 20113010047 | 0.012 | 0.04768 | . | 0.049 | ug/L | 1.0277 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-11-29 07:00 | 20113340046 | 0.012 | 0.09536 | . | 0.0595 | ug/L | 0.62395 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-02-09 07:00 | 20120400058 | 0.012 | 0.09536 | . | 0.0805 | ug/L | 0.84417 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-03-15 08:00 | 20120760111 | 0.012 | 0.04768 | E | 0.0384 | ug/L | 0.80537 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-06-27 06:30 | 20131790009 | 0.012 | 0.0284 | . | 0.0418 | ug/L | 1.4718 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-05-16 07:00 | 20131370001 | 0.012 | 0.071 | E | 0.0892 | ug/L | 1.2563 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-12-12 06:30 | 20133470008 | 0.012 | 0.0284 | . | 0.0324 | ug/L | 1.1408 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-06-22 06:15 | 20161740258 | 0.012 | 0.0608 | E | 0.0582 | ug/L | 0.95724 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-04-17 06:00 | 20141080004 | 0.012 | 0.024 | . | 0.0185 | ug/L | 0.77083 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-08-14 06:00 | 20142270001 | 0.012 | 0.048 | . | 0.0341 | ug/L | 0.71042 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-05-13 06:00 | 20161340228 | 0.012 | 0.0304 | . | 0.031 | ug/L | 1.0197 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-11-26 07:00 | 20133310030 | 0.012 | 0.0284 | . | 0.0465 | ug/L | 1.6373 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-03-13 07:00 | 20140730138 | 0.012 | 0.0284 | . | 0.0376 | ug/L | 1.3239 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-08-15 06:30 | 20132280016 | 0.012 | 0.028 | . | 0.0347 | ug/L | 1.2393 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-05-22 07:00 | 20141420140 | 0.012 | 0.024 | . | 0.0202 | ug/L | 0.84167 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-03-12 06:00 | 20150720069 | 0.012 | 0.048 | . | 0.0331 | ug/L | 0.68958 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-06-05 07:00 | 20141570088 | 0.012 | 0.04788 | . | 0.0622 | ug/L | 1.2991 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-07-02 07:00 | 20141840097 | 0.012 | 0.02394 | . | 0.0261 | ug/L | 1.0902 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-04-28 08:30 | 20161190075 | 0.012 | 0.0304 | . | 0.0321 | ug/L | 1.0559 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-06-08 07:30 | 20161600087 | 0.012 | 0.0304 | E | 0.0462 | ug/L | 1.5197 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-08-07 07:00 | 20142200164 | 0.012 | 0.024 | . | 0.0195 | ug/L | 0.8125 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-10-23 06:00 | 20142960086 | 0.012 | 0.048 | . | 0.0321 | ug/L | 0.66875 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-09-10 06:00 | 20142530087 | 0.012 | 0.04788 | . | 0.0457 | ug/L | 0.95447 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-12-03 06:00 | 20143370094 | 0.012 | 0.02394 | . | 0.0232 | ug/L | 0.96909 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-02-17 08:30 | 20110490035 | 0.01 | 0.02475 | . | 0.0199 | ug/L | 0.80404 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-04-07 09:00 | 20110980030 | 0.01 | 0.099483 | . | 0.0509 | ug/L | 0.51165 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2011-06-07 10:00 | 20111590005 | 0.01 | 0.074096 | . | 0.052 | ug/L | 0.70179 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-07-11 06:30 | 20131920149 | 0.012 | 0.05 | . | 0.0458 | ug/L | 0.916 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-08-29 06:30 | 20132420001 | 0.012 | 0.125 | . | 0.104 | ug/L | 0.832 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-01-23 06:30 | 20140230082 | 0.012 | 0.125 | . | 0.0998 | ug/L | 0.7984 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-03-27 06:30 | 20140860102 | 0.012 | 0.05 | . | 0.0489 | ug/L | 0.978 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-10-17 06:30 | 20132910008 | 0.012 | 0.05 | . | 0.0444 | ug/L | 0.888 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-12-05 08:00 | 20133400002 | 0.012 | 0.05 | . | 0.0472 | ug/L | 0.944 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-11-06 06:00 | 20143110108 | 0.012 | 0.048 | . | 0.0355 | ug/L | 0.73958 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-08-20 06:00 | 20152330039 | 0.012 | 0.036 | . | 0.0412 | ug/L | 1.1444 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-02-25 06:00 | 20160560044 | 0.012 | 0.018 | . | 0.0185 | ug/L | 1.0278 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-11-10 06:00 | 20153160001 | 0.012 | 0.018 | E | 0.0138 | ug/L | 0.76667 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-09-03 06:00 | 20152460215 | 0.012 | 0.072 | . | 0.0634 | ug/L | 0.88056 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-12-09 06:00 | 20153440001 | 0.012 | 0.036 | . | 0.0283 | ug/L | 0.78611 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-03-03 06:00 | 20160630046 | 0.012 | 0.036 | . | 0.0368 | ug/L | 1.0222 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-08-07 06:00 | 20122210006 | 0.012 | 0.05 | . | 0.0498 | ug/L | 0.996 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-12-06 06:30 | 20123420074 | 0.012 | 0.25 | . | 0.215 | ug/L | 0.86 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-08-16 06:30 | 20122300021 | 0.012 | 0.05 | . | 0.0545 | ug/L | 1.09 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-12-20 06:30 | 20123560092 | 0.012 | 0.125 | . | 0.0734 | ug/L | 0.5872 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2012-11-08 06:30 | 20123140095 | 0.012 | 0.25 | . | 0.173 | ug/L | 0.692 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-02-07 06:30 | 20130390105 | 0.012 | 0.05 | . | 0.0427 | ug/L | 0.854 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-03-21 06:30 | 20130810108 | 0.012 | 0.125 | . | 0.111 | ug/L | 0.888 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-09-06 06:50 | 20132490342 | 0.012 | 0.14 | . | 0.118 | ug/L | 0.84286 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-02-06 06:30 | 20140370077 | 0.012 | 0.07 | . | 0.0618 | ug/L | 0.88286 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2013-10-31 06:30 | 20133050050 | 0.012 | 0.028 | . | 0.0392 | ug/L | 1.4 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-05-01 06:00 | 20141220025 | 0.012 | 0.04788 | . | 0.058 | ug/L | 1.2114 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2015-01-15 06:00 | 20150150115 | 0.012 | 0.02394 | . | 0.028 | ug/L | 1.1696 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-07-10 06:00 | 20141910243 | 0.012 | 0.02394 | . | 0.0225 | ug/L | 0.93985 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2014-09-25 06:00 | 20142720002 | 0.012 | 0.04788 | . | 0.0458 | ug/L | 0.95656 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DIAZINON, OXYGEN ANALOG | 61638GCM14 | 2016-07-20 06:15 | 20162020124 | 0.012 | 0.0304 | . | 0.0362 | ug/L | 1.1908 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl