## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20111680035 | 2011-06-16 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 |  | E | ug/L |  | 0.004 | False Positive | 2033 | V | rcr | bmt | 2011-07-02 | Accu 210061341: 40 µl
20153160001 | 2015-11-10 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 |  | R | ug/L |  |  | Deleted Values | 2033 |  | rcr | mc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 |  | U | ug/L |  |  | Deleted Values | 2033 | Y | tpe | mc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20140730138 | 2014-03-13 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.199 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20150430092 | 2015-02-12 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3192 | < | ug/L |  |  | False Negative | 2033 | Y | rcr | mc | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20152610011 | 2015-09-17 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.4792 | < | ug/L |  |  | False Negative | 2033 |  | rcr | mc | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20110490035 | 2011-02-17 08:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.02475 | E | ug/L | 0.44444 | 0.011 | Estimated Values | 2033 | V | rcr | mtc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20111590005 | 2011-06-07 10:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.074096 | E | ug/L | 0.40488 | 0.03 | Estimated Values | 2033 | V | rcr | mtc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.099483 | E | ug/L | 0.37192 | 0.037 | Estimated Values | 2033 | X | str | mtc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20122210006 | 2012-08-07 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.0996 | E | ug/L | 0.17068 | 0.017 | Estimated Values | 2033 | Y | rcr | mtc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.0996 | E | ug/L | 0.24096 | 0.024 | Estimated Values | 2033 | V | rcr | mtc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.0996 | E | ug/L | 0.19076 | 0.019 | Estimated Values | 2033 | Y | rcr | mtc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.0996 | E | ug/L | 0.2008 | 0.02 | Estimated Values | 2033 | V | rcr | mtc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1002 | E | ug/L | 0.22954 | 0.023 | Estimated Values | 2033 | Y | rcr | mtc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20140860102 | 2014-03-27 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1002 | E | ug/L | 0.26946 | 0.027 | Estimated Values | 2033 | Y | rcr | mtc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20121600156 | 2012-06-07 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.45545 | 0.046 | Estimated Values | 2033 | Y | rcr | mnc | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.41584 | 0.042 | Estimated Values | 2033 | V | rcr | mnc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.22772 | 0.023 | Estimated Values | 2033 | Y | rcr | mtc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.24752 | 0.025 | Estimated Values | 2033 | V | rcr | mtc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20132910008 | 2013-10-17 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.25743 | 0.026 | Estimated Values | 2033 | Y | rcr | mtc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.101 | E | ug/L | 0.29703 | 0.03 | Estimated Values | 2033 | Y | rcr | mtc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20152040177 | 2015-07-23 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1198 | E | ug/L | 0.4424 | 0.053 | Estimated Values | 2033 | Y | rcr | mnc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152190003 | 2015-08-06 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1198 | E | ug/L | 0.33389 | 0.04 | Estimated Values | 2033 |  | rcr | mnc | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20110770001 | 2011-03-17 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13272 | E | ug/L | 0.39934 | 0.053 | Estimated Values | 2033 | X | str | mnc | 2011-03-30 | Supelco LB77168: 40 µl
20111890005 | 2011-07-07 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1328 | E | ug/L | 0.42922 | 0.057 | Estimated Values | 2033 | X | str | mnc | 2011-07-20 | Supelco LB77168: 40 µl
20112450022 | 2011-09-01 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1328 | E | ug/L | 0.26355 | 0.035 | Estimated Values | 2033 | Y | rcr | mtc | 2011-09-24 | Supelco LB77168: 40 µl
20113500021 | 2011-12-15 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1328 | E | ug/L | 0.18825 | 0.025 | Estimated Values | 2033 | V | rcr | mtc | 2011-12-22 | Supelco LB77168: 40 µl
20120620015 | 2012-03-01 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1328 | E | ug/L | 0.27861 | 0.037 | Estimated Values | 2033 | X | rcr | mtc | 2012-03-09 | Supelco LB77168: 40 µl
20112030057 | 2011-07-21 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13288 | E | ug/L | 0.51927 | 0.069 | Estimated Values | 2033 | V | rcr | mnc | 2011-08-17 | Restek A075606: 40 µl
20113260111 | 2011-11-22 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13288 | E | ug/L | 0.33865 | 0.045 | Estimated Values | 2033 | V | rcr | mnc | 2011-12-04 | Restek A075606: 40 µl
20120370001 | 2012-02-02 12:10 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13288 | E | ug/L | 0.21824 | 0.029 | Estimated Values | 2033 | V | rcr | mtc | 2012-02-14 | Restek A075606: 40 µl
20111050150 | 2011-04-14 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13418 | E | ug/L | 0.45461 | 0.061 | Estimated Values | 2033 | V | rcr | mnc | 2011-04-23 | Restek A075606: 40 µl
20111330148 | 2011-05-12 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1351 | E | ug/L | 0.41452 | 0.056 | Estimated Values | 2033 | V | rcr | mnc | 2011-05-25 | Supelco LB77168: 40 µl
20110560005 | 2011-02-24 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.13529 | E | ug/L | 0.42871 | 0.058 | Estimated Values | 2033 | V | rcr | mnc | 2011-03-08 | Restek A075606: 40 µl
20142200164 | 2014-08-07 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1596 | E | ug/L | 0.27569 | 0.044 | Estimated Values | 2033 | Y | rcr | mnc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142470041 | 2014-09-03 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1596 | E | ug/L | 0.30075 | 0.048 | Estimated Values | 2033 | Y | rcr | mnc | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1596 | E | ug/L | 0.30075 | 0.048 | Estimated Values | 2033 | Y | rcr | mnc | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143370094 | 2014-12-03 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1596 | E | ug/L | 0.26316 | 0.042 | Estimated Values | 2033 | Y | rcr | mnc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20141360094 | 2014-05-16 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1608 | E | ug/L | 0.20522 | 0.033 | Estimated Values | 2033 | Y | rcr | mtc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1608 | E | ug/L | 0.26119 | 0.042 | Estimated Values | 2033 | Y | rcr | mnc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1608 | E | ug/L | 0.31716 | 0.051 | Estimated Values | 2033 | Y | rcr | mnc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.1608 | E | ug/L | 0.21144 | 0.034 | Estimated Values | 2033 | Y | rcr | mtc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20131510026 | 2013-05-30 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.199 | E | ug/L | 0.21106 | 0.042 | Estimated Values | 2033 | Y | rcr | mnc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.199 | E | ug/L | 0.23116 | 0.046 | Estimated Values | 2033 | Y | rcr | mnc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.199 | E | ug/L | 0.29648 | 0.059 | Estimated Values | 2033 | Y | rcr | mnc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140510043 | 2014-02-20 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.199 | E | ug/L | 0.49246 | 0.098 | Estimated Values | 2033 | Y | rcr | mc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20161190075 | 2016-04-28 08:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.10458 | 0.021 | Estimated Values | 2033 | Y | tpe | mtc | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.11454 | 0.023 | Estimated Values | 2033 | Y | tpe | mtc | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.1245 | 0.025 | Estimated Values | 2033 | W | sst | mtc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162150213 | 2016-08-02 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.14442 | 0.029 | Estimated Values | 2033 | W | tpe | mtc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.24402 | 0.049 | Estimated Values | 2033 | Y | SSt | mnc | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20162660005 | 2016-09-21 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2008 | E | ug/L | 0.1743 | 0.035 | Estimated Values | 2033 | Y | SSt | mtc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20131650073 | 2013-06-13 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2018 | E | ug/L | 0.39643 | 0.08 | Estimated Values | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2018 | E | ug/L | 0.34688 | 0.07 | Estimated Values | 2033 | Y | rcr | mnc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2018 | E | ug/L | 0.18831 | 0.038 | Estimated Values | 2033 | Y | rcr | mtc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20153440001 | 2015-12-09 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2396 | E | ug/L | 0.09182 | 0.022 | Estimated Values | 2033 |  | rcr | mtc | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20153510109 | 2015-12-17 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2396 | E | ug/L | 0.10434 | 0.025 | Estimated Values | 2033 |  | rcr | mtc | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160630046 | 2016-03-03 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2396 | E | ug/L | 0.13356 | 0.032 | Estimated Values | 2033 | Y | tpe | mtc | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160770090 | 2016-03-17 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2396 | E | ug/L | 0.13773 | 0.033 | Estimated Values | 2033 | Y | tpe | mtc | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20123040157 | 2012-10-30 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.249 | E | ug/L | 0.24498 | 0.061 | Estimated Values | 2033 | V | rcr | mnc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2505 | E | ug/L | 0.23952 | 0.06 | Estimated Values | 2033 | Y | rcr | mnc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2505 | E | ug/L | 0.23553 | 0.059 | Estimated Values | 2033 | Y | rcr | mnc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20122850005 | 2012-10-10 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2525 | E | ug/L | 0.23762 | 0.06 | Estimated Values | 2033 | Y | rcr | mnc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2525 | E | ug/L | 0.28515 | 0.072 | Estimated Values | 2033 | Y | rcr | mnc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2525 | E | ug/L | 0.26139 | 0.066 | Estimated Values | 2033 | Y | rcr | mnc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20110130056 | 2011-01-13 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.25635 | E | ug/L | 0.17945 | 0.046 | Estimated Values | 2033 | V | rcr | mnc | 2011-02-09 | Supelco LB77168: 80 µl
20111540007 | 2011-06-02 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.26194 | E | ug/L | 0.52303 | 0.137 | Estimated Values | 2033 | V | rcr | mc | 2011-06-20 | Restek A075606: 80 µl
20111810004 | 2011-06-29 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2656 | E | ug/L | 0.29367 | 0.078 | Estimated Values | 2033 | X | str | mnc | 2011-07-14 | Supelco LB77168: 80 µl
20112590005 | 2011-09-15 07:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2656 | E | ug/L | 0.18449 | 0.049 | Estimated Values | 2033 | V | rcr | mnc | 2011-10-02 | Supelco LB77168: 80 µl
20113130085 | 2011-11-09 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.2656 | E | ug/L | 0.34639 | 0.092 | Estimated Values | 2033 | X | str | mc | 2011-11-17 | Supelco LB77168: 80 µl
20112220126 | 2011-08-10 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.26576 | E | ug/L | 0.38757 | 0.103 | Estimated Values | 2033 | V | rcr | mc | 2011-09-01 | Restek A075606: 80 µl
20112310032 | 2011-08-18 08:46 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.26576 | E | ug/L | 0.18814 | 0.05 | Estimated Values | 2033 | Y | rcr | mnc | 2011-09-13 | Restek A075606: 80 µl
20112930085 | 2011-10-20 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.26576 | E | ug/L | 0.33865 | 0.09 | Estimated Values | 2033 | X | str | mc | 2011-11-01 | Restek A075606: 80 µl
20121310027 | 2012-05-10 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.26576 | E | ug/L | 0.36123 | 0.096 | Estimated Values | 2033 | Y | rcr | mc | 2012-05-15 | Restek A075606: 80 µl
20142530087 | 2014-09-10 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3192 | E | ug/L | 0.2099 | 0.067 | Estimated Values | 2033 | Y | rcr | mnc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3192 | E | ug/L | 0.22556 | 0.072 | Estimated Values | 2033 | Y | rcr | mnc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3192 | E | ug/L | 0.30702 | 0.098 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20141570088 | 2014-06-05 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3216 | E | ug/L | 0.29229 | 0.094 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3216 | E | ug/L | 0.199 | 0.064 | Estimated Values | 2033 | Y | rcr | mnc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.3216 | E | ug/L | 0.015547 | 0.005 | Estimated Values | 2033 | Y | rcr | bmt | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20161470001 | 2016-05-25 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.4016 | E | ug/L | 0.21414 | 0.086 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20152460215 | 2015-09-03 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.4792 | E | ug/L | 0.24833 | 0.119 | Estimated Values | 2033 |  | rcr | mc | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20132140002 | 2013-08-01 07:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.4975 | E | ug/L | 0.17688 | 0.088 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20123420074 | 2012-12-06 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.498 | E | ug/L | 0.16667 | 0.083 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.498 | E | ug/L | 0.1506 | 0.075 | Estimated Values | 2033 | Y | rcr | mnc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20161880109 | 2016-07-06 06:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.502 | E | ug/L | 0.18526 | 0.093 | Estimated Values | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20132560001 | 2013-09-12 08:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.5045 | E | ug/L | 0.24381 | 0.123 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20132690010 | 2013-09-25 08:00 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.5045 | E | ug/L | 0.30525 | 0.154 | Estimated Values | 2033 | Y | rcr | @mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20123260037 | 2012-11-20 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 0.505 | E | ug/L | 0.25545 | 0.129 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20140100085 | 2014-01-09 06:30 | DICROTOPHOS | 38454GCM39 | 0.08 | 1.009 | E | ug/L | 0.22299 | 0.225 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl