## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161260151 | 2016-05-05 07:00 | DIELDRIN | 39381GCM35 | 0.012 |  | . | ug/L |  | 0.0024 | False Positive | 2033 | Y | tpe | bt | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20151210037 | 2015-04-30 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.012 | . | ug/L | 0.86667 | 0.0104 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.012 | . | ug/L | 0.93333 | 0.0112 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.012 | . | ug/L | 0.86667 | 0.0104 | Recoverable Result | 2033 | Y | rcr | v | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.66667 | 0.008 | Recoverable Result | 2033 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.79167 | 0.0095 | Recoverable Result | 2033 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.83333 | 0.01 | Recoverable Result | 2033 |  | rcr | n | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.96667 | 0.0116 | Recoverable Result | 2033 |  | tpe | n | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.79167 | 0.0095 | Recoverable Result | 2033 | Y | tpe | n | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.012 | . | ug/L | 0.85 | 0.0102 | Recoverable Result | 2033 | Y | tpe | n | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0156 | . | ug/L | 0.76282 | 0.0119 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0156 | E | ug/L | 0.98077 | 0.0153 | Estimated Values | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0156 | E | ug/L | 0.59615 | 0.0093 | Estimated Values | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0156 | . | ug/L | 1.0256 | 0.016 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20141840097 | 2014-07-02 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.01596 | . | ug/L | 0.78947 | 0.0126 | Recoverable Result | 2033 | Y | rcr | v | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.01596 | . | ug/L | 0.90852 | 0.0145 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.01596 | . | ug/L | 0.83333 | 0.0133 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.01596 | . | ug/L | 0.89599 | 0.0143 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20132280016 | 2013-08-15 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.018 | . | ug/L | 0.83333 | 0.015 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.018 | . | ug/L | 0.77778 | 0.014 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.019 | . | ug/L | 0.82105 | 0.0156 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.019 | . | ug/L | 1.0368 | 0.0197 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.019 | . | ug/L | 1.2053 | 0.0229 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.019 | . | ug/L | 0.92632 | 0.0176 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.019 | . | ug/L | 0.85263 | 0.0162 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20151270112 | 2015-05-07 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.024 | . | ug/L | 1.075 | 0.0258 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.024 | . | ug/L | 0.61667 | 0.0148 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.024 | . | ug/L | 0.80417 | 0.0193 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.024 | . | ug/L | 0.67083 | 0.0161 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.024 | . | ug/L | 0.7625 | 0.0183 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20110490035 | 2011-02-17 08:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.02475 | . | ug/L | 0.94949 | 0.0235 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20161190075 | 2016-04-28 08:30 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 0.87162 | 0.0258 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 0.7973 | 0.0236 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 0.82095 | 0.0243 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162150213 | 2016-08-02 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 1.1554 | 0.0342 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 0.90541 | 0.0268 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20162660005 | 2016-09-21 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.0296 | . | ug/L | 0.88514 | 0.0262 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20142270001 | 2014-08-14 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0312 | . | ug/L | 0.87821 | 0.0274 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0312 | . | ug/L | 0.86538 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0312 | . | ug/L | 0.76923 | 0.024 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0312 | . | ug/L | 1.0641 | 0.0332 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.03192 | . | ug/L | 0.81454 | 0.026 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.03192 | E | ug/L | 0.48872 | 0.0156 | Estimated Values | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.03192 | . | ug/L | 0.73935 | 0.0236 | Recoverable Result | 2033 | Y | rcr | v | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.03192 | . | ug/L | 0.84586 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20110210095 | 2011-01-20 07:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.043613 | . | ug/L | 0.84148 | 0.0367 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.044224 | . | ug/L | 0.8276 | 0.0366 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111680035 | 2011-06-16 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04424 | . | ug/L | 0.93806 | 0.0415 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04432 | . | ug/L | 1.0514 | 0.0466 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.04432 | . | ug/L | 0.95442 | 0.0423 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04432 | . | ug/L | 0.85063 | 0.0377 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20111170107 | 2011-04-22 06:20 | DIELDRIN | 39381GCM35 | 0.008 | 0.044436 | . | ug/L | 1.0217 | 0.0454 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20110840108 | 2011-03-24 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.044525 | E | ug/L | 1.5093 | 0.0672 | Estimated Values | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20112100007 | 2011-07-28 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04468 | . | ug/L | 0.8863 | 0.0396 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.04468 | . | ug/L | 1.1079 | 0.0495 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04468 | . | ug/L | 1.0139 | 0.0453 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.04468 | . | ug/L | 0.91764 | 0.041 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.04468 | . | ug/L | 0.88183 | 0.0394 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20132690010 | 2013-09-25 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.045 | . | ug/L | 0.92667 | 0.0417 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.045 | . | ug/L | 0.83778 | 0.0377 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.0475 | . | ug/L | 1.0021 | 0.0476 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20152460215 | 2015-09-03 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.048 | . | ug/L | 0.64583 | 0.031 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.048 | . | ug/L | 0.55208 | 0.0265 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161470001 | 2016-05-25 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.0592 | . | ug/L | 0.72297 | 0.0428 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161880109 | 2016-07-06 06:00 | DIELDRIN | 39381GCM35 | 0.012 | 0.074 | . | ug/L | 1.0689 | 0.0791 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.074096 | . | ug/L | 0.73148 | 0.0542 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20111190184 | 2011-04-28 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.088296 | . | ug/L | 1.0635 | 0.0939 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.08864 | . | ug/L | 0.91606 | 0.0812 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.08864 | . | ug/L | 0.80212 | 0.0711 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.08864 | . | ug/L | 0.82807 | 0.0734 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.088721 | . | ug/L | 0.93777 | 0.0832 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.08936 | E | ug/L | 1.1415 | 0.102 | Estimated Values | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.08936 | . | ug/L | 0.78782 | 0.0704 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.089963 | . | ug/L | 0.85257 | 0.0767 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20132490342 | 2013-09-06 06:50 | DIELDRIN | 39381GCM35 | 0.008 | 0.09 | . | ug/L | 0.92444 | 0.0832 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.09 | . | ug/L | 0.81556 | 0.0734 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20110980030 | 2011-04-07 09:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.099483 | . | ug/L | 1.0153 | 0.101 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20121870008 | 2012-07-03 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.814 | 0.0814 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.783 | 0.0783 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.692 | 0.0692 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.89 | 0.089 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 1.01 | 0.101 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.849 | 0.0849 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 1 | 0.1 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.1 | . | ug/L | 0.7 | 0.07 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20122210006 | 2012-08-07 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.1004 | . | ug/L | 0.77689 | 0.078 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.1004 | . | ug/L | 1.0259 | 0.103 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20130390105 | 2013-02-07 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.1004 | . | ug/L | 0.64243 | 0.0645 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20121730123 | 2012-06-21 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.25 | . | ug/L | 0.94 | 0.235 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.25 | . | ug/L | 0.876 | 0.219 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.25 | . | ug/L | 0.968 | 0.242 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.25 | . | ug/L | 0.936 | 0.234 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20123560092 | 2012-12-20 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.251 | . | ug/L | 0.77689 | 0.195 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.251 | . | ug/L | 0.78088 | 0.196 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20130250061 | 2013-01-24 06:00 | DIELDRIN | 39381GCM35 | 0.008 | 0.5 | . | ug/L | 0.952 | 0.476 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20123140095 | 2012-11-08 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.502 | . | ug/L | 0.81673 | 0.41 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | DIELDRIN | 39381GCM35 | 0.008 | 0.502 | . | ug/L | 0.90239 | 0.453 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl