## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210037 | 2015-04-30 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 1.0833 | 0.0091 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | E | ug/L | 0.54762 | 0.0046 | Estimated Values | 2033 |  | rcr | bn | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 1.0952 | 0.0092 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 1.0476 | 0.0088 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | E | ug/L | 1.0119 | 0.0085 | Estimated Values | 2033 |  | rcr | i | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 0.97619 | 0.0082 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 1.119 | 0.0094 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0084 | . | ug/L | 1.0833 | 0.0091 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20131650073 | 2013-06-13 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 0.98 | 0.0098 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 0.99 | 0.0099 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132280016 | 2013-08-15 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 1.12 | 0.0112 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 1.08 | 0.0108 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133310030 | 2013-11-26 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 1.1 | 0.011 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 1.04 | 0.0104 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.01 | . | ug/L | 1.04 | 0.0104 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20141080004 | 2014-04-17 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0111 | . | ug/L | 1.1351 | 0.0126 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0111 | . | ug/L | 1.045 | 0.0116 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0111 | . | ug/L | 1.018 | 0.0113 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0111 | . | ug/L | 1.027 | 0.0114 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20141840097 | 2014-07-02 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.01116 | . | ug/L | 1.0125 | 0.0113 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.01116 | . | ug/L | 0.94086 | 0.0105 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.01116 | . | ug/L | 0.87814 | 0.0098 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.01116 | . | ug/L | 0.94086 | 0.0105 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20161190075 | 2016-04-28 08:30 | EPTC | 82668GCM35 | 0.0056 | 0.014 | . | ug/L | 0.85 | 0.0119 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.014 | . | ug/L | 0.81429 | 0.0114 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | EPTC | 82668GCM35 | 0.0056 | 0.014 | . | ug/L | 0.96429 | 0.0135 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162020124 | 2016-07-20 06:15 | EPTC | 82668GCM35 | 0.0056 | 0.014 | . | ug/L | 1.0429 | 0.0146 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162380004 | 2016-08-24 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.014 | . | ug/L | 1.1214 | 0.0157 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20151550293 | 2015-06-04 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 1.0179 | 0.0171 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 0.7619 | 0.0128 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 0.79167 | 0.0133 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 0.85119 | 0.0143 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 0.97024 | 0.0163 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0168 | . | ug/L | 0.98214 | 0.0165 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20142270001 | 2014-08-14 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0222 | . | ug/L | 0.93243 | 0.0207 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0222 | . | ug/L | 0.91441 | 0.0203 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0222 | . | ug/L | 0.88739 | 0.0197 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0222 | . | ug/L | 1.0631 | 0.0236 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.02232 | . | ug/L | 0.9319 | 0.0208 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.02232 | . | ug/L | 1.017 | 0.0227 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.02232 | . | ug/L | 0.8871 | 0.0198 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.02232 | . | ug/L | 0.92742 | 0.0207 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20110490035 | 2011-02-17 08:30 | EPTC | 82668GCM35 | 0.0056 | 0.02475 | . | ug/L | 1.0869 | 0.0269 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20131370001 | 2013-05-16 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.025 | . | ug/L | 1.128 | 0.0282 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132690010 | 2013-09-25 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.025 | . | ug/L | 1.052 | 0.0263 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.025 | . | ug/L | 0.832 | 0.0208 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20161740258 | 2016-06-22 06:15 | EPTC | 82668GCM35 | 0.0056 | 0.028 | . | ug/L | 0.79643 | 0.0223 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20121870008 | 2012-07-03 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 1 | 0.03 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.98333 | 0.0295 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 1.0433 | 0.0313 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.91333 | 0.0274 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.87 | 0.0261 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.81667 | 0.0245 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 1.02 | 0.0306 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.97 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.95 | 0.0285 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 1.0167 | 0.0305 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.03 | . | ug/L | 0.84667 | 0.0254 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20152610011 | 2015-09-17 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0336 | . | ug/L | 0.9881 | 0.0332 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.0336 | . | ug/L | 0.52976 | 0.0178 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20132490342 | 2013-09-06 06:50 | EPTC | 82668GCM35 | 0.0056 | 0.05 | . | ug/L | 0.986 | 0.0493 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.05 | . | ug/L | 0.97 | 0.0485 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20110340007 | 2011-02-02 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.054043 | . | ug/L | 1.0307 | 0.0557 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | EPTC | 82668GCM35 | 0.0056 | 0.054301 | . | ug/L | 1.1676 | 0.0634 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0546 | . | ug/L | 0.91026 | 0.0497 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.0546 | . | ug/L | 0.9707 | 0.053 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.0546 | . | ug/L | 0.95238 | 0.052 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | EPTC | 82668GCM35 | 0.0056 | 0.0546 | . | ug/L | 1.0458 | 0.0571 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.0546 | . | ug/L | 0.93773 | 0.0512 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20110210095 | 2011-01-20 07:30 | EPTC | 82668GCM35 | 0.0056 | 0.057154 | . | ug/L | 0.93957 | 0.0537 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20111680035 | 2011-06-16 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.057976 | . | ug/L | 0.9642 | 0.0559 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.05808 | . | ug/L | 1.0158 | 0.059 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | EPTC | 82668GCM35 | 0.0056 | 0.05808 | . | ug/L | 0.99518 | 0.0578 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.05808 | . | ug/L | 0.88499 | 0.0514 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.058348 | . | ug/L | 1.0694 | 0.0624 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20111590005 | 2011-06-07 10:00 | EPTC | 82668GCM35 | 0.0056 | 0.074096 | . | ug/L | 0.92313 | 0.0684 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20121730123 | 2012-06-21 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 1.0253 | 0.0769 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 0.96933 | 0.0727 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 0.888 | 0.0666 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 0.95733 | 0.0718 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 0.92933 | 0.0697 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.075 | . | ug/L | 0.87733 | 0.0658 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20110980030 | 2011-04-07 09:00 | EPTC | 82668GCM35 | 0.0056 | 0.099483 | E | ug/L | 1.1359 | 0.113 | Estimated Values | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20110620082 | 2011-03-03 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.10842 | . | ug/L | 1.0515 | 0.114 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.1092 | . | ug/L | 0.89652 | 0.0979 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.1092 | . | ug/L | 0.95238 | 0.104 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | EPTC | 82668GCM35 | 0.0056 | 0.10994 | . | ug/L | 1.037 | 0.114 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20111190184 | 2011-04-28 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.11571 | . | ug/L | 0.95066 | 0.11 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | EPTC | 82668GCM35 | 0.0056 | 0.11616 | . | ug/L | 1.0847 | 0.126 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.11616 | . | ug/L | 0.89532 | 0.104 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | EPTC | 82668GCM35 | 0.0056 | 0.11616 | . | ug/L | 1.0072 | 0.117 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20123140095 | 2012-11-08 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.15 | . | ug/L | 0.93333 | 0.14 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | EPTC | 82668GCM35 | 0.0056 | 0.15 | . | ug/L | 0.74 | 0.111 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | EPTC | 82668GCM35 | 0.0056 | 0.15 | . | ug/L | 0.91333 | 0.137 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl