## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20112310030 | 2011-08-18 08:47 | ETHION | 82346GCM40 | 0.008 |  | . | ug/L |  | 0.0348 | False Positive | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20123420074 | 2012-12-06 06:30 | ETHION | 82346GCM40 | 0.0046 |  | . | ug/L |  | 0.002 | False Positive | 2033 | V | rcr | bt | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20132280016 | 2013-08-15 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.006 | . | ug/L | 1.1667 | 0.007 | Recoverable Result | 2033 | Y | rcr | b | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.006 | . | ug/L | 1.0333 | 0.0062 | Recoverable Result | 2033 | Y | rcr | b | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.1714 | 0.0082 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.0429 | 0.0073 | Recoverable Result | 2033 | Y | rcr | b | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.2714 | 0.0089 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 0.88571 | 0.0062 | Recoverable Result | 2033 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.0571 | 0.0074 | Recoverable Result | 2033 | Y | rcr | b | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20151210037 | 2015-04-30 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 0.91429 | 0.0064 | Recoverable Result | 2033 | V | rcr | b | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | E | ug/L | 1.0571 | 0.0074 | Estimated Values | 2033 | V | rcr | b | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.3429 | 0.0094 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.0714 | 0.0075 | Recoverable Result | 2033 |  | rcr | b | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | E | ug/L | 1.2 | 0.0084 | Estimated Values | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.0286 | 0.0072 | Recoverable Result | 2033 |  | rcr | b | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.4143 | 0.0099 | Recoverable Result | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.2143 | 0.0085 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.007 | . | ug/L | 1.1143 | 0.0078 | Recoverable Result | 2033 | Y | tpe | b | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20142200164 | 2014-08-07 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.0093 | . | ug/L | 1.0968 | 0.0102 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142470041 | 2014-09-03 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0093 | . | ug/L | 1.0968 | 0.0102 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0093 | . | ug/L | 1.1183 | 0.0104 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143370094 | 2014-12-03 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0093 | . | ug/L | 1.3333 | 0.0124 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20141360094 | 2014-05-16 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.00948 | . | ug/L | 0.90717 | 0.0086 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.00948 | . | ug/L | 0.92827 | 0.0088 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.00948 | . | ug/L | 0.7384 | 0.007 | Recoverable Result | 2033 | Y | rcr | b | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.00948 | . | ug/L | 1.1076 | 0.0105 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20162020124 | 2016-07-20 06:15 | ETHION | 82346GCM40 | 0.0046 | 0.01152 | . | ug/L | 1.1024 | 0.0127 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.01152 | . | ug/L | 1.0243 | 0.0118 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20162150213 | 2016-08-02 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.012 | . | ug/L | 1.9333 | 0.0232 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20151270112 | 2015-05-07 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.014 | . | ug/L | 1.2786 | 0.0179 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.014 | . | ug/L | 0.93571 | 0.0131 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.014 | . | ug/L | 0.94286 | 0.0132 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.014 | . | ug/L | 0.93571 | 0.0131 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.014 | . | ug/L | 1.1286 | 0.0158 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20132690010 | 2013-09-25 08:00 | ETHION | 82346GCM40 | 0.0046 | 0.015 | . | ug/L | 0.99333 | 0.0149 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.015 | . | ug/L | 0.90667 | 0.0136 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.0175 | . | ug/L | 1.28 | 0.0224 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20142530087 | 2014-09-10 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0186 | . | ug/L | 0.95699 | 0.0178 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0186 | . | ug/L | 1.0323 | 0.0192 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0186 | . | ug/L | 1.0538 | 0.0196 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.0186 | . | ug/L | 1.1505 | 0.0214 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20141570088 | 2014-06-05 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.01896 | . | ug/L | 0.78059 | 0.0148 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.01896 | . | ug/L | 1.0759 | 0.0204 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.01896 | . | ug/L | 1.134 | 0.0215 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110690078 | 2011-03-10 06:30 | ETHION | 82346GCM40 | 0.008 | 0.019592 | . | ug/L | 0.8983 | 0.0176 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20112380055 | 2011-08-25 10:00 | ETHION | 82346GCM40 | 0.008 | 0.02 | . | ug/L | 0.905 | 0.0181 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | ETHION | 82346GCM40 | 0.01 | 0.02 | . | ug/L | 0.865 | 0.0173 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | ETHION | 82346GCM40 | 0.01 | 0.02 | . | ug/L | 0.56 | 0.0112 | Recoverable Result | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | ETHION | 82346GCM40 | 0.01 | 0.02 | . | ug/L | 0.86 | 0.0172 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20110280004 | 2011-01-27 06:30 | ETHION | 82346GCM40 | 0.008 | 0.02009 | . | ug/L | 0.89595 | 0.018 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111260154 | 2011-05-05 07:30 | ETHION | 82346GCM40 | 0.008 | 0.02022 | . | ug/L | 0.94459 | 0.0191 | Recoverable Result | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20110070109 | 2011-01-06 07:00 | ETHION | 82346GCM40 | 0.008 | 0.021701 | . | ug/L | 1.0967 | 0.0238 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20111960039 | 2011-07-14 08:00 | ETHION | 82346GCM40 | 0.008 | 0.02212 | . | ug/L | 1.2929 | 0.0286 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | ETHION | 82346GCM40 | 0.01 | 0.02212 | . | ug/L | 0.87251 | 0.0193 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | ETHION | 82346GCM40 | 0.01 | 0.02212 | . | ug/L | 0.81374 | 0.018 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | ETHION | 82346GCM40 | 0.01 | 0.02212 | . | ug/L | 0.83635 | 0.0185 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | ETHION | 82346GCM40 | 0.008 | 0.022253 | . | ug/L | 1.2133 | 0.027 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20111470065 | 2011-05-26 07:30 | ETHION | 82346GCM40 | 0.008 | 0.022357 | . | ug/L | 0.85879 | 0.0192 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20161470001 | 2016-05-25 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.02304 | . | ug/L | 0.9375 | 0.0216 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161740258 | 2016-06-22 06:15 | ETHION | 82346GCM40 | 0.0046 | 0.024 | . | ug/L | 0.96667 | 0.0232 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20110490035 | 2011-02-17 08:30 | ETHION | 82346GCM40 | 0.008 | 0.02475 | . | ug/L | 1.0384 | 0.0257 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20152460215 | 2015-09-03 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.028 | . | ug/L | 0.8 | 0.0224 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.028 | . | ug/L | 0.66429 | 0.0186 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20132490342 | 2013-09-06 06:50 | ETHION | 82346GCM40 | 0.0046 | 0.03 | . | ug/L | 0.92333 | 0.0277 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.03 | . | ug/L | 0.91667 | 0.0275 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20161880109 | 2016-07-06 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.03 | . | ug/L | 1.1267 | 0.0338 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111750006 | 2011-06-23 07:00 | ETHION | 82346GCM40 | 0.008 | 0.04 | . | ug/L | 0.8925 | 0.0357 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | ETHION | 82346GCM40 | 0.008 | 0.04 | . | ug/L | 0.785 | 0.0314 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | ETHION | 82346GCM40 | 0.01 | 0.04 | . | ug/L | 0.7975 | 0.0319 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | ETHION | 82346GCM40 | 0.01 | 0.04 | . | ug/L | 0.8375 | 0.0335 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20110410061 | 2011-02-10 07:00 | ETHION | 82346GCM40 | 0.008 | 0.04398 | . | ug/L | 0.93678 | 0.0412 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | ETHION | 82346GCM40 | 0.01 | 0.04424 | . | ug/L | 0.6623 | 0.0293 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20111590005 | 2011-06-07 10:00 | ETHION | 82346GCM40 | 0.008 | 0.074096 | . | ug/L | 0.76927 | 0.057 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | ETHION | 82346GCM40 | 0.008 | 0.099483 | . | ug/L | 0.70263 | 0.0699 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20121870008 | 2012-07-03 08:00 | ETHION | 82346GCM40 | 0.01 | 0.1 | . | ug/L | 0.836 | 0.0836 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122020004 | 2012-07-19 06:30 | ETHION | 82346GCM40 | 0.01 | 0.1 | . | ug/L | 0.744 | 0.0744 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20130390105 | 2013-02-07 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.1 | . | ug/L | 0.7 | 0.07 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20122300021 | 2012-08-16 06:30 | ETHION | 82346GCM40 | 0.01 | 0.1038 | . | ug/L | 0.87861 | 0.0912 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122430227 | 2012-08-30 06:30 | ETHION | 82346GCM40 | 0.01 | 0.1038 | . | ug/L | 0.82563 | 0.0857 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.1038 | . | ug/L | 0.6763 | 0.0702 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20122850005 | 2012-10-10 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.25 | . | ug/L | 0.664 | 0.166 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | ETHION | 82346GCM40 | 0.0046 | 0.25 | . | ug/L | 0.664 | 0.166 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130810108 | 2013-03-21 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.25 | . | ug/L | 0.808 | 0.202 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20122720048 | 2012-09-27 07:00 | ETHION | 82346GCM40 | 0.0046 | 0.2595 | . | ug/L | 0.90173 | 0.234 | Recoverable Result | 2033 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123560092 | 2012-12-20 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.2595 | . | ug/L | 0.5896 | 0.153 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130940097 | 2013-04-04 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.2595 | . | ug/L | 0.59345 | 0.154 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20123140095 | 2012-11-08 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.5 | . | ug/L | 0.746 | 0.373 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123260037 | 2012-11-20 06:30 | ETHION | 82346GCM40 | 0.0046 | 0.519 | . | ug/L | 0.75337 | 0.391 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl