## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ETHION MONOXON | 61644GCM39 | 2011-02-17 08:30 | 20110490035 | 0.021 | 0.02475 | E | 0.0289 | ug/L | 1.1677 | V | rcr | mc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ETHION MONOXON | 61644GCM39 | 2011-04-07 09:00 | 20110980030 | 0.021 | 0.099483 | E | 0.0752 | ug/L | 0.75591 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ETHION MONOXON | 61644GCM39 | 2011-06-07 10:00 | 20111590005 | 0.021 | 0.074096 | E | 0.0607 | ug/L | 0.81921 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl