## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20112310030 | 2011-08-18 08:47 | METALAXYL | 61596GCM39 | 0.014 | 0.1104 | < | ug/L |  |  | False Negative | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20151210037 | 2015-04-30 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 1.0095 | 0.0212 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 1.4857 | 0.0312 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 1.3095 | 0.0275 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.57143 | 0.012 | Recoverable Result | 2033 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.77619 | 0.0163 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.88095 | 0.0185 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.92381 | 0.0194 | Recoverable Result | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.7619 | 0.016 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.021 | . | ug/L | 0.95714 | 0.0201 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20110490035 | 2011-02-17 08:30 | METALAXYL | 61596GCM39 | 0.014 | 0.02475 | . | ug/L | 1.1354 | 0.0281 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20110210095 | 2011-01-20 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.027672 | . | ug/L | 0.92513 | 0.0256 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20141360094 | 2014-05-16 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02793 | . | ug/L | 0.81275 | 0.0227 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141640076 | 2014-06-12 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02793 | . | ug/L | 0.80559 | 0.0225 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02793 | . | ug/L | 0.69459 | 0.0194 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142470041 | 2014-09-03 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02793 | . | ug/L | 1.1923 | 0.0333 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20111680035 | 2011-06-16 08:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02807 | . | ug/L | 1.0403 | 0.0292 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02812 | . | ug/L | 1.298 | 0.0365 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.02812 | . | ug/L | 1.2589 | 0.0354 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | METALAXYL | 61596GCM39 | 0.014 | 0.02812 | . | ug/L | 0.77169 | 0.0217 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20141080004 | 2014-04-17 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0282 | . | ug/L | 0.88652 | 0.025 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141490205 | 2014-05-29 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0282 | . | ug/L | 0.97518 | 0.0275 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20142820151 | 2014-10-09 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0282 | . | ug/L | 0.90426 | 0.0255 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20150150115 | 2015-01-15 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0282 | . | ug/L | 0.7766 | 0.0219 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20110840108 | 2011-03-24 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.02825 | . | ug/L | 1.1044 | 0.0312 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.029496 | . | ug/L | 0.96962 | 0.0286 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | METALAXYL | 61596GCM39 | 0.014 | 0.029637 | . | ug/L | 1.3362 | 0.0396 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0298 | . | ug/L | 0.90604 | 0.027 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0298 | . | ug/L | 1.0839 | 0.0323 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0298 | . | ug/L | 1.104 | 0.0329 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0298 | . | ug/L | 0.92953 | 0.0277 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0298 | . | ug/L | 0.86577 | 0.0258 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20121870008 | 2012-07-03 08:00 | METALAXYL | 61596GCM39 | 0.014 | 0.03 | . | ug/L | 1.1267 | 0.0338 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122020004 | 2012-07-19 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.03 | . | ug/L | 1.04 | 0.0312 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20130390105 | 2013-02-07 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.03 | . | ug/L | 0.71667 | 0.0215 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20122300021 | 2012-08-16 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0308 | . | ug/L | 1.0227 | 0.0315 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122430227 | 2012-08-30 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0308 | . | ug/L | 0.93831 | 0.0289 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0308 | . | ug/L | 0.83442 | 0.0257 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20162020124 | 2016-07-20 06:15 | METALAXYL | 61596GCM39 | 0.014 | 0.035 | . | ug/L | 0.90286 | 0.0316 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.035 | . | ug/L | 0.87143 | 0.0305 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20162150213 | 2016-08-02 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.036 | . | ug/L | 0.88889 | 0.032 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20151270112 | 2015-05-07 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.042 | . | ug/L | 0.94048 | 0.0395 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.042 | . | ug/L | 1.1452 | 0.0481 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.042 | . | ug/L | 0.71429 | 0.03 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.042 | . | ug/L | 0.73095 | 0.0307 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.042 | . | ug/L | 0.72857 | 0.0306 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20133050050 | 2013-10-31 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.05504 | . | ug/L | 0.94477 | 0.052 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.05504 | . | ug/L | 1.0174 | 0.056 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.05504 | . | ug/L | 1.0138 | 0.0558 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.05504 | . | ug/L | 0.77035 | 0.0424 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20131510026 | 2013-05-30 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0552 | . | ug/L | 0.83152 | 0.0459 | Recoverable Result | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0552 | . | ug/L | 0.68841 | 0.038 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133580036 | 2013-12-23 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.0552 | . | ug/L | 0.77355 | 0.0427 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20141770149 | 2014-06-26 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05586 | . | ug/L | 0.83423 | 0.0466 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142720002 | 2014-09-25 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05586 | . | ug/L | 0.79305 | 0.0443 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20143110108 | 2014-11-06 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05586 | . | ug/L | 0.75725 | 0.0423 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150430092 | 2015-02-12 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05586 | . | ug/L | 0.74114 | 0.0414 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20111190184 | 2011-04-28 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.056022 | . | ug/L | 1.2549 | 0.0703 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05624 | . | ug/L | 1.0028 | 0.0564 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05624 | . | ug/L | 0.75391 | 0.0424 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.05624 | . | ug/L | 0.97973 | 0.0551 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20141220025 | 2014-05-01 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0564 | . | ug/L | 1.1809 | 0.0666 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20142270001 | 2014-08-14 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0564 | . | ug/L | 0.71454 | 0.0403 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20143240095 | 2014-11-19 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0564 | . | ug/L | 1.0408 | 0.0587 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20110620082 | 2011-03-03 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.059174 | . | ug/L | 0.93284 | 0.0552 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0596 | . | ug/L | 1.0436 | 0.0622 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.0596 | . | ug/L | 0.92785 | 0.0553 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | METALAXYL | 61596GCM39 | 0.014 | 0.060002 | . | ug/L | 0.91497 | 0.0549 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20161470001 | 2016-05-25 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.07 | . | ug/L | 1.06 | 0.0742 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161740258 | 2016-06-22 06:15 | METALAXYL | 61596GCM39 | 0.014 | 0.072 | . | ug/L | 0.71944 | 0.0518 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20111590005 | 2011-06-07 10:00 | METALAXYL | 61596GCM39 | 0.014 | 0.074096 | . | ug/L | 0.9987 | 0.074 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20122850005 | 2012-10-10 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.075 | . | ug/L | 0.85867 | 0.0644 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.075 | . | ug/L | 0.94933 | 0.0712 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130810108 | 2013-03-21 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.075 | . | ug/L | 0.896 | 0.0672 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20122720048 | 2012-09-27 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.077 | . | ug/L | 1.0312 | 0.0794 | Recoverable Result | 2033 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123560092 | 2012-12-20 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.077 | . | ug/L | 0.81818 | 0.063 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130940097 | 2013-04-04 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.077 | . | ug/L | 0.82078 | 0.0632 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20152460215 | 2015-09-03 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.084 | . | ug/L | 0.84643 | 0.0711 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.084 | . | ug/L | 1.0155 | 0.0853 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | METALAXYL | 61596GCM39 | 0.014 | 0.09 | . | ug/L | 1.2556 | 0.113 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20110980030 | 2011-04-07 09:00 | METALAXYL | 61596GCM39 | 0.014 | 0.099483 | . | ug/L | 0.96901 | 0.0964 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20131370001 | 2013-05-16 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.1376 | . | ug/L | 1.0174 | 0.14 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | METALAXYL | 61596GCM39 | 0.014 | 0.1376 | . | ug/L | 1.0392 | 0.143 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | METALAXYL | 61596GCM39 | 0.014 | 0.138 | . | ug/L | 1.0072 | 0.139 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.138 | . | ug/L | 0.78986 | 0.109 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20123140095 | 2012-11-08 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.15 | . | ug/L | 0.89333 | 0.134 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123260037 | 2012-11-20 06:30 | METALAXYL | 61596GCM39 | 0.014 | 0.154 | . | ug/L | 0.96753 | 0.149 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20132490342 | 2013-09-06 06:50 | METALAXYL | 61596GCM39 | 0.014 | 0.276 | . | ug/L | 0.97464 | 0.269 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl