## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152190003 | 2015-08-06 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.018 | E | ug/L | 0.73333 | 0.0132 | Estimated Values | 2033 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.018 | . | ug/L | 0.86111 | 0.0155 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.018 | . | ug/L | 0.84444 | 0.0152 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.018 | . | ug/L | 0.80556 | 0.0145 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20151210037 | 2015-04-30 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0182 | E | ug/L | 0.91758 | 0.0167 | Estimated Values | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20160070059 | 2016-01-07 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0182 | . | ug/L | 0.88462 | 0.0161 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160430111 | 2016-02-11 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0182 | . | ug/L | 0.95055 | 0.0173 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0182 | . | ug/L | 0.91209 | 0.0166 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.87083 | 0.0209 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141360094 | 2014-05-16 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.71667 | 0.0172 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141490205 | 2014-05-29 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.9375 | 0.0225 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141640076 | 2014-06-12 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.8625 | 0.0207 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.725 | 0.0174 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142470041 | 2014-09-03 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.88333 | 0.0212 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.80833 | 0.0194 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20150150115 | 2015-01-15 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.024 | . | ug/L | 0.76667 | 0.0184 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20110490035 | 2011-02-17 08:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.02475 | . | ug/L | 1.0303 | 0.0255 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20161190075 | 2016-04-28 08:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0296 | E | ug/L | 0.71622 | 0.0212 | Estimated Values | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0296 | . | ug/L | 0.81419 | 0.0241 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0296 | . | ug/L | 0.90203 | 0.0267 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0296 | . | ug/L | 0.9223 | 0.0273 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20122210006 | 2012-08-07 06:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0298 | . | ug/L | 0.88591 | 0.0264 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0298 | . | ug/L | 0.90268 | 0.0269 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0298 | E | ug/L | 0.74161 | 0.0221 | Estimated Values | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0298 | . | ug/L | 1.1174 | 0.0333 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0302 | . | ug/L | 0.84106 | 0.0254 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20140860102 | 2014-03-27 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0302 | . | ug/L | 0.68212 | 0.0206 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20121600156 | 2012-06-07 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0304 | . | ug/L | 1.0822 | 0.0329 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0304 | . | ug/L | 1.0658 | 0.0324 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0304 | . | ug/L | 0.82566 | 0.0251 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0304 | . | ug/L | 0.67105 | 0.0204 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20132910008 | 2013-10-17 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0304 | . | ug/L | 0.73026 | 0.0222 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0304 | . | ug/L | 0.88816 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20162150213 | 2016-08-02 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.03056 | . | ug/L | 0.87696 | 0.0268 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.03056 | . | ug/L | 0.85079 | 0.026 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20152330039 | 2015-08-20 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.036 | . | ug/L | 0.69722 | 0.0251 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.036 | . | ug/L | 0.73889 | 0.0266 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.036 | . | ug/L | 0.78056 | 0.0281 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.036 | . | ug/L | 0.75556 | 0.0272 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20151550293 | 2015-06-04 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0364 | . | ug/L | 0.81868 | 0.0298 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0364 | . | ug/L | 0.75275 | 0.0274 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20110690078 | 2011-03-10 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.047022 | . | ug/L | 0.95062 | 0.0447 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20112380055 | 2011-08-25 10:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048 | . | ug/L | 0.81875 | 0.0393 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048 | . | ug/L | 0.86875 | 0.0417 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048 | E | ug/L | 1.25 | 0.06 | Estimated Values | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048 | . | ug/L | 0.82917 | 0.0398 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20141220025 | 2014-05-01 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 1.2083 | 0.058 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141770149 | 2014-06-26 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.66875 | 0.0321 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142270001 | 2014-08-14 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.71667 | 0.0344 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142720002 | 2014-09-25 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.72292 | 0.0347 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20143110108 | 2014-11-06 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.7125 | 0.0342 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.76458 | 0.0367 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.048 | . | ug/L | 0.69375 | 0.0333 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20110280004 | 2011-01-27 06:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048217 | . | ug/L | 0.68855 | 0.0332 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20110070109 | 2011-01-06 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048268 | . | ug/L | 0.83077 | 0.0401 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20111260154 | 2011-05-05 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.048529 | . | ug/L | 0.74801 | 0.0363 | Recoverable Result | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20111960039 | 2011-07-14 08:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0492 | . | ug/L | 1.0935 | 0.0538 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0492 | . | ug/L | 0.85366 | 0.042 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0492 | . | ug/L | 0.86382 | 0.0425 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0492 | . | ug/L | 1.122 | 0.0552 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.049497 | . | ug/L | 0.66469 | 0.0329 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20111470065 | 2011-05-26 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.049727 | . | ug/L | 0.82852 | 0.0412 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20133050050 | 2013-10-31 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.05008 | . | ug/L | 0.85663 | 0.0429 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.05008 | . | ug/L | 0.97843 | 0.049 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.05008 | . | ug/L | 0.93051 | 0.0466 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.05008 | . | ug/L | 0.66893 | 0.0335 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20131510026 | 2013-05-30 07:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0512 | . | ug/L | 0.70312 | 0.036 | Recoverable Result | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0512 | . | ug/L | 0.66016 | 0.0338 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133580036 | 2013-12-23 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0512 | . | ug/L | 0.68164 | 0.0349 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20161470001 | 2016-05-25 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.06112 | . | ug/L | 0.89496 | 0.0547 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20152610011 | 2015-09-17 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0728 | . | ug/L | 0.80632 | 0.0587 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0728 | . | ug/L | 0.7761 | 0.0565 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.074 | . | ug/L | 1.1622 | 0.086 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.074096 | . | ug/L | 0.86105 | 0.0638 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20123040157 | 2012-10-30 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0745 | . | ug/L | 0.90336 | 0.0673 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0755 | . | ug/L | 0.71523 | 0.054 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.0755 | . | ug/L | 0.74437 | 0.0562 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20122850005 | 2012-10-10 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.076 | . | ug/L | 0.80132 | 0.0609 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.076 | . | ug/L | 0.92105 | 0.07 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.076 | . | ug/L | 0.68553 | 0.0521 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20111750006 | 2011-06-23 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.096 | . | ug/L | 0.96875 | 0.093 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.096 | . | ug/L | 0.84167 | 0.0808 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | METOLACHLOR | 39415GCM35 | 0.02 | 0.096 | . | ug/L | 0.94896 | 0.0911 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.096 | . | ug/L | 0.85833 | 0.0824 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20110410061 | 2011-02-10 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.097823 | . | ug/L | 0.7258 | 0.071 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.0984 | . | ug/L | 0.75203 | 0.074 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20110980030 | 2011-04-07 09:00 | METOLACHLOR | 39415GCM35 | 0.02 | 0.099483 | . | ug/L | 0.89664 | 0.0892 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20112310030 | 2011-08-18 08:47 | METOLACHLOR | 39415GCM35 | 0.02 | 0.1024 | . | ug/L | 0.78613 | 0.0805 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20131370001 | 2013-05-16 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.1252 | . | ug/L | 1.1581 | 0.145 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.1252 | . | ug/L | 0.91853 | 0.115 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.128 | . | ug/L | 0.92187 | 0.118 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.128 | . | ug/L | 0.92969 | 0.119 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20123420074 | 2012-12-06 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.149 | . | ug/L | 1.0403 | 0.155 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | METOLACHLOR | 39415GCM35 | 0.012 | 0.149 | . | ug/L | 0.86577 | 0.129 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20123260037 | 2012-11-20 06:30 | METOLACHLOR | 39415GCM35 | 0.012 | 0.152 | . | ug/L | 0.99342 | 0.151 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20132490342 | 2013-09-06 06:50 | METOLACHLOR | 39415GCM35 | 0.012 | 0.256 | . | ug/L | 1.0039 | 0.257 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl