## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160210080 | 2016-01-21 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | < | ug/L |  | 0.0124 | SACRALT | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | < | ug/L |  | 0.0124 | SACRALT | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20143370094 | 2014-12-03 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | < | ug/L |  |  | False Negative | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20160630046 | 2016-03-03 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.024 | < | ug/L |  |  | False Negative | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20123420074 | 2012-12-06 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.3 | < | ug/L |  |  | False Negative | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20151210037 | 2015-04-30 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 1.125 | 0.0135 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 0.725 | 0.0087 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 0.94167 | 0.0113 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | E | ug/L | 0.65 | 0.0078 | Estimated Values | 2033 |  | rcr | bn | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 1.0667 | 0.0128 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 1.0833 | 0.013 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20161050143 | 2016-04-14 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.012 | . | ug/L | 1.075 | 0.0129 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.91824 | 0.0146 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.93082 | 0.0148 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.88679 | 0.0141 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.89937 | 0.0143 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.84906 | 0.0135 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.91824 | 0.0146 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20150150115 | 2015-01-15 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0159 | . | ug/L | 0.8239 | 0.0131 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20131650073 | 2013-06-13 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.18 | 0.0236 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.075 | 0.0215 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132280016 | 2013-08-15 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.18 | 0.0236 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.13 | 0.0226 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133310030 | 2013-11-26 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.045 | 0.0209 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.03 | 0.0206 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 1.095 | 0.0219 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20162150213 | 2016-08-02 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.02 | . | ug/L | 0.98 | 0.0196 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162020124 | 2016-07-20 06:15 | MOLINATE | 82671GCM35 | 0.008 | 0.02012 | . | ug/L | 1.0537 | 0.0212 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.02012 | . | ug/L | 1.173 | 0.0236 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151270112 | 2015-05-07 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.024 | . | ug/L | 1.0875 | 0.0261 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.024 | . | ug/L | 0.72917 | 0.0175 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.024 | . | ug/L | 0.72917 | 0.0175 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.024 | . | ug/L | 0.87083 | 0.0209 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20110490035 | 2011-02-17 08:30 | MOLINATE | 82671GCM35 | 0.004 | 0.02475 | . | ug/L | 1.0909 | 0.027 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20141220025 | 2014-05-01 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 1.1824 | 0.0376 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 1.0755 | 0.0342 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142270001 | 2014-08-14 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.78616 | 0.025 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142530087 | 2014-09-10 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.86792 | 0.0276 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.86792 | 0.0276 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142960086 | 2014-10-23 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.86164 | 0.0274 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.7673 | 0.0244 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.0318 | . | ug/L | 0.98428 | 0.0313 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110340007 | 2011-02-02 06:30 | MOLINATE | 82671GCM35 | 0.004 | 0.034564 | . | ug/L | 1.0184 | 0.0352 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | MOLINATE | 82671GCM35 | 0.004 | 0.034729 | . | ug/L | 1.1719 | 0.0407 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.03492 | . | ug/L | 1.0367 | 0.0362 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | MOLINATE | 82671GCM35 | 0.004 | 0.03492 | . | ug/L | 0.98225 | 0.0343 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.03492 | . | ug/L | 1.0166 | 0.0355 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | MOLINATE | 82671GCM35 | 0.004 | 0.03492 | . | ug/L | 0.96506 | 0.0337 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | MOLINATE | 82671GCM35 | 0.004 | 0.03492 | . | ug/L | 0.9937 | 0.0347 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20110210095 | 2011-01-20 07:30 | MOLINATE | 82671GCM35 | 0.004 | 0.035426 | . | ug/L | 0.89482 | 0.0317 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20111680035 | 2011-06-16 08:00 | MOLINATE | 82671GCM35 | 0.004 | 0.035935 | . | ug/L | 0.99902 | 0.0359 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.036 | . | ug/L | 1.0889 | 0.0392 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | MOLINATE | 82671GCM35 | 0.004 | 0.036 | . | ug/L | 1 | 0.036 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | MOLINATE | 82671GCM35 | 0.004 | 0.036 | . | ug/L | 0.93889 | 0.0338 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | MOLINATE | 82671GCM35 | 0.004 | 0.036166 | . | ug/L | 1.0258 | 0.0371 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20161740258 | 2016-06-22 06:15 | MOLINATE | 82671GCM35 | 0.008 | 0.04 | . | ug/L | 0.8375 | 0.0335 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20161470001 | 2016-05-25 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.04024 | . | ug/L | 1.0313 | 0.0415 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20152460215 | 2015-09-03 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.048 | . | ug/L | 0.96042 | 0.0461 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.048 | . | ug/L | 0.4125 | 0.0198 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20131370001 | 2013-05-16 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.05 | . | ug/L | 1.092 | 0.0546 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132690010 | 2013-09-25 08:00 | MOLINATE | 82671GCM35 | 0.008 | 0.05 | . | ug/L | 1.218 | 0.0609 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.05 | . | ug/L | 0.872 | 0.0436 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20161880109 | 2016-07-06 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.05 | . | ug/L | 1.228 | 0.0614 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20121870008 | 2012-07-03 08:00 | MOLINATE | 82671GCM35 | 0.004 | 0.06 | . | ug/L | 1.045 | 0.0627 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | MOLINATE | 82671GCM35 | 0.004 | 0.06 | . | ug/L | 0.875 | 0.0525 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | MOLINATE | 82671GCM35 | 0.004 | 0.06 | . | ug/L | 0.99833 | 0.0599 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | MOLINATE | 82671GCM35 | 0.004 | 0.06 | . | ug/L | 0.915 | 0.0549 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 0.82 | 0.0492 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 0.905 | 0.0543 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 1.0567 | 0.0634 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 0.995 | 0.0597 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 0.99333 | 0.0596 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.06 | . | ug/L | 0.86167 | 0.0517 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20110620082 | 2011-03-03 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.069341 | . | ug/L | 1.047 | 0.0726 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.06984 | . | ug/L | 0.88774 | 0.062 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.06984 | . | ug/L | 0.9622 | 0.0672 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | MOLINATE | 82671GCM35 | 0.004 | 0.070311 | . | ug/L | 1.0724 | 0.0754 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20111190184 | 2011-04-28 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.07172 | . | ug/L | 1.0666 | 0.0765 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | MOLINATE | 82671GCM35 | 0.004 | 0.072 | . | ug/L | 1.0778 | 0.0776 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.072 | . | ug/L | 0.85833 | 0.0618 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | MOLINATE | 82671GCM35 | 0.004 | 0.072 | . | ug/L | 0.99583 | 0.0717 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20111590005 | 2011-06-07 10:00 | MOLINATE | 82671GCM35 | 0.004 | 0.074096 | . | ug/L | 0.96092 | 0.0712 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | MOLINATE | 82671GCM35 | 0.004 | 0.099483 | . | ug/L | 1.1359 | 0.113 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20132490342 | 2013-09-06 06:50 | MOLINATE | 82671GCM35 | 0.008 | 0.1 | . | ug/L | 0.962 | 0.0962 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.1 | . | ug/L | 1.02 | 0.102 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20121730123 | 2012-06-21 06:00 | MOLINATE | 82671GCM35 | 0.004 | 0.15 | . | ug/L | 0.96 | 0.144 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | MOLINATE | 82671GCM35 | 0.008 | 0.15 | . | ug/L | 0.99333 | 0.149 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.15 | . | ug/L | 0.84 | 0.126 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.15 | . | ug/L | 0.89333 | 0.134 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.15 | . | ug/L | 0.93333 | 0.14 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.15 | . | ug/L | 0.89333 | 0.134 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20123140095 | 2012-11-08 06:30 | MOLINATE | 82671GCM35 | 0.008 | 0.3 | . | ug/L | 0.89 | 0.267 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20130250061 | 2013-01-24 06:00 | MOLINATE | 82671GCM35 | 0.008 | 0.3 | . | ug/L | 0.89333 | 0.268 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl