## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210037 | 2015-04-30 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.88667 | 0.0133 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.90667 | 0.0136 | Recoverable Result | 2033 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 1.06 | 0.0159 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | E | ug/L | 1.0467 | 0.0157 | Estimated Values | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.70667 | 0.0106 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.95333 | 0.0143 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.93333 | 0.014 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.015 | . | ug/L | 0.86667 | 0.013 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 0.87562 | 0.0176 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 0.79602 | 0.016 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 0.71642 | 0.0144 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 0.88557 | 0.0178 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 0.81592 | 0.0164 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 1.0199 | 0.0205 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20143370094 | 2014-12-03 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 1.2139 | 0.0244 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0201 | . | ug/L | 1.1144 | 0.0224 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20131650073 | 2013-06-13 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 0.8375 | 0.0201 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 1.0958 | 0.0263 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132280016 | 2013-08-15 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 0.95833 | 0.023 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 0.8375 | 0.0201 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133310030 | 2013-11-26 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 1.2167 | 0.0292 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 0.91667 | 0.022 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 0.83333 | 0.02 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20162150213 | 2016-08-02 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.024 | . | ug/L | 1.7833 | 0.0428 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20110490035 | 2011-02-17 08:30 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.02475 | . | ug/L | 0.92525 | 0.0229 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20162020124 | 2016-07-20 06:15 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.025 | . | ug/L | 0.94 | 0.0235 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.025 | . | ug/L | 0.888 | 0.0222 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20110340007 | 2011-02-02 06:30 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.027477 | . | ug/L | 1.0445 | 0.0287 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.027608 | . | ug/L | 0.89466 | 0.0247 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20110210095 | 2011-01-20 07:30 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.027711 | . | ug/L | 0.77947 | 0.0216 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20112100007 | 2011-07-28 07:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.02776 | . | ug/L | 1.4337 | 0.0398 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02776 | . | ug/L | 0.91499 | 0.0254 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02776 | . | ug/L | 0.73127 | 0.0203 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02776 | . | ug/L | 0.91499 | 0.0254 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02776 | . | ug/L | 0.85014 | 0.0236 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20111680035 | 2011-06-16 08:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.028109 | . | ug/L | 1.1064 | 0.0311 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.02816 | . | ug/L | 0.79901 | 0.0225 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02816 | . | ug/L | 0.83097 | 0.0234 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.02816 | . | ug/L | 0.74219 | 0.0209 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.02829 | . | ug/L | 0.89077 | 0.0252 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20151550293 | 2015-06-04 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 0.92667 | 0.0278 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 0.82333 | 0.0247 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 0.81333 | 0.0244 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 0.70667 | 0.0212 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 0.78333 | 0.0235 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.03 | . | ug/L | 1.03 | 0.0309 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20141220025 | 2014-05-01 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.85323 | 0.0343 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.65174 | 0.0262 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142270001 | 2014-08-14 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.87562 | 0.0352 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142530087 | 2014-09-10 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.85323 | 0.0343 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.98259 | 0.0395 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142960086 | 2014-10-23 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.86567 | 0.0348 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.97512 | 0.0392 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.0402 | . | ug/L | 0.94776 | 0.0381 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20161740258 | 2016-06-22 06:15 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.048 | . | ug/L | 1.0188 | 0.0489 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20161470001 | 2016-05-25 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.05 | . | ug/L | 0.728 | 0.0364 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20110620082 | 2011-03-03 07:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.055123 | . | ug/L | 1.1683 | 0.0644 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.05552 | E | ug/L | 0.91679 | 0.0509 | Estimated Values | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.05552 | E | ug/L | 0.97983 | 0.0544 | Estimated Values | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.055895 | . | ug/L | 0.65838 | 0.0368 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20111190184 | 2011-04-28 07:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.056101 | . | ug/L | 0.64526 | 0.0362 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.05632 | . | ug/L | 0.62322 | 0.0351 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.05632 | . | ug/L | 0.66584 | 0.0375 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.05632 | . | ug/L | 0.77592 | 0.0437 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20121870008 | 2012-07-03 08:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.77333 | 0.0464 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.70167 | 0.0421 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.79333 | 0.0476 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.67333 | 0.0404 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.66667 | 0.04 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.605 | 0.0363 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.76333 | 0.0458 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131370001 | 2013-05-16 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.88667 | 0.0532 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20131920149 | 2013-07-11 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.84833 | 0.0509 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132690010 | 2013-09-25 08:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.84667 | 0.0508 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20132910008 | 2013-10-17 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.88167 | 0.0529 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.73833 | 0.0443 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140370077 | 2014-02-06 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.71167 | 0.0427 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20140860102 | 2014-03-27 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.68333 | 0.041 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20152610011 | 2015-09-17 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.88667 | 0.0532 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 0.84 | 0.0504 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.074096 | . | ug/L | 0.6667 | 0.0494 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | OXYFLUORFEN | 61600GCM39 | 0.006 | 0.099483 | . | ug/L | 0.77601 | 0.0772 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20132490342 | 2013-09-06 06:50 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.12 | . | ug/L | 0.725 | 0.087 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.12 | . | ug/L | 0.65833 | 0.079 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20121730123 | 2012-06-21 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | . | ug/L | 0.6 | 0.09 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | E | ug/L | 0.67333 | 0.101 | Estimated Values | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | . | ug/L | 0.65733 | 0.0986 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | . | ug/L | 0.59333 | 0.089 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | . | ug/L | 0.68 | 0.102 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.15 | . | ug/L | 0.56 | 0.084 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20123140095 | 2012-11-08 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.3 | . | ug/L | 0.56 | 0.168 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.3 | . | ug/L | 0.58 | 0.174 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | OXYFLUORFEN | 61600GCM39 | 0.01 | 0.3 | . | ug/L | 0.46333 | 0.139 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl