## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20153160001 | 2015-11-10 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | < | ug/L |  |  | False Negative | 2033 |  | rcr | mc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20111470065 | 2011-05-26 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.031777 | < | ug/L |  |  | False Negative | 2033 | X | str | mc | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20162150213 | 2016-08-02 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03512 | < | ug/L |  |  | False Negative | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20121870008 | 2012-07-03 08:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.02008 | E | ug/L | 1.2898 | 0.0259 | Estimated Values | 2033 | V | rcr | mc | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122020004 | 2012-07-19 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.02008 | E | ug/L | 1.2948 | 0.026 | Estimated Values | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20130390105 | 2013-02-07 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.02008 | E | ug/L | 0.91633 | 0.0184 | Estimated Values | 2033 | V | rcr | mc | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20122300021 | 2012-08-16 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0204 | E | ug/L | 1.0588 | 0.0216 | Estimated Values | 2033 | V | rcr | mc | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122430227 | 2012-08-30 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0204 | E | ug/L | 1.3284 | 0.0271 | Estimated Values | 2033 | V | rcr | mc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0204 | E | ug/L | 1.4657 | 0.0299 | Estimated Values | 2033 | Y | rcr | mc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20151210037 | 2015-04-30 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 0.98095 | 0.0206 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 0.90952 | 0.0191 | Estimated Values | 2033 |  | rcr | mc | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 0.84762 | 0.0178 | Estimated Values | 2033 |  | rcr | mc | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20160070059 | 2016-01-07 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 0.74762 | 0.0157 | Estimated Values | 2033 |  | rcr | mc | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 0.89524 | 0.0188 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 1.0857 | 0.0228 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.021 | E | ug/L | 1.1429 | 0.024 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20110490035 | 2011-02-17 08:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.02475 | E | ug/L | 1.1232 | 0.0278 | Estimated Values | 2033 | V | rcr | mc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20141080004 | 2014-04-17 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.82079 | 0.0229 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.58781 | 0.0164 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.72401 | 0.0202 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.69534 | 0.0194 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.67025 | 0.0187 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.681 | 0.019 | Estimated Values | 2033 | Y | rcr | mc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20143370094 | 2014-12-03 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 0.8638 | 0.0241 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0279 | E | ug/L | 1.172 | 0.0327 | Estimated Values | 2033 | Y | rcr | mc | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20110070109 | 2011-01-06 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.030845 | E | ug/L | 1.0375 | 0.032 | Estimated Values | 2033 | S | rcr | mc | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110690078 | 2011-03-10 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.031348 | E | ug/L | 1.2696 | 0.0398 | Estimated Values | 2033 | V | rcr | mc | 2011-03-23 | Spex Organics T1100628017: 40 µl
20111960039 | 2011-07-14 08:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03144 | E | ug/L | 1.4695 | 0.0462 | Estimated Values | 2033 | V | rcr | mc | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03144 | E | ug/L | 0.98282 | 0.0309 | Estimated Values | 2033 | V | rcr | mc | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03144 | E | ug/L | 0.95738 | 0.0301 | Estimated Values | 2033 | V | rcr | mc | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03144 | E | ug/L | 1.2564 | 0.0395 | Estimated Values | 2033 | Y | rcr | mc | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03163 | E | ug/L | 0.724 | 0.0229 | Estimated Values | 2033 | X | str | mc | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20112380055 | 2011-08-25 10:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032 | E | ug/L | 0.85938 | 0.0275 | Estimated Values | 2033 | V | rcr | mc | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032 | E | ug/L | 1.0469 | 0.0335 | Estimated Values | 2033 | V | rcr | mc | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032 | E | ug/L | 1.4031 | 0.0449 | Estimated Values | 2033 | V | rcr | mc | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032 | E | ug/L | 1.0531 | 0.0337 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-02 | Spex Organics T1100628017: 40 µl
20110280004 | 2011-01-27 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032145 | E | ug/L | 1.263 | 0.0406 | Estimated Values | 2033 | V | rcr | mc | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111260154 | 2011-05-05 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.032353 | E | ug/L | 1.0726 | 0.0347 | Estimated Values | 2033 | V | rcr | mc | 2011-05-14 | Spex Organics T1100628017: 40 µl
20161190075 | 2016-04-28 08:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.034 | E | ug/L | 0.76765 | 0.0261 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.034 | E | ug/L | 0.79706 | 0.0271 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.034 | E | ug/L | 0.80588 | 0.0274 | Estimated Values | 2033 | W | sst | mc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.034 | E | ug/L | 0.74118 | 0.0252 | Estimated Values | 2033 | Y | SSt | mc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20131510026 | 2013-05-30 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.035 | E | ug/L | 1.0571 | 0.037 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.035 | E | ug/L | 0.96857 | 0.0339 | Estimated Values | 2033 | Y | rcr | mc | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133580036 | 2013-12-23 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.035 | E | ug/L | 0.83429 | 0.0292 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20162380004 | 2016-08-24 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.03512 | E | ug/L | 1.0706 | 0.0376 | Estimated Values | 2033 | Y | SSt | mc | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20133050050 | 2013-10-31 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0352 | E | ug/L | 1.0881 | 0.0383 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0352 | E | ug/L | 1.3381 | 0.0471 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0352 | E | ug/L | 1.0426 | 0.0367 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0352 | E | ug/L | 0.68466 | 0.0241 | Estimated Values | 2033 | Y | rcr | mc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20151550293 | 2015-06-04 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 0.97143 | 0.0408 | Estimated Values | 2033 | V | rcr | mc | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 1.1667 | 0.049 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 0.71667 | 0.0301 | Estimated Values | 2033 |  | rcr | mc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 0.62619 | 0.0263 | Estimated Values | 2033 |  | rcr | mc | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 0.74762 | 0.0314 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.042 | E | ug/L | 0.85714 | 0.036 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20122850005 | 2012-10-10 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0502 | E | ug/L | 0.8506 | 0.0427 | Estimated Values | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0502 | E | ug/L | 1.012 | 0.0508 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130810108 | 2013-03-21 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0502 | E | ug/L | 0.92032 | 0.0462 | Estimated Values | 2033 | V | rcr | mc | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20122720048 | 2012-09-27 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.051 | E | ug/L | 0.92353 | 0.0471 | Estimated Values | 2033 | V | rcr | mc | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123560092 | 2012-12-20 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.051 | E | ug/L | 1.002 | 0.0511 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130940097 | 2013-04-04 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.051 | E | ug/L | 0.93922 | 0.0479 | Estimated Values | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20141220025 | 2014-05-01 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 1.1165 | 0.0623 | Estimated Values | 2033 | Y | rcr | mc | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.98387 | 0.0549 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142270001 | 2014-08-14 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.6828 | 0.0381 | Estimated Values | 2033 | Y | rcr | mc | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142530087 | 2014-09-10 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.70609 | 0.0394 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.84767 | 0.0473 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142960086 | 2014-10-23 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.6595 | 0.0368 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.85842 | 0.0479 | Estimated Values | 2033 | Y | rcr | mc | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0558 | E | ug/L | 0.33871 | 0.0189 | Estimated Values | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110410061 | 2011-02-10 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.062511 | E | ug/L | 0.81585 | 0.051 | Estimated Values | 2033 | V | rcr | mc | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.06288 | E | ug/L | 0.78721 | 0.0495 | Estimated Values | 2033 | V | rcr | mc | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20111750006 | 2011-06-23 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.064 | E | ug/L | 1.0281 | 0.0658 | Estimated Values | 2033 | X | str | mc | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.064 | E | ug/L | 0.88906 | 0.0569 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.064 | E | ug/L | 1.3953 | 0.0893 | Estimated Values | 2033 | V | rcr | mc | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.064 | E | ug/L | 0.95937 | 0.0614 | Estimated Values | 2033 | X | str | mc | 2012-01-27 | Spex Organics T1100628017: 80 µl
20112310030 | 2011-08-18 08:47 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.07 | E | ug/L | 0.76286 | 0.0534 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20161470001 | 2016-05-25 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.07024 | E | ug/L | 0.93109 | 0.0654 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20111590005 | 2011-06-07 10:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.074096 | E | ug/L | 0.82326 | 0.061 | Estimated Values | 2033 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20152610011 | 2015-09-17 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.084 | E | ug/L | 0.4381 | 0.0368 | Estimated Values | 2033 |  | rcr | mc | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.084 | E | ug/L | 0.925 | 0.0777 | Estimated Values | 2033 |  | rcr | mc | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.085 | E | ug/L | 0.75529 | 0.0642 | Estimated Values | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20132560001 | 2013-09-12 08:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0875 | E | ug/L | 0.80114 | 0.0701 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.0875 | E | ug/L | 0.77029 | 0.0674 | Estimated Values | 2033 | Y | rcr | mc | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.088 | E | ug/L | 0.91818 | 0.0808 | Estimated Values | 2033 | V | rcr | mc | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.088 | E | ug/L | 0.74773 | 0.0658 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20110980030 | 2011-04-07 09:00 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.099483 | E | ug/L | 0.74787 | 0.0744 | Estimated Values | 2033 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.1004 | E | ug/L | 0.77789 | 0.0781 | Estimated Values | 2033 | V | rcr | mc | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123260037 | 2012-11-20 06:30 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.102 | E | ug/L | 0.92647 | 0.0945 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20132490342 | 2013-09-06 06:50 | PARAOXON-METHYL | 61664GCM39 | 0.014 | 0.175 | E | ug/L | 0.69714 | 0.122 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl