## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151270112 | 2015-05-07 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.024 | < | ug/L |  |  | False Negative | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151210037 | 2015-04-30 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 1.0917 | 0.0131 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 1.5833 | 0.019 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | E | ug/L | 1.7583 | 0.0211 | Estimated Values | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 0.775 | 0.0093 | Recoverable Result | 2033 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | E | ug/L | 1.0583 | 0.0127 | Estimated Values | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 0.925 | 0.0111 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 0.93333 | 0.0112 | Recoverable Result | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160560044 | 2016-02-25 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 1.1167 | 0.0134 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.012 | . | ug/L | 1.1583 | 0.0139 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0159 | . | ug/L | 1.1384 | 0.0181 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0159 | . | ug/L | 1.0189 | 0.0162 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0159 | . | ug/L | 1.1572 | 0.0184 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.01596 | . | ug/L | 1.0338 | 0.0165 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.01596 | . | ug/L | 0.90852 | 0.0145 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20150150115 | 2015-01-15 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.01596 | . | ug/L | 1.297 | 0.0207 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20121870008 | 2012-07-03 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.165 | 0.0233 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.06 | 0.0212 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.175 | 0.0235 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 0.95 | 0.019 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 0.915 | 0.0183 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 0.92 | 0.0184 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.35 | 0.027 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.03 | 0.0206 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.065 | 0.0213 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 0.995 | 0.0199 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 0.985 | 0.0197 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20162150213 | 2016-08-02 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02 | . | ug/L | 1.35 | 0.027 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162020124 | 2016-07-20 06:15 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02012 | . | ug/L | 1.0835 | 0.0218 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02012 | . | ug/L | 1.0338 | 0.0208 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20132280016 | 2013-08-15 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.022 | . | ug/L | 1.0864 | 0.0239 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.022 | . | ug/L | 1.0727 | 0.0236 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0222 | . | ug/L | 1.2658 | 0.0281 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0222 | . | ug/L | 1.4414 | 0.032 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0222 | . | ug/L | 1.5135 | 0.0336 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0222 | . | ug/L | 1.1577 | 0.0257 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0222 | . | ug/L | 1.0676 | 0.0237 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20151900132 | 2015-07-09 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.024 | . | ug/L | 1.4792 | 0.0355 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.024 | . | ug/L | 0.84167 | 0.0202 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.024 | . | ug/L | 0.8 | 0.0192 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.024 | . | ug/L | 0.95833 | 0.023 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20110490035 | 2011-02-17 08:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.02475 | . | ug/L | 1.2 | 0.0297 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20110210095 | 2011-01-20 07:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.031647 | . | ug/L | 1.0143 | 0.0321 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20142270001 | 2014-08-14 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0318 | . | ug/L | 0.86478 | 0.0275 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20143110108 | 2014-11-06 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0318 | . | ug/L | 1.0755 | 0.0342 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0318 | . | ug/L | 1.0723 | 0.0341 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03192 | . | ug/L | 1.1685 | 0.0373 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03192 | . | ug/L | 1.084 | 0.0346 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03192 | . | ug/L | 0.93358 | 0.0298 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20111680035 | 2011-06-16 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.032102 | . | ug/L | 1.3644 | 0.0438 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03216 | . | ug/L | 1.1598 | 0.0373 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03216 | . | ug/L | 1.0012 | 0.0322 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03216 | . | ug/L | 0.82711 | 0.0266 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.032309 | . | ug/L | 0.91926 | 0.0297 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.032584 | E | ug/L | 1.4117 | 0.046 | Estimated Values | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03274 | . | ug/L | 1.0385 | 0.034 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03292 | E | ug/L | 1.4095 | 0.0464 | Estimated Values | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03292 | . | ug/L | 1.0328 | 0.034 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03292 | . | ug/L | 0.85966 | 0.0283 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03292 | . | ug/L | 1.0207 | 0.0336 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.03292 | . | ug/L | 0.9599 | 0.0316 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20161740258 | 2016-06-22 06:15 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.04 | . | ug/L | 0.9025 | 0.0361 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20161470001 | 2016-05-25 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.04024 | . | ug/L | 1.2276 | 0.0494 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20152460215 | 2015-09-03 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.048 | . | ug/L | 0.79167 | 0.038 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.048 | . | ug/L | 1.0417 | 0.05 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20121730123 | 2012-06-21 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 0.984 | 0.0492 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | E | ug/L | 1.112 | 0.0556 | Estimated Values | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 1.024 | 0.0512 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 0.95 | 0.0475 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 0.898 | 0.0449 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 0.908 | 0.0454 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20161880109 | 2016-07-06 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.05 | . | ug/L | 1.328 | 0.0664 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20132690010 | 2013-09-25 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.055 | . | ug/L | 0.96727 | 0.0532 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.055 | . | ug/L | 0.75455 | 0.0415 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.0555 | . | ug/L | 1.173 | 0.0651 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20111190184 | 2011-04-28 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06407 | . | ug/L | 0.92711 | 0.0594 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06432 | . | ug/L | 0.99347 | 0.0639 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06432 | . | ug/L | 0.87531 | 0.0563 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06432 | . | ug/L | 1.0044 | 0.0646 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.065369 | E | ug/L | 1.4212 | 0.0929 | Estimated Values | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20120260028 | 2012-01-26 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06584 | E | ug/L | 1.1817 | 0.0778 | Estimated Values | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.06584 | E | ug/L | 1.2865 | 0.0847 | Estimated Values | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.066284 | . | ug/L | 0.96403 | 0.0639 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20111590005 | 2011-06-07 10:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.074096 | . | ug/L | 0.90423 | 0.067 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.099483 | E | ug/L | 0.89161 | 0.0887 | Estimated Values | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.1 | . | ug/L | 0.922 | 0.0922 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.1 | . | ug/L | 0.949 | 0.0949 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.1 | . | ug/L | 0.786 | 0.0786 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20132490342 | 2013-09-06 06:50 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.11 | . | ug/L | 0.75273 | 0.0828 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | PARATHION-METHYL | 82667GCM35 | 0.008 | 0.11 | . | ug/L | 0.81636 | 0.0898 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl