## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151760208 | 2015-06-25 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.018 | . | ug/L | 1.1 | 0.0198 | Recoverable Result | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20153030068 | 2015-10-29 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.018 | . | ug/L | 0.83333 | 0.015 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20152950078 | 2015-10-22 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.018 | . | ug/L | 0.55 | 0.0099 | Recoverable Result | 2033 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.018 | . | ug/L | 0.54444 | 0.0098 | Recoverable Result | 2033 |  | tpe | n | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160430111 | 2016-02-11 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.018 | . | ug/L | 0.9 | 0.0162 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20152040177 | 2015-07-23 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0182 | . | ug/L | 0.88462 | 0.0161 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152190003 | 2015-08-06 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0182 | . | ug/L | 0.67582 | 0.0123 | Recoverable Result | 2033 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20121870008 | 2012-07-03 08:00 | PROMETON | 04037GCM35 | 0.012 | 0.02 | . | ug/L | 1.02 | 0.0204 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122020004 | 2012-07-19 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.02 | . | ug/L | 1.17 | 0.0234 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20130390105 | 2013-02-07 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.02 | . | ug/L | 0.67 | 0.0134 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20122300021 | 2012-08-16 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.0202 | . | ug/L | 1.0099 | 0.0204 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122430227 | 2012-08-30 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.0202 | . | ug/L | 0.97525 | 0.0197 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.0202 | . | ug/L | 0.78218 | 0.0158 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20141080004 | 2014-04-17 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.84583 | 0.0203 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141360094 | 2014-05-16 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.75 | 0.018 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141490205 | 2014-05-29 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.99583 | 0.0239 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141640076 | 2014-06-12 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.79583 | 0.0191 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.57917 | 0.0139 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142470041 | 2014-09-03 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.7625 | 0.0183 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.88333 | 0.0212 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20150150115 | 2015-01-15 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.024 | . | ug/L | 0.74167 | 0.0178 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20110490035 | 2011-02-17 08:30 | PROMETON | 04037GCM35 | 0.012 | 0.02475 | . | ug/L | 1.0707 | 0.0265 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20131510026 | 2013-05-30 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.80333 | 0.0241 | Recoverable Result | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.59667 | 0.0179 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133580036 | 2013-12-23 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.66333 | 0.0199 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20161190075 | 2016-04-28 08:30 | PROMETON | 04037GCM35 | 0.012 | 0.03 | E | ug/L | 0.67667 | 0.0203 | Estimated Values | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.72 | 0.0216 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.86667 | 0.026 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162020124 | 2016-07-20 06:15 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.85333 | 0.0256 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162380004 | 2016-08-24 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.03 | . | ug/L | 0.93333 | 0.028 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20133050050 | 2013-10-31 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.03008 | . | ug/L | 1.1702 | 0.0352 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.03008 | . | ug/L | 0.96742 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.03008 | . | ug/L | 0.89761 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.03008 | . | ug/L | 0.85771 | 0.0258 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20151270112 | 2015-05-07 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.036 | . | ug/L | 0.75278 | 0.0271 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151550293 | 2015-06-04 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.036 | . | ug/L | 1.0639 | 0.0383 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20161260151 | 2016-05-05 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.036 | . | ug/L | 0.74444 | 0.0268 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20153440001 | 2015-12-09 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0364 | . | ug/L | 0.49451 | 0.018 | Recoverable Result | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20153510109 | 2015-12-17 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0364 | . | ug/L | 0.64286 | 0.0234 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160630046 | 2016-03-03 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0364 | E | ug/L | 0.59615 | 0.0217 | Estimated Values | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160770090 | 2016-03-17 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0364 | . | ug/L | 0.66758 | 0.0243 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20110690078 | 2011-03-10 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.039185 | . | ug/L | 0.94679 | 0.0371 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20110070109 | 2011-01-06 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.039635 | . | ug/L | 0.72158 | 0.0286 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20112380055 | 2011-08-25 10:00 | PROMETON | 04037GCM35 | 0.012 | 0.04 | . | ug/L | 0.8175 | 0.0327 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.04 | . | ug/L | 0.865 | 0.0346 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.04 | . | ug/L | 1.01 | 0.0404 | Recoverable Result | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.04 | . | ug/L | 0.95 | 0.038 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20110280004 | 2011-01-27 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.040181 | . | ug/L | 0.774 | 0.0311 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111960039 | 2011-07-14 08:00 | PROMETON | 04037GCM35 | 0.012 | 0.0404 | . | ug/L | 0.91832 | 0.0371 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.0404 | . | ug/L | 0.79208 | 0.032 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.0404 | . | ug/L | 0.76733 | 0.031 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.0404 | . | ug/L | 1.1262 | 0.0455 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20111260154 | 2011-05-05 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.040441 | . | ug/L | 0.83084 | 0.0336 | Recoverable Result | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20110910084 | 2011-03-31 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.040644 | . | ug/L | 0.72828 | 0.0296 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20111470065 | 2011-05-26 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.040833 | . | ug/L | 0.8694 | 0.0355 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20141220025 | 2014-05-01 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.99792 | 0.0479 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141770149 | 2014-06-26 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.725 | 0.0348 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142270001 | 2014-08-14 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.66667 | 0.032 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142720002 | 2014-09-25 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.65625 | 0.0315 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20143110108 | 2014-11-06 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.47292 | 0.0227 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 1.0146 | 0.0487 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.048 | . | ug/L | 0.76667 | 0.0368 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20122850005 | 2012-10-10 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.05 | . | ug/L | 0.81 | 0.0405 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.05 | . | ug/L | 0.944 | 0.0472 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130810108 | 2013-03-21 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.05 | . | ug/L | 0.81 | 0.0405 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20122720048 | 2012-09-27 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.0505 | . | ug/L | 0.87129 | 0.044 | Recoverable Result | 2033 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123560092 | 2012-12-20 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.0505 | . | ug/L | 0.71287 | 0.036 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130940097 | 2013-04-04 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.0505 | . | ug/L | 0.77822 | 0.0393 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20112310030 | 2011-08-18 08:47 | PROMETON | 04037GCM35 | 0.012 | 0.06 | . | ug/L | 0.98833 | 0.0593 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20161740258 | 2016-06-22 06:15 | PROMETON | 04037GCM35 | 0.012 | 0.06 | . | ug/L | 0.50167 | 0.0301 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20152460215 | 2015-09-03 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0728 | . | ug/L | 0.74863 | 0.0545 | Recoverable Result | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152610011 | 2015-09-17 06:00 | PROMETON | 04037GCM35 | 0.012 | 0.0728 | . | ug/L | 0.72115 | 0.0525 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20111590005 | 2011-06-07 10:00 | PROMETON | 04037GCM35 | 0.012 | 0.074096 | . | ug/L | 0.95282 | 0.0706 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20132560001 | 2013-09-12 08:30 | PROMETON | 04037GCM35 | 0.012 | 0.075 | . | ug/L | 0.97867 | 0.0734 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.075 | . | ug/L | 0.59333 | 0.0445 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.0752 | . | ug/L | 1.0971 | 0.0825 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.0752 | . | ug/L | 0.93218 | 0.0701 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20111750006 | 2011-06-23 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.08 | . | ug/L | 0.99375 | 0.0795 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.08 | . | ug/L | 0.8925 | 0.0714 | Recoverable Result | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | PROMETON | 04037GCM35 | 0.012 | 0.08 | . | ug/L | 0.93125 | 0.0745 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.08 | . | ug/L | 0.8375 | 0.067 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20110410061 | 2011-02-10 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.080326 | . | ug/L | 0.74447 | 0.0598 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | PROMETON | 04037GCM35 | 0.012 | 0.0808 | . | ug/L | 0.73144 | 0.0591 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20110980030 | 2011-04-07 09:00 | PROMETON | 04037GCM35 | 0.012 | 0.099483 | . | ug/L | 0.93082 | 0.0926 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.1 | . | ug/L | 0.786 | 0.0786 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123260037 | 2012-11-20 06:30 | PROMETON | 04037GCM35 | 0.012 | 0.101 | . | ug/L | 0.93069 | 0.094 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20132490342 | 2013-09-06 06:50 | PROMETON | 04037GCM35 | 0.012 | 0.15 | . | ug/L | 0.88 | 0.132 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl