## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20133310030 | 2013-11-26 07:00 | PROMETRYN | 04036GCM39 | 0.01 |  | . | ug/L |  | 0.0024 | False Positive | 2033 | Y | rcr | bt | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20151210037 | 2015-04-30 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.91333 | 0.0137 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.19333 | 0.0029 | Recoverable Result | 2033 |  | rcr | bt | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.85333 | 0.0128 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.85333 | 0.0128 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.88667 | 0.0133 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.80667 | 0.0121 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.87333 | 0.0131 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.015 | . | ug/L | 0.88 | 0.0132 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20122210006 | 2012-08-07 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.01998 | . | ug/L | 0.85085 | 0.017 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.01998 | . | ug/L | 1.006 | 0.0201 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20130390105 | 2013-02-07 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.01998 | . | ug/L | 0.63564 | 0.0127 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20121870008 | 2012-07-03 08:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.935 | 0.0187 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.755 | 0.0151 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.645 | 0.0129 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 1.015 | 0.0203 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.76 | 0.0152 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.665 | 0.0133 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.87 | 0.0174 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.02 | . | ug/L | 0.71 | 0.0142 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20141080004 | 2014-04-17 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.79602 | 0.016 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 1.0846 | 0.0218 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.85075 | 0.0171 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141840097 | 2014-07-02 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.75622 | 0.0152 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.68657 | 0.0138 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.801 | 0.0161 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20143370094 | 2014-12-03 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.62687 | 0.0126 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0201 | . | ug/L | 0.73134 | 0.0147 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20162150213 | 2016-08-02 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.024 | . | ug/L | 0.82917 | 0.0199 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20110490035 | 2011-02-17 08:30 | PROMETRYN | 04036GCM39 | 0.006 | 0.02475 | . | ug/L | 1.0545 | 0.0261 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20162020124 | 2016-07-20 06:15 | PROMETRYN | 04036GCM39 | 0.01 | 0.025 | . | ug/L | 0.776 | 0.0194 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.025 | . | ug/L | 0.752 | 0.0188 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151550293 | 2015-06-04 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.65333 | 0.0196 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.28 | 0.0084 | Recoverable Result | 2033 | Y | rcr | n | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.30667 | 0.0092 | Recoverable Result | 2033 |  | rcr | n | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.66667 | 0.02 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.68333 | 0.0205 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03 | . | ug/L | 0.73667 | 0.0221 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20133050050 | 2013-10-31 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.03704 | . | ug/L | 0.84503 | 0.0313 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.03704 | . | ug/L | 0.96652 | 0.0358 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.03704 | . | ug/L | 0.89633 | 0.0332 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.03704 | . | ug/L | 0.67225 | 0.0249 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20110210095 | 2011-01-20 07:30 | PROMETRYN | 04036GCM39 | 0.006 | 0.039047 | . | ug/L | 0.78366 | 0.0306 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | PROMETRYN | 04036GCM39 | 0.006 | 0.039394 | . | ug/L | 0.85292 | 0.0336 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | PROMETRYN | 04036GCM39 | 0.006 | 0.039582 | . | ug/L | 1.1672 | 0.0462 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20111680035 | 2011-06-16 08:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.039609 | . | ug/L | 0.818 | 0.0324 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111890004 | 2011-07-07 07:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.03968 | . | ug/L | 1.1467 | 0.0455 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.03968 | . | ug/L | 0.9627 | 0.0382 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.03968 | . | ug/L | 0.71321 | 0.0283 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20112100007 | 2011-07-28 07:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.0398 | E | ug/L | 0.94221 | 0.0375 | Estimated Values | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.0398 | . | ug/L | 0.97487 | 0.0388 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0398 | . | ug/L | 0.94975 | 0.0378 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.0398 | . | ug/L | 0.80653 | 0.0321 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0398 | . | ug/L | 0.79146 | 0.0315 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20110840108 | 2011-03-24 06:30 | PROMETRYN | 04036GCM39 | 0.006 | 0.039863 | . | ug/L | 0.81278 | 0.0324 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20141220025 | 2014-05-01 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 1.0199 | 0.041 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.92537 | 0.0372 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142270001 | 2014-08-14 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.70398 | 0.0283 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142530087 | 2014-09-10 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.65174 | 0.0262 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.72388 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142960086 | 2014-10-23 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.74876 | 0.0301 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.69154 | 0.0278 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0402 | . | ug/L | 0.83582 | 0.0336 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20161740258 | 2016-06-22 06:15 | PROMETRYN | 04036GCM39 | 0.01 | 0.048 | . | ug/L | 0.69583 | 0.0334 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20123560092 | 2012-12-20 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.04995 | . | ug/L | 0.74274 | 0.0371 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.04995 | . | ug/L | 0.8008 | 0.04 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20121730123 | 2012-06-21 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.05 | . | ug/L | 0.85 | 0.0425 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.05 | . | ug/L | 0.814 | 0.0407 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.05 | . | ug/L | 0.722 | 0.0361 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.05 | . | ug/L | 0.69 | 0.0345 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20161470001 | 2016-05-25 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.05 | . | ug/L | 0.936 | 0.0468 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20152610011 | 2015-09-17 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.06 | . | ug/L | 0.53833 | 0.0323 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.06 | . | ug/L | 0.15333 | 0.0092 | Recoverable Result | 2033 |  | rcr | n | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.06 | . | ug/L | 1.2217 | 0.0733 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.074096 | . | ug/L | 0.88939 | 0.0659 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110620082 | 2011-03-03 07:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.079031 | . | ug/L | 0.89965 | 0.0711 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20111190184 | 2011-04-28 07:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.079052 | . | ug/L | 1.1043 | 0.0873 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.07936 | . | ug/L | 0.90852 | 0.0721 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.07936 | . | ug/L | 0.69556 | 0.0552 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.07936 | . | ug/L | 0.86694 | 0.0688 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20120260028 | 2012-01-26 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0796 | . | ug/L | 0.8995 | 0.0716 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0796 | . | ug/L | 0.83794 | 0.0667 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | PROMETRYN | 04036GCM39 | 0.006 | 0.080137 | . | ug/L | 0.98082 | 0.0786 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20131370001 | 2013-05-16 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0926 | . | ug/L | 0.98596 | 0.0913 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.0926 | . | ug/L | 0.83693 | 0.0775 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20110980030 | 2011-04-07 09:00 | PROMETRYN | 04036GCM39 | 0.006 | 0.099483 | . | ug/L | 0.90267 | 0.0898 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.0999 | . | ug/L | 0.86687 | 0.0866 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | PROMETRYN | 04036GCM39 | 0.01 | 0.0999 | . | ug/L | 1.011 | 0.101 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | PROMETRYN | 04036GCM39 | 0.01 | 0.1 | . | ug/L | 0.765 | 0.0765 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl