## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-09-25 08:00 | 20132690010 | 0.045 | 0.2 | . | 0.128 | ug/L | 0.64 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2014-01-09 06:30 | 20140100085 | 0.045 | 0.2 | . | 0.178 | ug/L | 0.89 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2012-11-20 06:30 | 20123260037 | 0.045 | 0.107 | . | 0.0905 | ug/L | 0.84579 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-04-04 06:30 | 20130940097 | 0.045 | 0.0535 | . | 0.0408 | ug/L | 0.76262 | Y | rcr | n | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-11-26 07:00 | 20133310030 | 0.045 | 0.2 | . | 0.159 | ug/L | 0.795 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2014-03-13 07:00 | 20140730138 | 0.045 | 0.1 | . | 0.0265 | ug/L | 0.265 | Y | rcr | n | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2012-08-30 06:30 | 20122430227 | 0.045 | 0.0214 | . | 0.0295 | ug/L | 1.3785 | V | rcr | n | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-02-19 06:30 | 20130510051 | 0.045 | 0.0214 | . | 0.0229 | ug/L | 1.0701 | Y | rcr | n | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-09-12 08:30 | 20132560001 | 0.045 | 0.1 | . | 0.0532 | ug/L | 0.532 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-12-23 06:30 | 20133580036 | 0.045 | 0.1 | . | 0.0572 | ug/L | 0.572 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2012-09-27 07:00 | 20122720048 | 0.045 | 0.0535 | . | 0.0466 | ug/L | 0.87103 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2011-02-17 08:30 | 20110490035 | 0.045 | 0.02475 | . | 0.0257 | ug/L | 1.0384 | V | rcr | n | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2011-04-07 09:00 | 20110980030 | 0.045 | 0.099483 | . | 0.0554 | ug/L | 0.55688 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2011-06-07 10:00 | 20111590005 | 0.045 | 0.074096 | . | 0.0425 | ug/L | 0.57358 | V | rcr | n | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-08-29 06:30 | 20132420001 | 0.045 | 0.05 | . | 0.0345 | ug/L | 0.69 | Y | rcr | n | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2014-01-23 06:30 | 20140230082 | 0.045 | 0.1 | . | 0.0596 | ug/L | 0.596 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2014-03-27 06:30 | 20140860102 | 0.045 | 0.1 | . | 0.0486 | ug/L | 0.486 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-10-17 06:30 | 20132910008 | 0.045 | 0.05 | . | 0.0257 | ug/L | 0.514 | Y | rcr | n | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-12-05 08:00 | 20133400002 | 0.045 | 0.05 | . | 0.0338 | ug/L | 0.676 | Y | rcr | n | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2012-08-16 06:30 | 20122300021 | 0.045 | 0.0214 | . | 0.0213 | ug/L | 0.99533 | V | rcr | t | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2012-12-20 06:30 | 20123560092 | 0.045 | 0.0535 | . | 0.0374 | ug/L | 0.69907 | Y | rcr | n | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2013-11-14 07:30 | 20133190012 | 0.045 | 0.1 | . | 0.0893 | ug/L | 0.893 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS-O-ANALOGUE SULFONE | 61674GCM39 | 2014-02-20 06:30 | 20140510043 | 0.045 | 0.1 | . | 0.0385 | ug/L | 0.385 | Y | rcr | n | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl