## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210037 | 2015-04-30 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | < | ug/L |  | 0.0123 | SACRALT | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.80833 | 0.0097 | Recoverable Result | 2033 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.96667 | 0.0116 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.93333 | 0.0112 | Recoverable Result | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.85833 | 0.0103 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.825 | 0.0099 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 1.0417 | 0.0125 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.012 | . | ug/L | 0.91667 | 0.011 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20141080004 | 2014-04-17 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0156 | . | ug/L | 0.86538 | 0.0135 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0156 | . | ug/L | 0.85897 | 0.0134 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0156 | . | ug/L | 0.83974 | 0.0131 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0156 | . | ug/L | 0.92308 | 0.0144 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20141840097 | 2014-07-02 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0159 | . | ug/L | 0.85535 | 0.0136 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0159 | . | ug/L | 0.76101 | 0.0121 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0159 | . | ug/L | 0.71069 | 0.0113 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0159 | . | ug/L | 0.74843 | 0.0119 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20161190075 | 2016-04-28 08:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02 | . | ug/L | 0.75 | 0.015 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02 | . | ug/L | 0.77 | 0.0154 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02 | . | ug/L | 0.88 | 0.0176 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02 | . | ug/L | 0.75 | 0.015 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20162150213 | 2016-08-02 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02068 | . | ug/L | 0.73501 | 0.0152 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.02068 | . | ug/L | 0.98646 | 0.0204 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20151550293 | 2015-06-04 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 1.0917 | 0.0262 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 0.90833 | 0.0218 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 0.82083 | 0.0197 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 0.75 | 0.018 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 0.79167 | 0.019 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.024 | . | ug/L | 0.84167 | 0.0202 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20110490035 | 2011-02-17 08:30 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.02475 | . | ug/L | 1.0263 | 0.0254 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20132280016 | 2013-08-15 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.026 | . | ug/L | 1.1577 | 0.0301 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.026 | . | ug/L | 1.1615 | 0.0302 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0268 | . | ug/L | 1.2873 | 0.0345 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0268 | . | ug/L | 1.2239 | 0.0328 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0268 | . | ug/L | 1.0075 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0268 | . | ug/L | 1.0634 | 0.0285 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0268 | . | ug/L | 0.99627 | 0.0267 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20121870008 | 2012-07-03 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.0233 | 0.0307 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.0567 | 0.0317 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.25 | 0.0375 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 0.90333 | 0.0271 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 0.80667 | 0.0242 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 0.77667 | 0.0233 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.2733 | 0.0382 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.0933 | 0.0328 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.0467 | 0.0314 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 1.1367 | 0.0341 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.03 | . | ug/L | 0.88 | 0.0264 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20142270001 | 2014-08-14 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0312 | . | ug/L | 0.77244 | 0.0241 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0312 | . | ug/L | 0.86538 | 0.027 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0312 | . | ug/L | 0.72436 | 0.0226 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0312 | . | ug/L | 0.98077 | 0.0306 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20141220025 | 2014-05-01 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0318 | . | ug/L | 1.1006 | 0.035 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0318 | . | ug/L | 1.0723 | 0.0341 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0318 | . | ug/L | 0.82704 | 0.0263 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0318 | . | ug/L | 0.80503 | 0.0256 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20161470001 | 2016-05-25 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.04136 | . | ug/L | 0.95019 | 0.0393 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20110210095 | 2011-01-20 07:30 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.047314 | . | ug/L | 0.8264 | 0.0391 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20111680035 | 2011-06-16 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.047994 | . | ug/L | 0.85636 | 0.0411 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20152610011 | 2015-09-17 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.048 | . | ug/L | 0.87708 | 0.0421 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.048 | . | ug/L | 0.80625 | 0.0387 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20111890004 | 2011-07-07 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.04808 | . | ug/L | 1.0878 | 0.0523 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.04808 | . | ug/L | 0.94842 | 0.0456 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.04808 | . | ug/L | 0.79659 | 0.0383 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20110840108 | 2011-03-24 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.048302 | . | ug/L | 0.92128 | 0.0445 | Recoverable Result | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.049292 | . | ug/L | 0.96161 | 0.0474 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111170107 | 2011-04-22 06:20 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.049528 | . | ug/L | 1.1004 | 0.0545 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20112100007 | 2011-07-28 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.0498 | . | ug/L | 0.78514 | 0.0391 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0498 | . | ug/L | 0.89357 | 0.0445 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0498 | . | ug/L | 0.96787 | 0.0482 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0498 | . | ug/L | 0.84739 | 0.0422 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0498 | . | ug/L | 0.84137 | 0.0419 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20161880109 | 2016-07-06 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.05 | . | ug/L | 1.046 | 0.0523 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20132690010 | 2013-09-25 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.065 | . | ug/L | 1.28 | 0.0832 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.065 | . | ug/L | 0.87692 | 0.057 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.067 | . | ug/L | 1.191 | 0.0798 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20111590005 | 2011-06-07 10:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.074096 | . | ug/L | 0.89883 | 0.0666 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20121730123 | 2012-06-21 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 1.0413 | 0.0781 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 0.932 | 0.0699 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 1.0453 | 0.0784 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 1.0533 | 0.079 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 1.0867 | 0.0815 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.075 | . | ug/L | 1.036 | 0.0777 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20111190184 | 2011-04-28 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.095786 | . | ug/L | 1.1066 | 0.106 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20112170174 | 2011-08-04 08:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.09616 | . | ug/L | 0.9765 | 0.0939 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.09616 | . | ug/L | 0.79035 | 0.076 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.09616 | . | ug/L | 0.96818 | 0.0931 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.098888 | . | ug/L | 0.9799 | 0.0969 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20110980030 | 2011-04-07 09:00 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.099483 | . | ug/L | 1.0253 | 0.102 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20120260028 | 2012-01-26 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0996 | . | ug/L | 1 | 0.0996 | Recoverable Result | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.0996 | . | ug/L | 0.95482 | 0.0951 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | TERBUTHYLAZINE | 04022GCM39 | 0.006 | 0.10027 | . | ug/L | 0.98133 | 0.0984 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20132490342 | 2013-09-06 06:50 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.13 | . | ug/L | 1.0769 | 0.14 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.13 | . | ug/L | 1.0846 | 0.141 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20123140095 | 2012-11-08 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.15 | . | ug/L | 0.97333 | 0.146 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.15 | . | ug/L | 1.1333 | 0.17 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | TERBUTHYLAZINE | 04022GCM39 | 0.008 | 0.15 | . | ug/L | 0.98 | 0.147 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl