## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20112310030 | 2011-08-18 08:47 | TRIFLURALIN | 82661GCM35 | 0.018 |  | . | ug/L |  | 0.0502 | False Positive | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20110490035 | 2011-02-17 08:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02475 | . | ug/L | 1.1879 | 0.0294 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20151210037 | 2015-04-30 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.78519 | 0.0212 | Recoverable Result | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.61852 | 0.0167 | Recoverable Result | 2033 |  | rcr | n | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20153030068 | 2015-10-29 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.84444 | 0.0228 | Recoverable Result | 2033 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | E | ug/L | 0.78519 | 0.0212 | Estimated Values | 2033 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.69259 | 0.0187 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.91852 | 0.0248 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.98519 | 0.0266 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.027 | . | ug/L | 0.88889 | 0.024 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20110690078 | 2011-03-10 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02743 | . | ug/L | 1.1192 | 0.0307 | Recoverable Result | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20112380055 | 2011-08-25 10:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028 | . | ug/L | 1 | 0.028 | Recoverable Result | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028 | . | ug/L | 1.0286 | 0.0288 | Recoverable Result | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028 | . | ug/L | 1.0571 | 0.0296 | Recoverable Result | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028 | . | ug/L | 1.0679 | 0.0299 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20110280004 | 2011-01-27 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028127 | . | ug/L | 0.97772 | 0.0275 | Recoverable Result | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111260154 | 2011-05-05 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.028309 | . | ug/L | 1.0845 | 0.0307 | Recoverable Result | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20110070109 | 2011-01-06 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.029314 | . | ug/L | 1.0916 | 0.032 | Recoverable Result | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20111960039 | 2011-07-14 08:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02988 | . | ug/L | 1.3922 | 0.0416 | Recoverable Result | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112870073 | 2011-10-13 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02988 | . | ug/L | 1.0174 | 0.0304 | Recoverable Result | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02988 | . | ug/L | 1.0141 | 0.0303 | Recoverable Result | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.02988 | . | ug/L | 1.3052 | 0.039 | Recoverable Result | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20122210006 | 2012-08-07 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.03 | . | ug/L | 0.85 | 0.0255 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.03 | . | ug/L | 0.92333 | 0.0277 | Recoverable Result | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.03 | . | ug/L | 1.0033 | 0.0301 | Recoverable Result | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.03 | . | ug/L | 0.89667 | 0.0269 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20110910084 | 2011-03-31 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.03006 | . | ug/L | 1.1011 | 0.0331 | Recoverable Result | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20121600156 | 2012-06-07 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | E | ug/L | 1.3642 | 0.0412 | Estimated Values | 2033 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 1.0662 | 0.0322 | Recoverable Result | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.92053 | 0.0278 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.67219 | 0.0203 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131920149 | 2013-07-11 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.92053 | 0.0278 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.91722 | 0.0277 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.86093 | 0.026 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 0.77483 | 0.0234 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20111470065 | 2011-05-26 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0302 | . | ug/L | 1.0199 | 0.0308 | Recoverable Result | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20142200164 | 2014-08-07 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.036 | . | ug/L | 0.82778 | 0.0298 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142470041 | 2014-09-03 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.036 | . | ug/L | 0.83056 | 0.0299 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.036 | . | ug/L | 0.825 | 0.0297 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143370094 | 2014-12-03 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.036 | . | ug/L | 0.80833 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20141360094 | 2014-05-16 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0363 | . | ug/L | 0.80165 | 0.0291 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0363 | . | ug/L | 0.70799 | 0.0257 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0363 | . | ug/L | 0.8843 | 0.0321 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0363 | . | ug/L | 0.79614 | 0.0289 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20162020124 | 2016-07-20 06:15 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0452 | . | ug/L | 0.69248 | 0.0313 | Recoverable Result | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0452 | . | ug/L | 0.89381 | 0.0404 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20162150213 | 2016-08-02 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.048 | . | ug/L | 1.025 | 0.0492 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20151550293 | 2015-06-04 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.79815 | 0.0431 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.93148 | 0.0503 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.63333 | 0.0342 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.64074 | 0.0346 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.81852 | 0.0442 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.054 | . | ug/L | 0.79259 | 0.0428 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20111750006 | 2011-06-23 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.056 | . | ug/L | 0.98214 | 0.055 | Recoverable Result | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.056 | E | ug/L | 0.89643 | 0.0502 | Estimated Values | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.056 | . | ug/L | 1.125 | 0.063 | Recoverable Result | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.056 | . | ug/L | 0.91071 | 0.051 | Recoverable Result | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20110410061 | 2011-02-10 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.059409 | . | ug/L | 0.93251 | 0.0554 | Recoverable Result | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.05976 | . | ug/L | 0.7915 | 0.0473 | Recoverable Result | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20131510026 | 2013-05-30 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.06 | . | ug/L | 0.83333 | 0.05 | Recoverable Result | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.06 | . | ug/L | 0.86333 | 0.0518 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.06 | . | ug/L | 0.945 | 0.0567 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140510043 | 2014-02-20 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.06 | . | ug/L | 0.85333 | 0.0512 | Recoverable Result | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20140730138 | 2014-03-13 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.06 | . | ug/L | 0.72667 | 0.0436 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20131650073 | 2013-06-13 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0602 | . | ug/L | 0.91196 | 0.0549 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0602 | . | ug/L | 0.95681 | 0.0576 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0602 | . | ug/L | 0.64452 | 0.0388 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20142530087 | 2014-09-10 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.072 | . | ug/L | 0.63333 | 0.0456 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.072 | . | ug/L | 0.69722 | 0.0502 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.072 | . | ug/L | 0.84722 | 0.061 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.072 | . | ug/L | 0.75278 | 0.0542 | Recoverable Result | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20141570088 | 2014-06-05 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0726 | . | ug/L | 0.80992 | 0.0588 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0726 | . | ug/L | 0.74105 | 0.0538 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0726 | . | ug/L | 0.7865 | 0.0571 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20111590005 | 2011-06-07 10:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.074096 | . | ug/L | 0.87049 | 0.0645 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20123040157 | 2012-10-30 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.075 | . | ug/L | 0.84133 | 0.0631 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20122850005 | 2012-10-10 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0755 | . | ug/L | 0.79205 | 0.0598 | Recoverable Result | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130100066 | 2013-01-10 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0755 | . | ug/L | 0.88609 | 0.0669 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0755 | . | ug/L | 0.7457 | 0.0563 | Recoverable Result | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20132420001 | 2013-08-29 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0755 | . | ug/L | 0.80795 | 0.061 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0755 | . | ug/L | 0.70728 | 0.0534 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20161470001 | 2016-05-25 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.0904 | . | ug/L | 0.78319 | 0.0708 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161740258 | 2016-06-22 06:15 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.096 | . | ug/L | 0.60938 | 0.0585 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20110980030 | 2011-04-07 09:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.099483 | E | ug/L | 0.87251 | 0.0868 | Estimated Values | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20152610011 | 2015-09-17 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.108 | . | ug/L | 0.68981 | 0.0745 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.108 | . | ug/L | 0.62963 | 0.068 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20161880109 | 2016-07-06 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.12 | . | ug/L | 0.93333 | 0.112 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20123420074 | 2012-12-06 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.15 | . | ug/L | 0.82 | 0.123 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.15 | . | ug/L | 0.62 | 0.093 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20132140002 | 2013-08-01 07:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.15 | . | ug/L | 0.64333 | 0.0965 | Recoverable Result | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.1505 | . | ug/L | 0.71761 | 0.108 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20132690010 | 2013-09-25 08:00 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.1505 | . | ug/L | 0.81063 | 0.122 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20123260037 | 2012-11-20 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.151 | . | ug/L | 0.80795 | 0.122 | Recoverable Result | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20140100085 | 2014-01-09 06:30 | TRIFLURALIN | 82661GCM35 | 0.018 | 0.301 | . | ug/L | 0.74086 | 0.223 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl