## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  | mc | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  | mc | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20142060046 | 2014-07-24 08:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | < | ng/L |  | 250 | SACRALT | 2437 | OG | LKK | mc | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | mc | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150150114 | 2015-01-15 07:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.01 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | mc | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20142480004 | 2014-09-04 08:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | E | ng/L | 1.2942 | 57.6 | Estimated Values | 2437 | OG | CAD | mc | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | E | ng/L | 1.1841 | 52.7 | Estimated Values | 2437 | OG | MNO | mc | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | E | ng/L | 1.7099 | 76.1 | Estimated Values | 2437 | K | MPO | mc | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.505 | E | ng/L | 1.0673 | 47.5 | Estimated Values | 2437 | OG | MPO | mdc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.775 | E | ng/L | 1.11 | 49.7 | Estimated Values | 2437 | OG | MPO | mc | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.775 | E | ng/L | 0.73479 | 32.9 | Estimated Values | 2437 | OG | LKK | imc | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.775 | E | ng/L | 1.2507 | 56 | Estimated Values | 2437 | OG | SBH | mc | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 44.775 | E | ng/L | 0.62088 | 27.8 | Estimated Values | 2437 | OG | LOA | mc | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 56 | E | ng/L | 1.2143 | 68 | Estimated Values | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 56 | E | ng/L | 1.175 | 65.8 | Estimated Values | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20141910245 | 2014-07-10 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.01 | E | ng/L | 1.1796 | 105 | Estimated Values | 2437 | OG | LKK | mc | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.01 | E | ng/L | 1.5279 | 136 | Estimated Values | 2437 | OG | MNI | mc | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.01 | E | ng/L | 1.2695 | 113 | Estimated Values | 2437 | OG | JLE | mc | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.01 | E | ng/L | 1.3594 | 121 | Estimated Values | 2437 | OG | MGN | mc | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.28 | E | ng/L | 1.6241 | 145 | Estimated Values | 2437 | OG | MNI | mc | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.55 | E | ng/L | 1.4294 | 128 | Estimated Values | 2437 | K | JIV | mc | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.55 | E | ng/L | 0.98827 | 88.5 | Estimated Values | 2437 | OG | LOA | mc | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.55 | E | ng/L | 0.98269 | 88 | Estimated Values | 2437 | OG | DME | mc | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 89.55 | E | ng/L | 0.74819 | 67 | Estimated Values | 2437 | OG | JLE | mc | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 112 | E | ng/L | 0.98214 | 110 | Estimated Values | 2437 | K | DME | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 112 | E | ng/L | 0.80446 | 90.1 | Estimated Values | 2437 | K | DME | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | 1H-1,2,4-TRIAZOLE | 68498LCM60 | 22 | 179.1 | E | ng/L | 1.4238 | 255 | Estimated Values | 2437 | OG | MPO | mc | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl