## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132490346 | 2013-09-06 07:00 | 2,4-D | 68500LCM60 | 62 |  | . | ng/L |  | 18.1 | False Positive | 2437 | VA | VKJ | @bt | 2013-09-24 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20141290002 | 2014-05-08 06:00 | 2,4-D | 68500LCM60 | 62 | 123.9 | < | ng/L |  | 133 | SACRALT | 2437 | OG | CAD | vc | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | 2,4-D | 68500LCM60 | 62 | 123.9 | < | ng/L |  |  | False Negative | 2437 | VA | KLE | vc | 2014-08-13 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142060046 | 2014-07-24 08:00 | 2,4-D | 68500LCM60 | 62 | 124.455 | < | ng/L |  |  | False Negative | 2437 | VA | CAD |  | 2014-07-30 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | 2,4-D | 68500LCM60 | 62 | 124.455 | < | ng/L |  |  | False Negative | 2437 | VA | KLE | vc | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20143030096 | 2014-10-30 08:00 | 2,4-D | 68500LCM60 | 62 | 248.91 | < | ng/L |  |  | False Negative | 2437 | VA | CAD | vc | 2014-11-04 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.3175 | 122 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.4363 | 133 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1771 | 109 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.0518 | 97.4 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1015 | 102 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.0335 | 95.7 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230141 | 2015-11-19 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1555 | 107 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-24 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230142 | 2015-11-19 08:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 0.91145 | 84.4 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.0508 | 97.3 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.0745 | 99.5 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.027 | 95.1 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 0.95572 | 88.5 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1879 | 110 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.2311 | 114 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1879 | 110 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1231 | 104 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.1339 | 105 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | 2,4-D | 68500LCM60 | 62 | 92.6 | . | ng/L | 1.054 | 97.6 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.85022 | 78.9 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.98168 | 91.1 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.83836 | 77.8 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.97091 | 90.1 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.1422 | 106 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.0216 | 94.8 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.2716 | 118 | Recoverable Result | 2437 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.1422 | 106 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.0183 | 94.5 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.94935 | 88.1 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 1.0776 | 100 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.86746 | 80.5 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | 2,4-D | 68500LCM60 | 62 | 92.8 | . | ng/L | 0.80819 | 75 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20150570010 | 2015-02-26 06:30 | 2,4-D | 68500LCM60 | 62 | 123.9 | . | ng/L | 0.66909 | 82.9 | Recoverable Result | 2437 | VA | SBH |  | 2015-03-03 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | 2,4-D | 68500LCM60 | 62 | 123.9 | . | ng/L | 0.91203 | 113 | Recoverable Result | 2437 | VA | KLE |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | 2,4-D | 68500LCM60 | 62 | 124.455 | E | ng/L | 0.97224 | 121 | Estimated Values | 2437 | VA | KLE | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | 2,4-D | 68500LCM60 | 62 | 124.455 | E | ng/L | 0.64843 | 80.7 | Estimated Values | 2437 | VA | KLE | v | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 2,4-D | 68500LCM60 | 62 | 124.455 | . | ng/L | 0.85975 | 107 | Recoverable Result | 2437 | VA | KLE |  | 2015-04-02 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20150930002 | 2015-04-02 06:00 | 2,4-D | 68500LCM60 | 62 | 124.455 | . | ng/L | 1.615 | 201 | Recoverable Result | 2437 | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20161740281 | 2016-06-22 07:30 | 2,4-D | 68500LCM60 | 62 | 155.2 | . | ng/L | 1.134 | 176 | Recoverable Result | 2437 | VA | VKJ |  | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | 2,4-D | 68500LCM60 | 62 | 155.2 | . | ng/L | 1.1147 | 173 | Recoverable Result | 2437 | VA | VKJ |  | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | 2,4-D | 68500LCM60 | 62 | 156.2 | . | ng/L | 1.1524 | 180 | Recoverable Result | 2437 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 2,4-D | 68500LCM60 | 62 | 156.2 | . | ng/L | 1.0563 | 165 | Recoverable Result | 2437 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | 2,4-D | 68500LCM60 | 62 | 156.2 | . | ng/L | 1.3636 | 213 | Recoverable Result | 2437 | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 2,4-D | 68500LCM60 | 62 | 156.2 | . | ng/L | 1.146 | 179 | Recoverable Result | 2437 | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20152190004 | 2015-08-06 07:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1825 | 219 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1447 | 212 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1015 | 204 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.2581 | 233 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.3067 | 242 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.0853 | 201 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.2635 | 234 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.2311 | 228 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 0.90173 | 167 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.2581 | 233 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.0097 | 187 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1231 | 208 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 0.88553 | 164 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 0.91253 | 169 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 0.99892 | 185 | Recoverable Result | 2437 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1825 | 219 | Recoverable Result | 2437 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | 2,4-D | 68500LCM60 | 62 | 185.2 | . | ng/L | 1.1609 | 215 | Recoverable Result | 2437 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 0.77586 | 144 | Recoverable Result | 2437 | VA | SBH |  | 2015-07-21 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0129 | 188 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 0.9375 | 174 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0399 | 193 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0237 | 190 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0722 | 199 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0345 | 192 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.1261 | 209 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.1045 | 205 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 1.0291 | 191 | Recoverable Result | 2437 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 0.78664 | 146 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 0.79741 | 148 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 2,4-D | 68500LCM60 | 62 | 185.6 | . | ng/L | 0.7597 | 141 | Recoverable Result | 2437 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141640081 | 2014-06-12 08:30 | 2,4-D | 68500LCM60 | 62 | 247.8 | . | ng/L | 0.89992 | 223 | Recoverable Result | 2437 | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | 2,4-D | 68500LCM60 | 62 | 247.8 | . | ng/L | 0.78289 | 194 | Recoverable Result | 2437 | VA | KLE |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | 2,4-D | 68500LCM60 | 62 | 247.8 | E | ng/L | 0.91203 | 226 | Estimated Values | 2437 | VA | MGN | ic | 2014-12-03 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | 2,4-D | 68500LCM60 | 62 | 247.8 | E | ng/L | 0.66182 | 164 | Estimated Values | 2437 | VA | JIV | ic | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | 2,4-D | 68500LCM60 | 62 | 248.355 | . | ng/L | 0.92609 | 230 | Recoverable Result | 2437 | VA | MGN |  | 2015-02-10 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | 2,4-D | 68500LCM60 | 62 | 248.91 | . | ng/L | 1.3177 | 328 | Recoverable Result | 2437 | VA | KLE |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | 2,4-D | 68500LCM60 | 62 | 248.91 | E | ng/L | 1.0646 | 265 | Estimated Values | 2437 | VA | CAD | v | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143180048 | 2014-11-13 07:30 | 2,4-D | 68500LCM60 | 62 | 248.91 | . | ng/L | 1.0968 | 273 | Recoverable Result | 2437 | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150150114 | 2015-01-15 07:00 | 2,4-D | 68500LCM60 | 62 | 248.91 | E | ng/L | 0.92805 | 231 | Estimated Values | 2437 | VA | VKJ | v | 2015-01-28 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820007 | 2016-06-29 09:30 | 2,4-D | 68500LCM60 | 62 | 310.4 | . | ng/L | 0.89562 | 278 | Recoverable Result | 2437 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820006 | 2016-06-29 09:00 | 2,4-D | 68500LCM60 | 62 | 310.4 | . | ng/L | 1.0664 | 331 | Recoverable Result | 2437 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163370005 | 2016-11-30 08:00 | 2,4-D | 68500LCM60 | 62 | 312.4 | . | ng/L | 0.97311 | 304 | Recoverable Result | 2437 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 2,4-D | 68500LCM60 | 62 | 312.4 | . | ng/L | 0.83227 | 260 | Recoverable Result | 2437 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20162660010 | 2016-09-21 08:30 | 2,4-D | 68500LCM60 | 62 | 388 | . | ng/L | 1.2242 | 475 | Recoverable Result | 2437 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 2,4-D | 68500LCM60 | 62 | 388 | . | ng/L | 1.4845 | 576 | Recoverable Result | 2437 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20132420005 | 2013-08-29 08:30 | 2,4-D | 68500LCM60 | 62 | 450 | . | ng/L | 2.8444 | 1280 | Recoverable Result | 2437 | VA | CAD |  | 2013-09-20 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | 2,4-D | 68500LCM60 | 62 | 450 | . | ng/L | 1.6444 | 740 | Recoverable Result | 2437 | VA | VKJ |  | 2013-11-23 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | 2,4-D | 68500LCM60 | 62 | 450 | E | ng/L | 2.3333 | 1050 | Estimated Values | 2437 | VA | CAD | c | 2014-02-05 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | 2,4-D | 68500LCM60 | 62 | 450 | . | ng/L | 1.3778 | 620 | Recoverable Result | 2437 | VA | JIV |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20141490204 | 2014-05-29 08:30 | 2,4-D | 68500LCM60 | 62 | 495.6 | E | ng/L | 0.89588 | 444 | Estimated Values | 2437 | VA | KLE | c | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | 2,4-D | 68500LCM60 | 62 | 740.8 | . | ng/L | 1.1366 | 842 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | 2,4-D | 68500LCM60 | 62 | 740.8 | . | ng/L | 1.0732 | 795 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | 2,4-D | 68500LCM60 | 62 | 740.8 | . | ng/L | 1.2122 | 898 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.97656 | 725 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.97252 | 722 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.98464 | 731 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.8917 | 662 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.78125 | 580 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 2,4-D | 68500LCM60 | 62 | 742.4 | . | ng/L | 0.84725 | 629 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8